## Summary
Project | F03-07 DOMINOES, B.GALIYAN, IDLY NOIDA INTERNATIONAL AIRPORT LIMITED
Summary of BOQ
SL No | Item Description | Amount | Remarks
1 | SECTION 1 - PRELIMINARIES | 0
2 | SECTION 2 - WALL AND PARTITIONING | 0
3 | SECTION 3 - FINISHING AND WATERPROOFING | 0 | Flooring to be confirmed(TBC)
4 | SECTION 4 - JOINERY AND FIXED FURNITURE | 0
5 | SECTION 5 - SIGNAGE | 0
6 | SECTION 6 - LIGHTING | 0
7 | SECTION 7 - FURNITURE | 0 | Chairs to be confirmed(TBC)
8 | SECTION 8 - EQUIPMENT | 0 | Equipmant for Dominos- TBC
9 | SECTION 9 -IT/DMB/POS/CCTV | 0 | To be confirmed TBC
0

## BOQ
Project
ItemCode | Item Name | UOM | Qty | Unit Price | Amount | Remarks | Ref IMAGE
SECTION 1 - PRELIMINARIES
1.01 | Insurance (EC & CAR) | Sum | 1 |  | 0
1.02 | Site setting-out | Sum | 1 |  | 0
1.03 | Supervision and Coordination with Other trades | Sum | 1 |  | 0
1.04 | Supply, install and demolish the hoarding | Sum | 1 |  | 0
1.05 | General protection works to the existing finishes | Sum | 1 |  | 0
1.06 | Make good the all affected surround area | Sum | 1 |  | 0
1.07 | Daily cleaning and waste disposal | Sum | 1 |  | 0
1.08 | Final cleaning and waste disposal | Sum | 1 |  | 0
1.09 | Statutory Obligations, Regulations and Specification | Sum | 1 |  | 0
1.1 | Provision of as-built drawings upon completion of works | Sum | 1 |  | 0
1.11 | To comply with the fitting-out house rules | Sum | 1 |  | 0
1.12 | India Construction Sites (Safety) Regulations | Sum | 1 |  | 0
1.13 | Safety Precautions | Sum | 1 |  | 0
1.14 | Samples, finishes, drawings submission to relevant parties | Sum | 1 |  | 0
1.15 | Others (Please list the items in details): | Sum | 1 |  | 0
| SUBTOTAL FOR SECTION 1 |  |  |  | 0
SECTION 2 - WALL AND PARTITIONING
2 | Supply and installation of solid concrete masonry wall of thickness as indicated in CM1:4, including M20 grade concrete framing of required size with nominal reinforcement as per drawings including scaffolding, all necessary consumables, supports, curing , all complete in all aspects in accordance with instructions of the Architect and the Employer's requirements. Dwg ref: 02GA-101A,02GA-101B
2.01 | 150MM thick Masonry Wall -PB1 | Sqm | 45
2.02 | 100MM thick Masonry Wall -PB2 | Sqm | 70
2.03 | 100MM thick Masonry Wall -PB3 | Sqm | 70
2.04 | 75MM thick Masonry Wall -PB5 | Sqm | 2
2.05 | Cold room wall-PB 4(as per vendor specification) | Sqm | 10
| SUBTOTAL FOR SECTION2 |  |  |  | 0
SECTION 3 - FINISHING AND WATERPROOFING
Waterproofing
3.01 | Waterproofing - Supply and install approved waterproofing system to kitchen with testing, warranty, in accordance withthe drawings and specifications(Sample is subject to Employer's approval). | Sqm | 60
3.02 | Screed - Supply and install screed (upto thickness as required) as approved in accordance with the drawings and specifications | Sqm | 60
Flooring
3.03 | Flooring - Supply and install FL1 - flooring laid including all necessary consumables in accordance with the drawings and specifications. Dwg ref: 02GA 102 | Sqm | 109.14 |  |  | TBC
3.04 | Supply and installation of Stainless steel floor transition trim | rmt | 10
False ceiling
3.05 | Ceiling - Supply and install CL1 - 25MM thick GIB board false ceiling including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications, the ceiling to be applied with paint finsh (P09-WHITE WING COLOR PAINT COLOR TO BE MATCH WITH RAL:9010) Dwg ref: 02GA-103A | Sqm | 102.5573
3.06 | Ceiling - Supply and install CL2 - 25MM thick GIB board false ceiling including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications,the ceiling to be applied with paint finsh (P09-WHITE WING COLOR PAINT COLOR TO BE MATCH WITH RAL:9010) Dwg ref: 02GA-103A | Sqm | 91.2173
3.07 | Ceiling - Supply and install CL3 - 25MM thick GIB board false ceiling including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications,the ceiling to be applied with paint finsh (P09-WHITE WING COLOR PAINT COLOR TO BE MATCH WITH RAL:9010) Dwg ref: 02GA-103A | Sqm | 23.542
3.08 | Ceiling - Supply and install CL4 - 1200x1200MM perforated metal ceiling white / Grey Color/ ARMSTRONG including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications Dwg ref: 02GA-103A | Sqm | 73.9276
3.09 | Ceiling - Supply and install CL5 - COLD ROOM PANELS(AS PER VENDORSPEC ) including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications Dwg ref: 02GA-103A | Sqm | 6.25
3.1 | Ceiling - Supply and install CL6 -ALUMINIUM PROFILES RAFTER CEILING including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications. Aluminium profiles powder coated with Oak wooden grain. FINISH Dwg ref: 02GA-103A | Sqm | 91.2173
3.11 | Ceiling - Supply and install CL7 - 1 ALUMINIUM COMPOSITE CEILING including all necessary fitting, supports, accessories, consumables, opening,etc.in accordance with the drawings and specifications Dwg ref: 02GA-103A | Sqm | 3.4129
Wall tile
3.12 | Wall SERVERY BULKHEAD-01 (BRAJ KI GALLIYAN) - Supply and install 300X300X10MM THK MAC GREEN RUSTIC SLATE STONE(W1) over ply carcass, all in accordance with the drawings and specifications. Dwg ref: 02GA-102, 03IL-300 to 03IL-304 | Sqm | 4.45
3.13 | Wall - Supply and install W2 - 585X585X10MM THK COPPER COLOR TRADITIONAL PATTERN WALL PVC TILE(NOVA DECORATIVE SERIES:N128-ANTIQUE/EQUIVALENT) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,03IL-300,03IL-301,03IL-302,03IL-303,03IL-304,03IL-305,03IL-306,03IL-307 | Sqm | 9.3345
3.14 | Wall - Supply and install W3 - 330X330MM THK WHITE CERAMIC WALL TILE WITH GREY COLOR GROUT (BRAND:RAK CERAMICS SERIES:WHITE COLLECTION COLOR:WHITE/EQUIVALENT ) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,03IL-300,03IL-301,03IL-302,03IL-303,03IL-304,03IL-305,03IL-306,03IL-307 | Sqm | 160.2804
3.15 | Wall Front Counter 2 facia - Supply and install W4-200X200GREEN PATTERN MOROCCO TILE over ply carcass, all in accordance with the drawings and specifications. Dwg ref: 02GA-102, 03IL-300 to 03IL-304 | Sqm | 3.48
3.16 | Wall - Supply and install W5 - 200X1200X9MM THK GREEN SHADE WOODEN PLANK VITRIFIED TILE TILE (BRAND:MY TILESSERIES:WOODEN TILE CODE:24280 COLOR:GRAY/EQUIVALENT ) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,03IL-300,03IL-301,03IL-302,03IL-303,03IL-304,03IL-305,03IL-306,03IL-307 | Sqm | 13.95
3.17 | Wall - Supply and install W6 - 100X300X4MM THK RED SUBWAY CERAMIC TILE (BRAND:BRAND:MY TILES SERIES:CERAMIC SUBWAY CODE:1199 COLOR:RED /EQUIVALENT ) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,03IL-300,03IL-301,03IL-302,03IL-303,03IL-304,03IL-305,03IL-306,03IL-307 | Sqm | 9
3.18 | Wall - Supply and install W7 - 300X600MM CREAM COLOR WALL TILE (BRAND:SIMPOLO SERIES:WALL TILES CODE:302 COLOR:FLORA SKID/EQUIVALENT) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,03IL-300,03IL-301,03IL-302,03IL-303,03IL-304,03IL-305,03IL-306,03IL-307 | Sqm | 32.046
3.19 | Wall - Supply and install M1 - Wall finish with 4mm guage COPPER COLOR PVD MIRROR FINISH ALUMINIUM SHEET and 75x50mm aluminium profiles powder coated with OAK WOODEN GRAIN FINISH(PC1) to walls, all in accordance with the drawings and specifications. Dwg ref:02GA-101B,02GA-101C,03IL-301 | Sqm | 30.512
Paint finish
3.2 | Providing and applying two or more coats of (P2)SMOOTH SHEEN finish OYSTER WHITE COLOR PAINT COLOR TO BE MATCH WITH RAL:1013(DULUX PAINT /EQUIVALENT )after preparing the surface with a coat of primer and 6 mm thick plaster of paris punning to give a smooth and even surface etc. complete. | Sqm | 15.6
3.21 | Providing and applying two or more coats of (P6)60% GLOSS finish LUMINOUS YELLOW COLOR 2 POT LACQUER PAINT COLOR TO BE MATCH WITH RAL:6037(DULUX PAINT /EQUIVALENT )after preparing the surface with a coat of primer and 6 mm thick plaster of paris punning to give a smooth and even surface etc. complete. | Sqm | 13
3.22 | Providing and applying two or more coats of(P8) SMOOTH SHEEN finish FROST GREY COLOR PAINT (DULUX PAINT /EQUIVALENT )after preparing the surface with a coat of primer and 6 mm thick plaster of paris punning to give a smooth and even surface etc. complete. | Sqm | 45.7584
| SUBTOTAL FOR SECTION3 |  |  |  | 0
SECTION 4 - JOINERY AND FIXED FURNITURE
4.01 | Supply and installation of FRONT COUNTER-01(J01) Carcass shall be made up of required thickness plywood and laminate, Front facia of the carcass shall be painted with AMULET GREEN COLOR 2 POT LACQUER PAINT(P1) & laser cutted 20mm thick MDF panel finish with PATINA GREEN COLOR 2 POT LACQUER PAINT(P11) Rear Facia finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing. Cupboard front finish with GREENLAM ASH GREY LAMINATE WITH 1.2mm thick matching edge clashing. Counter top finish with STYLM ONTARIO WALNUT LAMINATE(L2) with 1.2mm thick matching edge clashing. 6MM dia metal rod powder coated with SAND YELLOW COLOR FINISH(PC4). Stainless steel skirting (M2)on both fron and rear side. Dwg ref:04DE-400A,04DE-400B,04DE-400C | Item | 1 |  | 0
4.02 | Supply and installation of REAR COUNTER(J02) Carcass shall be made up of required thickness plywood and laminate, Interior carcass finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing Counter top finish with 25mm thick CORIAN DUPONT DEEP TITANIUM SOLID SURFACE(CT3) Stainless steel skirting(M2) Ref Dwg-04DE-401 | Item | 1 |  | 0
4.03 | Supply and installation of SERVERY BULKHEAD-01(J03) Carcass shall be made up of required thickness plywood and laminate, Front facia of carcass finish with 300X300X10mm thick mac green rustic slate stone over ply carcass- measured separately in item no 3.12 Remaing sides of carcass finish with 3MOUSE GREY COLOR 2 POT LACQUER PAINT(P7)over ply carcass Ref Dwg-04DE-402 | Item | 1 |  | 0
4.04 | Supply and installation of WALL MOUNT SHELF(J04) Carcass shall be made up of required thickness plywood and laminate, Facia of carcass finish with OYSTER WHITE COLOR PAINT(P2) Wall mount shelf finish with OYSTER WHITE COLOR PAINT(P2) Stainless steel skirting(M2) Ref Dwg-04DE-403A,04DE-403B,04DE-403C | Item | 1 |  | 0
4.05 | Supply and installation of FRONT COUNTER-02(J05) Carcass shall be made up of required thickness plywood and laminate, Counter front finish with 200x200MM GREEN PATTERN MOROCCO TILE (W4) - measured seperately in item no 3.15 Drawer front finish with GREENLAM ASH GREY LAMINATE (L3) with 1.2m thick matching edge clashing. Cupboard front finish with GREENLAM ASH GREY LAMINATE WITH 1.2mm thick matching edge clashing. Interior carcass finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing. Removable shelf finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing.Removable shelf shall have stainless steel adjustable support bracket. Counter top finish with TAN BROWN GRANITE STONE(CT1) and HIGH GLOSS JAMAICAN WALNUT VENEER SHEET(WD1). Stainless steel skirting(M2) on both fron and rear side. Dwg ref:04DE-404A,04DE-404B | Item | 1 |  | 0
4.06 | Supply and installation of REAR COUNTER(J06) Carcass shall be made up of required thickness plywood and laminate, Interior carcass finish with ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing. Cup board front finish with ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing. Counter top finish with 25mm thick CORIAN DUPONT DEEP TITANIUM SOLID SURFACE(CT3) Stainless steel skirting(M2) Ref Dwg-04DE-405 | Item | 1 |  | 0
4.07 | Supply and installation of SERVERY BULKHEAD-02(J07) Carcass shall be made up of required thickness plywood and laminate, Ply carcass finish with LUMINOUS YELLOW COLOR 2 POT LACQUER PAINT(P5) Ref Dwg-04DE-406 | Item | 1 |  | 0
4.08 | Supply and installation of BULKHEAD WITH DIVIDER(J08) Carcass shall be made up of required thickness plywood and laminate, 5.5mm thick MDF finish with YELLOW COLOR 2 POT LACQUER PAINT(P4) Ply carcass bulkhead front finish with YELLOW COLOR 2 POT LACQUER PAINT(P4) 30x30mm metal profile finish WHITE COLOR 2 POT LACQUER PAINT(P3) & 50x30mm metal profile finish GREEN COLOR 2 POT LACQUER PAINT (P5) at the top of the bulkhead. 50x30mm metal profile finish GREEN COLOR 2 POT LACQUER PAINT (P5) at thebottom of the bulkhead Divider- 15x15mm metal profile as per design shown in drawing, proile finish with GREEN COLOR 2 POT LACQUER PAINT(P5) Ref Dwg-04DE-407A,04DE-407B | Item | 1 |  | 0
4.09 | Supply and installation of FRONT COUNTER-03(J09) Carcass shall be made up of required thickness plywood and laminate, Counter front finish with 200x200MM GREEN PATTERN MOROCCO TILE (W4) - measured seperately in item no 3.15 Drawer front finish with GREENLAM ASH GREY LAMINATE (L3) with 1.2m thick matching edge clashing. Cupboard front finish with GREENLAM ASH GREY LAMINATE WITH 1.2mm thick matching edge clashing. Interior carcass finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing. Removable shelf finish with GREENLAM ASH GREY LAMINATE(L3) with 1.2mm thick matching edge clashing.Removable shelf shall have stainless steel adjustable support bracket. Counter top finish with TAN BROWN GRANITE STONE(CT1) and HIGH GLOSS JAMAICAN WALNUT VENEER SHEET(WD1). Stainless steel skirting(M2) on both front and rear side. Dwg ref:04DE-408 | Item | 1 |  | 0 | TBC
4.1 | Supply and installation of SERVERY BULKHEAD-03(J10) 40x40mm metal profile framework fixed to the ceiling, cladded with 2mm thick metal sheet finish with MOUSE GREY COLOR 2 POT LACQUER PAINT(P7) Ref Dwg-04DE-409 | Item | 1 |  | 0
4.11 | Supply and installation of FAÇADE BULKHEAD 01(J11)- Braj Ki Galiyan Carcass shall be made up of required thickness plywood and laminate, Carcass to be cladded with 4mm guage COPPER COLOR PVD MIRROR FINISH aluminium sheet(M1). 40x25mm metal profile finish with WHITE COLOR 2 POT LACQUER PAINT(P3) to support the LED striplight Ref Dwg-04DE-410 | Item | 1 |  | 0
4.12 | Supply and installation of FAÇADE BULKHEAD 02(J11)- Idli.com Carcass shall be made up of required thickness plywood and laminate, Carcass to be cladded with 4mm guage COPPER COLOR PVD MIRROR FINISH aluminium sheet(M1). 40x25mm metal profile finish with WHITE COLOR 2 POT LACQUER PAINT(P3) to support the LED striplight Ref Dwg-04DE-410 | Item | 1 |  | 0
4.13 | Supply and installation of FAÇADE BULKHEAD 03(J11)- Dominos Carcass shall be made up of required thickness plywood and laminate, Carcass to be cladded with 4mm guage COPPER COLOR PVD MIRROR FINISH aluminium sheet(M1). 40x25mm metal profile finish with WHITE COLOR 2 POT LACQUER PAINT(P3) to support the LED striplight 25X25metal profile finish with POWDER COATED WITH BLACK COLOR (PC2) to support the signage Ref Dwg-04DE-410 | Item | 1 |  | 0
4.14 | Supply and installation of LEANER TABLE(J12) Vertical support -Made from 25x25mm metal framework claded with plywood carcass,the carcass finish with GREENLAM REFRESH OAK LAMINATE (L1)with 1.2mm thick matching edge clashing,30x50mm metal profile framework powder coated with THULITE ROSE COLOR FINISH(PC3),21.3mm dia MS rod powder coated with THULITE ROSE COLOR FINISH(PC3). Top edge of the vertical support shall be finished with 6mm thick metal plate powder coated with THULITE ROSE COLOR FINISH Table top-Made fram 25x25mm metal framework claded carcass,the carcass finish with GREENLAM REFRESH OAK LAMINATE(L1).Edges of the table top shall be finished with 4mm thick metal plate powder coated with THULITE ROSE COLOR FINISH Ref Dwg-04DE-411A,04DE-411B | Item | 1 |  | 0
4.15 | Supply and installation of ORDER STATION(J13) 5mm thick baseplate fixed to the floor and finish with 4mm guage ROSE GOLD COLOR PVD MIRROR FINISH ALUMINIUM SHEET / PROFILES Framework-40X40mm metal profile finish with 4mm guage ROSE GOLD COLOR PVD MIRROR FINISH ALUMINIUM SHEET / PROFILES Mesh finish with 4mm guage ROSE GOLD COLOR PVD MIRROR FINISH ALUMINIUM SHEET / PROFILES Table top-30x25mm metal frame work cladded with plywood carcass of required size.The carcass finsh with GREENLAM REFRESH OAK LAMINATE with 1.2mm thick matching edge clashing. Ref Dwg-04DE-412 | Item | 1 |  | 0
4.16 | Supply and installation of DIVIDER-01(J14) Framework-8X50mm and 30x50mm metal plate finish with powder coating withTHULITE ROSE COLOR FINISH 6mm thick SAINT GOBAIN industrial trend wired 1/2 semi translucent glass fitted to the framework using silicon gel. Ref Dwg-04DE-413A,04DE-413B | Item | 1 |  | 0
4.17 | Supply and installation of DIVIDER-02(J14) Framework-8X50mm and 30x50mm metal plate finish with powder coating withTHULITE ROSE COLOR FINISH 6mm thick SAINT GOBAIN industrial trend wired 1/2 semi translucent glass fitted to the framework using silicon gel. Ref Dwg-04DE-413A,04DE-413B | Item | 1 |  | 0
4.18 | Supply and installation of DIVIDER-03(J14) Framework-8X50mm and 30x50mm metal plate finish with powder coating withTHULITE ROSE COLOR FINISH 6mm thick SAINT GOBAIN industrial trend wired 1/2 semi translucent glass fitted to the framework using silicon gel. Ref Dwg-04DE-413A,04DE-413B | Item | 1 |  | 0
4.19 | Supply and installation of GREEN WALL(J15) Framework-100X50mm metal profile finish with MOUSE GREY COLOR 2 POT LACQUER PAINT(P7) Backing ply carcass with front finsh with FROST GREY COLOR PAINT(P8) and ARTIFICIAL GREEN PAINT. 18mm thick ply carcass finish with GREENLAM REFRESH OAK LAMINATE with 1.2mm thick matching edge clashing.75x50mm thick aluminium profile powdercoated with OAK WOODEN GRAIN FINISH(PC1) Ref Dwg-04DE-414A,04DE-414B | Item | 1 |  | 0
4.2 | Supply and installation of BOX1 BOX2 BOX3 BOX4(J16) Framework-ply wood carcass of required size, claded with 4mm guage COPPER COLOR PVD MIRROR FINISH ALUMINIUM SHEET (M1) over ply carcass 75x30mm aluminium powder coated with OAK WOODEN GRAIN FINISH(PC1). Stainless steel skirting(MT2) Ref Dwg-04DE-414A,04DE-414B | Sqm | 22.4 |  | 0
4.21 | Supply and installation of Door (D1)960 x 2100mm Swing-Single Acting. Frame:40x100 mm wooden frame finish with metal clasp color enamel paint(P10) Shutter -40mm thick solid core door leaf finish with metal clasp color enamel paint (P10). Hardware:Heavy duty metal Single acting hinges(DORSET/EQUIVALENT)(H1) Finish- chrome plated. Flush pull handles(both sides)(H2) Finish Stainless steel hairline, Make: BENZOVILLE 2mm gauge stainless steel kick plate(on both sides) (H4),Make :TRITON ALLOYS INC /EQUIVALENT Ref Dwg-02GA-101C | No | 1 |  | 0
4.22 | Supply and installation of Door (D2)870 x 2100mm Swing-Single Acting. Frame:40x100 mm wooden frame finish with metal clasp color enamel paint(P10) Shutter -40mm thick solid core door leaf finish with metal clasp color enamel paint (P10). Hardware:Heavy duty metal Single acting hinges(DORSET/EQUIVALENT)(H1) Finish- chrome plated. Flush pull handles(both sides)(H2) Finish Stainless steel hairline, Make: BENZOVILLE 2mm gauge stainless steel kick plate(on both sides) (H4),Make :TRITON ALLOYS INC /EQUIVALENT Single glazed transparent vision panel Make: SAINT-GOBAIN /EQUIVALENT Ref Dwg-02GA-101C | No | 1 |  | 0
4.23 | Supply and installation of Door (D3)670 x 2100mm Swing-Single Acting. Frame:40x100 mm wooden frame finish with metal clasp color enamel paint(P10) Shutter -40mm thick solid core door leaf finish with metal clasp color enamel paint (P10). Hardware:Heavy duty metal Single acting hinges(DORSET/EQUIVALENT)(H1) Finish- chrome plated. Flush pull handles(both sides)(H2) Finish Stainless steel hairline, Make: BENZOVILLE 2mm gauge stainless steel kick plate(on both sides) (H4),Make :TRITON ALLOYS INC /EQUIVALENT Single glazed transparent vision panel Make: SAINT-GOBAIN /EQUIVALENT Ref Dwg-02GA-101C | No | 1 |  | 0
4.24 | Supply and installation of Fire Door (FD)1110 x 2050mm AS PER VENDOR SPECIFICATIONS Ref Dwg-02GA-101C | No | 1 |  | 0
| SUBTOTAL FOR SECTION 4 |  |  |  | 0
| SECTION 5 - SIGNAGE | [6 empty] | As per shashank verbally discussion furniture boq not to upload
5.01 | Supply and installation of signage SG01:LOCATION OF LIT SIGNAGE-01 ON FACADE BULKHEAD-03--2255 X 355MM 3D formed letters with 50mm thick front lit fret cut letterfinish with 3 mm thick acrylic sheet on front side,white color powder coated Aluminium sheet on sides & Aluminium back panel. 50mm thick front lit fret cut letters finish with red color (RAL:3028) Vinyl sticker over 3 mm thick Acrylic sheet on front side,white color powder coated aluminium sheet on sides & Aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.02 | Supply and installation of signage SG02:LOCATION OF LIT SIGNAGE-02 ON FACADE BULKHEAD-02-1890 X 435MM 50mm thick front lit fret cut letters finish with 3 mm thick Acrylic sheet on front side,white color powder coated aluminium sheet on sides &pure green color(RAL:6037) powdercoated aluminium back panel. 50mm thick front lit fret cut letters finish with COLZA YELLOW COLOR (RAL:1021)Vinyl sticker over 3 mm thick Acrylic sheet on front side, YELLOW COLOR powder coated aluminium sheet on side & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.03 | Supply and installation of signage SG03:LOCATION OF LIT SIGNAGE-01 ON FACADE BULKHEAD-01-2505X510MM 3D formed letters with 50MM thick front lit fret cut letters finish with 3 MM thickk white color acrylic sheet on front side, traffic purple color (RAL:4006) powder coated aluminium sheet on sides & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1
5.04 | Supply and installation of signage SG04:LOCATION OF NON LIT SIGNAGE-04 ON BULKHEAD-1270X195MM 3D formed letters with 50mm thick fret cut letters finish with pure green color (RAL:6037) Vinyl sticker over 3 mm thick acrylic sheet on front side, green color powder coated aluminium sheet on side & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.05 | Supply and installation of signage SG05:LOCATION OF LIT SIGNAGE-05 ON ORDER STATION-930X260mm. 3D formed letters with 50mm thick front lit fret cut letters finish with 3 mm thick white color acrylic sheet on front side, aluminium sheet on side & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.06 | Supply and installation of signage SG06:LOCATION OF LIT SIGNAGE-06 ON FACADE BULKHEAD-03-650X120MM. 3D formed letters with 50mm thick front lit fret cut letters finish with 3 mm thick white color acrylic sheet on front side, aluminium sheet on side & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0 |  | #VALUE!
5.07 | Supply and installation of signage SG07:LOCATION OF LIT SIGNAGE-07 ON FACADE BULKHEAD-03-585X120MM. 3D formed letters with 50mm thick front lit fret cut letters finish with 3 mm thick white color acrylic sheet on front side, aluminium sheet on side & aluminium back panel. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.08 | Supply and installation of LOGO-01-180X180MM. Logo fixed to wall finish with Vinyl sticker. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.09 | Supply and installation of LOGO-02-240X240MM. Logo fixed to wall finish with Vinyl sticker. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.1 | Supply and installation of LOGO-03-320X320MM. Logo fixed to wall finish with Vinyl sticker. Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
5.11 | Supply and installation of FRAMED POSTER-01-FRAMED POSTER-01 30 mm wooden frame with Vinyl graphic fixed to wall (AS PER BRAND). Ref Dwg-02GA-106A,02GA-106B,02GA-106C | Set | 1 |  | 0
| SUBTOTAL FOR SECTION 5 |  |  |  | 0
| SECTION 6 - LIGHTING | [6 empty] | uploaded in Lights
Supplyind Fixing of Light fixtures
6.01 | PENDANT LIGHT-LT1 Color Temparature:2700K WIRE CAGE PENDANT LIGHT BULB IS FIXED INSIDE IT SEPARATELY COLOR:BROWN MATERIAL:WOOD | Nos | 4 |  | 0
6.02 | PENDANT LIGHT-LT2 Color Temparture-2700K 300MM DIA RIBBED GLASS DOME PENDANT LIGHT BULB IS FIXED INSIDE IT SEPARATELY SHADE MATERIAL:GLASS HOLDER MATERIAL:COPPER | Nos | 2 |  | 0
6.03 | RECESSED DOWN LIGHT-LT3 Watt: 6.5W Color Temparature: 3000K DIE-CAST ALUMINIUM BODY WITH WHITE COLOR POWDERCOATED FINISH COLOR:WHITE DIA:100MM | Nos | 146 |  | 0
6.04 | BATTEN LIGHT-LT4 Watt-25W Color Temparature:2700K DIE-CAST ALUMINIUM BODY WITH WHITE COLOR POWDERCOATED FINISH COLOR:WHITE LENGTH:1200MM | Nos | 16 |  | 0
6.05 | WALL MOUNT LIGHT-LT5 Watt:17.9W Color Temparature:3000K 300MM DIA TERRACOTTA COLOR FINISH BACK LIT FORTIS ROUND WALL SCONCE | Nos | 6 |  | 0
6.06 | 20MM LED STRIP LIGHT -LT6 Watt: 29W Color tempararture:2700K 20MM WIDE SELF ADHESIVE FLEXIBLE LED SRTIP LIGHT LOCATION:CEILING | Mtr | 106.481 |  | 0
6.07 | LED PROFILE DIFFUSER-01 25x18MM SURFACE ALUMINIUM PROFILE LOCATION:CEILING & BOX-01 | Mtr | AS PER DWG
6.08 | 10MM LED STRIP LIGHT -02-LT7 Watt-15W Color Temparature-2700K 10MM WIDE SELF ADHESIVE FLEXIBLE LED SRTIP LIGHT | Mtr | AS PER DWG
6.09 | LED PROFILE DIFFUSER-02 16x12MM SURFACE ALUMINIUM PROFILE LOCATION:COUNTERS | Mtr | AS PER DWG
6.1 | LED PROFILE DIFFUSER-03 16x16MM CORNER ALUMINIUM PROFILE LOCATION:WALL MOUNT SHELF | Mtr | AS PER DWG
| SUBTOTAL FOR SECTION 6 |  |  |  | 0
| SECTION 7 - FURNITURE | [6 empty] | As per shanshank not to upload
Supplying and assemblying of furniture
7.01 | DINING TABLE-TB1 WIDTH-600MM DEPTH-600MM HEIGHT-750MM TABLE TOP:40 MM THK TABLE TOP, OAK WOOD LAMINATE FINISH LEGS :POWDERCOATED CIRCULAR HOLLOW METAL TUBE BASE PLATE:POWDER COATED CIRCULAR METAL PLATE | Nos | 24 |  | 0
7.02 | DINING TABLE-TB2 WIDTH-600MM DEPTH-600MM HEIGHT-750MM TABLE TOP:40 MM THK TABLE TOP,AUTHENTIC PALLADIANA STYLE TERRAZZO TILE LEGS :POWDERCOATED CIRCULAR HOLLOW METAL TUBE BASE PLATE:POWDER COATED CIRCULAR METAL PLATE | Nos | 17 |  | 0
7.03 | DINING TABLE-TB3 WIDTH-700MM DEPTH-665MM HEIGHT-750MM TABLE TOP:40 MM THK TABLE TOP,OAK WOOD LAMINATE LEGS :POWDERCOATED CIRCULAR HOLLOW METAL TUBE BASE PLATE:POWDER COATED CIRCULAR METAL PLATE | Nos | 3 |  | 0
7.04 | CHAIRS | Nos | 88 |  | 0 | TBC | TBC
7.05 | CHAIRS | Nos | 12 |  | 0 | TBC | TBC
| SUBTOTAL FOR SECTION7 |  |  |  | 0
| SECTION 8 - EQUIPMENT | [6 empty] | as per shashank not to upload
8.01 | EQUIPMENT LEGEND-BRAJ KI GALLIYAN
8.02 | TWO DOOR CHILLER WITH RAISE BAIN MARIE ( COMPRESSOR ON RHS) | No | 1
8.03 | TWO DOOR WORK TOP CHILLER ( COMPRESSOR ON RHS ) | No | 1
8.04 | SINK WITH CROSS BRACING | No | 1
8.05 | SINGLE BURNER RANGE | No | 1
8.06 | TWO BURNER RANGE | No | 1
8.07 | SIDE TABLE WITH 2 U/S | No | 1
8.08 | TABLE FOR KEEPING COMBI - OVEN WITH ARRANGEMENTS FOR KEEPING TRAYS | No | 1
8.09 | COMBI OVEN | No | 1
8.1 | SIDE TABLE WITH 2 U/S | No | 1
8.11 | SS TANDOOR GAS OPERATED | No | 1
8.12 | ROLLING TABLE | No | 1
8.13 | SKEWER HANGING ROD | No | 1
8.14 | SPARE NUMBER | No | 1
8.15 | BULK KADAI | No | 1
8.16 | FRY DUMP TABLE | No | 1
8.17 | SIDE TABLE | No | 1
8.18 | SINGLE BASKET DEEP FAT FRYER - TABLE MODEL | No | 1
8.19 | WORK TABLE WITH 1 U/S | No | 1
8.2 | HOT PLATE WITH ONE U/S | No | 1
8.21 | HOT BAIN MARIE WITH SNEEZE GUARD ( 4 NOS 1/1 GN PAN) | No | 1
8.22 | COLD BAIN MARIE WITH SNEEZE GUARD ( 1 NOS 1/1 GN PAN) | No | 1
8.23 | COUNTER FOR POS WITH BOTTOM STORAGE - AS PER OPERATIONS REQUIREMENT | No | 1
8.24 | COLD BAIN MARIE WITH DRAWER CHILLER BELOW | No | 1
8.25 | COUNTER FOR JUICE DISPENCER | No | 1
8.26 | JUICE DISPENSER | No | 1
8.27 | TWO DOOR WORK TOP REFRIGERATOR ( COMPRESSOR ON RHS ) | No | 1
8.28 | LIVE CROSS COLD WELL FOR DISPLAY WITH LIGHT (SUSHI COUNTER TYPE) | No | 1
8.29 | TABLE TOP AUTOMATIC JUICE EXTRACTORS J 100 | No | 1
8.3 | TABLE TOP AUTOMATIC JUICE EXTRACTORS J 80 | No | 1
8.31 | ICE CUBE MACHINE | No | 1
8.32 | SPARE NUMBER | No | 1
8.33 | BLENDER | No | 1
8.34 | MILK BOILER - 9 LITRES | No | 1
8.35 | WATER BOILER - 18 LITRES | No | 1
8.36 | TWO DOOR WORK TOP REFRIGERATOR ( COMPRESSOR ON RHS ) | No | 1
8.37 | COFFEE MACHIN KALERM X 585 | No | 1
8.38 | MILK FRIDGE | No | 1
8.39 | FOUNTAN MACHINE | No | 1
8.4 | BELOW SPACE FOR CYRUP | No | 1
8.41 | CO2 CABINET | No | 1
8.42 | 2 DOOR VERTICAL FREEZER | No | 1
8.43 | 2 DOOR VERTICAL CHILLER | No | 1
8.44 | KNEE OPERATED HAND WASH SINK | No | 1
8.45 | SOILED DISH RECIVING TABLE WITH GARBAGE CHUTE | No | 1
8.46 | SINK UNIT | No | 1
8.47 | HOOD TYPE DISH WASHER (ELECTRICALLY OPERATED) | No | 1
8.48 | UNLOADING TABLE WITH 2 UNDERSHELVES | No | 1
8.49 | CLEAN DISH RACK | No | 1
8.5 | CLEAN DISH RACK | No | 1
8.51 | PRE - RINSE FAUCET | No | 1
8.52 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.53 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.54 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.55 | WATER BOILER (GEYSER) | Nos | 2
8.56 | INSECT KILLER | Nos | 2
8.57 | GREASE TRAP - 7 KG GREASE CAPACITY | No | 1
8.58 | GREASE TRAP - 13 KG GREASE CAPACITY | No | 1
EQUIPMENT LEGEND-IDLI.COM
8.59 | SPARE NUMBER | No | 1
8.6 | HOT PLATE WITH 1 U/S | No | 1
8.61 | 1/1 GN PAN AMBIENT BAIN MARIE | No | 1
8.62 | SPARE NUMBER | No | 1
8.63 | TABLE TOP HOT PLATE | No | 1
8.64 | 1/1 GN PAN COLD BAIN MARIE | No | 1
8.65 | 1/1 GN PAN 2 CONTAINERS HOT BAIN MARIE | No | 1
8.66 | COUNTER WITH BOTTOM STORAGE AND DOOR - AS PER OPERATION TEAMS INPUT | No | 1
8.67 | COUNTER MODEL SINK | No | 1
8.68 | COMBI OVEN | No | 1
8.69 | TABLE FOR KEEPING COMBI - OVEN WITH ARRANGEMENTS FOR KEEPING TRAYS | No | 1
8.7 | TWO DOOR WORK TOP REFRIGERATOR ( COMPRESSOR ON RHS ) | No | 1
8.71 | SPARE NUMBER | No | 1
8.72 | FILTER COFEE MACHINE - 3 LITRES CAPACITY | No | 1
8.73 | MILK BOILER - 9 LITRES | No | 1
8.74 | WATER BOILER - 18 LITRES | No | 1
8.75 | VISI COOLER | No | 1
8.76 | 2 DOOR VERTICAL CHILLER | No | 1
8.77 | TWO DOOR WORK TOP REFRIGERATOR ( COMPRESSOR ON RHS ) | No | 1
8.78 | WORK TABLE WITH 2 U/S | No | 1
8.79 | SINGLE BASKET DEEP FAT FRYER - TABLE MODEL | No | 1
8.8 | SPARE NUMBER | No | 1
8.81 | TWO BURNER RANGE WITH 1 U/S | No | 1
8.82 | KNEE OPERATED HAND WASH SINK | No | 1
8.83 | WORK TABLE WITH SINK | No | 1
8.84 | WALL SHELVES | No | 1
8.85 | SS STORAGE RACK - 5 SHELVES 3 SIDES UP AND FRONT SIDE DOWN | No | 1
8.86 | SS DRAIN GRATING | Nos | 4
8.87 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.88 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.89 | EXHAUST HOOD WITH SS FILTERS | No | 1
8.9 | WATER BOILER(GEYSER) | No | 1
8.91 | AIR CURTAIN | No
8.92 | INSECT KILLER | No | 2
8.93 | GARBAGE BINS | No
8.94 | GREASE TRAP - 7 KG GREASE CAPACITY | No | 1
8.95 | GREASE TRAP - 13 KG GREASE CAPACITY | No | 1
| EQUIPMENT LEGEND-DOMINOS |  |  |  |  | TBC
8.96 | [5 empty] | TBC
8.97 | [5 empty] | TBC
8.97 | [5 empty] | TBC
| SUBTOTAL FOR SECTION8 |  |  |  | 0
SECTION 9 -IT/DMB/POS/CCTV
TBC
TBC
TBC
| SUBTOTAL FOR SECTION9 |  |  |  | 0

## Sheet1 (hidden)
1
PB1 | 4.54 | 3.1 | 14.074
PB1 | -1.05 | 2.1 | -2.205
PB1 | 0.8 | 3.1 | 2.48
PB1 | 3.67 | 3.1 | 11.377
PB3 | 1.075 | 3.1 | 3.3325
PB3 | 1.075 | 3.1 | 3.3325
PB4 | 2.5 | 4.3 | 10.75
PB4 | -1.12 | 2.1 | -2.352
PB2 | 3.933 | 4.3 | 16.9119
PB1 | 0.85 | 3.1 | 2.635
PB2 | 1.4 | 4.3 | 6.02
PB3 | 4.9 | 3.1 | 15.19
PB5 | 0.625 | 3.1 | 1.9375
PB1 | 4.65 | 3.1 | 14.415
PB1 | -0.95 | 2.1 | -1.995
PB2 | 1.4 | 4.3 | 6.02
PB3 | 4.9 | 3.1 | 15.19
PB3 | 4.55 | 3.1 | 14.105
PB3 | 1.74 | 3.1 | 5.394
PB3 | 0.65 | 3.1 | 2.015
PB2 | 5.4 | 4.3 | 23.22
PB3 | 2.2 | 3.1 | 6.82
PB2 | 1.4 | 4.3 | 6.02
PB2 | 1.6 | 4.3 | 6.88
PB1 |  |  | 40.781
PB2 |  |  | 65.0719
PB3 |  |  | 65.379
PB4 |  |  | 8.398
PB5 |  |  | 1.9375