## SUMMARY
Annexure I
BOQ
PROJECT: | TFS- CHENNAI - The Good times BAR
Sr. No. | Item Description | BOQ Amount in INR.
1 | Civil work | 0
2 | Carpentary Works | #REF!
3 | P.O.P , Gypsum and Painting Works | #REF!
4 | Electrical | #REF!
| Subtotal amount INR. (without taxes) | #REF!
| CGST / SGST - Taxes - 18% | #REF!
| Total amount INR. (with taxes) | #REF!
NOTE:
This BOQ does not include low cost works for HVAC, Internal and External plumbing.

## CIVIL
SR.NO. | DESCRIPTION | QTY | UNIT | RATE/UNIT (INR) | AMOUNT (INR)
I | CIVIL WORKS
1 | Board Out
1 | Providing and fixing flex board out. Cost to include framework cost, opening for door, flex printing and installation. ( digital file provided by client ) Sizes as mentioned below.
i | 39 Feet - Length X 10 Feet - Ht | 390 | Sq Ft | 0 | 0
2 | Construction of Walls
1 | P&C of 100mm thick brick wall (red clay brick) having ht. 862 mm in CM 1:4 proportion, including scaffolding, ranking out the joints, cutting, providing & fixing of 12mm thick MS rod for the each one meter height of the wall, lintel work for the doors & windows opening, seven days water treatment to the walls, etc. complete as per site engineer's instruction. (non-veg. counter) | 0 | Sq Ft | 0 | 0
3 | Plaster Works
1 | P&A of single coat backing plaster of 15 / 18 mm thick in CM 1:4 proportion to the walls & others surface including scaffolding, curing the joints, etc. The rates are inclusive of providing chicken mesh of 18mm gauge & 150mm width at junction of brick & RCC etc. at the walls, columns, beams etc., seven days water treatment as anti crack of plaster. Complete as per site engineer's instruction. | 0 | Sq Ft | 0 | 0
4 | Flooring
4.1 | Tile flooring
| P & F flooring including laying of 38 / 45 mm thick cement sand mortar bed in 1:4 proportions below the flooring, finishing of joints with added color pigments. Rate should be included with sand, cement, spacer, grouting etc. all raw materials to lay the tiles up to the mark. Complete in proper line & level as per architectural drawing & site engineer's instruction..(Flooring pattern as per design). (basic cost- Rs. 230/sft) | 0 | Sq Ft | 0 | 0
4.2 | P&F 4mm thk.S.S. Inlay inserts within flooring as per pattern given between the existing & proposed printed tile | 35 | R Ft | 0 | 0
4.3 | Providing & Fixing approved brand, pattern, and shade Vinyl flooring, it should be fixed with an approved adhesive as per the manufacturer's specifications.vinyl flooring in the internal area of the outlet as per approved DWG. & in coirdination with site inc. (basic cost- Rs. 130/sft) Warranty: The product should have a minimum 5-year warranty on material. | 177 | Sq Ft | 0 | 0
5 | Dado-
5.1 | P&F of Black subway tiles of 100mm x 200mm (at bar, ledge counter) upto 912 mm height fixing with Tiles Adhesive Chemical, including finishing of joints in white cement with added matching color pigments, etc, making cut out provisions for all related services such as electrical switch board, plumbing sanitary ware fittings, etc as required on site. Complete in proper line & level as per architectural detail drawing & site engineer's instruction. (basic rate-Rs.250/sft) | 112 | Sq Ft | 0 | 0
5.2 | P&F of Approved Dado tiles of 300mm x 300mm upto 900 mm height fixing with Tiles Adhesive Chemical, including finishing of joints in white cement with added matching color pigments, etc, making cut out provisions for all related services such as electrical switch board, plumbing sanitary ware fittings, etc as required on site. Complete in proper line & level as per architectural detail drawing & site engineer's instruction. (basic rate- Rs.250/sft) | 98 | Sq Ft | 0 | 0
| TOTAL- I |  |  |  | 0

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49