- Walk in freezers temperature not maintained due condensation air flow roaming there only

- Attached quotation from the OEM vendor.