## BAR@ CHENNAI
EQUIPMENT SCHEDULE
GTB BAR
|  | CHENNAI |  | 2024-01-25
SR.No. | Eq.No. | DESCRIPTION | BRAND/MODEL | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
3 | CB-03 | COCKTAIL STATION 1 U/S WITH ICE BOX & 6 Nos, 1/9 GN PAN 100MM DEEP | FABRICATED | 1100 x 575+100 x 900Ht. | 1 | [6 empty] | COCKTAIL STATION 1 U/S WITH ICE BOX & 6 Nos, 1/9 GN PAN 100MM DEEP FABRICATED 1100 x 575+100 x 900Ht.
12 | CB-10 | BLENDER M/C2 SPEED | Vitamix /JTC Model No. TM-767A | 203 x 229 x 440 | 1 | 1PH | 1.2 | 1.2 | 5 / 15 Amp | Switch Socket |  | BLENDER M/C2 SPEED Vitamix /JTC Model No. TM-767A 203 x 229 x 440
14 | CB-12 | 2 DOOR BACK BAR CHILLER | ELANPRO-EBB 2D | 900 x 520 x 900 | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket |  | 2 DOOR BACK BAR CHILLER ELANPRO-EBB 2D 900 x 520 x 900
15 | CB-13 | MERRY CHEF HIGH SPEED OVEN- VENTLESS | MERRY CHEF-E1S | 400 x 530 x 580 | 1 | 1PH | 3 | 3 | 32 Amp | Metal Clad |  | MERRY CHEF HIGH SPEED OVEN- VENTLESS MERRY CHEF-E1S 400 x 530 x 580
17 |  | Glas Washer | Hobart | 400 X 400 X 750 | 1 | 1 PH | 4.6 | 4.6 | 5 / 15 Amp | Switch Socket | This will be installed at DFC for Glass washing, Its operation required | Glas Washer Hobart 400 X 400 X 750
17 | SO-01 | INSECT KILLERS |  | SOE | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket |  | INSECT KILLERS SOE
18 | SO-02 | FIRE EXTINGUISHER ABC-4KG |  | SOE | 1 | [6 empty] | FIRE EXTINGUISHER ABC-4KG SOE
19 | SO-03 | FIRE EXTINGUISHER CO/2-4.5KG |  | SOE | 1 | [6 empty] | FIRE EXTINGUISHER CO/2-4.5KG SOE
20 | SO-04 | FIRE EXTINGUISHER KTYPE - 6KG |  | SOE | 1 | [6 empty] | FIRE EXTINGUISHER KTYPE - 6KG SOE
21 | SO-05 | FIRE BLANKET - 6' X 4' |  | SOE | 1 | [6 empty] | FIRE BLANKET - 6' X 4' SOE
TOTAL Kw. | [7 empty] | 11.3