## Lights
F | Lights SERVICES WORKS
|  |  |  | NAME:ABHAY | SHIVA SHAKTI
2 | Recess mounted circular LED downlighter, size 165 mm dia . 30 WAT COB 3000KV, colour warm white | Each | 9 | NAME:ABHISHEK APPLE LIGHTS 8099051870
| Providing and fixing of profile light size 12mm x length as per site conditions to incorprate with it and fix,as shown in the dwg as of architect approved. | sft | 150
3 | Circular suspended hanging light, size 300 mm dia,Dome shaped lamp shaded,led pendent light,9 watt warm white. | Each | 5 |  | as show in image
4 | Fire alarm system conventional as per design with conduiting , wiring ,detectors & hooters, Panels etc complete with integration. | Sqft | 420