## Idli.com
BILL OF QUANTITIES FOR GAS PROJECT : Idli.com_Ahmedabad Airport
S.NO. | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | GAS BANK QUANTITIES
1 | SITC of 25 mm dia 'C' class seamless MS pipeline with hardware, paint and installation. (Make - Make: Jindal Hisar/ Tata/ SAIL) | RM | 10 |  | 0
2 | SITC of Mainline Shut off valve for PRS - 40mm (Make - MARCK, 5 YEARS WARRANTY) | Nos | 1 |  | 0
3 | SITC of Mainline Shut off Round ball valve - 15mm (Make - L&T industrial valve) | Nos | 1 |  | 0
4 | SITC of Non return valve (Make - Unitech) | Nos | 1 |  | 0
6 | SITC of Black Body Pressure Gauge did 3/8 (2kg) (Make - RR/ H Guru) | Nos | 3 |  | 0
7 | SITC for Filter - 25mm with gas bullnose set for filter connectivity(Make - Vanaz) | Nos | 3 |  | 0
9 | NITROGEN TESTING | Nos | 1 |  | 0
10 | GAS METER | Nos | 1 |  | 0
| TOTAL OF GAS PIPE LINE WORK |  |  |  | 0
B | LV SERVICES (FIRE & GLDS)
1 | Gas Leakage Detector (Make - NG GLOBAL) | Nos. | 2 |  | 0
2 | Control alarm Panel 4 zone | Nos. | 1 |  | 0
4 | Armoured Cable | RM | 11 |  | 0
5 | Solenoid valve with Fittings(25MM) 24V | Nos. | 1 |  | 0
|  | TOTAL |  |  | 0
0