## Plumbing Work BOQ
BILL OF QUANTITIES FOR PLUMBING WORK PROJECT :JONES THE GROCER - EXPRESS
SR. NO. | MATERIAL | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
1 |  | WATER SUPPLY PIPES
3 |  | CHAMBER & GRATING
3.01 | INSPECTION CHAMBER | Supply, Laying, Testing & Commissioning of Approved SS Inspection Chamber along of Size- 450mmx450mm with SS Cover over it. Make Jaquar or Ozone. Including trenching and finishing with ceramic tiles as per dwg and details. | Nos. | 4 | 0 | 0
0

## MB (hidden)
Carpet Area | 1 | 172.91 |  |  | 172.91
[5 empty] | 175 | Sqm
Waterproofing
Male & Female toilet floor | 1 | 5.929 |  |  | 5.929
Walls | 1 | 13.866 |  | 0.6 | 8.3196
Kitchen & pot wash area floor | 1 | 39.09 |  |  | 39.09
Walls | 1 | 49.98 |  | 0.6 | 29.988
| 1 | 3.435 |  | 0.71 | 2.4388
| 2 | 3.435 |  | 0.6 | 4.122
| 2 | 0.71 |  | 0.6 | 0.852
90.7395
9.0739
99.8134
100
Light wt. concrete filling
Male & Female toilet floor | 1 | 5.929 |  |  | 5.929
Kitchen & pot wash area floor | 1 | 39.09 |  |  | 39.09
dispencing area | 1 | 3.435 |  | 0.71 | 2.4388
47.4579
4.7458
52.2036
53
Toilet Front | 1 | 1.953 |  |  | 1.953
0.1953
2.1483
2
PCC
Carpet Area | 1 | 172.91 |  |  | 172.91
[5 empty] | 175 | Sqm
Block Work 100mm thick
Male toilet WC backLedge wall | 1 | 0.975 |  | 1.2 | 1.17
Female toilet WC backLedge wall | 1 | 0.7 |  | 1.2 | 0.84
Male toilet back side wall | 1 | 3 |  | 3.1 | 9.3
WC Back wall | 1 | 1.815 |  | 3.1 | 5.6265
Male & Female toilet entry wall | 2 | 1.525 |  | 3.1 | 9.455
Less Entry door | -2 | 0.75 |  | 2.1 | -3.15
Male & Female toilet Common wall | 1 | 4.36 |  | 3.1 | 13.516
Less opening | -1 | 1.2 |  | 2.1 | -2.52
female toilet wall pot wash side | 1 | 1.465 |  | 3.1 | 4.5415
| 1 | 1.296 |  | 3.1 | 4.0176
Pot wash Entry wall | 1 | 8.205 |  | 3.6 | 29.538
Less Door | -1 | 1.2 |  | 2.1 | -2.52
Kitchen entry wall | 1 | 6.16 |  | 3.6 | 22.176
Less opening window | -1 | 2.1 |  | 1 | -2.1
Bar display back wall | 1 | 3.675 |  | 3.6 | 13.23
Bar raised area ledge wall 300mm high | 1 | 1.5 |  | 0.3 | 0.45
Bar raised area ledge wall 300mm high | 1 | 2.065 |  | 0.3 | 0.6195
| 1 | 2.175 |  | 0.3 | 0.6525
| 1 | 1.51 |  | 0.3 | 0.453
| 1 | 0.165 |  | 0.3 | 0.0495
Toilet Raised area ledge wall 150mm high | 1 | 3.625 |  | 0.15 | 0.54375
Water dispenser area | 1 | 0.975 |  | 0.3 | 0.2925
| 1 | 0.905 |  | 0.3 | 0.2715
| 1 | 3.56 |  | 0.3 | 1.068
107.5208
10.7521
118.2729
120
Plaster
Male toilet back side wall | 2 | 3 |  | 3.1 | 18.6
WC Back wall | 2 | 1.815 |  | 3.1 | 11.253
Male & Female toilet entry wall | 4 | 1.525 |  | 3.1 | 18.91
Less Entry door | -4 | 0.75 |  | 2.1 | -6.3
Male & Female toilet Common wall | 2 | 4.36 |  | 3.1 | 27.032
Less opening | -2 | 1.2 |  | 2.1 | -5.04
female toilet wall pot wash side | 2 | 1.465 |  | 3.1 | 9.083
| 2 | 1.296 |  | 3.1 | 8.0352
Pot wash Entry wall | 2 | 8.205 |  | 3.6 | 59.076
Less Door | -2 | 1.2 |  | 2.1 | -5.04
Kitchen entry wall | 2 | 6.16 |  | 3.6 | 44.352
Less opening window | -2 | 2.1 |  | 1 | -4.2
Bar display back wall | 2 | 3.675 |  | 3.6 | 26.46
Bar raised area ledge wall 300mm high | 2 | 2.115 |  | 0.3 | 1.269
Bar raised area ledge wall 300mm high | 2 | 2.325 |  | 0.3 | 1.395
Toilet Raised area ledge wall 150mm high | 2 | 3.625 |  | 0.15 | 1.0875
205.9727
20.5973
226.57
225
RCC Lintel & Bend
Male toilet WC backLedge wall | 1 | 0.975 |  |  | 0.975
Female toilet WC backLedge wall | 1 | 0.7 |  |  | 0.7
Male toilet back side wall | 3 | 3 |  |  | 9
WC Back wall | 3 | 1.815 |  |  | 5.445
Male & Female toilet entry wall | 6 | 1.525 |  |  | 9.15
Less Entry door | -2 | 0.75 |  |  | -1.5
Male & Female toilet Common wall | 3 | 4.36 |  |  | 13.08
Less opening | -1 | 1.2 |  |  | -1.2
female toilet wall pot wash side | 3 | 1.465 |  |  | 4.395
| 3 | 1.296 |  |  | 3.888
Pot wash Entry wall | 3 | 8.205 |  |  | 24.615
Less Door | -1 | 1.2 |  |  | -1.2
Kitchen entry wall | 3 | 6.16 |  |  | 18.48
Less opening window | -1 | 2.1 |  |  | -2.1
Bar display back wall | 3 | 3.675 |  |  | 11.025
Bar raised area ledge wall 300mm high | 3 | 2.115 |  |  | 6.345
Bar raised area ledge wall 300mm high | 3 | 2.325 |  |  | 6.975
Toilet Raised area ledge wall 150mm high | 3 | 3.625 |  |  | 10.875
Door Lintel | 2 | 1.35 |  |  | 2.7
toilet opening | 1 | 1.8 |  |  | 1.8
Pot wash area entry door | 1 | 1.8 |  |  | 1.8
Window Lintel | 1 | 2.4 |  |  | 2.4
127.648
12.7648
140.4128
140
Tile -1 1200 x 600
FOH Area | 1 | 88.536 |  |  | 88.536
Less Tile-02 MOH AREA | -1 | 14.4 |  |  | -14.4
Less Tile-02 Reception area | -1 | 6.182 |  |  | -6.182
0
67.954
6.7954
74.7494
75
Tile -2 1200 x 600
Tile-02 MOH AREA | 1 | 14.4 |  |  | 14.4
Tile-02 Reception area | 1 | 6.182 |  |  | 6.182
20.582
2.0582
22.6402
23
Tile -3 600 x 600
Kitchen floor area | 1 | 31.131 |  |  | 31.131
Store area | 1 | 1.959 |  |  | 1.959
Bar area | 1 | 4.865 |  |  | 4.865
37.955
3.7955
41.7505
42
Tile -04 1200 x 600
Male toilet | 1 | 1.902 |  |  | 1.902
female toilet | 1 | 1.444 |  |  | 1.444
3.346
0.3346
3.6806
4
Stone Flooring
Toilet Lobby | 1 | 3.797 |  |  | 3.797
Kitchen Entry Steps | 1 | 1.2 |  | 0.45 | 0.54
4.337
0.4337
4.7707
5
Carpet Flooring
Executive Lounge area | 1 | 24.474 |  |  | 24.474
2.4474
26.9214
27
SS Trasition Profile
Executive lounge entry | 1 | 1.4 |  |  | 1.4
At Reception entry | 1 | 4.35 |  |  | 4.35
5.75
0.575
6.325
Door James | 2 | 2.16 |  |  | 4.32
| 2 | 0.9 |  |  | 1.8
| 1 | 0.9 |  |  | 0.9
7.02
0.702
7.722
8
GYPSUM FALSE CEILING
Male Toilet | 1 | 2.005 |  |  | 2.005
Toilet Lobby | 1 | 1.837 |  |  | 1.837
Female toilet | 1 | 1.514 |  |  | 1.514
Kitchen & pot wash area | 1 | 31.299 |  |  | 31.299
Less Hood area | -1 | 2.922 |  |  | -2.922
Less Hood area | -1 | 3.06 |  |  | -3.06
Dinning & reception area | 1 | 38.207 |  |  | 38.207
Vertical sides | 1 | 4.916 |  | 1.7 | 8.3572
| 1 | 9.875 |  | 1.7 | 16.7875
Cove area | 1 | 10.53 |  | 0.45 | 4.7385
Manager Cabin | 1 | 3.789 |  |  | 3.789
102.5522
10.2552
112.8074
115
MS Work for False Ceiling
50 x 50 x 3.6mm thick frame | 4 | 9.875 |  | 4.93 | 194.735
| 1 | 1.64 |  | 4.93 | 8.0852
| 1 | 2.64 |  | 4.93 | 13.0152
| 2 | 8.38 |  | 4.93 | 82.6268
MS Flat 50 x 5mm MS Flat
Restaurant Area | 8 | 0.52 |  | 1.998 | 8.3117
Restaurant Area | 20 | 1.17 |  | 1.998 | 46.7532
Executive lounge area | 4 | 1.17 |  | 1.998 | 9.3506
| 2 | 1.64 |  | 1.998 | 6.5534
| 4 | 0.885 |  | 1.998 | 7.0729
| 2 | 1.165 |  | 1.998 | 4.6553
| 4 | 1.15 |  | 1.998 | 9.1908
| 2 | 2.355 |  | 1.998 | 9.4106
| 2 | 0.855 |  | 1.998 | 3.4166
| 4 | 1.325 |  | 1.998 | 10.5894
| 2 | 1.77 |  | 1.998 | 7.0729
| 4 | 1.41 |  | 1.998 | 11.2687
| 2 | 1.125 |  | 1.998 | 4.4955
| 28 | 1.68 |  | 1.998 | 93.9859
530.5898
53.059
583.6488
650
Wooden Rafters
| 2 | 1.265 |  | 0.52 | 1.3156
| 1 | 1.18 |  | 0.52 | 0.6136
| 1 | 1.03 |  | 0.52 | 0.5356
| 1 | 1.17 |  | 1.43 | 1.6731
| 1 | 1.17 |  | 1.62 | 1.8954
| 1 | 1.17 |  | 1.36 | 1.5912
| 1 | 1.17 |  | 1.25 | 1.4625
| 1 | 1.17 |  | 1.265 | 1.4801
| 1 | 1.17 |  | 1.26 | 1.4742
| 1 | 1.17 |  | 1.18 | 1.3806
| 1 | 1.17 |  | 1.43 | 1.6731
| 1 | 1.17 |  | 1.62 | 1.8954
| 1 | 1.17 |  | 1.36 | 1.5912
Executive Lounge area | 1 | 1.17 |  | 1.36 | 1.5912
| 1 | 1.17 |  | 1.325 | 1.5502
| 1 | 1.64 |  | 8.55 | 14.022
| 1 | 1.165 |  | 1.13 | 1.3164
| 1 | 1.77 |  | 0.885 | 1.5664
| 1 | 1.325 |  | 0.36 | 0.477
| 1 | 1.41 |  | 1.15 | 1.6215
| 1 | 2.355 |  | 1.145 | 2.6965
43.4229
4.3423
47.7652
48
Door frame
Male & Female toilet | 4 | 2.1 | 0.125 | 0.065 | 0.06825
| 2 | 0.75 | 0.125 | 0.065 | 0.012188
Kitchen door | 1 | 1.2 | 0.125 | 0.065 | 0.00975
| 2 | 2.1 | 0.125 | 0.065 | 0.034125
0.12431
0.012431
0.13674
0.15
MS Frame work for partition & paneling
Kitchen | 1 | 0.975 |  | 3.6 | 3.51
| 1 | 8.93 |  | 3.6 | 32.148
| 1 | 0.915 |  | 3.6 | 3.294
| 1 | 1.395 |  | 3.6 | 5.022
| 1 | 7.93 |  | 3.6 | 28.548
Bar store kitchen side partition frame | 1 | 1.98 |  | 3.6 | 7.128
| 1 | 5.735 |  | 3.6 | 20.646
| 1 | 1.34 |  | 3.6 | 4.824
| 1 | 0.125 |  | 3.6 | 0.45
| 1 | 0.675 |  | 3.6 | 2.43
| 1 | 3.435 |  | 3.6 | 12.366
| 4 | 1.34 |  | 3.6 | 19.296
| 1 | 1.4 |  | 3.6 | 5.04
| 1 | 4.79 |  | 3.6 | 17.244
| 1 | 0.125 |  | 3.6 | 0.45
| 1 | 0.655 |  | 3.6 | 2.358
| 1 | 0.715 |  | 3.6 | 2.574
| 1 | 1.242 |  | 3.6 | 4.4712
| 1 | 3.02 |  | 3.6 | 10.872
Manager room entry door side | 1 | 2.685 |  | 3.6 | 9.666
Manager room entry door side | -1 | 0.9 |  | 2.1 | -1.89
Manager room entry door side | 2 | 0.945 |  | 3.6 | 6.804
Manager room entry door side | 2 | 0.96 |  | 3.6 | 6.912
Manager room entry door side | 2 | 2.325 |  | 3.6 | 16.74
Manager room entry door side | 1 | 0.14 |  | 3.6 | 0.504
| 1 | 2.095 |  | 3.6 | 7.542
Bar area | 1 | 2.315 |  | 3.6 | 8.334
Bar area | 2 | 1.44 |  | 3.6 | 10.368
Bar area | 1 | 1.29 |  | 3.6 | 4.644
252.2952
25.2295
277.5247
280
12mm thick Cement board paneling
Kitchen | 1 | 0.975 |  | 3.6 | 3.51
| 1 | 8.93 |  | 3.6 | 32.148
| 1 | 0.915 |  | 3.6 | 3.294
| 1 | 1.395 |  | 3.6 | 5.022
| 1 | 7.93 |  | 3.6 | 28.548
Bar store kitchen side partition frame | 2 | 1.98 |  | 3.6 | 14.256
86.778
8.6778
95.4558
95
12mm HDHMR Board Paneling over MS Frame Work
| 1 | 5.735 |  | 3.6 | 20.646
| -1 | 0.75 |  | 2.1 | -1.575
| 1 | 0.975 |  | 3.6 | 3.51
| 1 | 1.34 |  | 3.6 | 4.824
| 1 | 0.125 |  | 3.6 | 0.45
| 1 | 0.675 |  | 3.6 | 2.43
| 1 | 3.435 |  | 3.6 | 12.366
| 4 | 1.34 |  | 3.6 | 19.296
| 2 | 1.4 |  | 3.6 | 10.08
| 1 | 4.79 |  | 3.6 | 17.244
| 1 | 0.125 |  | 3.6 | 0.45
| 1 | 0.655 |  | 3.6 | 2.358
| 1 | 0.715 |  | 3.6 | 2.574
| 1 | 1.242 |  | 3.6 | 4.4712
| 1 | 3.02 |  | 3.6 | 10.872
Manager room entry door side | 2 | 2.685 |  | 3.6 | 19.332
Manager room entry door side | -2 | 0.9 |  | 2.1 | -3.78
Manager room entry door side | 2 | 0.945 |  | 3.6 | 6.804
Manager room entry door side | 2 | 0.96 |  | 3.6 | 6.912
Manager room entry door side | 2 | 2.325 |  | 3.6 | 16.74
Manager room entry door side | 1 | 0.14 |  | 3.6 | 0.504
| 1 | 2.095 |  | 3.6 | 7.542
Bar area | 1 | 2.315 |  | 3.6 | 8.334
Bar area | 2 | 1.44 |  | 3.6 | 10.368
Bar area | 1 | 1.29 |  | 3.6 | 4.644
12mm HDHMR board cladding on columns in Executive lounge | 6 | 0.1 |  | 2.95 | 1.77
| 2 | 0.15 |  | 2.95 | 0.885
190.0512
19.0051
209.0563
210
19mm thick HDHMR Board paneling
Toilet wall | 1 | 4.335 |  | 2.88 | 12.4848
Less Toilet door | -1 | 1.25 |  | 2.1 | -2.625
Kitchen widow side wall | 1 | 2.91 |  | 2.565 | 7.4642
Less Window | -1 | 2.13 |  | 1.05 | -2.2365
0
15.0875
1.5087
16.5962
17
Looking Mirror
Mirror in Toilet
Male toilet | 1 | 0.45 |  | 0.9 | 0.405
Female toilet | 1 | 0.45 |  | 0.9 | 0.405
Toilet Lobby Area | 1 | 0.75 |  | 1.8 | 1.35
2.16
0.216
2.376
3
Bulk Head
| 1 | 14.71 |  | 0.3 | 4.413
| 1 | 12.375 |  | 0.3 | 3.7125
8.1255
0.81255
8.9381
9
LOGO base
| 1 | 4.53 |  | 0.5 | 2.265
0.2265
2.4915
3
Copper Bowl Fixing on External surface façade area
| 1 | 4.1 |  | 2.8 | 11.48
1.148
12.628
13
Laminate paneling betan copper bowel base
| 1 | 4.1 |  | 2.8 | 11.48
1.148
12.628
13
Wedge type partition
At entry façade | 1 | 8.4 |  | 2.8 | 23.52
2.352
25.872
26
Laminate paneling with grooves
Façade work glazing & jali side | 1 | 12.375 |  | 2.8 | 34.65
Less Glazing & jali | -1 | 5.35 |  | 2.6 | -13.91
At main entrance | 1 | 14.71 |  | 2.8 | 41.188
Less Entry | -1 | 4.53 |  | 2.8 | -12.684
Less wedge paneling | -1 | 8.4 |  | 2.8 | -23.52
Less betan copper bowel base | -1 | 4.1 |  | 2.8 | -11.48
14.244
1.4244
15.6684
16
Tra cota jali as per Design | 5 | 0.6 |  | 2.6 | 7.8
0.78
8.58
9
Aluminium Glazing | 4 | 0.6 |  | 2.6 | 6.24
0.624
6.864
7
Laminate paneling with grains
Toilet wall | 1 | 4.335 |  | 2.88 | 12.4848
Less Toilet door | -1 | 1.25 |  | 2.1 | -2.625
Kitchen widow side wall | 1 | 2.91 |  | 2.565 | 7.4642
Less Window | -1 | 2.13 |  | 1.05 | -2.2365
Less 3D sheet paneling area | -2 | 0.9 |  | 2.565 | -4.617
Less 3D sheet paneling area | -1 | 0.6 |  | 2.565 | -1.539
Wall with bar bar counter in executive lounge | 1 | 1.296 |  | 2.95 | 3.8232
| 1 | 1.455 |  | 2.95 | 4.2923
| 1 | 0.26 |  | 2.95 | 0.767
on Column s | 6 | 0.1 |  | 2.95 | 1.77
| 2 | 0.15 |  | 2.95 | 0.885
Dinning area wall Dumpster area side | 1 | 4.73 |  | 2.65 | 12.5345
Manage room wall reception side | 1 | 2.69 |  | 2.68 | 7.2092
Less Door | -1 | 0.9 |  | 2.1 | -1.89
0
38.3226
3.8323
42.1549
45
3D texture sheet paneling on wall | 1 | 5.76 |  | 2.95 | 16.992
Less Store door | -1 | 0.75 |  | 2.1 | -1.575
| 1 | 1.4 |  | 2.95 | 4.13
Kitchen window wall | 2 | 0.9 |  | 2.565 | 4.617
| 1 | 0.6 |  | 2.565 | 1.539
25.703
2.5703
28.2733
30
Joinery Work
Reception table 2100 x 650 | 1
Buffet Counter | 1 | 5.71 |  | 0.9 | 5.139
0.5139
5.6529
6
Vanirty Counter 600 x 450mm | 2 | Nos
Wooden Planter finish with laminate 200mm deep
| 1 | 3.725 |  | 0.9 | 3.3525
0.33525
3.6877
4
Metal Jali 6mm thick
| 1 | 3.725 |  |  | 3.725
0.3725
4.0975
4
12mm thick HDHMR Board Jali CNC Cut
| 1 | 3.725 |  | 2.1 | 7.8225
in Dinner area jali | 4 | 1.05 |  | 1 | 4.2
Toilet side | 1 | 2.41 |  | 2.4 | 5.784
17.8065
1.7807
19.5872
20
Dunpster 600mm Deep | 1 | 1 |  | 1.1 | 1.1
0.11
1.21
2
Bar Counter
| 1 | 2.115 |  | 1.35 | 2.8552
| 1 | 2.015 |  | 1.35 | 2.7203
5.5755
0.55755
6.133
7
Soft Board paneling | 1 | 1.82 |  | 0.65 | 1.183
0.1183
1.3013
2
over Head storage
| 1 | 1.82 |  | 0.6 | 1.092
0.1092
1.2012
2
LT Panel & DB Storage unit
| 1 | 1.43 |  | 2.1 | 3.003
0.3003
3.3033
4
Garbage Bin | 1 | 0.42 |  | 1.05 | 0.441
0.5
Wall finishes
Kitchen wall Tiles | 1
Kitchen | 1 | 0.975 |  | 2.15 | 2.0962
| 1 | 8.93 |  | 2.15 | 19.1995
| 1 | 0.915 |  | 2.15 | 1.9672
| 1 | 1.395 |  | 2.15 | 2.9992
| 1 | 7.93 |  | 2.15 | 17.0495
Bar store kitchen side partition frame | 2 | 1.98 |  | 2.15 | 8.514
| 1 | 8.215 |  | 2.15 | 17.6623
| -1 | 1.2 |  | 2.1 | -2.52
| 1 | 6.185 |  | 2.15 | 13.2978
| -1 | 2.1 |  | 1.05 | -2.205
0
78.0607
7.8061
85.8668
86
wall finishess Tile -04
Male Toilet wall Tiles | 2 | 1.575 |  | 0.9 | 2.835
| 2 | 1.365 |  | 0.9 | 2.457
| 1 | 0.965 |  | 0.3 | 0.2895
| 1 | 0.15 |  | 1.2 | 0.18
| -1 | 0.75 |  | 0.9 | -0.675
Female toilet | 2 | 1.3 |  | 0.9 | 2.34
| 2 | 1.165 |  | 0.9 | 2.097
| 1 | 0.72 |  | 0.3 | 0.216
| 1 | 0.15 |  | 1.2 | 0.18
| -1 | 0.75 |  | 0.9 | -0.675
Toilet Lobby | 2 | 1.675 |  | 0.9 | 3.015
| 1 | 1.25 |  | 0.9 | 1.125
| -2 | 0.75 |  | 0.9 | -1.35
0
12.0345
1.2034
13.2379
15
Tile -05
Male toilet | 2 | 1.575 |  | 1.5 | 4.725
| 2 | 1.365 |  | 1.5 | 4.095
| -1 | 0.9 |  | 0.3 | -0.27
| -1 | 0.75 |  | 1.2 | -0.9
Female toilet | 2 | 1.3 |  | 1.2 | 3.12
| 2 | 1.165 |  | 1.2 | 2.796
| -1 | 0.72 |  | 0.3 | -0.216
| -1 | 0.75 |  | 1.2 | -0.9
Toilet Lobby | 2 | 1.675 |  | 0.9 | 3.015
| 1 | 1.25 |  | 0.9 | 1.125
| -2 | 0.75 |  | 0.9 | -1.35
0
15.24
1.524
16.764
17
Tera Cota Tiles
Reception Back wall | 1 | 3.02 |  | 2.65 | 8.003
0.8003
8.8033
9
Mosaic tiles on walls
Buffet Counter back wall | 1 | 5.7 |  | 2.875 | 16.3875
Counter back wall executive lounge side | 1 | 3.47 |  | 2.875 | 9.9763
26.3637
2.6364
29.0001
30
50mm wide granite stone strips
Buffet counter back wall | 9 | 2.875 |  |  | 25.875
Counter back wall executive lounge side near store | 5 | 2.875 |  |  | 14.375
0
40.25
4.025
44.275
45
Acrylic Emulsion Paint
Male Toilet | 1 | 2.005 |  |  | 2.005
Toilet Lobby | 1 | 1.837 |  |  | 1.837
Female toilet | 1 | 1.514 |  |  | 1.514
Kitchen & pot wash area | 1 | 31.299 |  |  | 31.299
Less Hood area | -1 | 2.922 |  |  | -2.922
Less Hood area | -1 | 3.06 |  |  | -3.06
Dinning & reception area | 1 | 38.207 |  |  | 38.207
Vertical sides | 1 | 4.916 |  | 1.7 | 8.3572
| 1 | 9.875 |  | 1.7 | 16.7875
Cove area | 1 | 10.53 |  | 0.45 | 4.7385
Manager Cabin | 1 | 3.789 |  |  | 3.789
Less Reception area | -1 | 6.546 |  |  | -6.546
Manager room walls | 1 | 8.03 |  | 2.65 | 21.2795
| -1 | 0.9 |  | 2.1 | -1.89
Kitchen entry wall | 1 | 2.37 |  | 2.59 | 6.1383
Less Door | -1 | 1.2 |  | 2.1 | -2.52
executive lounge wall before back display area | 1 | 2.185 |  | 2.875 | 6.2819
BF 11 Area | 4 | 1.34 |  | 2.65 | 14.204
| 1 | 1.165 |  | 2.65 | 3.0873
dumpster area wall | 1 | 2.54 |  | 2.65 | 6.731
149.3181
14.9318
164.2499
165
Texture paint in False Ceiling
Reception area | 1 | 6.546 |  |  | 6.546
0.6546
7.2006
8
Corner Guard in Kitchen area | 3 | 8 |  |  | 24