## Equipment List (hidden)
EQUIPMENT LEGEND
SR.No. | Eq.No. | DESCRIPTION | QTY | BRAND | MODEL NO | LOCATION | Per Kw | TOTAL KW | AMPS | TYPE
1 | BS-01 | POS/ Till | 1 | AS PER TFS REQUIREMENT |  | OVER CABINET-1 | 0.3 | 0.3 | 5A | Switch+Socket
2 | BS-02 | BEER COOLER | 1 | ELANPRO | HE-120 | INSIDE CABINET-2 | 1.5 | 1.5 | 16A | Switch+Socket
3 | BS-03 | BLENDERS | 2 | JTC | JTC BLENDER 18 | REFER PLAN | 0.5 | 1 | 16A | Switch+Socket
4 | BS-04 | GLASS WASHER | 1 | ELECTROLUX | 402116 (EGWSIG) | INSIDE CABINET-3 | 3 | 3 | 25A Industrial with MCB | Switch+Socket
5 | BS-05 | ICE MACHINE | 1 | ELANPRO | EIM 31 | INSIDE CABINET-3 | 1 | 1 | 16A | Socket Only
6 | BS-06 | 2 DOOR U/C FREEZER | 1 | ELANPRO | EGN-2100F | INSIDE CABINET-4 | 1 | 1 | 16A | Socket Only
7 | BS-07 | removed from the legend | -- | -- | -- | -- | -- |  | -- | --
8 | BS-08 | BACK BAR COOLER WITH GLASS DOOR | 1 | ELANPRO | EBB-2D | INSIDE CABINET-4 | 0.5 | 0.5 | 16A | Socket Only
9 | BS-09 | FRYER - 8L S.S. TABLE TOP SINGLE BASKET | 2 | ROLLER GRILLER | FD80 | OVER CABINET-4 | 3 | 6 | 25A Industrial with MCB | Switch+Socket
10 | BS-10 | MICROWAVE OTG | 1 | TBC (TO TFS SELECTION) |  | OVER CABINET-4 | 2.5 | 2.5 | 25A Industrial with MCB | Switch+Socket
11 | BS-11 | CHIMNEY | 1 | FABER | Aerostation Glamour FT AB LTW 60 (With Charcoal Filter, 60cm Length) | ON REAR WALL | 0.5 | 0.5 | 16A | Switch+Socket
12 | BS-12 | SODA FOUNTAIN MACHINE | 1 | TBC | SIZE: H- 27’’ x W- 19’’x D-27” | OVER CABINET-3 | 1 | 1 | 16A | Switch+Socket
13 | BS-13 | BEER DISPENSER | 1 | CUSTOM DESIGN (Refer Images) |  | OVER CABINET-2
14 | BS-14 | ICE CRUSHER | 1 | TBC | Table Top | REFER PLAN
15 | BS-15 | BEER KEG | 6 | GENERIC | SIZE: 375Dia x 525H | INSIDE CABINET-2
16 | BS-16 | COCKTAIL STATION | 1 | CUSTOM DESIGN | SIZE: 1100 x (500 + 100) x 850 + 100 Spl | REFER PLAN
17 | BS-17 | GARBAGE BIN | 1 | GENERIC | SLIM JIM BINS | REFER PLAN
18 | BS-18 | S.S. SINK | 1 | GENERIC | SIZE: 400 X 400 MM | OVER CABINET-3
19 | BS-19 | GREASE TRAP | 1 | KESSEL | SIZE: 426 X 296MM | INSIDE CABINET-3
20 | BS-20 | BIB (BOX-ON-BAG) | 1 | TBC | SIZE: H – 24’’ X D – 20’’ X W – 24 “ | ON REAR WALL
21 | BS-21 | CO2 CYLINDERS | 1 | TBC | 10" DIA X 48" HIGH | INSIDE STORAGE -3
[7 empty] | TOTAL KW | 18.3
ALL EQUIPMENTS TO BE CONNECTED TO 220V-1P

## Furniture & Fixtures (hidden)
FIXTURE LEGEND
SR.No. | Eq.No. | DESCRIPTION | QTY | DETAILS/ REFERENCE | IMAGE
1 | CH-01 | PERCH SEATING/ BAR SEATING | 3 | https://www.andythornton.com/factory-bar-stool-leather-seat-atfuvf235-7973
2 | LG-01 | SUSPENDED LIGHT FIXTURE (WITH 40WATT DIMMABLE LED NEWTON BULB/LUMINAIRE) | 4 | https://www.andythornton.com/industrial-pendant-cast-aluminium-atlgip17-11222
3 | LG-02 | ADJUSTABLE GRID LIGHT/ SPOT-LIGHT (WITH 10WATT LED LAMP) | 4 | https://www.illuma.co.uk/shopsc/gridspot-led/5.htm
4 | BD-01 | BEER DRUM (750 MM DIA x 1600 MM ) | 3 | Vendor Specs
FURNITURE LEGEND
SR.No. | Eq.No. | DESCRIPTION | QTY | DETAILS/ REFERENCE | IMAGE
1 | CH-01 | PERCH SEATING/ BAR SEATING | 3 | https://www.andythornton.com/factory-bar-stool-leather-seat-atfuvf235-7973
2 | CH-02 | DINING SEATING | 32 | https://www.andythornton.com/drake_armchair_atfuvf1327
3 | CH-03 | LOUNGE SEATING | 16 | https://www.andythornton.com/varese-lounge-chair-atfusf198f
4 | TB-01 | DINING TABLE 650x650x 750 MM (H) | 16 | https://www.andythornton.com/patina-reclaimed-teak-bistro-table-atfuvf859-12722
5 | TB-02 | DINING TABLE 650x650x 750 MM (H) | 8 | https://www.andythornton.com/lyonnaise_three_leg_table_atfuvf461tk

## Loose Furniture - Beer Stop
DATE:- 4-10-2024
Project name - Beer Stop _MUM _T2
Sr. No. | Service / Materials Code | Description | Dimension | Item Description | Furniture Image /Images | Units | Qty. of Items
1 | C1 | DINING CHAIR | W - 420 mm D - 400 mm H - 1060 mm SH - 760 mm | Legs: - MS Black powder coated |  | Nos | 3
Back: SELECTED FABRIC - distressed leather
Seat: SELECTED FABRIC - distressed leather
Polish: NA
Upholstery Work: Foam density - NA , fabrics - distressed leather
Purchase Link - https://www.andythornton.com/factory-bar-stool-leather-seat-atfuvf235-7973
2 | C2 | DINING CHAIR | W - 560 mm D - 550 mm H - 750 mm SH - 490 mm AH -750 | Legs: - MS Black powder coated |  | Nos | 32
Back: antique brown leather
Seat: antique brown leather
Polish: NA
Upholstery Work: Foam density - NA , fabrics - antique brown leather
Purchase Link - https://www.andythornton.com/products/drake-armchair-atfuvf1327
3 | C3 | LOUNGE CHAIR | W - 730 mm D - 840 mm H - 790 mm SH - 450 mm AH - 600 | Legs: - solid beech wod frame |  | Nos | 16
Back: solid beech brown tan fabric
Seat: solid beech brown tan fabric
Polish: Beech, cherry dyed
Upholstery Work: Foam density - NA , fabrics - antique brown leather
Purchase Link - https://www.andythornton.com/products/varese-lounge-chair-at10303
4 | TB01 | Dining Table Square | L - 700 mm B -700 mm H - 770 mm | Top: 32mm thk table top Reclaimed teak bistro table (700 x 700mm) with cast iron base. |  | Nos | 16
Stand: cast iron base. finished in powder coated black paint.
Base/Legs: cast iron base. finished in powder coated black paint.
Purchase Link - https://www.andythornton.com/products/patina-reclaimed-teak-bistro-table-atfuvf859-12722
5 | TB02 | TABLE | Dia - 700 H - 735 mm | Top: Cast iron three leg pedestal table with highlight finish. Reclaimed teak table top. |  | Nos | 8
Stand: Cast iron three leg pedestal table with highlight finish. Reclaimed teak table top.
Base/Legs: Material Details -MS Cast iron three leg pedestal table with highlight finish. Reclaimed teak table top.
Purchase Link - https://www.andythornton.com/products/lyonnaise-three-leg-table-atfuvf461tk

## revised light BOQ (hidden)
JOSHH- T2-OUTDOOR LIGHTS
S.N | CODE | DESCRIPTION | IMAGE | Quantites nos. | DESCRIPTION | COLOUR TEMPERATURE | WATTAGE
1 | LG-01 | SUSPENDED LIGHT FIXTURE (WITH 40WATT DIMMABLE LED NEWTON BULB/LUMINAIRE) |  | 4 | https://www.andythornton.com/industrial-pendant-cast-aluminium-atlgip17-11222 | 3000K | 40 watt | LIGHTINGS TO BE HANGED FROM CEILING. 1950MM FROM FFL (MENTIONED IN GFC DOCKET)
2 | LG-02 | ADJUSTABLE GRID LIGHT/ SPOT-LIGHT (WITH 10WATT LED LAMP) |  | 4 | https://www.illuma.co.uk/shopsc/gridspot-led/5.htm | 3000K | 10 WATT | LIGHTINGS TO BE HANGED FROM CEILING. 2500MM FROM FFL (MENTIONED IN GFC DOCKET)