## SPEAKERS BOQ
PUBLIC ADDRESSABLE BOQ FOR COPPER CHIMNEY(BANDRA)
Sr. | Description | Qty | Unit | Rate t | Amount t
No. |  |  |  | Rs. | Rs.
1 | PUBLIC ADDRESS SYSTEM
1.1 | SITC of 6W RMS False Ceiling Mount Speakers with inbuilt 100V Line Matching Transformer, wide opening angle, optimized for music & speech applications with mounting clamps as per specifications | 2 | Nos. |  | 0
1.2 | SITC of 6W Wall Mounted box Speakers with line matching transformers as specified as per specifications | 6 | Nos.
1.3 | 240 W 24V dc,50 Hz to 18 kHz mixing | 1 | Nos. |  | 0
amplifier with microphone input. Amplifier should be bluetooth compatible and volume should be operated by remote
| TOTAL |  |  |  | 0