## fire sup
NON ALCOHOLIC BAR -AHMEDABAD AIRPORT
|  | BOQ FOR FIRE SUPPRESSION SYSTEM |  |  | Date | 12.1.24
SR. NO. | PART NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 |  | SITC of following items
1.1 |  | ANSULEX Low pH Wet Chemical Agent, 3.0 Gallon (11.6 L) (UL/ULC) | No | 1
1.2 |  | Nozzles with required accessories | No | 16
1.3 |  | 3.0 Gallon Tank w/ANSUL AUTOMAN Mechanical Reg. Release | No | 1
2 |  | SITC of following items and accessories
|  | T/C N30R Cartridge | Lumsum | 1
Adaptor, 3/8 in. Pipe Compression-Seal,
Nozzle Swivel Adapter
WC 100
Detector Series
Detector, Terminal (Scissor Linkage)
Remote Pull Station, Red (without wire rope)
Fusible Link,280 deg.F, (SL Style)
Pulley Elbow, Compression Type
Adaptor, 1/2 in. EMT Compression-Seal,
Conduit, Offset,
Wire Rope 50 ft.
Switch, Electric, 3PDT
Break Rod
3 |  | Indigeneous Material Required For installation of ANSUL R-102 systems as per following Specs: - Shedule 40 ss pipes 3/8 " N.B both ends machine threaded and polished of various lengths, i.e 84", 72", 24",48" etc. - 1/2" ss detection Conduite pipe - SS Tees - SS L-bows - SS Sockets - SS Hex Nipples - SS Unions - D-channel (SS) to fix detectors - Comp. seal type clamp if required - SS Pipe clamps - SS box for Manual Pull - SS Coupling/Bush 3/8"x1/2" - Conduite Jointers - Anchor fastner for sr. no. 45X10X2MM - Hose pipe for connection of actuator - SS box with glass for manual pull station For Exhaust Hood -4775X1000 ( 1Nos) | Lumsum | 1
4 |  | INSTALLATION OF ANSUL Ansul R-102 FIRE SUPPRESSION SYSTEMS AS PER DOCUMENT ULEX 3470 UNDER FOLLOWING SCOPE OF WORK: - System Design including Nozzle placement, Tank and Cartridge Requirements, Actuation and Expellant Gas Piping, Distribution Piping and Detection System Requirements - Detailed Engineering Drawings for S.No. 1 - Installation of Regulated Release Assembly , Regulated Actuator Assembly - Installation of Actuation Gas Line - Installation of Distribution Piping - Installation of Detection System - Installation of Remote Manual Pull Station - Installation of K-Guards - Testing of Manual Pull Station - Testing of Mechanical Gas Valves - Testing of Electrical Switches - Testing of Detection System - Handing over of 6 sets of drawings of each hood and owner’s manuals - Training for Kitchen, Engineering and Projects team For Exhaust Hood -4775X1000 ( 1Nos) | Lumsum | 1
TOTAL
Note-Taxes shall be extra as applicable