## Summary
Category | Amount | GST 18% | GST Amount | Amount with tax
#REF! | #REF! | 18% | #REF! | #REF!
Water Proofing | #REF! | 18% | #REF! | #REF!
Raised Floor | #REF! | 18% | #REF! | #REF!
Block work | #REF! | 18% | #REF! | #REF!
Flooring & Wall Tiling | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Wiring | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Drain | #REF! | 18% | #REF! | #REF!
C&I inlet | #REF! | 18% | #REF! | #REF!
CPVC Inlet | #REF! | 18% | #REF! | #REF!
Fixture installation | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Light fixtures | #REF! | 18% | #REF! | #REF!
| #REF! |  | Total | #REF!
HVAC | 0 | 18% | 0 | 0
Music | 0 | 18% | 0 | 0
Signage | #REF! | 18% | #REF! | #REF!
Marketing -Canvas photo frames | 0 | 18% | 0 | 0
Exhaust | 0 | 18% | 0 | 0
Fire fighting | 0 | 18% | 0 | 0
Fire and Alarm system | 0 | 18% | 0 | 0
Fire separation system | 0 | 18% |  | #REF!
#REF!

## Electrical
Catogery | HSN CODE | Description | Unit | Qty | Rate | Amount
MEP
A |  | All wirings should be Polycab Havells RR kabel make. cable numbering ferrules to be used for all the wiring.
Wiring
|  | 1.5 sqmmx 3run (Copper wiring FRLS )Wirings including wall chipping making groves, PVC pipe casing clams bend etc complete, Wirings for lights fly trap, freezer,cooler, fans, signages etc complete Make should Polycab Havells RR kabel | Rmt | 300 |  | 0
Wiring | 9954 | 2.5 sqmmx 2run 1.5 Sq.mm X 1 run for earthing (Copper wiring FRLS )Wirings including wall chipping making groves, PVC pipe casing clams bend etc complete, Wirings for lights fly trap, freezer,cooler, fans, signages etc complete Make should Polycab Havells RR kabel | Rmt | 300 |  | 0
Wiring | 9954 | 4.0 sqmm x 2 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, PVC pipe Casing, clams bend etc complete,for power sockets like Induction pad HM HW,industrical sockets geyser etc | Rmt | 180 |  | 0
Wiring | 9954 | 4.0 sqmm x 2 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, PVC pipe Casing, clams bend etc complete. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Wiring | 9954 | 4.0 sqmm x 4 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, PVC pipe Casing, clams bend etc complete. Brand should Polycab Havells RR kabel | Rmt |  |  | 0
Wiring | 9954 | 6.0 sqmm x 4 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, PVC pipe Casing, clams bend etc complete. Brand should Polycab Havells RR kabel | Rmt |  |  | 0
Wiring | 9954 | 10 sqmm 4 core armourd copper cable including wall opening chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Wiring | 9954 | Providing and Laying of 14guage Speaker wiring including wall chipping making groves, PVC pipe casing clams bend etc complete. Philips Havells. | Rmt | 180 |  | 0
Wiring | 9954 | Proving and fixing CCTV wiring with Cat6, Wirings including wall chipping making groves, PVC pipe casing clams bend etc complete D link | Rmt | 200 |  | 0
Wiring |  | Supplying and laying of 1.5 sq mm 2 core cable for comunication | Rmt |  |  | 0
Wiring |  | Supplying and laying of 2.5 sq mm 3 core cable for fire panel ups points | Rmt |  |  | 0
Wiring |  | installation of internet cable | Rmt |  |  | 0
Wiring |  | Supplying and fixing of 2.5 sq mm flaxible cable for R O | Rmt |  |  | 0
Wiring |  | Supplying and fixing of cable copper glanding | No's |  |  | 0
Wiring |  | Supplying and terminetion of the 16/4 core cable with gland legs. | set |  |  | 0
Wiring |  | Supplying and terminetion of the4/4 core cable with gland legs. | set |  |  | 0
Wiring |  | Supplying of matereal the 4/4 core cable with gland legs. | set |  |  | 0
Wiring |  | Supplying and fixing of 16A 2 pole mcb for AC | No's |  |  | 0
Wiring |  | Supplying and fixing of the 2.5 sq mm 3 core copper wire for ups looping | Ls |  |  | 0
Wiring | 9405 | Supplying and fixing of Lighting points including wall chipping making groves, PVC pipe casing clams bend etc complete. Philips Finolex Havells. | No |  |  | 0
|  | Total |  |  |  | 0
|  | Main Power Supply Cable |  |  |  | 0
Cabling | 9954 | 16 sqmm 4 core armourd copper cable including wall opening chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Cabling | 9954 | 10 sqmm 4 core armourd Alumunium cable including wall opening chipping making grooves, PVC pipe Casing clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Cabling | 9954 | 16 sqmm 4 core armourd Alumunium cable including wall openning chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Cabling | 9954 | 25 sqmm 4 core armourd Alumunium cable including wall opening, chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
Cabling | 9954 | 35 sqmm 4 core armourd Alumunium cable including wall opening, chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt | 25 |  | 0
Cabling | 9954 | 50 sqmm 3.5 core armourd Alumunium cable including wall opening, chipping making grooves, PVC pipe Casing, clams bend etc complete, for main line or generatore etc. Make should Polycab Havells RR kabel | Rmt |  |  | 0
|  | Total |  |  |  | 0
Switch & socket
Switch & socket | 9954 | Providing and fixing of 15 Amps 6 module 2 + 2 switch and sockets with PVC or MS box etc complete, Make Anchor Roma. | No's | 15 |  | 0
Switch & socket | 9954 | Providing and fixing of 15 Amps 3 module 1+1 switch and sockets with PVC or MS box etc complete, Make Anchor Roma | No's | 7 |  | 0
Switch & socket | 9954 | Providing and fixing of 5 Amps 6module 2+2 switch and sockets with PVC or MS box etc complete, Make Anchor Roma. | No's | 5 |  | 0
Switch & socket | 9954 | Providing and fixing of 5 Amps 3 module 1+1 switch and sockets with PVC or MS box etc complete, with PVC or MS box etc complete, Make Anchor Roma. | No's | 4 |  | 0
Switch & socket | 9954 | Providing and fixing of 4 module switch plate with 1 switch, 1 socket and 1 usb for charging, Make Anchor Roma., Make Anchor Roma. | No's |  |  | 0
Switch & socket |  | P/installing Charging point 1switch+1socket+1USB in black color | Nos | 15 |  | 0
Switch & socket | 9954 | Supply and fixing of 20 Amps industrial socket Legrand, Schneider make with 20amps DP Mcb | No's | 18 |  | 0
Switch & socket |  | 32A 5Pin 3 Phase Plug and Socket with TPN MCB | No's |  |  | 0
Switch & socket |  | Supplying and fixing of the cat-6 IO's with box and plate including wall chipping making groves, PVC pipe casing clams bend etc complete. | No's | 4 |  | 0
Switch & socket |  | Supplying and fixing of ligrand make RCBO MS box for mall side incomer | No's |  |  | 0
Switch & socket |  | Shifting of Rcbo Box for Mall Side | No's |  |  | 0
Switch & socket |  | Shifting of 6model Data Points Box for Mall Side | No's |  |  | 0
Switch & socket |  | Supplying and fixing of 20A plug top | No's | 4 |  | 0
Switch & socket |  | Supplying and fixing of danger board | No's | 2 |  | 0
Switch & socket |  | Supplying and fixing of 16A 2 pole mcb for HVAC | No's |  |  | 0
Switch & socket |  | Supllying of black colore switch plate | No's |  |  | 0
Switch & socket |  | Supplying and fixing of rc cable for amplifier | RMT |  |  | 0
|  | Total |  |  |  | 0
|  | Distrubution Board (DB) |  |  |  | 0
DB | 9954 | 6 Way 8 + 18 Modules TPN Distribution Board - of Legrand / Havells make including 4Pole MCCB 63 Amps, 32A MCB , SPN MCB 25A 5 no's SPN MCB 16A 5 nos & 10 Amps 5 nos), including DB dressing load balancing Labeling. | No's |  |  | 0
DB | 9954 | 8 Way 8+24 Modules TPN Distribution Board - of Legrand / Havells make including 4Pole MCCB 63 Amps 1no, 32A MCB- 1no, SPN MCB 25A 8 no SPN MCB 16A 8 nos & 10Amps 8nos), including DB dressing load balancing Labeling. | No's | 1 |  | 0
DB | 9954 | 12 Way 8 +36 Modules TPN Distribution Board - of Legrand / Havells make including 4Pole MCCB 63 Amps, 32A MCB- 1no, SPN MCB 25A 8 no SPN MCB 16A 8 nos & 10 Amps 12 nos ,20 amps 4 pole MCB 3 nos ), including DB dressing load balancing Labeling. | No's |  |  | 0
DB | 9954 | 4 Way SPN DB of Legrand / Schneider make including, MCB (25 amps- 1 nos single phase Change over MCB for UPS | No's | 2 |  | 0
DB |  | P/Installing 32amp 4P TNPN | Nos |  |  | 0
DB |  | P/Installing 40AMP RCCB | Nos
DB |  | Suplying and fixing of 63A 4 pole ELCB Asper aproved make | ` |  |  | 0
|  | Supplying & Fixing of AHU electrical panel | No's |  |  | 0
|  | Total |  |  |  | 0
Electrical Panel
Electrical Panel |  | Main Electrical pannel | No's |  |  | 0
Electrical Panel |  | I/T/C of Electrical Panel of appropriate size as directed | Nos |  |  | 0
Electrical Panel |  | Providing fire rated floor mat for electrical DB room(4'x4') | Nos |  |  | 0
Electrical Panel |  | P/installing 100amp Bus Bar | Nos |  |  | 0
Electrical Panel |  | Providing and fixing glow Danger sign for Electrical DB | Nos |  |  | 0
|  | Total |  |  |  | 0
|  | Cable tray |  |  |  | 0
Cable tray |  | Providng and fixing in place cable tray 22 Guage of different sizes as mentioned below |  |  |  | 0
Cable tray |  | 100mm wide | Rmt |  |  | 0
Cable tray |  | 150mm wide | Rmt |  |  | 0
Cable tray |  | 200mm wide | Rmt |  |  | 0
Cable tray |  | 300mm wide | Rmt |  |  | 0
|  | Total |  |  |  | 0
|  | Fixture installation |  |  |  | 0
Fixture installation | 9954 | I / T / C of all Light fixtures/ Fans/ wall shelfs/Fire extinguishers/Misc items as directed | Nos | 30 |  | 0
Fixture installation | 9954 | Flay catcher fixing | Nos | 2 |  | 0
Fixture installation | 995429 | Installation of TV screens as guided | Nos | 9 |  | 0
Fixture installation |  | Supply of tv wall bracket as-per your requirment | Nos |  |  | 0
Fixture installation |  | Music player installation | Nos |  |  | 0
|  | Total |  |  |  | 0
|  | MS Conduit |  |  |  | 0
MS Conduit |  | Poviding and fixing MS conduits in place of PVC conduits for item no. (1.01-1.13) | Rmt |  |  | 0
MS Conduit |  | MS Flexible pipe | Nos |  |  | 0
|  | Total |  |  |  | 0
|  | UPS (For Sigange/Lighting) |  |  |  | 0
USP | 9954 | S / I / T / C of 1.0 kVA capacity single phase UPS with 15 minutes built-in battery backup (APC/ Emerson make) | Nos | 0 |  | 0
USP | 9954 | S / I / T / C of 2.0 kVA capacity single phase UPS with 15 minutes built-in battery backup (APC/Emerson make) | Nos |  |  | 0
USP |  | S / I / T / C of 3.0 kVA capacity single phase UPS with 30 minutes built-in battery backup (APC/Emerson make) | Nos | 1 |  | 0
|  | Providing & Fixing of Ups Stand | No's |  |  | 0
|  | Total |  |  |  | 0
|  | Earthing |  |  |  | 0
Earthing | 9954 | GI earthing stations using necessary accessories, including excavation of earth (Depth 1m) pit and back filling with alternative layers of salt and charcoal, as per Indian Standard Specification IS 3043. The rate shall also include construction of inspection chamber of size 450 x 450mm, using medium duty CI chamber cover with required masonry work. Test links shall be provided inside the earthing chamber. Earthing resistance values to be recorded using calibrated earthing meggar. The identification number shall be provided both inside and outside pit and nearest wall with paint. | Nos |  |  | 0
Earthing | 9954 | Copper earthing using necessary accessories, including excavation of earth pit and back filling with alternative layers of salt and charcoal, as per Indian Standard Specification IS 3043. The rate shall also include construction of inspection chamber of size 450 x 450mm, using medium duty CI chamber cover with required masonry work. Test links shall be provided inside the earthing chamber. Earthing resistance values to be recorded using calibrated earthing meggar. The identification number shall be provided both inside and outside pit and nearest wall with paint. | Nos |  |  | 0
Earthing | 9954 | 25x3mm thk. earthing Copper strip from earting point to LT panel | Rmt | 0 |  | 0
Earthing | 9954 | GI 8 gauge earthing wire from earting point to DB | Rmt |  |  | 0
|  | Total |  |  |  | 0