## VC System
CLIENT | ARROW ELECTRICALS
LOCATION | SANTACRUZ, MUMBAI
PROJECT | OFFER FOR AUDIO SYSTEM - BANGALORE LOUNGE-T1
PROJECT REF. | ADJM/SEPTEMBER/2024
DATE | 2024-11-14 |  |  | DELIVERING DESIGN BUILD SOLUTIONS
Sr. No. | Description | Make | Model No. | Qty | Unit | Rate (Rs.) | Total Amount (Rs.) | GST (%) | GST (Rs.)
A | LOUNGE-T1
AUDIO SYSTEM
A.1 | Two way In Ceiling speaker with 4" Polypropylene woofer and 1 x 0.5"high compliance polymer tweeter, Impedence 8 Ohms, transformer tapping 2.5W & 5W, Frequency response 90 KHz to 20 KHz | DNM | DCS-108 | 30 | No. | 1950 | 58500 | 18% | 10530
A.2 | Wall mont speakers with 1 X 5.25" Polypropylene mid bass and 1 x 0.5" mylar tweeter, Impedence 8 Ohms, transformer tapping 4W, 8W, 16W & 32W, Frequency response 80 KHz to 20 KHz | DNM | D-520 T | 6 | No. | 6850 | 41100 | 18% | 7398
A.3 | Vocia 4-channel, 300W constant voltage amplifier | Biamp | Vocia VA-4300CV | 1 | No. | 716500 | 716500 | 18% | 128970
A.4 | Vocia passive end of speaker line supervision device (4-pack) | Biamp | Vocia PLD-2 | 1 | No. | 58310 | 58310 | 18% | 10495.8
A.5 | Installation, Testing, Programming & Commissioning charges | ADJM | ADJM | 1 | No. | 125000 | 125000 | 18% | 22500
| SUM TOTAL FOR AUDIO SYSTEM | [5 empty] | 999410 |  | 179893.8
Thanking You,
ADJM Technologies Pvt Ltd