## Summary
Category | Amount | GST 18% | GST Amount | Amount with tax
#REF! | #REF! | 18% | #REF! | #REF!
Water Proofing | #REF! | 18% | #REF! | #REF!
Raised Floor | #REF! | 18% | #REF! | #REF!
Block work | #REF! | 18% | #REF! | #REF!
Flooring & Wall Tiling | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Wiring | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Drain | #REF! | 18% | #REF! | #REF!
C&I inlet | #REF! | 18% | #REF! | #REF!
CPVC Inlet | #REF! | 18% | #REF! | #REF!
Fixture installation | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
#REF! | #REF! | 18% | #REF! | #REF!
Light fixtures | #REF! | 18% | #REF! | #REF!
| #REF! |  | Total | #REF!
HVAC | 0 | 18% | 0 | 0
Music | 0 | 18% | 0 | 0
Signage | #REF! | 18% | #REF! | #REF!
Marketing -Canvas photo frames | 0 | 18% | 0 | 0
Exhaust | 0 | 18% | 0 | 0
Fire fighting | 0 | 18% | 0 | 0
Fire and Alarm system | 0 | 18% | 0 | 0
Fire separation system | 0 | 18% |  | #REF!
#REF!

## Plumbing
Catogery | ITEM CODE | HSN CODE | Description | Unit | Qty | Rate | Amount
PVC Drain Line
|  |  | S / I / T / C of complete Drainage & water supply works with following specifications, |  |  |  | 0
|  |  | All drainage works to be done with PVC SWR grade medium duty pipes, of following diameters, including all pipe fittings, specials, traps etc., including 1:2:4 concrete bed around drain pipes on full length, complete in all respect (Astral make) |  |  |  | 0
Water in & out | S04274 | 9954 | 110mm outside diameter | Rm |  |  | 0
Water in & out | S04275 | 9954 | 75mm outside diameter | Rm | 0 |  | 0
Water in & out | S04276 | 9954 | 50mm outside diameter | Rm |  |  | 0
|  |  | Total |  |  |  | 0
CI Water Inlet Line
Water in & out |  |  | Providing & Fixing CI water pipes for inlet water including all fittings e.g bends, junctions, elbow, f-tee, m-tee, offsets, access pieces etc. jointing with solvent cement including cutting holes in walls, floors excavation, refilling & disposal of surplus earth wherever required & making good. brand's Tata / Zenith / GST / Jindal |  |  |  | 0
Water in & out | S04277 | 9954 | 15mm - outer dia : 21.8 mm | Rm |  |  | 0
Water in & out | S04278 | 9954 | 20mm - outer dia : 27.3 mm | Rm |  |  | 0
Water in & out | S04279 | 9954 | 25mm - outer dia : 34.2 mm | Rm |  |  | 0
Water in & out | S04280 | 9954 | 32mm - outer dia : 42.9 mm | Rm |  |  | 0
Water in & out | S04281 | 9954 | 40mm - outer dia : 48.8 mm | Rm |  |  | 0
|  |  | Total |  |  |  | 0
uPVC Pipe Water Inlet Line
Water in & out |  |  | All Water supply works to be done with cPVC grade pipes including all pipe fittings, valves & all Hot water pipes to have Class "1" nitrile insulation on entire light of pipe used (Astral make) |  |  |  | 0
Water in & out | S04282 | 9954 | 32 mm diameter | Rm |  |  | 0
Water in & out | S04283 | 9954 | 25mm diameter piping | Rm |  |  | 0
Water in & out | S04284 | 9954 | 20mm outside diameter | Rm | 25 |  | 0
|  |  | Total |  |  |  | 0
Plumbing Fixtures | S04306 | 9954 | I/T/C of Grease trap including for all necessary pvc fittings, complete in all respect | Job | 1 |  | 0
Plumbing Fixtures | Code to be Created |  | Spry Jet for washing sink (Comercial pot wash) | Nos |  |  | 0
Plumbing Fixtures | S05166 | 995429 | Goose neck flexible tap | Nos |  |  | 0
Plumbing Fixtures | S05167 | 995429 | Hot & Cold Mixture | Nos | 1 |  | 0
Plumbing Fixtures | S04227 | 9954 | RO Tap | Nos | 1 |  | 0
Plumbing Fixtures | Code to be Created |  | SS Connection pipe | Nos | 4 |  | 0
Plumbing Fixtures | S05168 | 9954 | Water meter Kranti make Brass water meter Please note with calibration certicatte is mandatory | Nos | 1 |  | 0
Plumbing Fixtures | S00695 | 9954 | Installation of plumbing fixtures & kitchen equipment provided by Chaipoint | LSm |  |  | 0
Plumbing Fixtures |  |  | Providing & Fixing of Sink Cock | Nos |  |  | 0
|  |  | Total |  |  |  | 0
|  |  | Sanitary Fixture & Fittings (Toilet) |  |  |  | 0
Sanitary fixtures |  |  | Supply of only following Sanitary fitting & fixtures, |  |  |  | 0
Sanitary fixtures | S04217 | 9954 | Wall mounted Basin Faucet (Jaquar make), OPL-15441 with single concealed stop | Nos |  |  | 0
Sanitary fixtures | S04218 | 9954 | Counter top Wash Basin (Jaquar make), JDS-WHT-0581 | Nos |  |  | 0
Sanitary fixtures | S04219 | 9954 | Wall Hung WC with soft closing seat cover (Jaquar make), ACS-WHT-87951 | Nos |  |  | 0
Sanitary fixtures | S04220 | 9954 | Health Faucet (Jaquar make), ALD-CHR-565 | Nos |  |  | 0
Sanitary fixtures | S04221 | 9954 | 600mm long SS 304 grade braided flexible connection pipes (Jaquar make) | Nos |  |  | 0
Sanitary fixtures | S04222 | 9954 | Flush Plate (Jaquar make), JCP-CHR-102415 | Nos |  |  | 0
Sanitary fixtures | S04223 | 9954 | Toilet Paper Holder (Jaquar make), AKP-CHR-35755P | Nos |  |  | 0
Sanitary fixtures | S04224 | 9954 | Liquid Soap Dispenser (Jaquar make), ACN-CHR-1137N | Nos |  |  | 0
Sanitary fixtures | S04225 | 9954 | Concealed Cistern Kit (Jaquar make), JCS-WHT-2400FS | Nos |  |  | 0
Sanitary fixtures | S04226 | 9954 | 6” Exhaust fan (Cata make) | Nos |  |  | 0
Sanitary fixtures |  |  | Supply and installation of below fixtures |  |  |  | 0
Sanitary fixtures | S04227 | 9954 | P/F Steel Tap Faucet , RO Systems Solid Filter Cartridge Spout Faucet , 6mm dia | Nos |  |  | 0
Sanitary fixtures | S04228 | 9954 | P/F Side Single Lever Sink Mixer with Swinging Spout (Table Mounted) with 450mm Long Braided Hoses,PRODUCT CODE: FLR-CHR-5179B PRODUCT RANGE: FLORENTINE | Nos |  |  | 0
Sanitary fixtures | S04229 | 9954 | P/F Jayna make sink Model NoSB 02 Overall Size18 x 16 / 458 X 408 (inch/mm) Bowl Size17 x 15 x 7 / 428 X 380 X 178 (inch/mm) Finish Type Available Glossy ¦ Matt ¦ Anti-Scratch Thickness1 mm | Nos |  |  | 0
Sanitary fixtures | S04230 | 9954 | P/F Sink Cock with Regular Swinging Spout (Table Mounted Model) PRODUCT CODE: FLR-CHR-5357N PRODUCT RANGE: FLORENTINE | Nos |  |  | 0
Sanitary fixtures | S04231 | 9954 | P/F Wall mounted Fan 300mm dia , make :crompton, Havells or equivalent | Nos |  |  | 0
|  |  | Total |  |  |  | 0
|  |  | Garbage crusher |  |  |  | 0
| S04333 | 84798200 | P/F Hindware Eco Food Waste Disposer(Garbage crusher) for sink as required, Power – 0.50 HP 2600 RPM Motor Frequency – 50-60 Hz Warranty 1 Year | Nos |  |  | 0
|  |  | Total |  |  |  | 0