## decorative lights
COPPER CHIMNEY_VIVIANA_THANE LIGHTING DOCKET | [7 empty] | DATE: 12/09/24
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | L.E.D FILAMENT BULB | LT6 |  | 57 | HANGING CLEAR led filament bulb light with brass finish holder having 2m long wire - AS PER DWG /APPRD | Above banquet seating , | DIMMABLE | 3000K | 4W each | 75Ø Globe with additional cable
2 | DECORATIVE CEILING HANGING PENDANT LIGHT | LT7 |  | 3 | BRASS Welded metal pipe with milky glass globe hanging fixture | above curtain wall seating area | DIMMABLE | 3000 K | 40W each | 600mm Dia and height 300mm
3 | DECORATIVE CEILING HANGING LIGHT | LT8 |  | 4 | Metal framework internally & parchment paper from outside hanging fixture | Entrance & Bar Area | DIMMABLE | 3000 K | 40W each | 450mm dia. & height 200mm
4 | WALL MOUNTED LIGHT | LT9 |  | 10 | 150mm white frosted glass globe with brass fixture | Wallpaper Wall | DIMMABLE | 3000 K | 40W each | 150 Ø Globe 200 Ø base plate