## Equip Schedule
EQUIPMENT SCHEDULE
|  |  | LOUNGE KITCHEN WITH BAR & BUFFER COUNTER |  | Date | 2024-08-12
AT DABOLIM -GOA
SR.No. | Sr.No. | Eq.No. | DESCRIPTION | BRAND/MODEL | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
DISH WASH SECTION
| 1 | DW-01 | 4" DEEP DISH LANDING TABLE W/GLASS RACK | FABRICATED | 1300 x 600 x 850 + 500+125 O/S | 1
| 2 | DW-02 | UNDERNEATH GARBAGE BIN | SOE | LOCAL | 1
| 3 | DW-03 | GREASE TRAP | NUGREEN-NGT- 20 | 362 x 503 x 303Ht. | 1
| 5 | DW-04 | PRE RINSE SPARY UNIT - DECK MOUNTED | STD |  | 1
| 4 | DW-05 | LOADING TABLE WITH 1 SINK ON LHS AND CROSS SUPPORT WITH STRAINER BASKET | FABRICATED | 950 x 675 x 850 + 150SPL | 1
| 6 | DW-06 | HOOD TYPE DISH WASH MACHINE | WINTERHALTER / P50 | 735 x 750 x 1480Ht. | 1 | 3PH | 11.8 | 11.8 | 5 Pole Industrial Type | MCB
| 7 | DW-07 | UNLOADING TABLE 2 U/S | FABRICATED | 900 x 675 x850+150SPL | 1
| 8 | DW-08 | SS CLEAN DISH RACK (4 SHELF) | FABRICATED | 950 x 450 x 1650Ht. | 2
1 | MAIN KITCHEN AREA
| 9 | MK-01 | 3 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-UC3100GC | 1805 x 700 x 850Ht | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
| 10 | MK-02 | TABLE TOP INDUCTION PLATE | STELLA-TS3501 | 350 x 410 x 95Ht. | 2 | 1PH | 3 | 6 | 5 / 15 Amp | Switch Socket
| 11 | MK-03 | TABLE TOP OTG OVEN | PANASONIC-NB-H3200S | 495 x 395 x 325Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
| 12 | MK-04 | MICROWAVE OVEN WITH WALL MOUNTED SHELF | CELFROST-CMO25 | 511 x 432 x 311 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
| 13 | MK-05 | SS WORK TABLE SINK ON RHS WITH CROSS SUPPORT | FABRICATED | 1300 x 700 x 850 + 150 | 1
| 14 | MK-06 | GREASE TRAP | NUGREEN-NGT-20 | 362 x 503 x 303Ht. | 1
| 15 | MK-07 | 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUESTAR-RC2D550N | 700 x 765 x 1997 | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket
| 16 | MK-08 | ALTO SHAAM STANDING TYPE | ALTOSHAAM/1000-UP | 608 x 804 x 1942Ht. | 1 | 1PH | 1.9 | 1.9 | 5 / 15 Amp | Switch Socket
| 17 | MK-09 | SS STORAGE RACK 5 SHELF | FABRICATED | 900 x 450 x 1800 | 2
Total Kw-Main Kitchen - A | [8 empty] | 25.7
1 | BUFFET COUNTER
| 18 | BC-01 | SOUP TOURIN 6 TO 8 Ltrs. Capacity | SOE | STD | 2 | 1PH | 1.5 | 3 | 5 / 15 Amp | Switch Socket
| 19 | BC-02 | INDUCTION | STELLA-TS 678 | 340 x 340 x 75Ht. | 7 | 1PH | 2.2 | 15.4 | 5 / 15 Amp | Switch Socket
| 20 | BC-03 | ELECTRIC DUAL HEAT LAMP FOR BUFFET COUNTER | TAIKONG-TAIWAN | 500 x 700 x 650 | 1 | 1PH | 1.1 | 1.1 | 5 / 15 Amp | Switch Socket
| 21 | BC-04 | TOASTER 6 SLICER COVEYOR TYPE | SOE/OPS | STD | 1 | 1PH | 1.5 | 1 | 5 / 15 Amp | Switch Socket
| 22 | BC-05 | JUICE DISPENSER | UGOLININ-DELUX 12/2 | 360 x 480 x 570Ht, | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
| 23 | BC-06 | LAVAZA SINGLE GROUP AUTOMATIC COFFEE MACHINE | LAVAZA AUTOMATIC MACHINE | 330 x 430 x 600Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
| 24 | BC-07 | MILK STORAGE | RENTAL | STD | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
| 25 | BC-08 | WASTEBIN (SUPREMO-20Ltrs.) | SOE | 340Dia x 406Ht. | 3
| 26 | BC-09 | COUNTER WITH PROVISION OF PLATES AND STORAGE BELOW | AS PER ID | 8214 x 700 x 850Ht. | 1
| 27 | BC-10 | SUNKIN COLD WELL WITH 2 O/S (WELL SIZE 800x450x100Deep) | FABRICATED | 1000 x 650 x 100Deep +COMPRESSOR | 2 | 1PH | 1 | 2 | 32 | Metal clad
| 28 | BC-11 | COUNTER FOR COLD WELL WITH DOOR | AS PER ID | 2400 x 850 x 900Ht. | 1
| 29 | BC-11a | FULL HEIGHT STORAGE RACK | AS PER ID | 1350 x 850 | 1
| 30 | BC-12 | GLASS RACK WITH GARBAGE BIN BELOW | INTERIOR/CARPENTRY | 700 x 850 x 900 Ht. | 1
| 31 | BC-13 | FLOOR MOUNTED WATER DISPENSER | RENTAL | 600 x 650 x 1800Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
| 32 | BC-14 | OPEN DECK CHILLER | BLUESTAR-KORAL10CFV/DL/MT | 985 x 730 x 1930 | 1 | 1PH | 2.2 | 2.2 | 5 / 15 Amp | Switch Socket
| Total Kw-Buffet Counter | [7 empty] | 29.7
BAR COUNTER
32 | 33 | BR-01 | COCKTAIL STATION WITH 6 Nos.ROUND COTAINER & 1 U/S | FABRICATED | 760 x 500+100 x 900+50SPL | 1
| 34 | BR-02 | UNDER COUNTER ICE CUBE MACHINE (DICE ICE MAKER) | ICEMATIC CHERRY-C54 | 500 x 580 x 800Ht. | 1 | 1PH | 2.2 | 2.2 | 5 / 15 Amp | Switch Socket
| 35 | BR-03 | COUNTER WITH STORAGE BELOW FOR KEGS & CHILL MACHINE | INTERIOR/CARPENTRY | 1900 x 625 x 900Ht. | 1
| 36 | BR-04 | UNDERNEATH BEER CHILLING MACHINE | RAJA ENGINEERING | 500 x 500 x 750Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
| 37 | BR-05 | BEER TOWER 2 TAPS) | RAJA ENGINEERING | STD | 1
| 38 | BR-06 | CO2 CYLINDER (1 FOR FOUNTAIN MACHINE & 1 FOR BEER KEGS) | SOE/OPS | STD | 2
| 39 | BR-07 | MS STORAGE RACK 4 SHELF | FABRICATED | 900 x 450 x 1650 | 3
| 40 | BR-08 | FOUNTAIN MACHINE 4 TAP | RENTAL SOE/OPS | 550 x 610 x 645Ht. | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket
| 41 | BR-09 | COUNTER WITH STORAGE BELOW FOR ONE NUMBER 2 DOOR U/C BACK BAR CHILLER | INTERIOR/CARPENTRY | 2700 x 800 x 925Ht Inside. | 1
| 42 | BR-10 | SUNK IN SINK (BOWL SIZE-300x300x250 Deep) | CIVIL | 350 x 350 x 250DeeP | 1
| 43 | BR-11 | GREASE TRAP | NUGREEN-NGT-08 | 355 x 262 x 280Ht. | 1
| 44 | BR-12 | UNDER COUNTER GLASS WASHER | WASHMATIC-200 | 470 x 570x 730Ht. | 1 | 1PH | 3.5 | 3.5 | 32 | Metal clad
| 45 | BR-13 | BLENDER M/C2 SPEED | Vitamix /JTC Model No. TM-767A | 203 x 229 x 440 | 2 | 1PH | 1.2 | 2.4 | 5 / 15 Amp | Switch Socket
| 46 | BR-14 | 2 DOOR UNDER COUNTER BACK CHILLER | BLUESTAR-BC250A | 900 x 520 x 900 | 1 | 1PH | 2.1 | 2.1 | 5 / 15 Amp | Switch Socket
Total Kw - Bar Counter | [8 empty] | 11.7
SOE
|  | 1 | GEYSER (Cap. As Per MEP) | SOE | QTY CAN BE MODIFIE AS PER MEP | 1 | 1PH | 3 | 3 | 32 | Metal Clad
|  | 2 | INSECT KILLERS | SOE |  | 1 | 1PH | 0.3 | 0.3 | 5 / 15 Amp | Switch Socket
|  | 3 | FIRE EXTINGUISHER ABC-4KG | SOE |  | 2
46 |  | 4 | FIRE EXTINGUISHER CO/2-4.5KG | SOE |  | 2
51 |  | 5 | FIRE EXTINGUISHER KTYPE - 6KG | SOE |  | 2
52 |  | 6 | FIRE BLANKET - 6' X 4' | SOE |  | 2
TOTAL MISCELLANEOUS LOAD IN Kw. | [8 empty] | 3.3
TOTAL Kw. | [8 empty] | 70.4

## Safal upload
EQUIPMENT SCHEDULE
|  |  | LOUNGE KITCHEN WITH BAR & BUFFER COUNTER |  | Date | 2024-08-12
AT DABOLIM -GOA
SR.No. | Sr.No. | Eq.No. | DESCRIPTION | BRAND/MODEL | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
| 1 | DW-01 | 4" DEEP DISH LANDING TABLE W/GLASS RACK | FABRICATED | 1300 x 600 x 850 + 500+125 O/S | 1 | [5 empty] | Eq.No. DW-01 DESCRIPTION 4" DEEP DISH LANDING TABLE W/GLASS RACK BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 1300 x 600 x 850 + 500+125 O/S
| 3 | DW-03 | GREASE TRAP | NUGREEN-NGT- 20 | 362 x 503 x 303Ht. | 1 | [5 empty] | Eq.No. DW-03 DESCRIPTION GREASE TRAP BRAND/MODEL NUGREEN-NGT- 20 DIMENSIONS(L x W x HT) 362 x 503 x 303Ht.
| 5 | DW-04 | PRE RINSE SPARY UNIT - DECK MOUNTED | STD |  | 1 | [5 empty] | Eq.No. DW-04 DESCRIPTION PRE RINSE SPARY UNIT - DECK MOUNTED BRAND/MODEL STD DIMENSIONS(L x W x HT)
| 4 | DW-05 | LOADING TABLE WITH 1 SINK ON LHS AND CROSS SUPPORT WITH STRAINER BASKET | FABRICATED | 950 x 675 x 850 + 150SPL | 1 | [5 empty] | Eq.No. DW-05 DESCRIPTION LOADING TABLE WITH 1 SINK ON LHS AND CROSS SUPPORT WITH STRAINER BASKET BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 950 x 675 x 850 + 150SPL
| 6 | DW-06 | HOOD TYPE DISH WASH MACHINE | WINTERHALTER / P50 | 735 x 750 x 1480Ht. | 1 | 3PH | 11.8 | 11.8 | 5 Pole Industrial Type | MCB | Eq.No. DW-06 DESCRIPTION HOOD TYPE DISH WASH MACHINE BRAND/MODEL WINTERHALTER / P50 DIMENSIONS(L x W x HT) 735 x 750 x 1480Ht.
| 7 | DW-07 | UNLOADING TABLE 2 U/S | FABRICATED | 900 x 675 x850+150SPL | 1 | [5 empty] | Eq.No. DW-07 DESCRIPTION UNLOADING TABLE 2 U/S BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 900 x 675 x850+150SPL
| 8 | DW-08 | SS CLEAN DISH RACK (4 SHELF) | FABRICATED | 950 x 450 x 1650Ht. | 2 | [5 empty] | Eq.No. DW-08 DESCRIPTION SS CLEAN DISH RACK (4 SHELF) BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 950 x 450 x 1650Ht.
1 | MAIN KITCHEN AREA | [10 empty] | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
| 9 | MK-01 | 3 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-UC3100GC | 1805 x 700 x 850Ht | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. MK-01 DESCRIPTION 3 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN BRAND/MODEL BLUE STAR-UC3100GC DIMENSIONS(L x W x HT) 1805 x 700 x 850Ht
| 10 | MK-02 | TABLE TOP INDUCTION PLATE | STELLA-TS3501 | 350 x 410 x 95Ht. | 2 | 1PH | 3 | 6 | 5 / 15 Amp | Switch Socket | Eq.No. MK-02 DESCRIPTION TABLE TOP INDUCTION PLATE BRAND/MODEL STELLA-TS3501 DIMENSIONS(L x W x HT) 350 x 410 x 95Ht.
| 11 | MK-03 | TABLE TOP OTG OVEN | PANASONIC-NB-H3200S | 495 x 395 x 325Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. MK-03 DESCRIPTION TABLE TOP OTG OVEN BRAND/MODEL PANASONIC-NB-H3200S DIMENSIONS(L x W x HT) 495 x 395 x 325Ht.
| 12 | MK-04 | MICROWAVE OVEN WITH WALL MOUNTED SHELF | CELFROST-CMO25 | 511 x 432 x 311 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. MK-04 DESCRIPTION MICROWAVE OVEN WITH WALL MOUNTED SHELF BRAND/MODEL CELFROST-CMO25 DIMENSIONS(L x W x HT) 511 x 432 x 311
| 13 | MK-05 | SS WORK TABLE SINK ON RHS WITH CROSS SUPPORT | FABRICATED | 1300 x 700 x 850 + 150 | 1 | [5 empty] | Eq.No. MK-05 DESCRIPTION SS WORK TABLE SINK ON RHS WITH CROSS SUPPORT BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 1300 x 700 x 850 + 150
| 14 | MK-06 | GREASE TRAP | NUGREEN-NGT-20 | 362 x 503 x 303Ht. | 1 | [5 empty] | Eq.No. MK-06 DESCRIPTION GREASE TRAP BRAND/MODEL NUGREEN-NGT-20 DIMENSIONS(L x W x HT) 362 x 503 x 303Ht.
| 15 | MK-07 | 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUESTAR-RC2D550N | 700 x 765 x 1997 | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket | Eq.No. MK-07 DESCRIPTION 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN BRAND/MODEL BLUESTAR-RC2D550N DIMENSIONS(L x W x HT) 700 x 765 x 1997
| 16 | MK-08 | ALTO SHAAM STANDING TYPE | ALTOSHAAM/1000-UP | 608 x 804 x 1942Ht. | 1 | 1PH | 1.9 | 1.9 | 5 / 15 Amp | Switch Socket | Eq.No. MK-08 DESCRIPTION ALTO SHAAM STANDING TYPE BRAND/MODEL ALTOSHAAM/1000-UP DIMENSIONS(L x W x HT) 608 x 804 x 1942Ht.
| 17 | MK-09 | SS STORAGE RACK 5 SHELF | FABRICATED | 900 x 450 x 1800 | 2 | [5 empty] | Eq.No. MK-09 DESCRIPTION SS STORAGE RACK 5 SHELF BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 900 x 450 x 1800
Total Kw-Main Kitchen - A | [8 empty] | 25.7 |  |  | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
1 | BUFFET COUNTER | [10 empty] | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
| 19 | BC-02 | INDUCTION | STELLA-TS 678 | 340 x 340 x 75Ht. | 7 | 1PH | 2.2 | 15.4 | 5 / 15 Amp | Switch Socket | Eq.No. BC-02 DESCRIPTION INDUCTION BRAND/MODEL STELLA-TS 678 DIMENSIONS(L x W x HT) 340 x 340 x 75Ht.
| 20 | BC-03 | ELECTRIC DUAL HEAT LAMP FOR BUFFET COUNTER | TAIKONG-TAIWAN | 500 x 700 x 650 | 1 | 1PH | 1.1 | 1.1 | 5 / 15 Amp | Switch Socket | Eq.No. BC-03 DESCRIPTION ELECTRIC DUAL HEAT LAMP FOR BUFFET COUNTER BRAND/MODEL TAIKONG-TAIWAN DIMENSIONS(L x W x HT) 500 x 700 x 650
| 22 | BC-05 | JUICE DISPENSER | UGOLININ-DELUX 12/2 | 360 x 480 x 570Ht, | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. BC-05 DESCRIPTION JUICE DISPENSER BRAND/MODEL UGOLININ-DELUX 12/2 DIMENSIONS(L x W x HT) 360 x 480 x 570Ht,
| 23 | BC-06 | LAVAZA SINGLE GROUP AUTOMATIC COFFEE MACHINE | LAVAZA AUTOMATIC MACHINE | 330 x 430 x 600Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. BC-06 DESCRIPTION LAVAZA SINGLE GROUP AUTOMATIC COFFEE MACHINE BRAND/MODEL LAVAZA AUTOMATIC MACHINE DIMENSIONS(L x W x HT) 330 x 430 x 600Ht.
| 24 | BC-07 | MILK STORAGE | RENTAL | STD | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket | Eq.No. BC-07 DESCRIPTION MILK STORAGE BRAND/MODEL RENTAL DIMENSIONS(L x W x HT) STD
| 27 | BC-10 | SUNKIN COLD WELL WITH 2 O/S (WELL SIZE 800x450x100Deep) | FABRICATED | 1000 x 650 x 100Deep +COMPRESSOR | 2 | 1PH | 1 | 2 | 32 | Metal clad | Eq.No. BC-10 DESCRIPTION SUNKIN COLD WELL WITH 2 O/S (WELL SIZE 800x450x100Deep) BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 1000 x 650 x 100Deep +COMPRESSOR
| 32 | BC-14 | OPEN DECK CHILLER | BLUESTAR-KORAL10CFV/DL/MT | 985 x 730 x 1930 | 1 | 1PH | 2.2 | 2.2 | 5 / 15 Amp | Switch Socket | Eq.No. BC-14 DESCRIPTION OPEN DECK CHILLER BRAND/MODEL BLUESTAR-KORAL10CFV/DL/MT DIMENSIONS(L x W x HT) 985 x 730 x 1930
| Total Kw-Buffet Counter | [7 empty] | 24.7 |  |  | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
| BAR COUNTER | [10 empty] | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
32 | 33 | BR-01 | COCKTAIL STATION WITH 6 Nos.ROUND COTAINER & 1 U/S | FABRICATED | 760 x 500+100 x 900+50SPL | 1 | [5 empty] | Eq.No. BR-01 DESCRIPTION COCKTAIL STATION WITH 6 Nos.ROUND COTAINER & 1 U/S BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 760 x 500+100 x 900+50SPL
| 34 | BR-02 | UNDER COUNTER ICE CUBE MACHINE (DICE ICE MAKER) | ICEMATIC CHERRY-C54 | 500 x 580 x 800Ht. | 1 | 1PH | 2.2 | 2.2 | 5 / 15 Amp | Switch Socket | Eq.No. BR-02 DESCRIPTION UNDER COUNTER ICE CUBE MACHINE (DICE ICE MAKER) BRAND/MODEL ICEMATIC CHERRY-C54 DIMENSIONS(L x W x HT) 500 x 580 x 800Ht.
| 36 | BR-04 | UNDERNEATH BEER CHILLING MACHINE | RAJA ENGINEERING | 500 x 500 x 750Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | Eq.No. BR-04 DESCRIPTION UNDERNEATH BEER CHILLING MACHINE BRAND/MODEL RAJA ENGINEERING DIMENSIONS(L x W x HT) 500 x 500 x 750Ht.
| 37 | BR-05 | BEER TOWER 2 TAPS) | RAJA ENGINEERING | STD | 1 | [5 empty] | Eq.No. BR-05 DESCRIPTION BEER TOWER 2 TAPS) BRAND/MODEL RAJA ENGINEERING DIMENSIONS(L x W x HT) STD
| 39 | BR-07 | MS STORAGE RACK 4 SHELF | FABRICATED | 900 x 450 x 1650 | 3 | [5 empty] | Eq.No. BR-07 DESCRIPTION MS STORAGE RACK 4 SHELF BRAND/MODEL FABRICATED DIMENSIONS(L x W x HT) 900 x 450 x 1650
| 43 | BR-11 | GREASE TRAP | NUGREEN-NGT-08 | 355 x 262 x 280Ht. | 1 | [5 empty] | Eq.No. BR-11 DESCRIPTION GREASE TRAP BRAND/MODEL NUGREEN-NGT-08 DIMENSIONS(L x W x HT) 355 x 262 x 280Ht.
| 44 | BR-12 | UNDER COUNTER GLASS WASHER | WASHMATIC-200 | 470 x 570x 730Ht. | 1 | 1PH | 3.5 | 3.5 | 32 | Metal clad | Eq.No. BR-12 DESCRIPTION UNDER COUNTER GLASS WASHER BRAND/MODEL WASHMATIC-200 DIMENSIONS(L x W x HT) 470 x 570x 730Ht.
| 45 | BR-13 | BLENDER M/C2 SPEED | Vitamix /JTC Model No. TM-767A | 203 x 229 x 440 | 2 | 1PH | 1.2 | 2.4 | 5 / 15 Amp | Switch Socket | Eq.No. BR-13 DESCRIPTION BLENDER M/C2 SPEED BRAND/MODEL Vitamix /JTC Model No. TM-767A DIMENSIONS(L x W x HT) 203 x 229 x 440
| 46 | BR-14 | 2 DOOR UNDER COUNTER BACK CHILLER | BLUESTAR-BC250A | 900 x 520 x 900 | 1 | 1PH | 2.1 | 2.1 | 5 / 15 Amp | Switch Socket | Eq.No. BR-14 DESCRIPTION 2 DOOR UNDER COUNTER BACK CHILLER BRAND/MODEL BLUESTAR-BC250A DIMENSIONS(L x W x HT) 900 x 520 x 900
Total Kw - Bar Counter | [8 empty] | 11.2 |  |  | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
SOE | [11 empty] | Eq.No. DESCRIPTION BRAND/MODEL DIMENSIONS(L x W x HT)
|  | 2 | INSECT KILLERS | SOE |  | 1 | 1PH | 0.3 | 0.3 | 5 / 15 Amp | Switch Socket | Eq.No. 2 DESCRIPTION INSECT KILLERS BRAND/MODEL SOE DIMENSIONS(L x W x HT)
|  | 3 | FIRE EXTINGUISHER ABC-4KG | SOE |  | 2 | [5 empty] | Eq.No. 3 DESCRIPTION FIRE EXTINGUISHER ABC-4KG BRAND/MODEL SOE DIMENSIONS(L x W x HT)
46 |  | 4 | FIRE EXTINGUISHER CO/2-4.5KG | SOE |  | 2 | [5 empty] | Eq.No. 4 DESCRIPTION FIRE EXTINGUISHER CO/2-4.5KG BRAND/MODEL SOE DIMENSIONS(L x W x HT)
51 |  | 5 | FIRE EXTINGUISHER KTYPE - 6KG | SOE |  | 2 | [5 empty] | Eq.No. 5 DESCRIPTION FIRE EXTINGUISHER KTYPE - 6KG BRAND/MODEL SOE DIMENSIONS(L x W x HT)
52 |  | 6 | FIRE BLANKET - 6' X 4' | SOE |  | 2 | [5 empty] | Eq.No. 6 DESCRIPTION FIRE BLANKET - 6' X 4' BRAND/MODEL SOE DIMENSIONS(L x W x HT)
TOTAL MISCELLANEOUS LOAD IN Kw. | [8 empty] | 0.3
TOTAL Kw. | [8 empty] | 61.9