## HVAC
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
A | HVAC EQUIPMENTS
A.1 | KITCHEN EXHAUST FAN - 6000 CFM (WITH NECESSARY HANGING/MOUNTING ARRANGEMENTS AND VIBRATION ISOLATION) | NO. | 1
A.2 | ELECTROSTATIC PRESIPITATOR (WITH NECESSARY HANGING/MOUNTING ARRANGEMENTS AND VIBRATION ISOLATION) | NO. | 1
A.3 | AIR HANDLING UNIT (FCU) - 3TR (WITH NECESSARY HANGING/MOUNTING ARRANGEMENTS AND VIBRATION ISOLATION) | NO. | 1
A.4 | AIR HANDLING UNIT (FCU) - 5TR (WITH NECESSARY HANGING/MOUNTING ARRANGEMENTS AND VIBRATION ISOLATION) | NO. | 2
A.5 | AIR WASHER UNIT (AWU) - 4800 CFM (WITH NECESSARY HANGING/MOUNTING ARRANGEMENTS AND VIBRATION ISOLATION) | NO. | 1
B | HVAC PIPING
B.1 | HVAC CONDENSATE DRAIN UPVC PIPE (12 MM INSULATION)
B1.2 | 25 MM DIA (WITH NECESSARY SUPPORT ARRANGEMENTS) | METER | 12
B1.3 | 32 MM DIA (WITH NECESSARY SUPPORT ARRANGEMENTS) | METER | 10
B.2 | HAVC CHILLED WATER MS PIPING ( 32 MM INSULATION)
B.2.1 | 32 MM DIA (WITH NECESSARY SUPPORT ARRANGEMENTS) | METER | 23
B.2.2 | 50 MM DIA (WITH NECESSARY SUPPORT ARRANGEMENTS) | METER | 12
C | HVAC PIPING ACCESSORIES
C.1 | STANDARD VALVE PACKAGE FOR 5.0 TR AHU | SET | 2
C.2 | STANDARD VALVE PACKAGE FOR 3.0 TR AHU | SET | 1
D | DUCT MATERIALS
D.1 | SUPPLY AIR SQUARE GI DUCT 22MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 25
D.2 | SUPPLY AIR SQUARE GI DUCT 24MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 45
D.3 | RETURN AIR SQUARE GI DUCT 22MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 35
D.4 | RETURN AIR SQUARE GI DUCT 24MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 12
D.5 | KITCHEN EXHAUST AIR MS DUCT 22MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 35
D.6 | MAKE-UP AIR SQUARE GI DUCT 22MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 50
D.7 | TREATED FRESH AIR SQUARE GI DUCT 24MM GAUGE (WITH NECESSARY SUPPORT ARRANGEMENTS) | SQ.METER | 8
D.8 | ACOUSTIC INSULATION | SQ.METER | 20
D.9 | 19MM THICK THERMAL INSULATION
D.9.1 | SUPPLY AIR DUCT | SQ.METER | 70
D.9.2 | RETURN AIR DUCT | SQ.METER | 52
D.9.3 | MAKE-UP AIR DUCT | SQ.METER | 50
D.9.4 | TREATED FRESH AIR DUCT | SQ.METER | 8
D.10 | 80MM THICK GLASSWOOL INSULATION
D.10.1 | KITCHEN EXHAUST AIR DUCT | SQ.METER | 35
E | HVAC DUCT ACCESSORIES
E.1 | OPPOSED BLADE DAMPERS (350x350) | NO. | 12
E.2 | OPPOSED BLADE DAMPERS (500x500) | NO. | 10
E.3 | OPPOSED BLADE DAMPERS (500x300) | NO. | 6
E.4 | VOLUME CONTROL DAMPER ( 500x250) | NO. | 1
E.5 | FIRE DAMPER ( 500x350) | NO. | 2
E.6 | FIRE DAMPER ( 600x400) | NO. | 2
F | DIFFUSERS AND GRILLES
F.1 | TRANSFER DOOR GRILLE (250x250) | NO. | 1
F.2 | SQUARE DIFFUSER 600x600 ( NECK 350x350) | NO. | 12
F.3 | SQUARE AIR GRILLE (NECK 500x500) | NO. | 5
F.4 | SQUARE AIR GRILLE (NECK 300x300) | NO. | 1
F.5 | SQUARE AIR GRILLE (NECK 500x500) ONE WAY | NO. | 6
F.6 | 3-SLOT LINEAR DIFFUSER WITHOUT OBD (1000L) | NO. | 6
F.7 | 3-SLOT LINEAR DIFFUSER WITH OBD (1000L) | NO. | 2