## Cost Summary
Summary of costing Biggies Burger at Kolkata Airport
Date |  | 2024-12-10
S. No. | Decription of Items | Sub Total Amount | GST AMOUNT | GRAND TOTAL | TFS Remarks
1 | Interior Works | 0 | 0 | 0
2 | Light Fixtures | 0 | 0 | 0
3 | Fresh Air Ducting Works | #REF! | #REF! | #REF! | Exisiting, Not require
4 | Brought Out Items | 0 | 0 | 0
5 | Tube Separation | #REF! | #REF! | #REF! | Exisiting, Not require
6 | Fire Surpression System | #REF! | #REF! | #REF! | Exisiting, Not require
7 | Fire Smoke Detector | #REF! | #REF! | #REF! | Exisiting, Not require
| Grand Total = | #REF! | #REF! | #REF!

## Interior works
Biggies Burger at Kolkata Airport
BILL OF QUANTITIES |  |  | Date | 2024-12-10
Sr. No. | Particulars | Drawing Ref. No. | Unit | Quantity | Rate | Total | Remarks | TFS Remarks | Swastik Remarks
Civil Works
1.01 | Providing & fixing 50X50X1.2mm thick MS framing 600mm c/c both side outside clad for partiiton complete with as per detail drawing. | BB-KA-02 | Sqft | 384.5895 |  | 0 |  | Share Drawing Refence Number | Done
1.02 | Providing & fixing 19mm thick Commercial board clad on 50X50X1.2mm thick MS framing inside the Kiosk complete with as per detail drawing. | BB-KA-02 | Sqft | 384.5895 |  | 0 |  | Share Drawing Refence Number | Done
1.03 | Providing & fixing 10mm thick Bison Board clad on 50X50X1.2mm thick MS framing Outside complete with as per detail drawing. | BB-KA-02 | Sqft | 384.5895 |  | 0 |  | Share Drawing Refence Number | Done
1.04 | Providing & fixing 10mm thick Bison Board clad on Inside 19mm Commercial board complete with as per detail drawing. | BB-KA-02 | Sqft | 374.1282 |  | 0 |  | Share Drawing Refence Number | Done
1.05 | Providing & Install and secure a pillar & Beam made with 75x75x1.2mm thick mild steel (MS) section finished with Duco paint in approved shade as per the detailed drawing. | [6 empty] | Share Drawing Refence Number | Done
| MS Pillar | BB-KA-02 | Rft | 24.6859 |  | 0
| MS Beam | BB-KA-02 | Rft | 21.0346 |  | 0
1.06 | Providing & Install and Front Aluminium Lover made aluminum Powder coated section 25X12MM and fixed on 25X40 mm framing provide provisions for the installation of a fixed backlit signage, as per the detail drawing. | BB-KA-01 | Sqft | 34.6384 |  | 0 |  | Share Drawing Refence Number | Done
1.07 | Providing and fixing of Commercial Wall tile_TL-01 Size (450X300mm) Paste on 10mm thick Bison board with addesive inside of the Kiosk complete with as per detail drawing. | BB-KA-07 | Sqft | 385.3521 |  | 0 | black color tiles | Wall Tile Basic Rate? 68/- | 68/-
1.08 | Providing and fixing Counter front Small Wall tile_TL-02 (100X300mm Yellow Colour) and Counter Skiting match with Exisitng Mall Flooring and Paste on 19mm thick Comm. board with addesive outside of the Kiosk and complete with as per detail drawing. | BB-KA-07, 08 & 09 | Sqft | 84.5182 |  | 0 | labour charges are more for small tile laying as per market its 90 rs per sft only labour | Wall Tile Basic Rate? 165/- | 165/- | 157.1429
1.09 | Providing and fixing of 18mm thk Quartz Stone on counter top, pasted on 19mm thick comm. board as per drawing. | BB-KA-07, 08 & 09 | Sqft | 74.787 |  | 0 | corian is suggested as per drawings | Quartz Make & Model - AGL Make | AGL Make
Carpentary Works
1 | Front Cash+Serving counter -Size: L 12'-1" X W 2'-0"X H3'-0" Match with Counter Height Top finished in 18mm thk Quartz Stone, Front portion finished with acrylic sheets and 3D Acrylic letters (as per design); all four sides will be lit up with LED strip lights. Inside portion of the counter will have drawers and shutter with G profile handles - shown as per detailed drawing covering with white & dark grey laminate. | BB-KA-07, 08 & 09 | Sqft | 49.5521 |  | 0 |  | Share Quartz Detail & Basic Rate and Detail Drawing - LG Make & 825/- | Done
2 | Overhead storage back side beside TV as per design 18 inch height as per design drawing. | BB-KA-07 | Sqft | 20.6023 |  | 0
3 | TV & Overhead Cabinet hang Partition- made with 50X50X1.2mm weld on MS Ceiling frame both side clad with 12mm thick wooden ply/MDF finish with laminate as per approved shade complete as per detail drawings. | BB-KA-03 & 07 | Sqft | 36.054 |  | 0
4 | Flap Top & Front Swing Door - Wooden Top door Size: 700X600mm made with 18+18mm Comm. Board finish with Laminate match with Quartz Stone & Front swing door made 19mm Comm. Board and finish with 100X300mm yellow tile complete with all necessary hardware as per detail drawing. | BB-KA-01, 08 & 09 | Nos. | 1 |  | 0 |  | Share Finishes Detail | Done
5 | Electrical Works- Wiring and DB/Conducting/Wiring/Etc-SFT/Rs basis. Note:- Metal Pipes to be Used and 2.5 Sqmm Cable for Lights and 4 Sqmm Cable for all Seprate Circuits to Laid. | BB-KA-03 & 05 | Set | 1 |  | 0 | metal pipes to be used and2.5 sqmm cabe for lights and 4 sqmm for all seprate circuits to laid
6 | Electrical Work_Distribution Board | BB-KA-10 | Set | 1 |  | 0 | as per malll requirement | Need Detail BOQ , cant Flaot equiery with signle line | Done
a | 7 Segment 8way Distribution Board
b | Main Incomer_63 A, FP, RCCB 100MA
c | Outgoing
24 Nos. 16A,25A & 32A SP MCB
7 | Debries Cleaning and Acid Wash Cleaning. |  | Set | 1 |  | 0
Total Interior Work Amount | [5 empty] | 0

## Light
Biggies Burger at Kolkata Airport
BILL OF QUANTITIES |  | Date | 2024-12-10
Sr. No. | Particulars | Unit | Quantity | Rate | Total | Remarks | TFS | Swastik
Light Fixtures
1 | 22 watt T5 Tube Light 1200mm Length Fixtures for Kitchen Area | Nos. | 0 |  | 0 | siporex bricks | Temprature of Light & Make & Model - Bajaj/Wipro/Philips/Syska | Bajaj/Wipro/Philips/Syska- 6500 k
2 | 36 watt Linear Light in Aluminium Body with Powder coated Black 1200mm Length Fixtures for Counter Area | Nos. | 4 |  | 0 |  | Temprature of Light & Make & Model - ISI Standard | ISI Standard Make
3 | 30 watt Per Mtr. Linear Light fixed in signage as per detail for Main Signage. | Rmt | 12.32 |  | 0 |  | Temprature of Light & Make & Model - ISI Standard | ISI Standard Make
4 | 4.8 watt Per Mtr. Strip Light fixed in front counter front panel as per detail for cash Counter. | Rmt | 12.32 |  | 0 |  | Temprature of Light & Make & Model - Syska/Wipro | Syska/Wipro
Total Amount |  |  |  |  | 0

## Brought Out & Signage
#REF!
BILL OF QUANTITIES |  | Date | #REF!
Sr. No. | Particulars | Unit | Quantity | Drawing Ref. No. | Rate | Total | Remarks | TFS | Swastik Remarks
BROUGHT OUT ITEMS
1 | Led TV- 40inch - Samsung Brand | Nos. | 5 |  |  | 0 | siporex bricks
2 | Music System - Sony,Philips | Nos. | 1 |  |  | 0 |  | Not Allowed
3 | UPS - 1 KVA - luminuos brand | Nos. | 1 |  |  | 0 |  | Exisiting
4 | RO Unit - 25 ltrs commercial unit | Nos. | 1 |  |  | 0 |  | Exisiting
5 | CCTV -8 channel dvr recorders and 8 mcamresa and 2 tb hard disc- cp plus brand | Nos. | 1 |  |  | 0 |  | Exisiting
SIGNAGE ITEMS
1 | Main signage board Aluminiumn channel letters with samsung led lights inside as per design - english and Local language | Set | 1 | BB-KA-07 |  | 0 |  | Share Detail Drawing with Artwork | Done
2 | Internal Branding | Set | 1 |  |  | 0 |  | Share Detail Drawing with Artwork | Creative will be shared by Brand
3 | Site Recce,2d,3d & Drawing Elevation Charges | Set | 1 |  |  |  |  | Not Require | Already shared with TFS and will be chargeable
4 | Board out 3 sided covering | Set | 1 |  |  | 0 |  | Sizes Please | As per site frontage
5 | Neon Light | Set | 1 |  |  | 0 |  | Detail Please - Customised | Customised as per required Lux
Total Amount | [5 empty] | 0

## APPROVED BRANDs
APPROVED BRANDS FOR ELECTRICAL WORKS
SL.NO | DESCRIPTION | MAKE LIST
1 | CURRENT TRANSFORMERS | KALPA / AE / C & S
2 | RELAY & CONTROL PANELS
3 | LV BOARDS, MCCs
4 | CAPACITORS | SCHNIEDER / SIEMENS / L&T/LEGRAND
5 | CONTACTORS & STARTERS | SCHNIEDER / SIEMENS / L&T
6 | FUSES & FUSE BASES | EE / STANDARD / L & T
7 | SWITCH FUSE & FUSE SWITCH UNITS | C & S / L&T
8 | SELECTOR SWITCHES & ROTARY SWITCHES | EE / KAYCEE
9 | AIR CIRCUIT BREAKERS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
10 | MOULDED CASE CIRCUIT BREAKERS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
11 | MINIATURE CIRCUIT BREAKERS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
12 | RESIDUAL CURRENT CIRCUIT BREAKERS (RCCB) | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
13 | PUSH BUTTONS | SIEMENS / RAAS CONTROLS
14 | RELAYS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
15 | TIMERS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/Hegar
16 | INDICATING LAMPS | BCH / VAISHNAV / L & T / LEGRAND / HAGER
17 | MCB DISTRIBUTION BOARDS | LEGRAND / ABB / SCHNEIDER / L & T / SIEMENS/HAVELLS
18 | INDICATING INSTRUMENTS | AE / MECO / MP
19 | DIGITAL KILO WATT HOUR METERS | L & T / TRINITY / NEPTUNE / SCHNIEDER/ ELMEASURE
20 | DIGITAL MEASURING INSTRUMENTS | L & T / TRINITY / NEPTUNE / SCHNIEDER/ ELMEASURE
21 | LIGHT FIXTURES & LAMPS (INDUSTRIAL, COMMERCIAL & DECORATIVE) | ARTLITE / WIPRO / GE / PHILIPS / ASIAN / OSRAM
22 | HT & LT CABLES (POWER & CONTROL) | POLYCAB / FINOLEX / KEI / RR CABLES/HAVELLS
23 | PVC INSULATED COPPER WIRES (FRLS) | FINOLEX / ANCHOR / HAVELLS / POLYCAB/ RR CABLES / L&T / KEI (FRLS WIRES)/ HAVELLS
24 | PVC RIGID CONDUITS | VIP / PRECISION / BEC / AKG
25 | MS CONDUITS | SUPREME / BHARAT/ BEC / AKG
26 | CRIMPING TYPE LUGS | DOWELLS / USHA / CONNECTWELL
27 | HT CABLE SEALING KITS | M-SEAL / RAYCHEM
28 | CABLE GLANDS | DOWELLS / CROMPTON
29 | INDUSTRIAL SOCKETS IN SHEETSTEEL ENCLOSURE WITH MCB | BCH / CGL
30 | CEILING ROSE | ANCHOR / LISHA
31 | LIGHTING & POWER CONTROL SWITCHES, RECEPTACLES | ANCHOR ROMA-WRAPAROUND / LEGRAND MYLINK / CRABTREE / MK / SIMENS
32 | CEILING FANS & EXHAUST FANS | CROMPTON/ AUTOMBERG / ORIENT/HAVELLS,WIPRRO
33 | TERMINALS | ELMEX / CONNECTWELL / WAGO
34 | CHANGE OVER SWITCHES | C&S / HPL / HHELCON / L & T
35 | PUBLIC ADDRESS SYSTEM | BOSCH / HONEYWELL/Sonodyne/JBL
36 | DETECTORS FOR FIRE ALARM SYSTEM | RAVEL/ MORELY/SIEMENS/Honywell/Appolo
37 | FA Panel | RAVEL/ MORELY/SIEMENS/Honywell/Appolo
38 | AUTO TRANSFER SWICTHES | ASCO / VITZROTECH
39 | APFCR ELAY | BELUK / NEPTUENE/ SCHINIEDER
40 | Sensor | LEGRAND / Hegar
41 | LIGHT FIXTURES & LAMPS (INDUSTRIAL, COMMERCIAL& DECORATIVE ) | FIREFLLY ILLUMINTORS , LP, WIPRRO, BAJAJ
42
43
APPROVED BRANDS FOR CIVIL & INTERIOR
SL.NO | MATERIAL | APPROVED MANUFACTURER/
SUB-CONTRACTOR /BRAND
1 | Ceramic/ Vitrified tiles | Asian GRANITO , ORIENTBELL SIMPOLO,BAJAJ,
2 | Vitreous chinaware sanitary | HINDWARE, PARRYWARE, CERA fitting like W. C. pans, urinals, wash basins, cistern, etc.
3 | Chromium plated/powder coated stopcocks, bibcocks, pillar taps etc. | J ESS, Hindware, Parryware, ROCA ,PLANTEX , LYSAN ETC
4 | Gypsum Board | INDIAN GYPSUM LTD, LAFARGE (ONLY FOR STRAIGHT SURGACES), BORAL
5 | GI Framing for ceiling | IGL, BORAL, Western Infrabuild
6 | Commercial Plywood/B.B. | NATIONAL, GURJAN, GARNET, MERINO, TOWER, KENWOOD, ANCHOR, KITPLY, DONEAR, KORNIDO, GREENPLY, EURO, ARCHIDPLY, All ISI
7 | MDF | NUWAD, DURATUFF, BAJAJ, ASIS, GREENPLY, MERINO, EURO, ARCHIDPLY, All ISI
8 | Marine Plywood | CENTURY, GARNET, ARCHIDPLY, NATIONAL, TUFFPLY, EURO, GREENPLY, All ISI
9 | Veneer | EURO
10 | Fabric protection coating for upholstery | ISI
11 | Paints & primar | ASIAN, ICI DULUX, NEROLAC, BERGER
12 | Putty | ASIAN, ICI DULUX, BIRLA WHITE
13 | Exterior grade paints
14 | Laminates | FORMICA, GREENLAM, MERINO, ARCHID PLY, STAR
15 | Screws (oxidised) | GKW, NETTLEFOLD, OMNI STEEL, PIONEER, RADIANT, SHAKTI TOOLS, RK
16 | hardware- Locks | Godrej, Vijayan, Hafele, Kich, Dorset, Solo
17 | Door closers/ Floor Spring | HEMCO, EVERITE, DORSET, SOLO
18 | Hardware- channels | OZONE, BABA, HAFELE, DORSET, VISION
19 | Hardware- Hinges | OZONE, KICH, DORSET
20 | Hardware- door handles | OZONE, KICH, DORSET
21 | Adhesive | FEVICOL SH./ Marin, ARALDITE OF HINDUSTAN CIBA- GEIGY LTD., VAMICOL(JIVONJAR).
22 | Adhesive for Mirrors | WACKER (HA), DOW CORNING (789), Glass mate Ultrafix (Saint Gobain)
23 | G. I. Pipes | ‘C’ CLASS TATA, JINDAL.
24 | MS Pipes | "C" CLASS JINDAL / TATA
25 | CI (Cast Iron) pipes | NECO
26 | PVC pipes - external lumbing | FINOLEX, SUPREEM, JAIN PIPES, ASTRAL, PRINCE, ASHIRVAD
27 | Wood preservatives | WOODGUARD /TERMISIL/DURSBAN / TAFABAN
28 | Al. Door & window section | JINDAL, INDAL
29 | Wood | SALWOOD / ZEBRANA/ RED MARINDI
30 | Glass | MODI / ASAHI / SAINT GOBAIN
31 | Mirror | MODI / ASAHI / SAINT GOBAIN
32 | Patch Fitting | DORMA / OZONE/DORSET
33 | ACP | ALU BOND, ALUDECOR, TIMEX, VIVO, PRIME BOND
34 | Cement | AMBUJA / ACC / RAMCO / ULTRATECH / PENNA/ZUARI - 43 GRADE