## LIGHTING
LKO_CARL'S JUNIOR_LIGHTING DOCKET
NO | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 |  | 5 | Aluminium Soffit Light frame (yellow) suspended light | Above Ordering Counter | Dimmable | 6000 K | 20w Each | 1200 (L) x 50 (H)MM
2 |  | 2 | Square Aluminum Soffit Light Frame with White LED Light Diagonally placed (yellow) Suspended light | Dinning Area | Dimmable | 6000 K | 20w Each | 1400 X 2100 X 50 (H) MM
3 |  | 2 | WhiteTrack | Dinning Area & Above Façade Table | - | - | - | 2000 (L) MM
|  | 6 | White spot | Dinning Area & Above Façade Table | Dimmable | 3000 K | Each spot would be 15W | -
4 |  | 6 | WhiteTrack | Dinning Area & Enterance | - | - | - | 1000 (L) MM
|  | 12 | White spot | Dinning Area & Above Façade Table | Dimmable | 3000 K | Each spot would be 15W | -
5 |  | 6 | Downlight (concealed) | Counter | Dimmable | 3000 K | 20 W Each | 130 Dia. MM
6 |  | 16 | LED Panel Light (concealed) | BOH | - | 4000 K | 41 W Each | 600 X 600 MM
7 |  | 1 | Yellow LED Strip with profile | Order Counter | - | 3000 K