## Summary
TFS_BEHROR
SUMMARY OF ELECTRICAL & NETWORK WORKS-INTERNAL OUTLETS
DATE: DEC.27, 2022
SR. NO. | DESCRIPTION | SUPPLY AMOUNT (RS.) | INST AMOUNT (RS.)
1 | ELECTRICAL WORKS
A | #REF! | 0 | 0
0
B | #REF! | 0 | 0
|  | 0 | 0
C | #REF! | 0 | 0
|  | 0 | 0
D | #REF! | 0 | 0
|  | 0 | 0
E | #REF! | 0 | 0
|  | 0 | 0
F | #REF! | 0 | 0
|  | 0 | 0
G | #REF! | 0 | 0
|  | 0 | 0
H | #REF! | 0 | 0
|  | 0 | 0
I | #REF! | 0 | 0
|  | 0 | 0
J | #REF! | 0 | 0
|  | 0 | 0
K | #REF! | 0 | 0
|  | 0 | 0
2 | NETWORK WORKS | 0 | 0
|  | 0 | 0
|  | 0 | 0
|  | 0 | 0
| GRAND TOTAL | 0 | 0
| TOTAL (SUPPLY + INST) | 0
4 | ADDITIONAL | 772145
| TOTAL with additonal works |  | 772145
| Tax |  | 138986.1
| TOTAL INCLUDING TAX |  | 911131.1

## ADDITIONAL
ADDITIONAL WORK
Sl no. | Description of Items | Unit | NO | MEASURMENT | Qty | RATE | AMOUNT
ELECTRICAL
1 | PROVIDING AND FIXING 600x600 LIGHT PANELS IN THE KITCHEN AREA | NO | 50 |  |  | 2200 | 110000
2 | FIXING FIRE EXTUINGUISHER | NO | 11 |  |  | 200 | 2200
4 | FLY CATCHER FIXING | NO | 10 |  |  | 200 | 2000
5 | SITTING AREA CENTRAL FAN | NO | 1 |  |  | 10000 | 10000
6 | DOMINOSE 12 WAY VTN DB | NO | 1 |  |  | 40000 | 40000
7 | BIKANERWAL 12 WAY TPN | NOS | 1
| OFFICE PASSAGE COMMON | NOS | 1
| SERVER ROOM | NOS | 1
|  |  | 3 |  |  | 32000 | 96000
8 | 12 WAY SPN DB
| DHABA | NOS | 1
| NOODLES WOK | NOS | 1
| CAFFECCINO | NOS | 1
| GIANIS | NOS | 1
| ROLLS KING | NOS | 1
| DOMINOSE | NOS | 1
| BIKANERWALA | NOS | 1
| BIKANERWAL RETAIL | NOS | 1
| TEA CONCEPT | NOS | 1
| OFFICE PASSAGE | NOS | 1
|  |  | 10 |  |  | 12000 | 120000
9 | SUPPLY AND FIXING WEATHER PROOF BOX FOR THE OUTDOOR SWITCHGEAR IP 66 | NOS | 9 |  |  | 1500 | 13500
10 | SUPPLY AND INSTALLING TRUNKING RACEWAY PF SIZE 300 X 38 MM | RMTR | 27 |  |  | 1200 | 32400
11
A | 3 CORE X 4 SQMM COPPER ARMOURED CABLE
| LT PANEL TO MAIN SIGANGE | RM | 109 |  |  | 325 | 35425
B | 4 CORE 2.5SQMM COPPER FLEXIBLE CABLE
| ON TERRACE TO STARTER TO WATER COOLER | RM | 40
| WATER COOLER FROM THE STARTER 2X15 | RM | 30
| LT PANEL TO RO PLANT | RM | 40
|  |  | 110 |  |  | 250 | 27500
C | 3 CORE X 4 SQMMM COPPER FELXIBLE CABLE | RM
| DHABA TO FRESH AIR MOTOR | RM | 30
| LT PANEL TO .5 HP MOTOR TOILET | RM | 76
|  |  | 106 |  |  | 225 | 23850
D | 3 CORE 2.5 SQMM COPPER ARMOURED CABLE for UPS
| SERVER ROM TO GIANIS OUTLET | RM | 109
| SERVER ROOM TO ROLLS KING | RM | 104
| SERVER ROOM TO DOMINOSE | RM | 97
| SERVER ROOM TO BIKANERWAL OUTLET | RM | 61
| SERVER ROOM TO BIKANERWAL RETAIL | RM | 43
| SERVER ROOM TO TEA CONCEPT | RM | 37
| SERVROOM TO COMMON AREA DB | RM | 32
| SERVER ROOM TO DHABA | RM | 35
| SERVER ROOM TO NOODLES WOK | RM | 60
| SERVER ROOM TO CAFFECCINO | RM | 80
|  |  | 658 |  |  | 190 | 125020
7 | Wiring for the following light points with 3R x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in PVC conduits in F.ceiling/walls/ceiling as direc
PRIMARY POINT UPTO 20 MTRS
| BIKNERWAL INCLUDING EMERGENCY | NO | 4
| DHABA | NO | 2
| NOODLE WOK | NOS | 2
| CAFFECCINO | NOS | 2
| GIANIS | NOS | 2
| BIKANER RETAILS | NO | 2
| DOMINOSE | NOS | 5
|  |  | 19 |  |  | 1250 | 23750
LOOPING POINTS UPTO 20 MTR
| BIKNERWAL INCLUDING EMERGENCY | NO | 14
| DHABA | NO | 7
| NOODLES WOK | NOS | 1
| CAFFECCINO | NOS | 4
| GIANIS | NOS | 2
| BIKANER RETAILS | NOS | 2
| DOMINOSE | NOS | 22
|  |  | 52 |  |  | 800 | 41600
9 | PROVIDNG AND FIXING THE 5 PIN 32 AMP
| BIKNERWALA | NO | 1
| CAFFECCINO | NO | 1
|  |  | 2 |  |  | 4000 | 8000
10 | WALL FAN | NOS | 5 |  |  | 2800 | 14000
11 | PROVIDING AND FIXING THE 6 AMP POINT IN THE SITTING AREA PARTITION
| 8X3 BOX =2 6AMP POINT | NOS | 8 |  |  | 1850 | 14800
| 4X3 BOX--1 6 AMP POINTS | NOS | 8 |  |  | 1150 | 9200
12 | CASING CHANNEL IN THE EXISTING WIRING | RMTR | 35 |  |  | 80 | 2800
13 | IO | NO | 67 |  |  | 300 | 20100
| TOTAL | [5 empty] | 772145