## Rev 1
Fixture Ref. No. | Light Fixture Description | Fixture Image | Control | Area | Approved Make Manufacturer/ Model No | Qty | Units | Unit Cost | Total Cost
XSF2 | Pedestal mounted Spot light 10W-15W , 24 Deg, 3000K ,CRI>80, IP 67 Dimensions: Dia- 64mm, H-83mm |  | Non Dimmable | Buddha Statue | Bconnect Spot light Led 10watt, 3000K IP67, non dimmable | 2 | Nos. | 1850 | 3700
XRB1 | Surface Mounted linear fixture 45 deg beam with corner profile , 10W/m, 1000lm/m, 3000K, CRI>80, IP 67 Dimensions: L- As Required, W- 11mm, H- 10.5mm |  | Non Dimmable | Casacade Wall | IN LED Technology | 6.6 | Mtrs. | 2500 | 16500
| 1 driver outdoor rated |  |  |  |  | 1 | Nos. | 2500 | 2500
| Power connector cable |  |  |  |  | 2 | Nos. |  | 0
| Kitchen Hanging lights |  | Non dimmable | Kitchen |  | 20 | Nos. | 2550 | 51000
[8 empty] | TOTAL | 73700

## Sheet1
Project: | Blue Sea Banquet , Mumbai
Client : | Blue Sea Banquet , Mumbai
Venue : | Mumbai
Project Number: | CC - 2023 - PR - 047
Date: | 2024-09-11
Schedule : | BOQ for the Supply of Architectural Light Fixtures
Rev No: | Rev 01
Status: | Concept
Fixture Ref. No. | Light Fixture Description | Fixture Image | Control | Area | Approved Make Manufacturer/ Model No | Qty | Units
XRB1 | Surface Mounted linear fixture 45 deg beam with corner profile , 10W/m, 1000lm/m, 3000K, CRI>80, IP 67 Dimensions: L- 1000mm, W- 45mm, H- |  | Non Dimmable | Casacade Wall | IN LED Technology | 6.6 | Mtrs.
XRB2 | Surface Mounted linear grazer 10W/m, 1000lm/m, RGBW , CRI>80, IP 67 Dimensions: L- 1000mm, W- 45mm, H- |  | Non Dimmable | Casacade Wall | IN LED Technology | 25.5 | Mtrs.