## BD
S.NO. | PARTICULARS | SPECIFICATION |  | UOM | QTY | RATE | AMOUNT
1 | Inside Outlet Wall 01 | LG/3M cut vinyl sticker to be pasted on backwall 5379 mm (W) x 1209 mm (H)) | LG/3M cut vinyl sticker to be pasted on backwall | SFT | 104 |  | 0
2 | Left Side wall of FDU | LG/3M cut vinyl sticker to be pasted on backwall 1224 mm (W) x 2320 mm (H) | LG/3M cut vinyl sticker to be pasted on backwall | SFT | 41 |  | 0
3 | Inside Outlet Wall 02 | LG/3M cut vinyl sticker to be pasted on backwall 1942 mm (W) x 2269 mm (H) |  | SFT | 42 |  | 0
4 | Inside Outlet Wall Posters Left Side | Light brown wooden frame poster 1210 mm (W) x 1735 mm (H) |  | Nos | 3 |  | 0
5 | Inside Outlet Wall Posters Right Side | Light brown wooden frame poster 1210 mm (W) x 1735 mm (H) |  | Nos | 2 |  | 0
6 | Wooden flooring removal | Exisitng wooden flooring removal as to be done till as per the Counter Partion edges starts and if any damages as happened and same as to be fixed |  | SFT | 150 |  | 0
10.A | FDU Counter Modification | Wooden counter extension with 100mm thickness Korean top finishing as per provided and approved Layout with proper finishing |  | Sqft | 46 |  | 0
10.B | POS Counter Extension | Wooden counter extension Korean top finishing with below counter setup for wooden racks with partition and doors, and providing till box counter as per provided and approved Layout with proper finishing |  | Rft | 20 |  | 0
10.C. | Tiles Work | 2'*2' tiles Fixing need to be lay after removal of Wooden Flooring |  | Sqft | 150 |  | 0
11.A. | Coffee Machine Shifting | Need to shift the Coffee machine at POS counter same below that water inlet and drain outlet supply as to be provided from the exisitng plumbing line spec |  | Nos | 2 |  | 0
11.B. |  | Coffee Machine 3 phase electrical need to provide till LT panel (32A 4 pole MCB with Industrial Plug top set) |  | Nos | 1 |  | 0
11.C. |  | Tiles Removing and fixing work for laying new RO water line and Drain line |  | Sqft | 40 |  | 0
12 | Entrace SS Floor beeding | Need to Lay the SS floor beeding as per exisitng spec |  | RFT | 35 |  | 0
0

## JMK
S.NO. | PARTICULARS | SIZES | DESCRIPTION | UOM | QTY | RATE | AMOUNT
1 | Signage Façade Both Left and Front | Box Size: 812 mm (W) x 305 mm (H) Letter Size: 746 mm (W) x 177 mm (H) | 50 MM depth black ACP box White LED's inside + 18 mm depth white acrylic push through the box and 8 mm to be coming out Box will be fix at the bottom of the façade with proper angle or screws All visible Screws should be black PU coated and with new electrical work | Nos | 2 |  | 0
2 | Signage Façade Both Left and Front | Box Size: 489 mm (W) x 305 mm (H) Letter Size: 421 mm (W) x 177 mm (H) | 50 MM depth black ACP box White LED's inside + 18 mm depth white acrylic push through the box and 8 mm to be coming out Box and Letters sides to be Black PU Coated Box will be fix at the bottom of the façade with proper angle or screws All visible Screws should be black PU coated and with new electrical work | Nos | 2 |  | 0
3 | Outlet Left side Front wall below the JMK signage | Letter size : 421 mm (W) x 177 mm (H) | 50 MM depth black Acrylic cut letters with White LED's inside + Side of the letters to be Black PU Coated All visible Screws should be black PU coated with new electrical work | No | 1 |  | 0
4 | Inside Wall next to Bar display (24/7 Chilled Beer) | 36 inch (W) x 36 inch (H) | Black anodised edge-lit board with Translit print with new electrical work | No | 1 |  | 0
5 | Inside Round Pillar 01 | 705 mm (W) x 447 mm (H) All letters sizes are mentioned in the artwork | 12 mm Solid white acrylic non-lit letters + side of the letters to be black PU coated to be install on pillar as per mock-up in round background | No | 1 |  | 0
6 | Inside Round Pillar 02 | 705 mm (W) x 1090 mm (H) | LG/3M vinyl sticker print to be pasted on pillar as per mock-up in round background | No | 1 |  | 0
7 | Outlet wall left pillar (BAR OPEN) neon signage | 36 inch (W) x 36 inch (H) | Neon signage with the same colour as per artwork and it will be pasted on outside pillar wall with new electrical work | No | 1 |  | 0
8 | Above the Display Chiller 01 | POPS & Fizze - 1222mm x 214mm ; Quick Nosh - 1007 mm x 233mm ; Pints & Lagers - 1302mm x 214mm Sizes are mentioned in the artwork | LG/3M vinyl sticker print to be pasted on above the display chillar space as shown in the mock-up as per respective chillares | No | 3 |  | 0
9 | Above the Display Chiller 02 | 600 mm (W) x 510 mm (H) | 12 mm Solid white acrylic non-lit letters + side of the letters to be black PU coated to be install above the display chillar space between both the letters as shown in the mock-up | No | 1 |  | 0
10 | JMK logo Side entrance | Box Size: 533 mm (W) x 305 mm (H) Letter Size: 381 mm (W) x 156 mm (H) | 50 MM depth black Acrylic cut letters with White LED's inside + Side of the letters to be Black PU Coated All visible Screws should be black PU coated | No | 1 |  | 0
11 | Bar setup racks |  | Providing and fixing 100mm section partition frame with both sides fireproof ply with counter granite & accessories & SS cutting | Sq.ft | 40 |  | 0
12 | Above Sofa at JMK Logo |  | As per project specification and requirement need to remove JMK logo above sofa and need to place TV 55" with the proper putty and Painintg work (TV will provide by TFS) | Sq.ft | 60 |  | 0
13 | Finishing touch-up and painting work |  | After Fixing new signages, need to close the gaps with Putty/POP finishing work and Painitng as to be done with existing work | No | 7 |  | 0
14 | Focus light for chef photo |  | Need to fix the track focus lights by facing the pillar by ceiling fixing | No | 1 |  | 0
16 | Brass Finishing profile |  | Need to Lay the brass floor beeding as per exisitng spec | RFT | 150 |  | 0
0