## Summary
T-1 IGI Airport Delhi _TFS Outlets
S.No | HSN | Outlet Name | Specs. | Location | AMOUNT (INR) | GST @18% | TOTAL
1 | 995411 | Barista | BOQ Attached | Shop-9 T-1 IGI Airport Delhi | 379330.5835 | 68279.505 | 447610.0885
2 | 995411 | Momo Express | BOQ Attached | Shop-9 T-1 IGI Airport Delhi | 388062.6695 | 69851.2805 | 457913.95
3 | 995411 | Wrap it up | BOQ Attached | Shop-5 T-1 IGI Airport Delhi | 315412.9122 | 56774.3242 | 372187.2364
4 | 995411 | Burger Pizza | BOQ Attached | Shop-5 T-1 IGI Airport Delhi | 317080.5835 | 57074.505 | 374155.0885
5 | 995411 | Cafeccino | BOQ Attached | Shop-7 T-1 IGI Airport Delhi | 424120.164 | 76341.6295 | 500461.7935
6 | 995411 | Flying Bite | BOQ Attached | Shop-10 T-1 IGI Airport Delhi | 270505.484 | 48690.9871 | 319196.4711
7 | 995411 | Healthy Eats | BOQ Attached | Shop-10 T-1 IGI Airport Delhi | 245353.484 | 44163.6271 | 289517.1111
8 | 995411 | Masala Kitchen | BOQ Attached | Shop-13 T-1 IGI Airport Delhi | 657746.844 | 118394.4319 | 776141.2759
9 | 995411 | Express of Idli.com | BOQ Attached | Shop-13 T-1 IGI Airport Delhi | 629046.844 | 113228.4319 | 742275.2759
|  | TOTAL |  |  | 3626659.5687 |  | 4279458.2911
| Note:- | Equipment Shifting Cost Extra |  |  | Fallow Dezience Tree LLP

## Barista
| BARISTA | INDOOR AREA _2550x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 280 | 165 | 46200
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 6.5663 | 2000 | 13132.5
3 | Rubber Mat. | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 6.5663 | 850 | 5581.3125
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 38.03 | 2800 | 106484
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 4.71 | 650 | 3061.5
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 0 | 6500 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 0 | 28000 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 1 | 35000 | 35000
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 1 | 24000 | 24000
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 3 | 2500 | 7500
11 | LED Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 3 | 650 | 1950
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, , as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 35000 | 35000
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 1 | 15000 | 15000
15 | Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 5 | 850 | 4250
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 114.4751 | 150 | 17171.271
17 | Barista Logo | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 15000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 38000 | 38000
21 | Transportation | T-1 Delhi Airport |  | EA | 2 | 10000 | 20000
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 379330.5835
NOTE: | GST Extra

## Barishta MB Sheet
| BARISTA | INDOOR AREA _2550x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 280 | 280
|  | Back Structure - 40x40x1.5mm | [6 empty] | 62
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 75
|  | Left Side-40x40x1.5 Full Height | [6 empty] | 48
|  | Front Side-40x40x1.5 | [6 empty] | 40 |  |  | 8 | 9 | 10 | 0.2 | 0.0016 | 12 | 30.144
|  | Pillar (50x50x1.5) | [6 empty] | 25 | [7 empty] | 10 | 9 | 90 | 27.439
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL |  | Sqm | 2.55 | 2.575 |  | 1 | 6.5663 | 6.5663
|  | Passage Area |  |  |  | 1.2 | 2.5 |  | 0 | 0
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  |  | 2.55 | 2.575 |  | 1 | 6.5663 | 6.5663
|  | Passage Area |  |  |  | 1.2 | 2.5 |  | 0 | 0
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 38.03 | 38.03
|  | Back Wall |  |  |  | 2.6 | 2.7 | 2 | 14.04
|  | Front |  |  |  | 2.6 | 0.95 | 2 | 4.94
|  | Left Wall |  |  |  | 2.55 | 2.7 | 2 | 13.77
|  | Façade |  |  |  | 2.55 | 0.4 | 2 | 2.04
|  | Branding Side Wall(Left front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 4.71 | 4.71
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2.55 | 0.2 | 5 | 2.55
|  | Pillar |  |  |  | 0.2 | 2.7 | 4 | 2.16
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 0 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 0 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 1 | 1
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 1 | 1
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 3 | 3
11 | LED Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 3 | 3
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 1 | 1
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 5 | 5
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 114.4751 | 114.4751
|  | Façade |  |  |  | 2.55 | 0.4 | 1 | 1.02
|  | Front Counter side |  |  |  | 2.55 | 1 | 1 | 2.55
|  | Back Wall Above Counter 1200mm |  |  |  | 2.55 | 1.5 | 1 | 3.825
|  | Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
17 | Barista Logo | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
20 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
21 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 2 | 2
22 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [7 empty] | 2

## MOMO Express
| MOMO EXPRESS | INDOOR AREA _2550x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 256 | 165 | 42240
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 9.5663 | 2000 | 19132.5
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 9.5663 | 850 | 8131.3125
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 28.925 | 2800 | 80990
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 4.71 | 650 | 3061.5
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 1 | 28000 | 28000
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 1 | 35000 | 35000
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 1 | 24000 | 24000
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 3 | 2500 | 7500
11 | LED Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 3 | 650 | 1950
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 35000 | 35000
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 0 | 15000 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 0 | 850 | 0
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 210.3824 | 150 | 31557.357
17 | MOMO EXPRESS | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 38000 | 38000
21 | Transportation | T-1 Delhi Airport |  | EA | 2 | 10000 | 20000
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 388062.6695
NOTE: | GST Extra

## MOMO MB Sheet
| MOMO EXPRESS | INDOOR AREA _2550x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 256 | 256
|  | Back Structure - 40x40x1.5mm | [6 empty] | 62
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 75
|  | Left Side-40x40x1.5 Half Height | [6 empty] | 24
|  | Front Side-40x40x1.5 | [6 empty] | 40
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL |  | Sqm | 2.55 | 2.575 |  | 1 | 6.5663 | 9.5663
[6 empty] | 1.2 | 2.5 |  | 1 | 3
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  |  | 2.55 | 2.575 |  | 1 | 6.5663 | 9.5663
|  | Passage Area |  |  |  | 1.2 | 2.5 |  | 1 | 3
3 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 28.925 | 28.925
|  | Back Wall |  |  |  | 2.6 | 2.7 | 2 | 14.04
|  | Front |  |  |  | 2.6 | 0.95 | 2 | 4.94
|  | Right Wall |  |  |  | 2.55 | 0.95 | 2 | 4.845
|  | Façade |  |  |  | 2.55 | 0.4 | 2 | 2.04
|  | Branding Side Wall(Righ front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Less Flap Door |  |  |  | 0.9 | 0.1 | -2 | -0.18
4 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 4.71 | 4.71
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2.55 | 0.2 | 5 | 2.55
|  | Pillar |  |  |  | 0.2 | 2.7 | 4 | 2.16
5 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 1 | 1
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 1 | 1
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 1 | 1
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 3 | 3
10 | Linear Profile Light T-5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 3 | 3
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate,, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
13 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 0 | 0
14 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 0 | 0
15 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 210.3824 | 210.3824
|  | Façade |  |  |  | 2.55 | 0.4 | 1 | 1.02
|  | Front Counter side |  |  |  | 2.55 | 1 | 1 | 2.55
|  | Back Wall Above Counter 1200mm |  |  |  | 2.55 | 1.5 | 1 | 3.825
|  | Right Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Kitchen Door |  |  |  | 2.4 | 0.9 | 1 | 2.16
|  | Passage Wall |  |  |  | 2.5 | 2.7 | 1 | 6.75
16 | MOMO EXPRESS | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
17 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
18 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 2 | 2
19 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [5 empty] | 2

## Wrap it up
| WRAP IT UP | INDOOR AREA _2550x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 256 | 165 | 42240
2 | Base & Flooring | Providing and fixing of 18mm FR Ply with 1.5mm thick aluminium checker sheet finish mounted over MS pipe 50mm SHS , C/C 600x600mm grid, | Century Ply, Tata/ Jindal | Sqm | 6.5663 | 2000 | 13132.5
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 8.4413 | 850 | 7175.0625
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 28.925 | 2800 | 80990
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 4.71 | 650 | 3061.5
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 1 | 28000 | 28000
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 0 | 35000 | 0
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 0 | 24000 | 0
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 3 | 2500 | 7500
10 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 3 | 650 | 1950
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 35000 | 35000
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
13 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 0 | 15000 | 0
14 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 0 | 850 | 0
14 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 215.759 | 150 | 32363.8497
15 | WRAP IT UP | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
16 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
17 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
18 | Installation | T-1 Delhi Airport |  | EA | 1 | 38000 | 38000
19 | Transportation | T-1 Delhi Airport |  | EA | 1 | 12500 | 12500
19 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 315412.9122
NOTE: | GST Extra

## Wrap it up MB
| WRAP IT UP | INDOOR AREA _2550x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 256 | 256
|  | Back Structure - 40x40x1.5mm | [6 empty] | 62
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 75
|  | Left Side-40x40x1.5 Half Height | [6 empty] | 24
|  | Front Side-40x40x1.5 | [6 empty] | 40
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL |  | Sqm | 2.55 | 2.575 |  | 1 | 6.5663 | 6.5663
|  | Passage Area |  |  | Sqm | 0.75 | 2.5 |  | 1 | 1.875
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  |  | 2.55 | 2.575 |  | 1 | 6.5663 | 8.4413
|  | Passage Area |  |  |  | 0.75 | 2.5 |  | 1 | 1.875
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 28.925 | 28.925
|  | Back Wall |  |  |  | 2.6 | 2.7 | 2 | 14.04
|  | Front |  |  |  | 2.6 | 0.95 | 2 | 4.94
|  | Left Wall |  |  |  | 2.55 | 0.95 | 2 | 4.845
|  | Façade |  |  |  | 2.55 | 0.4 | 2 | 2.04
|  | Branding Side Wall(Righ front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Less Flap Door |  |  |  | 0.9 | 0.1 | -2 | -0.18
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 4.71 | 4.71
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2.55 | 0.2 | 5 | 2.55
|  | Pillar |  |  |  | 0.2 | 2.7 | 4 | 2.16
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 1 | 1
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 0 | 0
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 0 | 0
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 3 | 3
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 3 | 3
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 0 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 0 | 0
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 215.759 | 215.759
|  | Façade |  |  |  | 2.55 | 0.4 | 1 | 1.02
|  | Front Counter side |  |  |  | 2.55 | 1 | 1 | 2.55
|  | Back Wall Above Counter 1200mm |  |  |  | 2.55 | 1.5 | 1 | 3.825
|  | Left Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Left Kitchen Door |  |  |  | 2.4 | 0.9 | 1 | 2.16
|  | Passage Area |  |  |  | 2.685 | 2.7 | 1 | 7.2495
17 | Wrap it Up | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
20 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
21 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
22 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [5 empty] | 2

## Burger Pizza
| BURGER PIZZA | INDOOR AREA _2550x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 280 | 165 | 46200
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 6.5663 | 2000 | 13132.5
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 6.5663 | 850 | 5581.3125
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 38.03 | 2800 | 106484
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 4.71 | 650 | 3061.5
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 0 | 6500 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 0 | 28000 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 0 | 35000 | 0
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 0 | 24000 | 0
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 3 | 2500 | 7500
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 3 | 650 | 1950
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, , as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 35000 | 35000
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 1 | 15000 | 15000
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 10 | 850 | 8500
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 114.4751 | 150 | 17171.271
17 | BURGER PIZZA | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 38000 | 38000
21 | Transportation | T-1 Delhi Airport |  | EA | 1 | 12500 | 12500
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 317080.5835
NOTE: | GST Extra

## Burger Pizza MB Sht
| Burger Pizza | INDOOR AREA _2550x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 280 | 280
|  | Back Structure - 40x40x1.5mm | [6 empty] | 62
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 75
|  | Left Side-40x40x1.5 Full Height | [6 empty] | 48
|  | Front Side-40x40x1.5 | [6 empty] | 40
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL |  | Sqm | 2.55 | 2.575 |  | 1 | 6.5663 | 6.5663
|  | Passage Area |  |  | Sqm | 0.75 | 2.5 |  | 0 | 0
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  |  | 2.55 | 2.575 |  | 1 | 6.5663 | 6.5663
|  | Passage Area |  |  |  | 0.75 | 2.5 |  | 0 | 0
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 38.03 | 38.03
|  | Back Wall |  |  |  | 2.6 | 2.7 | 2 | 14.04
|  | Front |  |  |  | 2.6 | 0.95 | 2 | 4.94
|  | Right wall |  |  |  | 2.55 | 2.7 | 2 | 13.77
|  | Façade |  |  |  | 2.55 | 0.4 | 2 | 2.04
|  | Branding Side Wall(Left front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 4.71 | 4.71
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2.55 | 0.2 | 5 | 2.55
|  | Pillar |  |  |  | 0.2 | 2.7 | 4 | 2.16
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 0 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 0 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 0 | 0
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 0 | 0
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 3 | 3
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 3 | 3
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 1 | 1
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 10 | 10
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 114.4751 | 114.4751
|  | Façade |  |  |  | 2.55 | 0.4 | 1 | 1.02
|  | Front Counter side |  |  |  | 2.55 | 1 | 1 | 2.55
|  | Back Wall Above Counter 1200mm |  |  |  | 2.55 | 1.5 | 1 | 3.825
|  | Side Wall Right |  |  |  | 2.7 | 1.2 | 1 | 3.24
17 | Burger Pizza | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
20 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
21 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
[6 empty] | Signature | [5 empty] | 2

## Cafeccino1
| BURGER PIZZA | INDOOR AREA _2550x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 282 | 165 | 46530
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 10.3 | 2000 | 20600
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 10.3 | 850 | 8755
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 50.2 | 2800 | 140560
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 6.33 | 650 | 4114.5
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 1 | 28000 | 28000
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 0 | 35000 | 0
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 0 | 24000 | 0
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 3 | 2500 | 7500
10 | Linear Profile Light | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 4 | 650 | 2600
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 38000 | 38000
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 3 | 3500 | 10500
13 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 1 | 15000 | 15000
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 10 | 850 | 8500
13 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 159.7378 | 150 | 23960.664
14 | Cafeccino | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
17 | Installation | T-1 Delhi Airport |  | EA | 1 | 48000 | 48000
18 | Transportation | T-1 Delhi Airport |  | EA | 1 | 15000 | 15000
19 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 424120.164
NOTE: | GST Extra

## Cafeccino MB Sheet
| Cafeccino | INDOOR AREA _4000x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 282 | 282
|  | Back Structure - 40x40x1.5mm | [6 empty] | 62
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 75 |  |  | 1500
|  | Left Side-40x40x1.5 Full Height & Righ | [6 empty] | 80 |  |  | 375
|  | Front Side-40x40x1.5 | [6 empty] | 40
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL |  | Sqm | 4 | 2.575 |  | 1 | 10.3 | 10.3
|  | Passage Area |  |  | Sqm | 0 |  |  | 0 | 0
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  |  | 4 | 2.575 |  | 1 | 10.3 | 10.3
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 50.2 | 50.2
|  | Back Wall |  |  |  | 4 | 2.7 | 2 | 21.6
|  | Front |  |  |  | 4 | 0.95 | 1 | 3.8
|  | Right wall & Left |  |  |  | 4 | 2.7 | 2 | 21.6
|  | Façade |  |  |  | 4 | 0.4 | 2 | 3.2
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 6.33 | 6.33
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2.55 | 0.2 | 5 | 2.55
|  | Pillar |  |  |  | 0.2 | 2.7 | 7 | 3.78
5 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 1 | 1
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 0 | 0
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 0 | 0
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 3 | 3
10 | Linear Profile Light | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 4 | 4
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 4000x2576 | No. |  |  |  |  | 1 | 1
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 3 | 3
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 1 | 1
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 10 | 10
13 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 159.7378 | 159.7378
|  | Façade |  |  |  | 4 | 0.4 | 1 | 1.6
|  | Front Counter side |  |  |  | 4 | 1 | 1 | 4
|  | Back Wall Above Counter 1200mm |  |  |  | 4 | 1.5 | 1 | 6
|  | Side Wall Right |  |  |  | 2.7 | 1.2 | 1 | 3.24
14 | Cafeccino | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
17 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
18 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
19 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
[6 empty] | Signature | [6 empty] | 2

## Flying Bite
| Flying Bite | INDOOR AREA _2000x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 170 | 165 | 28050
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 5.15 | 2000 | 10300
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 5.15 | 850 | 4377.5
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 24 | 2800 | 67200
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 2.28 | 650 | 1482
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 0 | 6500 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 0 | 28000 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) (1225x750x900) | Century/Merino/ FGV | No. | 1 | 38000 | 38000
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 0 | 24000 | 0
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 2 | 2500 | 5000
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 2 | 650 | 1300
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 25200 | 25200
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 1 | 15000 | 15000
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 10 | 850 | 8500
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 97.3066 | 150 | 14595.984
17 | Flying Bite | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 12000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 25000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 32000 | 32000
21 | Transportation | T-1 Delhi Airport |  | EA | 1 | 12500 | 12500
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 270505.484
NOTE: | GST Extra

## Flying Bite MB
| Flying Bite | INDOOR AREA _2000x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 170 | 170
|  | Back Structure - 40x40x1.5mm | [6 empty] | 35
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 40
|  | Left Side-40x40x1.5 Full Height & Righ | [6 empty] | 40
|  | Front Side-40x40x1.5 | [6 empty] | 20
|  | Pillar (50x50x1.5) | [6 empty] | 20
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 15
2 | Base & Flooring | Providing and fixing of 18mm FR Ply with 1.5mm thick aluminium checker sheet finish mounted over MS pipe 50mm SHS , C/C 600x600mm grid, | Century Ply, Tata/ Jindal |  | Sqm | 2 | 2.575 |  | 1 | 5.15 | 5.15
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  | Sqm | 2 | 2.575 |  | 1 | 5.15 | 5.15
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 24 | 24
|  | Back Wall |  |  |  | 2 | 2.7 | 2 | 10.8
|  | Front |  |  |  | 2 | 0.95 | 2 | 3.8
|  | Left Wall |  |  |  | 2 | 2.7 | 1 | 5.4
|  | Façade |  |  |  | 2 | 0.4 | 2 | 1.6
|  | Branding Side Wall(Righ front) |  |  |  | 2 | 1.2 | 1 | 2.4
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 2.28 | 2.28
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2 | 0.2 | 3 | 1.2
|  | Pillar |  |  |  | 0.2 | 2.7 | 2 | 1.08
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 0 | 0
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 0 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 1225x750x900 | No. |  |  |  |  | 1 | 1
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 0 | 0
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 2 | 2
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 2 | 2
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 1 | 1
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 10 | 10
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 97.3066 | 97.3066
|  | Façade |  |  |  | 2 | 0.4 | 1 | 0.8
|  | Front Counter side |  |  |  | 2 | 1 | 1 | 2
|  | Back Wall Above Counter 1200mm |  |  |  | 2 | 1.5 | 1 | 3
|  | Left Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Left Kitchen Door |  |  |  | 2.4 | 0.9 |  | 0
17 | Flybite | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 3 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
20 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
21 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
22 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [5 empty] | 2

## Healthy Eats
| Healthy Eats | INDOOR AREA _2000x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 170 | 165 | 28050
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 5.15 | 2000 | 10300
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 5.15 | 850 | 4377.5
3 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 24.66 | 2800 | 69048
4 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 2.28 | 650 | 1482
5 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 1 | 28000 | 28000
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 0 | 35000 | 0
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 0 | 24000 | 0
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 2 | 2500 | 5000
10 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 2 | 650 | 1300
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 25200 | 25200
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 2 | 3500 | 7000
13 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 0 | 15000 | 0
14 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 0 | 850 | 0
13 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 97.3066 | 150 | 14595.984
14 | Healthy Eats | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 12000 | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 25000 | 0
17 | Installation | T-1 Delhi Airport |  | EA | 1 | 32000 | 32000
18 | Transportation | T-1 Delhi Airport |  | EA | 1 | 12500 | 12500
19 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 245353.484
NOTE: | GST Extra

## Healthy Eats MB
| Healthy Eats | INDOOR AREA _2000x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 170 | 170
|  | Back Structure - 40x40x1.5mm | [6 empty] | 35
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 40
|  | Left Side-40x40x1.5 Full Height & Righ | [6 empty] | 40
|  | Front Side-40x40x1.5 | [6 empty] | 20
|  | Pillar (50x50x1.5) | [6 empty] | 20
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 15
2 | Base & Flooring | Providing and fixing of 18mm FR Ply with 1.5mm thick aluminium checker sheet finish mounted over MS pipe 50mm SHS , C/C 600x600mm grid, | Century Ply, Tata/ Jindal |  | Sqm | 2 | 2.575 |  | 1 | 5.15 | 5.15
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  | Sqm | 2 | 2.575 |  | 1 | 5.15 | 5.15
3 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 24.66 | 24.66
|  | Back Wall |  |  |  | 2 | 2.7 | 2 | 10.8
|  | Front |  |  |  | 2 | 0.95 | 2 | 3.8
|  | Left Wall |  |  |  | 2 | 2.7 | 1 | 5.4
|  | Façade |  |  |  | 2 | 0.4 | 2 | 1.6
|  | Branding Side Wall(Righ front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Less Flap Door |  |  |  | 0.9 | 0.1 | -2 | -0.18
4 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 2.28 | 2.28
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 2 | 0.2 | 3 | 1.2
|  | Pillar |  |  |  | 0.2 | 2.7 | 2 | 1.08
5 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 1 | 1
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 825x750x900 | No. |  |  |  |  | 0 | 0
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 900x900x750 | Nos. |  |  |  |  | 0 | 0
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 2 | 2
10 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 2 | 2
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 2550x2576 | No. |  |  |  |  | 1 | 1
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 2 | 2
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 0 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 0 | 0
13 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 97.3066 | 97.3066
|  | Façade |  |  |  | 2 | 0.4 | 1 | 0.8
|  | Front Counter side |  |  |  | 2 | 1 | 1 | 2
|  | Back Wall Above Counter 1200mm |  |  |  | 2 | 1.5 | 1 | 3
|  | Left Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Left Kitchen Door |  |  |  | 2.4 | 0.9 |  | 0
14 | Healthy Eats | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
17 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
18 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
19 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [5 empty] | 2

## Masala Kitchen
| Masala Kitchen | INDOOR AREA _6000x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 425 | 165 | 70125
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 15.45 | 2000 | 30900
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 15.45 | 850 | 13132.5
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 63.06 | 2800 | 176568
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 6.84 | 650 | 4446
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 0 | 28000 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 2 | 35000 | 70000
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 3 | 24000 | 72000
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 4 | 2500 | 10000
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 5 | 650 | 3250
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 72000 | 72000
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 3 | 3500 | 10500
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 0 | 15000 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 0 | 850 | 0
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 222.169 | 150 | 33325.344
17 | Masala Kitchen | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 60000 | 60000
21 | Transportation | T-1 Delhi Airport |  | EA | 2 | 12500 | 25000
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 657746.844
NOTE: | GST Extra

## Masala Kitchen MB1
| Masala Kitchen | INDOOR AREA _6000x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 425 | 425
|  | Back Structure - 40x40x1.5mm | [6 empty] | 150
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 100
|  | Left Side-40x40x1.5 Full Height & Righ | [6 empty] | 45
|  | Front Side-40x40x1.5 | [6 empty] | 75
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18mm FR Ply with 1.5mm thick aluminium checker sheet finish mounted over MS pipe 50mm SHS , C/C 600x600mm grid, | Century Ply, Tata/ Jindal |  | Sqm | 6 | 2.575 |  | 1 | 15.45 | 15.45
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  | Sqm | 6 | 2.575 |  | 1 | 15.45 | 15.45
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 63.06 | 63.06
|  | Back Wall |  |  |  | 6 | 2.7 | 2 | 32.4
|  | Front |  |  |  | 6 | 0.95 | 2 | 11.4
|  | Left Wall |  |  |  | 6 | 0.95 | 2 | 11.4
|  | Façade |  |  |  | 6 | 0.4 | 2 | 4.8
|  | Branding Side Wall(Righ front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Less Flap Door |  |  |  | 0.9 | 0.1 | -2 | -0.18
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 6.84 | 6.84
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 6 | 0.2 | 3 | 3.6
|  | Pillar |  |  |  | 0.2 | 2.7 | 6 | 3.24
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 0 | 0
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 600x750x900 | No. | 0.6 | 0.75 | 0.9 |  | 2 | 2
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 1800x900x750 | Nos. | 1.8 | 0.9 | 0.6 |  | 3 | 3
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 4 | 4
11 | Linear Profile Light | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 5 | 5
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 6000x2576 | No. |  |  |  |  | 1 | 1
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 3 | 3
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 0 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 0 | 0
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 222.169 | 222.169
|  | Façade |  |  |  | 6 | 0.4 | 1 | 2.4
|  | Front Counter side |  |  |  | 6 | 1 | 1 | 6
|  | Back Wall Above Counter 1200mm |  |  |  | 6 | 1.5 | 1 | 9
|  | Left Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Left Kitchen Door |  |  |  | 2.4 | 0.9 |  | 0
17 | Masala Kitchnen | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. |  |  |  |  | 0 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. |  |  |  |  | 0 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set |  |  |  |  | 0 | 0
20 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
21 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 2 | 2
22 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [5 empty] | 2

## Express Idli
| Express Idli | INDOOR AREA _6000x2575x2700H(mm) | LOCATION |  | T-1 IGI DELHI
S.No | Head | Description | Make | UOM | QTY | Rate | Amount (INR)
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata | Kgs | 425 | 165 | 70125
2 | Base & Flooring | Providing and fixing of 18 bison board over MS pipe 50mm SHS , C/C 600x600mm grid, | NCL | Sqm | 15.45 | 2000 | 30900
3 | Rubber Mat | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  | Sqm | 15.45 | 850 | 13132.5
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent | Sqm | 63.06 | 2800 | 176568
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Asian Berger, Indgo | Sqm | 6.84 | 650 | 4446
6 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. | Century, Merino, Ebco | No | 1 | 6500 | 6500
7 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish | Century, Merino, Ebco, Jindal | No | 1 | 28000 | 28000
8 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | No. | 2 | 35000 | 70000
9 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges soft closed shutter. | Century/Merino/ FGV | Nos. | 3 | 24000 | 72000
10 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent | No. | 4 | 2500 | 10000
11 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | No. | 5 | 650 | 3250
12 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | No. | 1 | 6800 | 6800
13 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  | No. | 3 | 3500 | 10500
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T | No | 0 | 15000 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton | Mtr. | 10 | 850 | 8500
16 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent | Sqft. | 222.169 | 150 | 33325.344
17 | Express Idli | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | No. | 0 | 18000 | 0
18 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | No. | 0 | 4500 | 0
19 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2 nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision | Set | 0 | 38000 | 0
20 | Installation | T-1 Delhi Airport |  | EA | 1 | 60000 | 60000
21 | Transportation | T-1 Delhi Airport |  | EA | 2 | 12500 | 25000
22 |  | Equipment Shifting Cost Extra |  |  |  |  | 0
| TOTAL | [5 empty] | 629046.844
NOTE: | GST Extra

## Express Idli MB
| Express Idli | INDOOR AREA _6000x2575x2700H(mm) | LOCATION | T-1 IGI DELHI | Measurement sheet
S.No | Head | Description | Make | Size | UOM | Length | Width | Height | Nos/Wt | Qty | Final to billing BOQ
1 | MS Work | Providing & fixing of MS work in single section fixed with or without connecting plate including cutting, hoisting, fixing in position and applying a priming coat of approved red oxide steel primer and powder coated paint of approved shared at the top all complete. Item includes all MS steel items including sections, MS plates of grade Yst- 250,cleats,stiffners, anchor fasteners/ bolts, sleeves for pipes and wire management etc, as required for fixing. | Jindal/Tata |  | Kgs |  |  |  |  | 425 | 425
|  | Back Structure - 40x40x1.5mm | [6 empty] | 150
|  | Bottom Structure -50x50x1.5mm | [6 empty] | 100
|  | Left Side-40x40x1.5 Full Height & Righ | [6 empty] | 45
|  | Front Side-40x40x1.5 | [6 empty] | 75
|  | Pillar (50x50x1.5) | [6 empty] | 25
|  | Roof Horizontal Pipe (50mmx50mmx1.5) | [6 empty] | 30
2 | Base & Flooring | Providing and fixing of 18mm FR Ply with 1.5mm thick aluminium checker sheet finish mounted over MS pipe 50mm SHS , C/C 600x600mm grid, | Century Ply, Tata/ Jindal |  | Sqm | 6 | 2.575 |  | 1 | 15.45 | 15.45
3 | Rubber Flooring | Rubber Mat Rubber Mat Rolls, Thickness: 5 Mm ₹ 45/ Square Feet Thickness: 3 mm |  |  | Sqm | 6 | 2.575 |  | 1 | 15.45 | 15.45
4 | Plywood Panelling | Providing , installing and fixing in position FR Plywood for linear as well as curvilinear portions of the building , for all heights and all levels & one side laminate finish etc. (MS Frame work charged seperatly) Includes all the performance characteristics all complete with 12mm PR Ply. | Century or equivalent |  | Sqm |  |  |  |  | 63.06 | 63.06
|  | Back Wall |  |  |  | 6 | 2.7 | 2 | 32.4
|  | Front |  |  |  | 6 | 0.95 | 2 | 11.4
|  | Left Wall |  |  |  | 6 | 0.95 | 2 | 11.4
|  | Façade |  |  |  | 6 | 0.4 | 2 | 4.8
|  | Branding Side Wall(Righ front) |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Less Flap Door |  |  |  | 0.9 | 0.1 | -2 | -0.18
5 | Paint | Apply of 2 coat white enamel emulsion paint on pillar & side partition left&right | Duco Paint |  | Sqm |  |  |  |  | 6.84 | 6.84
|  | Roof Horizontal Pipe (50mmx50mm) |  |  |  | 6 | 0.2 | 3 | 3.6
|  | Pillar |  |  |  | 0.2 | 2.7 | 6 | 3.24
5 | Flap Door | Providing & Fixing of Slab & Flap door made of 18mm FR Ply with laminate finish , hinges, SS knob, tower bolt etch. |  |  | No | 1 | 0.07 | 0.9 |  | 1 | 1
6 | Kitchen Door With Vision Panel | Providing & Fixing of Kitchen door made of 32mm FR Ply with Flush door with both side laminate, with vision panel, 300x150mm, with hardware accessories & MS 50x50mm Frame work iwith paint finish |  |  | No | 1 | 0.05 | 2.4 |  | 1 | 1 | 10.7584 | 390 | 36.2507
7 | POS Counter | Providing and fixing of POS counter made of 18mm FR Ply with Laminate finish, Step & inside laminate finish, two drawer, key board tray, storage, wire manager etc. (As per approved GFC) | Century/Merino/ FGV | 600x750x900 | No. | 0.6 | 0.75 | 0.9 |  | 2 | 2
8 | Side Storages | Providing and installation of make of 18mm & 12mm Fr Plywood with approved laminate finish with hinges normal | Century/Merino/ FGV | 1800x900x750 | Nos. | 1.8 | 0.9 | 0.6 |  | 3 | 3
9 | Pendant Light | LED Light fixtures-Supply, installation, testing & commissioning of lighting fittings/ fixtures complete with LED driver, complete as required:- (Hanging Lamp) | Havells, Syska or equivalent |  | No. |  |  |  |  | 4 | 4
10 | Linear Profile Light T5 | Providing & fixing linear profile light consealed in Rafter | Custom Make | 1200x1 | No. |  |  |  |  | 5 | 5
11 | Electrical | Supply and Laying of 1.5mm, 2.5mm & 4sqmm wiring with PVC conduit , 5amp & 15amp switch socket with box & plate, DB panel, MCB, ELCB, as per requirement or as approved electrical drawing | Polycab, Finolex, Roma, Crompton | 6000x2576 | No. |  |  |  |  | 1 | 1
12 | Industrial Socket | Industrial Socket & Panel Box (32amp ) |  |  | No. |  |  |  |  | 3 | 3
14 | DB Panel | Supply & Fixing of 12mm Way DB Panel wit 1 No. RCB & MCB 12 No's. | L&T |  | No |  |  |  |  | 0 | 0
15 | Main Cable | Supply & Fixing of 4 core 10 Sqm Coppe Cable for main DB to Meter | Polycab, Finolex, Roma, Crompton |  | Mtr. |  |  |  |  | 10 | 10
13 | Branding | Supply and pasting of HP latex printed artwork on grey back LG/Ivory/Pioneer media as per approved design artwork | HP Latex, 3M , LG Vinyl or equivalent |  | Sqft. |  |  |  |  | 222.169 | 222.169
|  | Façade |  |  |  | 6 | 0.4 | 1 | 2.4
|  | Front Counter side |  |  |  | 6 | 1 | 1 | 6
|  | Back Wall Above Counter 1200mm |  |  |  | 6 | 1.5 | 1 | 9
|  | Left Side Wall |  |  |  | 2.7 | 1.2 | 1 | 3.24
|  | Left Kitchen Door |  |  |  | 2.4 | 0.9 |  | 0
14 | Masala Kitchnen | Front logo signaged fixed front façade , UV Printed 3mm raised acrylic . | A cast , NGX , Osram | 400x750 | No. | [5 empty] | 0
15 | Menu Board | Providing and fixing of Auto snap channel 32x32 powder coated with acrylic 040 & Clear Acrylic, edge lit LED, Changeable Translite Print. | A cast , NGX , Osram | 2x 3 | No. | [5 empty] | 0
16 | CCTV Camera (4 Channel DVR) | DVR 5MP, 1 TB, 2nos. 5MP Camera with Audio, 16" Display Monitor, 90mtr. D Link Wire | Hikvision |  | Set | [5 empty] | 0
17 | Installation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 1 | 1
18 | Transportation | T-1 Delhi Airport |  |  | EA |  |  |  |  | 2 | 2
19 |  | Equipment Shifting Cost Extra
[6 empty] | Signature | [6 empty] | 2