## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
| Structure Consultancy HVAC Equipment & False Ceiling Support Mounting platform above the outlets or hanging StructureStructural design work :Obtaining the equipment details such as dimensions and weights (Static & dynamic) from the MEP team Obtain the space planning for the platform from the MEP / Architect team Calculation of equipment loads, dead load and live loads on the platform and submission to client for approvalPreparation of STAAD model for each of the platforms and analyse the structure, including design of the elementsCalculation of reactions on the floor slab below and check the floor slab for its adequacy to cater for the additional loads from the platforms Preparation of structural GA drawings and submit for approval to client along with the staad model Approve the shop fabrication drawings to be submitted by the fabricator. Obtaining input data from HVAC Equipment supplier regarding the size and weights Space planning of the platform with respect to OSHA standards for safe operation and maintenance of the equipment Staad model of the existing mezzanine floor slab to be provided by client - TFS to coordinate with DIAL Preparation of As-built drawing of the mezzanine floorSite visits to obtain if requireStructural Details to be approved & certificate to be submit | SFT | 580 |  |  | #REF!