## SUMMARY
ELECTRICAL BOQ FOR SMOOR POWAI (TRANSEFORM)
APK DESIGNS
ELECTRICAL BOQ FOR HAKKA AND KIKS CITY CENTRE MALL
Sr. | Description | Amount
1 | SECTION-I-POINT WIRING | 0
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS | 0
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV | 0
4 | SECTION-IV-INSTALLATION OF LIGHTING FIXTURES | 0
5 | SECTION-V PANELS, DISTRIBUTION BOARDS | 0
6 | SECTION-VI -CABLING & EARTHING | 0
7 | SECTION-VII-SERVO STABILIZER/ UPS | 0
8 | SECTION-VIII-MISCELLANEOUS | 0
| GRAND TOTAL | 0
| CGST | 0
| SCST | 0
| TOTAL | 0

## KITCHEN AND BAR BOQ
APK DESIGNS
ELECTRICAL BOQ FOR HOE GARDEN NOIDA
Sr. | Description | Qty | Unit | Rate | Amount
No. |  |  |  | Rs. | Rs.
1 | SECTION-I-POINT WIRING
1.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm Cu.FRLS wires in fire rated MS conduits from LDB to primary points & primary points to secondary points(Switch controlled Lights) along with witch ms box providing and fixing
1.1.1 | Pre primary points from DB to switchboard ( 10 Mtr ) | 3 | Nos. |  | 0
1.1.2 | Primary points uto 6 meters | 0 | Nos. |  | 0
1.1.3 | Secondary points upto 3 meters | 0 | Nos. |  | 0
0
2.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points & primary points to secondary points(MCB controlled Lights) |  |  |  | 0
0
2.1.1 | Primary points upto 6 meters | 4 | Nos. |  | 0
2.1.2 | Secondary points upto 3 meters | 7 | Nos. |  | 0
2.1.3 | Points in running meter | 15 | mtr |  | 0
0
3.1 | Supply & Installation of FRLS Wires in MS conduit for power / lighting conduiting surface mounted on ceiling/ conceiled in walls |  |  |  | 0
0
3.1.1 | Supply & Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | 50 | Rmt |  | 0
0
3.1.2 | Supply & Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | 15 | Rmt |  | 0
0
1.3.3 | Supply & Installation of 2 nos.6 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | 0 | Rmt |  | 0
0
1.3.4 | Supply & Installation of 4 nos.4 Sq.mm +2 no. 2.5 Sqmm copper FRLS wires in 25mm dia PVC conduits | 0 | Rmt |  | 0
0
1.3.5 | Supply & Installation of 4 nos.10 Sq.mm +2 nos. 4 Sqmm copper FRLS wires in 32mm dia PVC conduits | 0 | Rmt
0
| TOTAL OF SECTION I |  |  |  | 0
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD )
2.1 | Supply & Installation of the following MDS make Metra Plug & Socket DBs
2.1.1 | 20/25/32A SP Metal Clad switch socket |  | Nos. |  | 0
0
0
2.1.1 | 10/16/20/25/32A SP Metal Clad socket with mcb | 7 | Nos. |  | 0
0
0
2.1.3 | 25A TP Metal Clad switch socket |  | Nos. |  | 0
0
0
2.1.2 | 32A 4P 3ph 5 pin Metal Clad socket With MCB | 3 | Nos. |  | 0
0
0
2.2 | Supply & Installation of the following Sockets, Switches |  |  |  | 0
| including the front plate & Back boxes |  |  |  | 0
0
2.2.1 | 5A, 5 Pin Switch socket outlet (Raw Power) |  | Nos. |  | 0
0
2.2.2 | 2 nos. 6/16A 6 Pin Switch Socket Outlets (UPS) |  | Nos. |  | 0
0
2.2.3 | 3 nos. 6/16A 6 Pin Switch Socket Outlets (Raw Power) |  | Nos. |  | 0
0
2.2.1 | 1 nos. 6 /16A 6 Pin Switch (Raw Power) |  | Nos. |  | 0
0
2.2.1 | 1 no. 6 /16A 6 Pin Switch Socket Outlets (Raw Power) | 11 | Nos. |  | 0
0
2.2.6 | 1 no. 5/15 A, 1P+N+E, SOCKET WITH REMOTE SWITCH | 0 | Nos. |  | 0
0
2.2.7 | 1 no. 16A 6 Pin Switch Socket Outlets (Raw Power) | 0 | Nos. |  | 0
0
2.2.8 | 25A, 3 Pin switch socket outlet | 0 | Nos.
0
2.2.9 | 16A Flat pin switch socket outlet (white colour) | 0 | Nos.
0
2.2.10 | 16A Flat pin switch socket outlet (Black colour) | 0 | Nos. |  | 0
0
2.2.11 | Bell Point | 0 | Nos. |  | 0
0
| TOTAL OF SECTION II |  |  |  | 0
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV
3.1 | Supply & Installation of the D-link make cat6 information outlet | 2 | Nos. |  | 0
| with face plate. (For data) |  |  |  | 0
0
3.2 | Supply & Installation of clipsal make RJ11 telephone outlet | 0 | Nos. |  | 0
| with front plate |  |  |  | 0
0
3.2 | Supply & Installation of Cat. 6 Data cable in 20mm/25mm dia MS conduits | 2 | Mts. |  | 0
0
0
3.4 | Supply & Installation of Cat. 5 telephone cable in 20mm/25mm dia MS conduits | 0 | Mts. |  | 0
0
0
3.3 | Supply & Installation of 20pair Telephone Tag block with enclosure |  | No. |  | 0
0
3.4 | TV boxes with 4 way connector |  | No. |  | 0
0
3.5 | Supplying and fixing of television socket outlet in MS boxes |  | No. |  | 0
0
3.6 | Supply & Installation of RG-6 TV cable in 20mm/25mm dia PVC conduits |  | Mts. |  | 0
0
| TOTAL OF SECTION III |  |  |  | 0
4 | SECTION-IV-PROVUDING & FIXING OF EMERGENCY SIGNAGE
4.1.1 |  |  | Nos |  | 0
4.1.2 |  |  | Nos |  | 0
4.1.3 |  |  | Mts. |  | 0
4.1.4 |  |  | Nos |  | 0
4.1.5 |  |  | Nos |  | 0
4.1.1 | 20W 600mm X600mm LED PALMET LIGHT | 0 | Nos |  | 0
4.1.1 | EMERGENCY SIGNAGE | 6 | Nos |  | 0
0
4.2 | Installation of the following light fittings ( only labour ) |  |  |  | 0
0
4.2.1 |  |  | Nos |  | 0
4.2.2 |  |  | Nos |  | 0
0
| TOTAL OF SECTION IV |  |  |  | 0
5 | SECTION-V PANELS, DISTRIBUTION BOARDS
5.1 | Supply Installation Testing & Commissioning of following Panels
5.1.1 | Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | 1 | No. |  | 0
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | 0 | No. |  | 0
| Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 3 with 250Amps, 25kA main incomer and outgoing feeder as per . Panel shall be freestanding type, IP41 rated. | 0 | No. |  | 0
0
0
5.2 | Supply Installation Testing & Commissioning of following Distribution boards/ Starters |  |  |  | 0
0
5.1.1 | 6 way TPN DB with 32A 4P MCB as incomer & |  | No.. |  | 0
3 nos. of 25 DP RCCB, 100mA & 18+8 Nos. (UPSDB)
CAT NO. 5076 81 ( LEGRAND-MAKE )
0
0
5.2.1 | 8 way TPN DB with 40A 4P MCB as incomer & | 1 | No. |  | 0
| 3 nos. of 32 DP MCB, 100mA & 18+8 Nos. (KPLDB) |  |  |  | 0
| CAT NO. 5076 82 ( LEGRAND-MAKE ) |  |  |  | 0
5.2.2 | 12 way SPN DB with 25A DP MCB as incomer | 1 | No. |  | 0
| CAT NO. 5076 22 ( LEGRAND-MAKE ) |  |  |  | 0
0
| CAT NO. 5076 82 ( LEGRAND-MAKE ) |  |  |  | 0
0
5.2.6 | 6 way TPN DB with 63A TPN MCB as incomer & |  | No. |  | 0
| 3 nos. of 63 DP RCCB, 100mA & 12 Nos. |  |  |  | 0
| 16/20A sp MCB's as outgoings (RPDB) |  |  |  | 0
0
5.2.7 | L&T make MF1 DOL stater (1PH) |  | Nos.
0
5.2.5 | L&T make MK1 DOL stater | 2 | Nos. |  | 0
0
5.2.9 | L&T make DOL starter in SS Housing for 3.75KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | 0 | Nos.
0
5.2.10 | L&T make DOL starter in SS Housing for 3KW Fan with auxilliary contactor arrangement for tripping/switching On fan in case of fire | 0 | Nos.
0
5.3 | Supply Installation Testing & Commissioning of following MCB in Enclosures |  |  |  | 0
0
5.3.1 | 40A TPN MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
0
5.3.2 | 32A TPN MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
0
5.3.3 | 20A DP MCB in Weather Proof Enclosure IP63 rated | 0 | Nos. |  | 0
| TOTAL OF SECTION V |  |  |  | 0
6 | SECTION-VI -CABLING & EARTHING
6.1 | Supply of Installation of Following cables
6.1.1 | 3 C x 2.5 sq mm CU PVC Unarmoured | R.O | Mts.
6.1.2 | 3 C x 4 sq mm CU PVC Armoured | R.O | Mts.
6.1.3 | 3 C x 6 sq mm CU PVC Armoured | R.O | Mts.
6.1.4 | 3 C x 10 sq mm CU PVC Armoured | R.O | Mts.
6.1.5 | 4 C x 2.5 sq mm CU PVC Armoured | 0 | Mts. |  | 0
6.1.1 | 4 C x 4 sq mm CU PVC Armoured | 7 | Mts. |  | 0
6.1.2 | 4 C x 6 sq mm CU PVC Armoured | 40 | Mts. |  | 0
6.1.3
6.1.3 | 4 C x 10 sq mm CU PVC Armoured | 20 | Mts. |  | 0
6.1.5 | 4 C x 90sq mm XLPE Armoured |  | Mts. |  | 0
6.1.7 | 3.5 C x 70sq mm XLPE Armoured | 6 | Mts. |  | 0
0
6.2 | Supply of Installation of Following cable Terminations |  |  |  | 0
6.2.1 | 3 C x 2.5 sq mm CU PVC Unarmoured |  | No.
6.2.2 | 3 C x 4 sq mm CU PVC Armoured |  | No.
6.2.3 | 3 C x 6 sq mm CU PVC Armoured |  | No.
6.2.4 | 3 C x 10 sq mm CU PVC Armoured |  | No.
6.2.5 | 4 C x 2.5 sq mm CU PVC Armoured |  | No. |  | 0
6.2.1 | 4 C x 4 sq mm CU PVC Armoured | 6 | No. |  | 0
6.2.2 | 4 C x 6 sq mm CU PVC Armoured | 18 | No. |  | 0
5.2.3 | 4 C x 10 sq mm CU PVC Armoured | 12 | No. |  | 0
6.2.10 | 4 C x 90sq mm AL. XLPE Armoured |  | No. |  | 0
6.2.12 | 3.5 C x50sq mm AL. XLPE Armoured |  | No.
6.2.3 | 3.5 C x120sq mm AL. XLPE Cable |  | No. |  | 0
6.2.5 | 3.5 C x70sq mm AL. XLPE Cable | 6 | No. |  | 0
0
6.3 | Supply of Installation of Following Cable Trays |  |  |  | 0
0
6.3.1 | 150mm wide ladder type Cable tray with support |  | Mts.
0
6.3.2 | 300mm wide ladder type Cable tray with support |  | Mts.
0
6.3.1 | 300mm wide Perforated Cable tray with support | 10 | Mts. |  | 0
0
6.3.2 | 150mm wide perforated cable tray with support. | 40 | Mts. |  | 0
0
6.3.4 | 50mm wide perforated cable tray with support. |  | Mts.
6.4 | Supply of Installation of Following Earthing Material |  |  |  | 0
0
6.4.1 | 25 x 6 mm CU. Strip |  | Mts.
0
6.4.2 | 25 x 3 mm GI. Strip |  | Mts. |  | 0
0
6.4.1 | 8 SWG hard drawn bare aluminium wire | 10 | Mts. |  | 0
6.4.4 | 12 SWG hard drawn bare cu wire | 0 | Mts. |  | 0
0
6.4.5 | 1Cx25 sq.mm cu wire | 0 | Mts.
0
| TOTAL OF SECTION VI |  |  |  | 0
7 | SECTION-VII-SERVO STABILIZER/ INVERTER/UPS
7.1 | Installation of 2KVA three phase in and Single Phase out UPS with 30min battery back-up- make Online Systems | 1 | No. |  | 0
7.2 | Installation of 3KVA three phase in Single Phase out UPS with 20min battery back-up- make Online Systems | 0 | No.
| TOTAL OF SECTION VII |  |  |  | 0
7 | SECTION-VIII-MISCELLANEOUS
7.1 | Supplying the following data prior to handing over the installation to the owner. | 0 | job | 25000 | 0
i) Megger Test Results in quadruplicate of all mains/submains/circuits/load feeders in tabulated format
i) In quadruplicate all`As built' drawings on blue prints, separate for
a | indoor lighting
b | outdoor lighting
c | Electrical cable system with sizes and routes
d | Main Earthing grid
e | Floor trunking layout
f | conduit layout-to all the points from controlling DB's to be drawn along with indoor lighting
In general the drawings should show the sizes of cables, conduits and number of wires laid in conduit, outlets and lighiting layout,earthing conductor sizes, single line diagrams of each panel. Any other data like specifications, test certificates and maintenance manual of panels, Main LT panel etc. should also be furnished in quadriplicate
8.2 | Provision of ample amount of Temporary lights & sockets during construction stage | RO | Nos. | 25000
8.3 | Digging and chemical earthing pit | 0 | Nos. | 30000
| TOTAL OF SECTION VIII |  |  |  | 0
0

## APPD MAKES
LIST OF APPROVED BRANDS:
PVC Conduits - Precision
FRLS Wires - Finolex /Sandeep/ RR cables / polycab
Cables - Polycab / Asian
Switches - Clipsal-Opale/Crabtree/Northwest
Distribution Boards - Siemens/legrand
MCB’s /ELCB’s - Siemens/legrand
Telephone Wires - Finolex/Polycab/ITL
T.V.Wires - Comscop/Finolex
Exhaust Fans - Boss / Newtech /GMC
Light Fittings - Philips
Switch fuse units/starters - L&T/ Siemens
Fire Alarm System | Apollo/System Sensor / ravel / agni
Notes:-
1. The Contractor should quote the tender rates considering First make of materials given in above list.
2. Wherever contractor proposes to use `equivalent' makes (i.e. other than specified) he shall obtain Client's prior approval. Client may consult Consultants before giving approval to the same. Any additional cost and time lost due to this will be on Contractor's account and no claims will be entertained.
3. The contractor should take approval for make & manufacturer from the consultants before using any material, which does not appear in the list of approved manufacturers.