## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
1 | SECTION-I-POINT WIRING
1.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm Cu.FRLS wires in fire rated MS conduits from LDB to primary points & primary points to secondary points(Switch controlled Lights) along with witch ms box providing and fixing
1.1.1 | Pre primary points from DB to switchboard ( 10 Mtr ) | Nos. | 3
2.1 | Point wiring with 1X1.5 sq.mm Cu.+1X1.5 sq.mm FRLS wires in MS conduits from LDB to primary points & primary points to secondary points(MCB controlled Lights)
2.1.1 | Primary points upto 6 meters | Nos. | 4
2.1.2 | Secondary points upto 3 meters | Nos. | 7
2.1.3 | Points in running meter | mtr | 15
3.1 | Supply & Installation of FRLS Wires in MS conduit for power / lighting conduiting surface mounted on ceiling/ conceiled in walls
3.1.1 | Supply & Installation of 2 nos.2.5 Sq.mm +1 no. 1.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt | 50
3.1.2 | Supply & Installation of 2 nos.4 Sq.mm +1 no. 2.5 Sqmm copper FRLS wires in 20mm dia MS conduits | Rmt | 15
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS ( KITCHEN POINTS NOT CONSIDERD )
2.1 | Supply & Installation of the following MDS make Metra Plug & Socket DBs
2.1.1 | 10/16/20/25/32A SP Metal Clad socket with mcb | Nos. | 7
2.1.2 | 32A 4P 3ph 5 pin Metal Clad socket With MCB | Nos. | 3
2.2 | Supply & Installation of the following Sockets, Switches including the front plate & Back boxes
2.2.1 | 1 no. 6 /16A 6 Pin Switch Socket Outlets (Raw Power) | Nos. | 11
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV
3.1 | Supply & Installation of the D-link make cat6 information outlet with face plate. (For data) | Nos. | 2
3.2 | Supply & Installation of Cat. 6 Data cable in 20mm/25mm dia MS conduits | Mts. | 2
4 | SECTION-IV-PROVUDING & FIXING OF EMERGENCY SIGNAGE
4.1.1 | EMERGENCY SIGNAGE | Nos | 6
5 | SECTION-V PANELS, DISTRIBUTION BOARDS
5.1 | Supply Installation Testing & Commissioning of following Panels
5.1.1 | Supply Installation Testing & Commissioning of 3Ph, 415V, 50Hz Main LT Panel 1 as per SLD | No. | 1
5.2 | Supply Installation Testing & Commissioning of following Distribution boards/ Starters
5.2.1 | 8 way TPN DB with 40A 4P MCB as incomer & 3 nos. of 32 DP MCB, 100mA & 18+8 Nos. (KPLDB) CAT NO. 5076 82 ( LEGRAND-MAKE ) | No. | 1
5.2.2 | 12 way SPN DB with 25A DP MCB as incomer CAT NO. 5076 22 ( LEGRAND-MAKE ) | No. | 1
5.2.5 | L&T make MK1 DOL stater | Nos. | 2
6 | SECTION-VI -CABLING & EARTHING
6.1 | Supply of Installation of Following cables
6.1.1 | 4 C x 4 sq mm CU PVC Armoured | Mts. | 7
6.1.2 | 4 C x 6 sq mm CU PVC Armoured | Mts. | 40
6.1.3 | 4 C x 10 sq mm CU PVC Armoured | Mts. | 20
6.1.7 | 3.5 C x 70sq mm XLPE Armoured | Mts. | 6
6.2 | Supply of Installation of Following cable Terminations
6.2.1 | 4 C x 4 sq mm CU PVC Armoured | No. | 6
6.2.2 | 4 C x 6 sq mm CU PVC Armoured | No. | 18
5.2.3 | 4 C x 10 sq mm CU PVC Armoured | No. | 12
6.2.5 | 3.5 C x70sq mm AL. XLPE Cable | No. | 6
6.3 | Supply of Installation of Following Cable Trays
6.3.1 | 300mm wide Perforated Cable tray with support | Mts. | 10
6.3.2 | 150mm wide perforated cable tray with support. | Mts. | 40
6.4 | Supply of Installation of Following Earthing Material
6.4.1 | 8 SWG hard drawn bare aluminium wire | Mts. | 10
7 | SECTION-VII-SERVO STABILIZER/ INVERTER/UPS
7.1 | Installation of 2KVA three phase in and Single Phase out UPS with 30min battery back-up- make Online Systems | No. | 1