## FIRE
APK DESIGNS
BILL OF QUANTITIES FOR FIRE ALARM SYSTEM FOR BAR SUPPORT KITCHEN NOIDA
Sr. | Description | Qty | Unit | Rate | Amount
No. |  |  |  | Rs. | Rs.
A | CONVENTIONAL FIRE DETECTION SYSTEM
a. | S/I/T/C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall | 35 | Mts. |  | 0
b. | Supply & Installation of Smoke Detector (ADDRESABLE) | 0 | Nos |  | 0
c. | Supply & Installation of Upright Smoke Detector (ADDRESABLE) | 0 | Nos |  | 0
d. | Supply & Installation of Heat Detector with base (ADDRESABLE) | 2 | Nos |  | 0
e. | Supply & Installation of Manual Breakglass Unit (ADDRESABLE) | 1 | No |  | 0
f. | Supply & Installation of Hooter (ADDRESABLE) | 1 | No |  | 0
g. | Supply & Installation of Response Indicator (ADDRESABLE) | 0 | No. |  | 0
h. | Supply & Installation of 8 Zone Fire Alarm Panel with Auto Dialing Facility (ADDRESABLE) | 1 | No. |  | 0
| TOTAL |  |  |  | 0
| GRAND TOTAL |  |  |  | 0