## JOSH EQUIP-SCHEDULE -T2 MUMBAI
JOSH
|  | EQUIPMENT SCHEDULE @ | DATE | 2024-11-19
MUMBAI - T2
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
1HP/3HP
1 | JS-01 | POS | IT | STD | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket
2 | JS-02 | MARKETING SCREEN | MARKETING | STD | 2
3 | JS-03 | POS COUNTER WITH STAIR TYPE IMPULSE DISPLAY PROVISION & STORAGE BELOW | CARPENTRY WORK /AS PER ID | 1400 x 775 x 850Ht. | 1
1 | JS-04 | ICE CREAM DISPLAY SHOWCASE-12 FLAVORS | WILLIAMS_SMART | 1220 x 800 x 1280 | 1 | 1PH | 1.5 | 3.5 | 5 / 15 Amp | Switch Socket
5 | JS-05 | COUNTER TOP WITH STORAGE BELOW | CARPENTRY WORK /AS PER ID | 1075 x 725 x 850Ht. | 1
6 | JS-06 | 2 DOOR U/C REF. SALADETTES & SANDWICH STATION ( MAKE LINE UNIT ) | BLUESTAR-SC2100GA | 900 x 700 x 990 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
7 | JS-07 | HARD TOP CHEST FREEZER - CAP 100 LTR | BLUESTAR-CF3-130NEYW | 575 x 570 x 829Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
8 | JS-08 | 3 DOOR U/C REF. SALADETTES & SANDWICH STATION ( MAKE LINE UNIT ) WITH MARBLE PIECE ON TOP ( 450 x 450 ) | BLUESTAR-SC3100GA | 1365 x 700 x 990 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
9 | JS-09 | SS CIVIL COUNTER FITTED SINK | FABRICATED | 600 x 600 x 150 | 1
10 | JS-09a | GARBAGE BINS | SOE | 300DIA x 600Ht. | 1
11 | JS-10 | GREASE TRAP | NUGREEN NGT-08 | 262 x 355 x 280 | 1
12 | JS-11 | COUNTER WITH SUNK IN SINK | CARPENTRY WORK /AS PER ID | 1050 x 725 x 850Ht. | 1
13 | JS-12 | SINGLE BASKET FRYER 8LTR TOASTMASTER | TOASTMASTER- E-DZ-8L | 260 x 410 x 340 | 1 | 1PH | 3.2 | 3.2 | 32 | Metal Clad
14 | JS-13 | SS TABLE TOP WOK INDUCTION ( KADAI CAP-3 TO 5 LTR ) | FABRICATED | 340 x 370 x 150 | 1 | 1PH | 5 | 5 | 32 | Metal Clad
15 | JS-14 | SS FRONT COOKING UNIT SELF EXHAUST SYSTEM WITH INDUCTION & FRYER | SSS-S-KMU-2E | 1410 x 750 x 1350Ht. | 2 | 1PH | 3 | 6 | 32 | Metal Clad
16 | JS-15 | SS COLD BAIN MARIE WITH 6 Nos, 1/6 GN PAN CONTAINER 150MM Deep | FABRICATED | 462 x 750 x 850Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
17 | JS-16 | CELFROST ELECTRIC HOT PLATE | CELFROST-CDP850 | 730 x 510 x 230Ht. | 1 | 1PH | 4.4 | 4.4 | 32 | Metal Clad
18 | JS-17 | COLD DISPLAY UNIT-3FT | BLUESTAR-KORAL09CSQP | 900 x 750 x 1200Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
19 | JS-18 | COUNTER WITH STORAGE BELOW | CARPENTRY WORK /AS PER ID | 1575 x 725 x 850Ht. | 1
20 | JS-19 | JUICE DISPENSER COMPRESSED WITH ROATER | UGOLINI-ARCTIC COMPACT 12/2 | 480 x 360 x 570Ht. | 1 | 1PH | 2.9 | 2.9 | 5 / 15 Amp | Switch Socket
21 | JS-20 | SS COLD BAIN MARIE WITH 6 Nos, 1/6 GN PAN CONTAINER 150MM Deep | FABRICATED | 462 x 750 x 850Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
22 | JS-21 | 2 DOOR U/C REF. SALADETTES & SANDWICH STATION ( MAKE LINE UNIT ) | BLUESTAR-SC2100GA | 900 x 700 x 990 | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
23 | JS-21a | SNEEZ GUARD ON COUNTER TOP | CARPENTRY WORK /AS PER ID | 1550 x 300 x 450Ht | 1
24 | JS-22 | TEA & COFFE MAKER MACHINE- GEMINI | GEMINI | 600 x 270 x 470Ht. | 1 | 1PH | 2.3 | 2.3 | 5 / 15 Amp | Switch Socket |  | 75
25 | JS-23 | MILK BOILER INSULATED - 12Ltrs.Cap. | PRADEEP - 111612 | 320DIA x 580Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket |  | 899
26 | JS-24 | CIVIL FITTED COUNTER SINK | FABRICATED | 400 x 400 x 150 | 1
27 | JS-25 | GREASE TRAP | NUGREEN NGT-08 | 262 x 355 x 280 | 1
28 | JS-25a | GARBAGE BINS | SOE | 300DIA x 600Ht. | 1
29 | JS-26 | COUNTER STORAGE BELOW WITH SUNK IN SINK | CARPENTRY WORK /AS PER ID | 2085 x 725 x 850Ht. | 1
30 | JS-27 | SS HOT BAIN MARIE WITH 3 Nos, 1/1 GN PAN 150MM DEEP & REMOVABEL 3Nos, DIVIDER 1U/S , & 2 O/S | FABRICATED | 1600 x 700 x 850+300 + 260 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
31 | JS-28 | SS WORK TABLE WITH 2 U/S | FABRICATED | 925 x 700 x 850Ht | 1
32 | JS-29 | TABLE TOP RICE COOKER | 20 Ltrs.-5Kg. PANASONIC -SR972 | STD | 1 | 1PH | 2 | 2 | 5 / 15 Amp | Switch Socket
33 | JS-30 | SS TABLE TOP ELECTRIC IDLI STEAMER NON STICK TRAY | FABRICATED | 380 x 345 x 690Ht. | 1 | 1PH | 3 | 3 | 32 | Metal Clad
34 | JS-31 | EXHAUST CHIMNEY WITH CARBON FILTER & SHOULD BE DUCT LESS WALL MOUNTED FLAT | MAGILO-SLATE | 600 x 550 x 400Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
35 | JS-32 | 2 DOOR VERTICAL FREEZER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-RF2D550N | 700 x 765 x 1997 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
Total Kw | [7 empty] | 49.3
SOE
1 | SO-01 | INSECT KILLERS | SOE |  | 2 | 1PH | 0.5 | 1 | 5 / 15 Amp | Switch Socket | 0
2 | SO-02 | FIRE EXTINGUISHER ABC-4KG | SOE |  | 1
3 | SO-03 | FIRE EXTINGUISHER CO/2-4.5KG | SOE |  | 1
4 | SO-04 | FIRE EXTINGUISHER KTYPE - 6KG | SOE |  | 1
5 | SO-05 | FIRE BLANKET - 6' X 4' | SOE |  | 1
Total Kw-SOE | [7 empty] | 1
Total Kw | [7 empty] | 50.3
0

## Chest Freezer (hidden)
JOSH
|  | EQUIPMENT SCHEDULE @ | DATE | 2024-11-06
MUMBAI - T2
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH
1HP/3HP
1 | JS-07 | HARD TOP CHEST FREEZER - CAP 300 LTR | BLUESTAR-CF3-300NEYW | 1147 x 678 x 857 Ht. | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket