## SUMMARY
ELECTRICAL BOQ FOR SMOOR POWAI (TRANSEFORM)
APK DESIGNS
ELECTRICAL BOQ FOR HAKKA AND KIKS CITY CENTRE MALL
Sr. | Description | Amount
1 | SECTION-I-POINT WIRING | #VALUE!
2 | SECTION-II-SUPPLY & INSTALLATION OF SWITCH SOCKET OUTLETS | #VALUE!
3 | SECTION III-TELEPHONE / DATA SYSTEM AND TV | #VALUE!
4 | SECTION-IV-INSTALLATION OF LIGHTING FIXTURES | #VALUE!
5 | SECTION-V PANELS, DISTRIBUTION BOARDS | #VALUE!
6 | SECTION-VI -CABLING & EARTHING | #VALUE!
7 | SECTION-VII-SERVO STABILIZER/ UPS | #VALUE!
8 | SECTION-VIII-MISCELLANEOUS | #VALUE!
| GRAND TOTAL | #VALUE!
| CGST | #VALUE!
| SCST | #VALUE!
| TOTAL | #VALUE!

## KITCHEN AND BAR BOQ
APK DESIGNS
LOOSE ITEMS BOQ FOR BASE KITCHEN NOIDA
Sr. | Description | Qty | Unit | Rate | Amount
2 | PROVIDING & FIXING FIRE EXTINGUISHER
2.1 | Fire Extinguisher - K TYPE 4.5 KG APPROVED MAKE with Stand | 1 | NOS |  | 0
2.2 | Fire Extinguisher - ABC TYPE 6 KG APPROVED MAKE with Stand | 2 | NOS
2.3 | Fire Extinguisher - CO2 TYPE 4 KG APPROVED MAKE with Stand | 2 | NOS
| CEILING MOUNTED AUTOMATIC FIRE EXTINGUISHER (CAPACITY:-4KG) | 1 | NOS
| TOTAL |  |  |  | 0

## APPD MAKES
LIST OF APPROVED BRANDS:
PVC Conduits - Precision
FRLS Wires - Finolex /Sandeep/ RR cables / polycab
Cables - Polycab / Asian
Switches - Clipsal-Opale/Crabtree/Northwest
Distribution Boards - Siemens/legrand
MCB’s /ELCB’s - Siemens/legrand
Telephone Wires - Finolex/Polycab/ITL
T.V.Wires - Comscop/Finolex
Exhaust Fans - Boss / Newtech /GMC
Light Fittings - Philips
Switch fuse units/starters - L&T/ Siemens
Fire Alarm System | Apollo/System Sensor / ravel / agni
Notes:-
1. The Contractor should quote the tender rates considering First make of materials given in above list.
2. Wherever contractor proposes to use `equivalent' makes (i.e. other than specified) he shall obtain Client's prior approval. Client may consult Consultants before giving approval to the same. Any additional cost and time lost due to this will be on Contractor's account and no claims will be entertained.
3. The contractor should take approval for make & manufacturer from the consultants before using any material, which does not appear in the list of approved manufacturers.