## Bikanervala
#GRUB HUB@UNA
S. No. | Equipment | Dimensions | Qty | Category | Wattage(KW) | Elec. Point Ht. | Water supply Height | Drain | Gas & GLDS Point | Exhaust | BRAND | REMARKS | Category
BIKANERVALA
BK-01 | DOSA BAIN MARIE (600WX700DX850H) | (600WX700DX850H) | 1 | Fabrication |  |  |  |  | GAS 250MM | YES
BK-02 | SINGLE BURNER RANGE (700WX700DX850H) | (700WX700DX850H) | 1 | Fabrication |  |  |  |  | GAS 250MM | YES
BK-03 | HANDWASH SINK (400Wx450Dx850H+200HIGH) | (400Wx450Dx850H+200HIGH) | 1 | Fabrication |  |  | 450MM/FFL | YES
BK-04 | SOUP TUREEN (CASSELIN) | AS/SELECTION | 1 | Boughtout | 0.5 | 1050MM/FFL |  |  |  |  | CASSELIN
BK-06 | SS WORK TABLE (1200Wx700Dx850H) | (1200Wx700Dx850H) | 1 | Fabrication
BK-07 | SS WORK TABLE (450Wx600Dx850H) | (450Wx600Dx850H) | 2 | Fabrication
BK-08 | POT WASH RACK WITH 5 PERFORATED SHELVES (900Wx450Dx1800H) | (900Wx450Dx1800H) | 1 | Fabrication
BK-09 | MS POWDER COATED RACK WITH 8 SHELVES (915Wx450Dx1950H) | (915Wx450Dx1950H) | 12 | Boughtout
1 | DRAIN THROUGH GRATING (300x300) | (300x300) | 6 | OGT
2 | STRIP CURTAIN (1050WX2100H) | (1050WX2100H) | 1 | Boughtout |  | 2300MM/FFL
3 | AIR CURTAIN (MITZVAH) (1050WX300D) | (1050WX300D) | 1 | Boughtout | 0.5 | 2300MM/FFL
NOTE: 1. All the dimension needs to be physically measured at site by the vendor before commencing the production.. 2. G/N Pan Requirement will be shared by concerned brand.

## Giani's
#GRUB HUB@UNA
S. No. | Equipment | Dimensions | Qty | Category | Wattage | Total Wattage | Elec. Point Ht. | WS Height | Drain | Gas & GLDS Point | Exhaust | Remarks
GIANI'S
GI-02 | CHEST FREEZER FOR KULFI | MODEL-CF3-125DSW | 1 | Refrigeration | 0.5KW | 0.5KW | 1200MM |  |  |  |  | BLUESTAR
GI-03 | DEEP FREEZER 1000LTR. | MODEL-CHFSD100DHSW | 1 | Refrigeration | 0.5KW | 0.5KW | 1200mm
GI-04 | ICE CREAM CHEST FREEZER | MODEL-EKG650G | 1 | Refrigeration | 0.5KW | 0.5KW | 300MM |  |  | _ | _ | ELANPRO
GI-05 | Weighting Scale 2Kg (Counter | SM-500 | 1 | Boughtout | [7 empty] | SMART SCALE
GI-06 | BLENDER WITH SOUND ENCLOSURE | JTC TM 800AQ | 1 | Boughtout | 1.5KW | 1.5KW | 1200mm |  |  | _ | _ | OMNI BLEND V
GI-07 | WAFFLE CONE MACHINE | 320Wx250Dx178H | 1 | Boughtout | 1.5KW | 1.5KW | 1200mm |  |  | _ | _ | CB - 01F
GI-08 | MELTER (CHOCOLATE WARMER) |  | 1 | Boughtout | 1.5KW | 1.5KW | 1200mm |  |  | _ | _ | TEM-2TC
GI-09 | SS SINK TO BE FIXED IN CORIAN COUNTER | 450Wx700Dx900H | 1 | Fabrication
GI-10 | SS FLUDA COUNTER REF. | 700Wx700Dx850H | 1 |  | 0.5KW | 0.5KW | 1200mm
GI-11 | SS SINK TO BE FIXED IN CORIAN COUNTER | 450Wx450Dx850H | 1 | Fabrication
BROUGHT OUT ITEMS:
1 | DRAIN THROUGH GRATING | 300x300 | 2 | Fabrication
2 | GREASE TRAP | 450Wx400Dx300H | 1 | Fabrication
3 | MIXER FOR SINK | AS/SELECTION | 2 | Boughtout
| TOTAL ELECTRIC LOAD |  |  |  |  | 6.5KW
NOTE: 1. All the dimension needs to be physically measured at site by the vendor before commencing the production.. 2. G/N Pan Requirement will be shared by concerned brand.
30 | ICE MACHINE (OBS) | AS/SEL. | 1 | existing | 0.5 | 450MM/FFL
FOR FIRST FLOOR KITCHEN
1 | WORK TABLE | 900Wx730Dx880H | 1 | EXISTING
2 | HOOD DISHWASHER | 630Wx730Dx880H | 1 | EXISTING
3 | WORK TABLE | 900Wx730Dx880H | 1 | EXISTING
21 | SINGLE BOWL SINK WITH OGT FOR FIRST FLOOR KITCHEN DISHWASH | 1100Wx610Dx850H | 1 | existing |  |  | 1200MM (H/C)-2+2 | YES
| WATER TANK 1500 LTR. | AS/SEL. | 2 | existing

## Karim's & Noodle Wok
#GRUB HUB@UNA
S. No. | Equipment | Dimensions | Qty | Category | Wattage(KW) | Elec. Point Ht. | Water Supply Ht. | Drain | Gas & GLDS Point | Exhaust | BRAND | REMARKS
KARIMS & NOODLE WOK
KN-02 | HOT BAIN MARIE WITH 1/3x9 GN PAN | 1200Wx700Dx850H | 1 | Fabrication | 2 | 450MM/FFL | 450MM/FFL | YES
KN-03 | COLD BAIN MARIE WITH 1/6x6 GN PAN | 1200Wx700Dx850H | 1 | Fabrication | 0.5KW | 450MM
KN-04 | SS WORK COUNTER WITH UNDER SHELVES | 450Wx700Dx850H | 1 | Fabrication
KN-04A | SS DUSTBIN | 450Wx450Dx850H | 1 | Fabrication
KN-04B | SS WORK COUNTER WITH UNDER SHELVES | 450Wx900Dx850H | 2 | Fabrication
KN-05 | HOT BAIN MARIE WITH 1/3x6 GN PAN | 900Wx700Dx850H | 1 | Fabrication | 2 | 450MM/FFL | 450MM/FFL | YES
KN-06 | SS WORK COUNTER WITH UNDER SHELVES | 700Wx700Dx850H | 1 | Fabrication
KN-07 | VISI COOLER | 580Wx620Dx1800H | 2 | Refrigeration | 0.5KW | 2150MM |  |  |  |  | pepsi | provide by pepsi
KN-08 | SS WORK COUNTER WITH UNDER SHELVES | 1500Wx700Dx850H | 1 | Fabrication
KN-09 | UNDER COUNTER REFER WITH WORKING TOP | 1500Wx700Dx850H+100 HIGH | 1 | Refrigeration | 0.5KW | 450MM |  |  |  |  | BLUESTAR
KN-10 | UNDER COUNTER REFER WITH WORKING TOP | 1200Wx700Dx850H+100 HIGH | 1 | Refrigeration | 0.5KW | 450MM |  |  |  |  | BLUESTAR
KN-10A | OVERHEAD SHELF | 1200Wx300D | 1 | Fabrication
KN-11 | UNDER COUNTER REFER WITH 1/3X5 GN PAN+OHS | 900Wx700Dx850H+100 HIGH | 1 | Refrigeration | 0.5KW | 450MM |  |  |  |  | BLUESTAR
KN-11A | OVERHEAD SHELF | 900Wx300D | 1 | Fabrication
KN-12 | SS SINK WITH VEG PREP TABLE TOP WITH UNDER SHELF | 450Wx700Dx850H+100 HIGH | 1 | Fabrication |  |  | 450MM/FFL | YES
KN-13 | REACH IN FREEZER (TWO DOOR) ( 0 to 4° ) TEMP | 740Wx830DX2000H | 2 | Refrigeration | 2 | 1500MM/FFL |  |  |  |  | CELFROST
KN-14 | REACH IN FREEZER (TWO DOOR) ( -20°) TEMP | 740Wx830DX2000H | 2 | Refrigeration | 2 | 1500MM/FFL |  |  |  |  | CELFROST
KN-15 | GAS TANDOOR | 800Wx900Dx850H+100 HIGH | 1 | Tandoor |  |  |  |  | GAS 250MM |  |  | to be match with obs tandoor
KN-16 | TWO BURNER RANGE | 1200Wx700Dx850H+100 HIGH | 1 | Fabrication |  |  | 450MM/FFL (RO) |  | GAS 250MM
KN-17 | EXHAUST HOOD | 4550WX900D | 1 | Fabrication | 1 | IN CEILING |  |  |  | CFM-3500
KN-19 | EXHAUST HOOD | 4350WX900D | 1 | Fabrication | 1 | IN CEILING |  |  |  | CFM-3500
KN-20 | CHINESE COOKING RANGE | 1050Wx700Dx850H | 1 | Fabrication |  |  | 300MM CW(RO) | AFF | GAS 250MM
KN-21 | TABLE WITH INSERT | 300Wx700Dx850H | 1 | Fabrication
KN-22 | UNDER COUNTER REFER WITH 1/3X7 GN PAN+OHS | 1350Wx700Dx850H+100 HIGH | 1 | Refrigeration | 0.5KW | 450MM |  |  |  |  | BLUESTAR
KN-23 | MICROWAVE OVEN 25 LTRS | AS/SELECTION | 1 | Boughtout | 2.0KW | 1500MM |  |  |  |  | CELFROST
KN-25 | SS DRY STORAGE RACK WITH 5 SHELVES | 900Wx450Dx1800H | 3 | Fabrication
KN-26 | SS POT WASH RACK WITH 5 PERFORATED SHELVES | 900Wx450Dx1800H | 2 | Fabrication
KN-27 | SS POT WASH RACK WITH 5 PIPE SHELVES | 750Wx450Dx1800H | 2 | Fabrication
KN-28 | 3 BOWL POT WASH SINK | 1500Wx700Dx850H+200 HIGH | 1 | Fabrication |  |  | 1200MM (H/C)-2+2 | YES
KN-28A | WALL MOUNTED POT RACK SHELF | 1500Wx300D | 1 | Fabrication
KN-29 | DIRTY DISH LANDING | 1200Wx700Dx850H | 1 | Fabrication
KN-29A | WALL MOUNTED POT RACK SHELF | 1200Wx300D | 1 | Fabrication
KN-30 | SS DUSTBIN BELOW | 450Wx450Dx750H | 1 | Fabrication
KN-31 | HANDWASH SINK | 600Wx700Dx850H+200 HIGH | 1 | Fabrication |  |  | 450MM/FFL | YES
KN-32 | POTATO BIN (AS/SELECTION) | 450Wx450Dx850H | 1 | Fabrication
KN-34 | WEIGHING MACHINE | AS/SELECTION | 1 | Boughtout | 0.35 | 450MM/FFL |  |  |  |  | METIS
KN-35 | ATTA BIN ON WHEEL | 700Wx300Dx700H | 1 | Fabrication
KN-36 | MAIDA BIN ON WHEEL | 700Wx300Dx700H | 1 | Fabrication
BROUGHT OUT ITEMS:
KN-24 | MIXER GRINDER (AS/SEL.) | SUJATA MAKE | 1 | Boughtout | 2 | 1200MM |  |  |  |  | SUJATA
1 | DRAIN THROUGH GRATING | 300x300 | 6 | OGT
2 | AIR CURTAIN (MITZVAH) | 900WX300D | 1 | Boughtout
3 | FLY CATCHER | AS/SELECTION | 2 | Boughtout
4 | OGT | 600Wx400Dx300H | 1 | OGT
5 | LONG BODY MIXER FOR DISHWASH SINK | AS/SELECTION | 3 | Boughtout
6 | JUICE DISPENSER | AS/SELECTION | 1 | Boughtout | 0.5 | 1200MM |  |  |  |  | UGOLINI
7 | LASSI DISPENSER | AS/SELECTION | 1 | Boughtout | 0.5 | 1200MM |  |  |  |  | UGOLINI
| TOTAL ELECTRIC LOAD (KW) |  |  |  | 13.35
NOTE: 1. All the dimension needs to be physically measured at site by the vendor before commencing the production.. 2. G/N Pan Requirement will be shared by concerned brand.
1 | 3 BURNER RANGE | EXISTING OBS | 1 | EXISTING |  |  | 450MM/FFL (RO) |  | GAS 250MM

## Dishwash dry & cold store,admin
#GRUB HUB@UNA
S. No. | Equipment | Dimensions | Qty | Category | Wattage(KW) | Elec. Point Ht. | Water supply Height | Drain | Gas & GLDS Point | Exhaust | BRAND | REMARKS
DISHWASH
1 | WORK TABLE | 900Wx730Dx880H | 1 | EXISTING
2 | HOOD DISHWASHER | 630Wx730Dx880H | 1 | EXISTING
3 | WORK TABLE | 900Wx730Dx880H | 1 | EXISTING
4 | SS RACK WITH 5 SHELVES | 880Wx480Dx1850H | 1 | EXISTING
5 | THREE BOWL SINK | 1690Wx725Dx850H | 1 | EXISTING |  |  | 1200MM (H/C)-2+2 | YES
6 | SS OHERHEAD SHELF | 1220Wx300D | 2 | EXISTING
7 | SS TABLE FOR DIRTY DISH LANDING | 1820Wx600Dx860H | 1 | EXISTING
8 | DUSTBIN BELOW DIRTY DISH LANDING |  | 1 | EXISTING
5 | SS CHEMICAL CABINET | 500Wx500Dx1830H | 1 | EXISTING
DRY STORE (BASEMENT)
1 | MS POWDER COATED RACK WITH 8 SHELVES | 915Wx450Dx1950H | 12 | Boughtout
2 | PALLET | 1200Wx1200Dx200H | 1 | Boughtout
COLD ROOM (BASEMENT)
1 | SS DRY RACK WITH 5 SHELVES | 900Wx450Dx1800H | 8 | Fabrication
BROUGHT OUT ITEMS:
1 | LONG BODY MIXER | AS/SELECTION | 3 | Boughtout
3 | FLY CATCHER | AS/SELECTION | 1 | Boughtout
4 | DRAIN THROUGH GRATING | 300x300 | 3 | OGT
5 | OGT | 600Wx600Dx400H | 1 | OGT
TOTAL ELECTRIC LOAD (KW)
NOTE: 1. All the dimension needs to be physically measured at site by the vendor before commencing the production.. 2. G/N Pan Requirement will be shared by concerned brand.