## KITCHEN
LIST OF KITCHEN EQUIPMENT DELHI STREAT (DELHI)
NO | DESCRIPTION | MAKE | TFS COMMENTS | SIZE | QTY | ELECTRIC LOAD KW | Rate | Amount | Remarks
CHAATWALA KITCHEN AREA | [7 empty] | 0 |  | DESCRIPTIONWORK TABLE WITH 2 U/S MAKECUSTOM MAKESIZE450 x 650 x 850+ 100
CH-01 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 450 x 650 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONCOLD BAIN MARIE WITH U/C DRAWER CHILLERMAKECUSTOM MAKESIZE1200 x 650 x 850+ 100
CH-02 | COLD BAIN MARIE WITH U/C DRAWER CHILLER | CUSTOM MAKE | OK | 1200 x 650 x 850+ 100 | 1 | 1kw |  |  |  | DESCRIPTION1/2 GN PANMAKESIZE150MM
CH-02A | 1/2 GN PAN |  | OK | 150MM | 2 |  |  |  |  | DESCRIPTION1/3 GN PANMAKESIZE150MM
CH-02B | 1/3 GN PAN |  | OK | 150MM | 3 |  |  |  |  | DESCRIPTION1/6 GN PANMAKESIZE150MM
CH-02C | 1/6 GN PAN |  | OK | 150MM | 6 |  |  |  |  | DESCRIPTION1/9 GN PANMAKESIZE150MM
CH-02D | 1/9 GN PAN |  | OK | 150MM | 3 |  |  |  |  | DESCRIPTIONWORK TABLE WITH SUNKEN BAIN MARIE 2 U/S MAKECUSTOM MAKESIZE900 x 650 x 850+ 100
CH-03 | WORK TABLE WITH SUNKEN BAIN MARIE 2 U/S | CUSTOM MAKE | OK | 900 x 650 x 850+ 100 | 1 |  |  |  |  | DESCRIPTION1/6 GN PANMAKESIZE150MM
CH-03A | 1/6 GN PAN |  | OK | 150MM | 6 |  |  |  |  | DESCRIPTION2 DOOR U/C CHILLERMAKEBLUESTAR(UC2100GP)SIZE1365 x 700 x 850
CH-04 | 2 DOOR U/C CHILLER | BLUESTAR(UC2100GP) | OK | 1365 x 700 x 850 | 1 | 1kw |  |  |  | DESCRIPTIONTABLE TOP KULFI FALUDA FREEZERMAKECUSTOM MAKESIZESTD
CH-05 | TABLE TOP KULFI FALUDA FREEZER | CUSTOM MAKE | OK | STD | 1 | 1kw |  |  |  | DESCRIPTIONBACK COUNTER MAKEID SCOPESIZE2700 x 750
CH-06 | BACK COUNTER | ID SCOPE | WITH PROVISION OF U/C CHILLER | 2700 x 750 | 1 |  |  |  |  | DESCRIPTIONCOUNTER TOP SINKMAKEID SCOPESIZESTD
CH-06A | COUNTER TOP SINK | ID SCOPE |  | STD | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
CH-06B | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | NUGREEN-NGT8 | STD | 1 |  |  |  |  | DESCRIPTIONMICRO OVENMAKECelfrost-CMO 25SIZE511x432x311
CH-06C | MICRO OVEN | Celfrost-CMO 25 | OK | 511x432x311 | 1 | 1.5kw |  |  |  | DESCRIPTIONVERTICAL VISI COOLERMAKECelfrost-FKG-430SIZE600x650x1900
CH-07 | VERTICAL VISI COOLER | Celfrost-FKG-430 | OK | 600x650x1900 | 1 | 1kw |  |  |  | DESCRIPTIONMAKESIZE
MAIN KITCHEN AREA | [9 empty] | DESCRIPTIONCHINESE WOK ELECTRICMAKECUSTOM MAKESIZE750 x 900 x 750+ 250
K-01 | CHINESE WOK ELECTRIC | CUSTOM MAKE | FABRICATED | 750 x 900 x 750+ 250 | 1 |  |  |  |  | DESCRIPTIONWORK TABLE WITH 2 U/S MAKECUSTOM MAKESIZE450 x 900 x 850+ 100
K-02 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 450 x 900 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONWORK TABLE WITH U/C TRAY RACKMAKECUSTOM MAKESIZE900x 900 x 600
K-03 | WORK TABLE WITH U/C TRAY RACK | CUSTOM MAKE | OK | 900x 900 x 600 | 1 |  |  |  |  | DESCRIPTIONRATIONAL COMBI OVENMAKERATIONAL CMP 61SIZE6 GN
K-03A | RATIONAL COMBI OVEN | RATIONAL CMP 61 | OK | 6 GN | 1 | 11kw |  |  |  | DESCRIPTIONWORK TABLE WITH 2 U/S MAKECUSTOM MAKESIZE450 x 900 x 850+ 100
K-04 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 450 x 900 x 850+ 100 | 1 |  |  |  |  | DESCRIPTION4 BURNER COOKING RANGE WITH OVEN BELOW(ELECTRIC)MAKEELECTROLUX - 391041SIZE800 x 900 x 850+ 58
K-05 | 4 BURNER COOKING RANGE WITH OVEN BELOW(ELECTRIC) | ELECTROLUX - 391041 | OK | 800 x 900 x 850+ 58 | 1 | 22kw |  |  |  | DESCRIPTIONWORK TABLE WITH SINK UNIT WITH PERFORATED TRAY & FAUCETMAKE (FLR- 5011N) (JAGUAR)SIZE800 x 900 x 850+ 100
K-06 | WORK TABLE WITH SINK UNIT WITH PERFORATED TRAY & FAUCET | (FLR- 5011N) (JAGUAR) | OK | 800 x 900 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
K-06A | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | NUGREEN-NGT14 | STD | 1 |  |  |  |  | DESCRIPTION4 BURNER COOKING RANGE WITH OVEN BELOW(ELECTRIC)MAKEELECTROLUX - 391041SIZE800 x 900 x 850+ 58
K-07 | 4 BURNER COOKING RANGE WITH OVEN BELOW(ELECTRIC) | ELECTROLUX - 391041 | CHECK ELECTRIC KW | 800 x 900 x 850+ 58 | 1 | 7 |  |  |  | DESCRIPTIONWORK TABLE WITH 1 U/S MAKECUSTOM MAKESIZE750 x 900 x 600+ 350
K-08 | WORK TABLE WITH 1 U/S | CUSTOM MAKE | OK | 750 x 900 x 600+ 350 | 1 |  |  |  |  | DESCRIPTIONTABLE TOP DEEP FAT FRYERMAKEMUKUNDA SIZEECO AUTOMATED 8 LTR.
K-08A | TABLE TOP DEEP FAT FRYER | MUKUNDA | CHECK TOTAL KW | ECO AUTOMATED 8 LTR. | 2 | 3kw |  |  |  | DESCRIPTIONCHEST FREEZERMAKEBLUESTARSIZE200 LTR
K-09 | CHEST FREEZER | BLUESTAR | OK | 200 LTR | 1 | 1kw |  |  |  | DESCRIPTIONMICRO OVENMAKECelfrost-CMO 25SIZE511x432x311
K-09A | MICRO OVEN | Celfrost-CMO 25 | OK | 511x432x311 | 1 | 1.5kw |  |  |  | DESCRIPTION3 DOOR U/C REFRIGERATOR RAISED BAIN MARIE MAKEBLUESTAR(SC3100GB)SIZE1365 x 700 x 850
K-10 | 3 DOOR U/C REFRIGERATOR RAISED BAIN MARIE | BLUESTAR(SC3100GB) | OK | 1365 x 700 x 850 | 1 | 1kw |  |  |  | DESCRIPTION3 DOOR U/C REFRIGERATOR WITH 2 OHSMAKESIZE1800 x 700 x 850 + 350 + 400
K-11 | 3 DOOR U/C REFRIGERATOR WITH 2 OHS |  | THERE IS NO O/S ATTACHED IN CHILLERS ALSO THERE IS FULL HEIGHT GLASS ON LIVE KITCHEN & MAIN KITCHEN COMMON WALL | 1800 x 700 x 850 + 350 + 400 | 2 | 1kw |  |  |  | DESCRIPTIONMAKESIZE
SOUTH INDIAN KITCHEN AREA | [9 empty] | DESCRIPTIONFRONT COUNTER MAKEID SCOPESIZE1500 x 750
LK-01 | FRONT COUNTER | ID SCOPE | THERE AREA MULTIPLE COUNTERS ON FRONT WITH DIFFERENT HEIGHTS, PLEASE CHECK | 1500 x 750 | 1 |  |  |  |  | DESCRIPTIONWATER BOILER FOR TEA MAKEPRADEEP SIZENEED MODEL NO.
LK-01A | WATER BOILER FOR TEA | PRADEEP | PRADEEP-111313 | NEED MODEL NO. | 1 |  |  |  |  | DESCRIPTIONMILK BOILER MAKEPRADEEP SIZENEED MODEL NO.
LK-01B | MILK BOILER | PRADEEP | INSULATED 12 Ltrs.Cap.111612 | NEED MODEL NO. | 1 |  |  |  |  | DESCRIPTIONFILTER COFFEE MACHINEMAKEPRADEEP SIZENEED MODEL NO.
LK-01C | FILTER COFFEE MACHINE | PRADEEP | GEMINI 2000 | NEED MODEL NO. | 1 |  |  |  |  | DESCRIPTIONFRONT COUNTER MAKEID SCOPESIZE2750 x 750
LK-02 | FRONT COUNTER | ID SCOPE |  | 2750 x 750 | 1 |  |  |  |  | DESCRIPTIONTABLE TOP HOT PLATEMAKEKARMA (CE-270-115)SIZE730X500X230
LK-02A | TABLE TOP HOT PLATE | KARMA (CE-270-115) | SHOULD BE SUNKIN & CHECK TOTAL KW | 730X500X230 | 2 | 4.4kw |  |  |  | DESCRIPTIONTABLE TOP AMBIENT BAIN MARIE 1/6 GNMAKECUSTOM MAKESIZE400X550X230
LK-02B | TABLE TOP AMBIENT BAIN MARIE 1/6 GN | CUSTOM MAKE | SHOULD BE SUNK IN | 400X550X230 | 1 |  |  |  |  | DESCRIPTION3 DOOR U/C REFRIGERATOR MAKECUSTOM MAKESIZE1500 x 700 x 600
LK-02C | 3 DOOR U/C REFRIGERATOR | CUSTOM MAKE | 4 DRAWER UNDERCOUNTER CHILLER 600 HEIGHT. | 1500 x 700 x 600 | 1 | 1kw |  |  |  | DESCRIPTIONTABLE TOP AMBIENT BAIN MARIE 1/1 GNMAKECUSTOM MAKESIZE400X550X230
LK-02D | TABLE TOP AMBIENT BAIN MARIE 1/1 GN | CUSTOM MAKE | SHOULD BE SUNK IN | 400X550X230 | 1 |  |  |  |  | DESCRIPTIONSUNKEN SOUP TURINMAKENEED BRAND OR MODELSIZENEED BRAND OR MODEL
LK-02E | SUNKEN SOUP TURIN | NEED BRAND OR MODEL | SOE WILL DECIDE | NEED BRAND OR MODEL | 1 |  |  |  |  | DESCRIPTIONSINGLE SINK UNIT WITH PERFORATED TRAY & FAUCETMAKE (FLR- 5011N) (JAGUAR)SIZE500 x 500 x 850+ 100
LK-03 | SINGLE SINK UNIT WITH PERFORATED TRAY & FAUCET | (FLR- 5011N) (JAGUAR) | PROVIDE BE CIVIL VENDOR | 500 x 500 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
LK-03A | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | NUGREEN NGT8 | STD | 1 |  |  |  |  | DESCRIPTIONBACK COUNTER MAKEID SCOPESIZE1400 x 750
LK-04 | BACK COUNTER | ID SCOPE | WITH PROVISION ON CHILLER BELOW & SINK | 1400 x 750 | 1 |  |  |  |  | DESCRIPTIONTABLE TOP IDLI STEAMERMAKECUSTOM MAKESIZE6 TRAYS 54 CAP.
LK-04A | TABLE TOP IDLI STEAMER | CUSTOM MAKE | OK | 6 TRAYS 54 CAP. | 1 | 2.5kw |  |  |  | DESCRIPTION2 DOOR U/C REFRIGERATORMAKEBLUESTAR(UC2100A)SIZE1350 x 700 x 850
LK-04B | 2 DOOR U/C REFRIGERATOR | BLUESTAR(UC2100A) | OK | 1350 x 700 x 850 | 1 | 1kw |  |  |  | DESCRIPTIONTABLE TOP DEEP FAT FRYERMAKEMUKUNDA SIZEECO AUTOMATED 8 LTR.
LK-04C | TABLE TOP DEEP FAT FRYER | MUKUNDA | OK | ECO AUTOMATED 8 LTR. | 1 | 3kw |  |  |  | DESCRIPTIONMAKESIZE
BIRYANI KITCHEN AREA | [9 empty] | DESCRIPTIONWORK TABLE WITH 2 U/S MAKECUSTOM MAKESIZE450 x 750 x 850+ 100
BK-01 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 450 x 750 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONBHATURE FRYERMAKENEED BRAND OR MODELSIZENEED BRAND OR MODEL
BK-02 | BHATURE FRYER | NEED BRAND OR MODEL | FABRICATED & CHECK ELECTRIC LOAD & PHASE | NEED BRAND OR MODEL | 1 |  |  | accesable |  | DESCRIPTIONFRY DUMP STATION WITH OIL DRAIN SYSTEMMAKECUSTOM MAKESIZE575 x 750 x 850+ 100
BK-03 | FRY DUMP STATION WITH OIL DRAIN SYSTEM | CUSTOM MAKE | WITH CABINET BELOW | 575 x 750 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONHOT BAIN MARIE WITH 1 U/SMAKECUSTOM MAKESIZE1000 x 750 x 850+ 100
BK-04 | HOT BAIN MARIE WITH 1 U/S | CUSTOM MAKE | MENTIONE GN PAN CUT OUTS | 1000 x 750 x 850+ 100 | 1 | 3kw |  |  |  | DESCRIPTION1/2 GN PANMAKESIZE150MM
BK-04A | 1/2 GN PAN |  | OK | 150MM | 6 |  |  |  |  | DESCRIPTIONROUND TYPE HOT BAIN MARIE WITH 1 U/SMAKECUSTOM MAKESIZE450 x 750 x 850+ 100
BK-05 | ROUND TYPE HOT BAIN MARIE WITH 1 U/S | CUSTOM MAKE | OK | 450 x 750 x 850+ 100 | 1 | 2kw |  |  |  | DESCRIPTIONCOLD BAIN MARIE 1/1 GNMAKECUSTOM MAKESIZE500 x 750 x 850+ 100
BK-06 | COLD BAIN MARIE 1/1 GN | CUSTOM MAKE | OK | 500 x 750 x 850+ 100 | 1 | 1kw |  |  |  | DESCRIPTIONWORK TABLE WITH U/C CHILLERMAKECUSTOM MAKESIZE950 x 750 x 850+ 100
BK-07 | WORK TABLE WITH U/C CHILLER | CUSTOM MAKE | WORK TABLE WITH CROSS SUPPORT BELOW FOR CHILLER | 950 x 750 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONSINGLE DOOR CHILLERMAKETRUFROST(BB-100)SIZE600 x 520 x 900
BK-07A | SINGLE DOOR CHILLER | TRUFROST(BB-100) | SUGGESTED IS HOSHIZAKI | 600 x 520 x 900 | 1 | 0.50kw |  |  |  | DESCRIPTIONMAKEPROVIDE SNEEZE GUARD BY IDSIZE
|  | PROVIDE SNEEZE GUARD BY ID | [7 empty] | DESCRIPTIONMAKESIZE
KEBAB KITCHEN AREA | [9 empty] | DESCRIPTIONWORK TABLEMAKECUSTOM MAKESIZE650 x 650 x 850+ 100
KK-01 | WORK TABLE | CUSTOM MAKE | WORK TABLE WITH CROSS SUPPORT BELOW | 650 x 650 x 850+ 100 | 2 |  |  |  |  | DESCRIPTIONTABLE TOP TAWAMAKENEED BRAND OR MODELSIZENEED BRAND OR MODEL
KK-01A | TABLE TOP TAWA | NEED BRAND OR MODEL | TABLE TOP TAWA WITH ELECTRIC HEATER CHECK ELECTRIC KW AND PHASE | NEED BRAND OR MODEL | 2 | 8kw |  |  |  | DESCRIPTIONWORK TABLE WITH 2 U/S MAKECUSTOM MAKESIZE750 x 650 x 850+ 100
KK-02 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 750 x 650 x 850+ 100 | 1 |  |  |  |  | DESCRIPTIONTABLE TOP AMBIENT BAIN MARIE 1/6 GNMAKECUSTOM MAKESIZE400X550X230
KK-02A | TABLE TOP AMBIENT BAIN MARIE 1/6 GN | CUSTOM MAKE | OK | 400X550X230 | 1 |  |  |  |  | DESCRIPTIONWORK TABLE WITH 2 U/SMAKECUSTOM MAKESIZE1100x 750 x 750+ 100
KK-04 | WORK TABLE WITH 2 U/S | CUSTOM MAKE | OK | 1100x 750 x 750+ 100 | 1 |  |  |  |  | DESCRIPTIONTABLE TOP ROOMALI TAWAMAKENEED BRAND OR MODELSIZENEED BRAND OR MODEL
KK-04A | TABLE TOP ROOMALI TAWA | NEED BRAND OR MODEL | FABRICATED & CHECK ELECTRIC LOAD & PHASE | NEED BRAND OR MODEL | 1 |  |  |  |  | DESCRIPTIONELECTRIC TANDOORMAKEKTSE 30SIZE750x 800 x 950
KK-05 | ELECTRIC TANDOOR | KTSE 30 | KANHAYILAL TANDOOR MAKE, CHECK ELECTRIC PHASE & TOTAL KW | 750x 800 x 950 | 2 | 8kw |  |  |  | DESCRIPTIONKEBAB TROLLEY WITH HANGING RODMAKECUSTOM MAKESIZE600x 750 x 950
KK-06 | KEBAB TROLLEY WITH HANGING ROD | CUSTOM MAKE | OK | 600x 750 x 950 | 1 |  |  |  |  | DESCRIPTIONSINGLE SINK UNIT WITH PERFORATED TRAY & FAUCETMAKE (FLR- 5011N) (JAGUAR)SIZE600 x 700 x 850+ 50
KK-07 | SINGLE SINK UNIT WITH PERFORATED TRAY & FAUCET | (FLR- 5011N) (JAGUAR) | OK | 600 x 700 x 850+ 50 | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
KK-07A | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | NUGREEN NGT14 | STD | 1 |  |  |  |  | DESCRIPTION3 DOOR U/C REFRIGERATOR MAKEBLUESTAR(UC3100A)SIZE1800 x 700 x 850
KK-08 | 3 DOOR U/C REFRIGERATOR | BLUESTAR(UC3100A) | OK | 1800 x 700 x 850 | 1 | 1kw |  |  |  | DESCRIPTIONKNEE OPERATED HAND WASH SINKMAKEBOUGHT OUTSIZE500 x 500 x 850 + 100
KK-09 | KNEE OPERATED HAND WASH SINK | BOUGHT OUT | FABRICATED | 500 x 500 x 850 + 100 | 1 |  |  |  |  | DESCRIPTION3 DOOR BACK BAR COOLERMAKEBLUESTAR(BC350A)SIZE1350 x 500 x 900
KK-10 | 3 DOOR BACK BAR COOLER | BLUESTAR(BC350A) | OK | 1350 x 500 x 900 | 1 | 1kw |  |  |  | DESCRIPTIONMAKESIZE
LIQUOR STORE | [9 empty] | DESCRIPTIONMS SLOTTED ANGLE RACKMAKEBOUGHT OUTSIZE900 x 500 x 1800
LS-01 | MS SLOTTED ANGLE RACK | BOUGHT OUT | OK | 900 x 500 x 1800 | 2 |  |  |  |  | DESCRIPTIONMS SLOTTED ANGLE RACKMAKEBOUGHT OUTSIZE600 x 500 x 1800
LS-02 | MS SLOTTED ANGLE RACK | BOUGHT OUT | OK | 600 x 500 x 1800 | 1 |  |  |  |  | DESCRIPTIONMS SLOTTED ANGLE RACKMAKEBOUGHT OUTSIZE875 x 500 x 1800
LS-03 | MS SLOTTED ANGLE RACK | BOUGHT OUT | OK | 875 x 500 x 1800 | 2 |  |  |  |  | DESCRIPTIONMAKESIZE
DISH WASH AREA | [9 empty] | DESCRIPTIONDIRTY DISH LANDING WITH 1 OHS PERFORATEDMAKECUSTOM MAKESIZE1050 x 600 x 850 +150 + 500
DW-01 | DIRTY DISH LANDING WITH 1 OHS PERFORATED | CUSTOM MAKE | OK | 1050 x 600 x 850 +150 + 500 | 1 |  |  |  |  | DESCRIPTIONSINGLE SINK UNIT WITH FAUCET & DRAIN JAALI (FLR-CHR -5319NB)MAKECUSTOM MAKESIZE1050 x 750 x 850+ 150
DW-02 | SINGLE SINK UNIT WITH FAUCET & DRAIN JAALI (FLR-CHR -5319NB) | CUSTOM MAKE | OK | 1050 x 750 x 850+ 150 | 1 |  |  |  |  | DESCRIPTIONPRE RINSE JET SPRAY MAKE(T&S MAKE)SIZESTD
DW-02A | PRE RINSE JET SPRAY | (T&S MAKE) | TABLE MOUNTED | STD | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
DW-02B | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | NUGREEN-NGT70 | STD | 1 |  |  |  |  | DESCRIPTIONDISH WASH MACHINE MAKEELECTROLUX/HOBARTSIZESTD
DW-03 | DISH WASH MACHINE | ELECTROLUX/HOBART | OK | STD | 1 | 12kw |  |  |  | DESCRIPTIONUNLOADING TABLE WITH U/C BASKET HOLDERMAKECUSTOM MAKESIZE950 x 750 x 850+ 150
DW-04 | UNLOADING TABLE WITH U/C BASKET HOLDER | CUSTOM MAKE | OK | 950 x 750 x 850+ 150 | 1 |  |  |  |  | DESCRIPTIONCLEAN DISH RACK 5 SHELF PERFORATEDMAKECUSTOM MAKESIZE1500 x 500 x 1800
DW-05 | CLEAN DISH RACK 5 SHELF PERFORATED | CUSTOM MAKE | OK | 1500 x 500 x 1800 | 1 |  |  |  |  | DESCRIPTIONPOT RACK 5 SHELF MAKECUSTOM MAKESIZE900 x 500 x 1800
DW-06 | POT RACK 5 SHELF | CUSTOM MAKE | OK | 900 x 500 x 1800 | 1 |  |  |  |  | DESCRIPTIONINSECT KILLERMAKETECHNOCRATS(NINJA2X20)SIZESTD
DW-08 | INSECT KILLER | TECHNOCRATS(NINJA2X20) |  | STD | 4 | 0.50kw |  |  |  | DESCRIPTIONMAKESIZE
TOTAL ELECTRICAL LOAD 160KW + 10KW SPARE = 170KW |  |  |  |  | 111
HOOD DETAILS AREA MISSING |  |  |  | Transportation |  |  |  | 0
|  |  |  | unloading |  |  |  | 0
|  |  |  | Installation |  |  |  | 0
Sub total
|  |  |  | GST |  | 18%
With GST

## BAR
LIST OF BAR EQUIPMENT DELHI STREAT (DELHI)
NO | DESCRIPTION | MAKE | SIZE | QTY | ELECTRIC LOAD KW | Rate | Amount | Remarks
BAR AREA
BA-01 | POS STATION WITH U/C STORAGE CABINET | ID SCOPE | 500 x 700 x 900 | 1
BA-02 | COCKTAIL STATION WITH SINK & ICE CHEST & BOTTLE RAIL | CUSTOM MAKE | 900 x 700 x 900+ 50 | 1 |  |  |  |  | DESCRIPTIONCOCKTAIL STATION WITH SINK & ICE CHEST & BOTTLE RAILMAKECUSTOM MAKESIZE900 x 700 x 900+ 50
BA-03 | WORK TABLE WITH SINK | CUSTOM MAKE | MEASUREMENT CHECK ON SITE | 1 |  |  |  |  | DESCRIPTIONWORK TABLE WITH SINK MAKECUSTOM MAKESIZEMEASUREMENT CHECK ON SITE
BA-03A | U/C GLASS WASH MACHINE | ELECTROLUX | STD | 1 | 6kw |  |  |  | DESCRIPTIONU/C GLASS WASH MACHINEMAKEELECTROLUXSIZESTD
BA-03B | GREASE CHAMBER BELOW SINK UNIT | NUGREEN | STD | 1 |  |  |  |  | DESCRIPTIONGREASE CHAMBER BELOW SINK UNITMAKENUGREENSIZESTD
BA-04 | 4 SIDE OPEN TABLE | CUSTOM MAKE | 1350 x 700 x 900+ 50 | 1 |  |  |  |  | DESCRIPTION4 SIDE OPEN TABLE MAKECUSTOM MAKESIZE1350 x 700 x 900+ 50
BA-04A | U/C BEER CHILLING MACHINE | ELANPRO(HE20) | 450X450X800 | 1 | 1kw |  |  |  | DESCRIPTIONU/C BEER CHILLING MACHINEMAKEELANPRO(HE20)SIZE450X450X800
BA-05 | SMALL SINK | CUSTOM MAKE | 400 x 700 x 850 + 50 | 1 |  |  |  |  | DESCRIPTIONSMALL SINKMAKECUSTOM MAKESIZE400 x 700 x 850 + 50
BA-06 | U/C ICE CUBE MACHINE | HOSHIZAKI (IM-45WNE-25) | 503 x 456 x 840 | 1 | 0.50kw |  |  |  | DESCRIPTIONU/C ICE CUBE MACHINEMAKEHOSHIZAKI (IM-45WNE-25)SIZE503 x 456 x 840
BA-07 | TABLE TOP COFFEE MACHINE WITH MILK BOILER | LAVAZZA | STD | 1 | 1.3kw |  |  |  | DESCRIPTIONTABLE TOP COFFEE MACHINE WITH MILK BOILERMAKELAVAZZASIZESTD
BA-08 | SINGLE DOOR U/C BOTTLE COOLER | TRUFROST(BB-100) | 600 x 520 x 900 | 1 | 0.50kw |  |  |  | DESCRIPTIONSINGLE DOOR U/C BOTTLE COOLERMAKETRUFROST(BB-100)SIZE600 x 520 x 900
TOTAL ELECTRICAL LOAD 10KW + 05KW SPARE = 15 KW |  |  |  | 11 | 10 |  |  |  | DESCRIPTIONMAKESIZE
|  |  | Transportation | [5 empty] | DESCRIPTIONMAKESIZETransportation
|  |  | unloading | [5 empty] | DESCRIPTIONMAKESIZEunloading
|  |  | Installation | [5 empty] | DESCRIPTIONMAKESIZEInstallation
|  |  | Sub total |  |  |  | 0 |  | DESCRIPTIONMAKESIZESub total
|  |  | GST |  | 18% |  | 0 |  | DESCRIPTIONMAKESIZEGST
|  |  | With GST |  |  |  | 0 |  | DESCRIPTIONMAKESIZEWith GST