## Rev 1
Project: | Blue Sea Banquet , Mumbai
Client : | Blue Sea Banquet , Mumbai
Venue : | Mumbai
Project Number: | CC - 2023 - PR - 047
Date: | 2024-09-14
Schedule : | BOQ for the Supply of Architectural Light Fixtures
Rev No: | Rev 02
Status: | Tender
Fixture Ref. No. | Light Fixture Description | Fixture Image | Control | Area | Approved Make Manufacturer/ Model No | Qty | Units | Unit Cost | Total Cost
XRB2 | Surface Mounted linear grazer 15W/m, 1500lm/m, 3000K , CRI>80, IP 66 Dimensions: L- 1000mm, W- 44mm, H-78mm |  | Non Dimmable | Casacade Wall | IN LED Technology | 25.5 | Mtrs. | 11880 | 302940 | 6000
| Power connector cable |  |  |  |  | 3 | Nos. | 1500 | 4500
[8 empty] | TOTAL | 307440
GST EXTRA AS APPLICABLE
Notes
1 | Formulae have been given in the sheet but tender is to verify their correctness
2 | Do not add lines in the sheet - if additional items are required as after list item in the sheet
3 | Post shortlisting of vendors samples will need to be provided by vendor for mock up\approval.
4 | For driver assignment please refer to LMS drawings for looping.

## Sheet1
Project: | Blue Sea Banquet , Mumbai
Client : | Blue Sea Banquet , Mumbai
Venue : | Mumbai
Project Number: | CC - 2023 - PR - 047
Date: | 2024-09-11
Schedule : | BOQ for the Supply of Architectural Light Fixtures
Rev No: | Rev 01
Status: | Concept
Fixture Ref. No. | Light Fixture Description | Fixture Image | Control | Area | Approved Make Manufacturer/ Model No | Qty | Units
XRB1 | Surface Mounted linear fixture 45 deg beam with corner profile , 10W/m, 1000lm/m, 3000K, CRI>80, IP 67 Dimensions: L- 1000mm, W- 45mm, H- |  | Non Dimmable | Casacade Wall | IN LED Technology | 6.6 | Mtrs.
XRB2 | Surface Mounted linear grazer 10W/m, 1000lm/m, RGBW , CRI>80, IP 67 Dimensions: L- 1000mm, W- 45mm, H- |  | Non Dimmable | Casacade Wall | IN LED Technology | 25.5 | Mtrs.