## Sheet1
MARIYA FAB-TECH (Construction/Civil, Maintenance, Aluminium fabrication, Structural Glazing, and Heavy Structure Work) Snehatheeram, TC- 1/209 (7) Prasanth Nagar, Medical College (PO) GSTIN-32AHHPV4920G1ZD Trivandrum, Kerala, India – 695 011 mail ID mariyafabtech@gmail.com - Mob: 9447749202, 8075771774
M/s. Semolina Kitchen Private Limited Near Shankumukam Beach, Administrative Building, Trivandrum International Airport -695008.
CONCRETE SLAB CORE CUTTING & ELECTRICAL WORK IN MALABAR EXPRESS AT T2 TRV INTL
S NO | ITEMS | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | CORE CUTTING | RCC core cutting in the Malabar Express kitchen area for the ductwork. | 3 | Nos | 4000 | 12000
2 | REMOVAL OF EXISTING ELECTRICAL | Removing of existing wiring, power sockets-4 nos ,3 phase socket and metal box-3 nos. | 1 | job | 5000 | 5000
3 | ELECTRICAL WORK | Existing removel electrical items and required new items | 1 | job | 8000 | 8000
4 |  | SWITCH AND SOCKETS AND MS ENCLOSURE UNITS |  |  |  | 0
|  | S I T & C of the following components like approved make / type switches, socket etc,. housed in pvc enclosure, duly wired and painted. All the switch sockets are without boxes since the same is covered under different item |  |  |  | 0
a |  | 1no. 13A socket controlled by 13A SP switch socket combined in the same back box with cover plates with boxes.(General) | 4 | Nos | 1600 | 6400
b |  | 1no. 5/15A controlled by 5/15A SP Switch with indicator and different colour front plates with box. (Raw power) | 5 | Nos | 1800 | 9000
c |  | 1no. 32A 3 Phase Industrial socket controlled by 32A TP MCB with indicator and different colour front plates with box. (Raw power) | 3 | Nos | 2150 | 6450
5 | 3 PHASE WIRING | Supply and laying of sub/ circuit mains using 2mm thick PVC conduit, access- ories like pvc bends,& junction boxes, GI cleat and saddles etc., 660/ 1100V grade FRLS flexible copper wires and wiring accessories, terminating wires on either ends by providing copper lugs and carrying out surface / concealed wiring. Most of the area have false ceiling and conduits / Raceways shall run exposed above false ceiling. |  |  |  | 0
0
a |  | 3C x 6.0Sqmm FRLS insulated copper flexible cables in Existing Conduit / raceway-Lighting/ general raw power | 60 | MTR | 415 | 24900
b |  | 3C x 4.0Sqmm FRLS insulated copper flexible cables in Existing Conduit / raceway-Lighting/ general raw power | 30 | MTR | 385 | 11550
6 | CELING | Supply and fixing 59.5x59.5x8mm laminated gypsum board ceiling wit GI powder cated T' section are fixing | 370 | sq.ft | 105 | 38850
7 | DEBRIS SHIFTING | All demolishing/removel debris shifting | 1 | job | 2650 | 2650
|  | Total- |  |  |  | 124800
18% Gst extra