## SUMMARY
SUMMARY FOR INTERIOR CIVIL, CARPENTRY & FINISHES WORK
SR NO. | DESCRIPTION | FINAL AMOUNT
1 | Civil & Interior work | #REF!
2 | Electrical Work | #REF!
Total amount |  | #REF!
GST 18%
| Total amount with gst | #REF!

## Fitout Works BOQ
ELECTRICAL AND ALLIED WORKS FOR THE ULTRA BAR, CHENNAI INTERNATIONAL AIRPORT, TAMIL NADU
BILL OF QUANTITES FOR ELECTRICAL WORKS |  |  |  | Pikture Perfect
Sr. No. | Item Description | Qty | Unit | Supply Rate | Installation Rate | AMOUNT | Final Amount
0
B | LIGHTING FIXTURES AND FANS
NOTE- LIGHT FIXTURES WILL BE SUPPLIED BY ELECTRICAL CONTRACTOR
Supply, Intstallation, Testing and Commissioning of the following light fixtures complete with all tubes, lamps, starters, HF electronic ballast, fixing arrangements, ball and sockets and suspension conduits connections, earthing complete with all hardware, clamps, etc as per below specification. Rate to include all the accessories required to complete the installation of the fixtures.
All light fixtures shall have CRI>85, UGR<19, Lm 80, H<65%, TCT 55*C - 85*C,Burning Hours 50000hr. Hf Electronic driver - RatedV 240 Vac, Opr.V 130Vac~277Vac, 50/60Hz, IC (max) 0.19A, PF>.98, Athd <20%, Eff. >85
1 | DECORATIVE HANGING TYPE LIGHT FIXED ON BARE SLAB, 100W, 3000K, BASIC PRICE Rs.40,000/-. FINAL DETAIL AND REFERENCE IMAGE TO BE PROVIDED BY THE ARCHITECT | 6 | nos | 850 | 220 | 6420
2 | 5W/M LED STRIP IN COVE WITH ACRYLIC COVER 25MM WIDE, 3000K SUITABLE FOR DALI DIMMABLE BALLAST (BALLAST CONSIDERED SEPARATE) |  | m |  |  | 0
3 | 10W/M LED CONCEALED STRIP WITH ACRYLIC COVER 25MM WIDE, 3000K SUITABLE FOR DALI DIMMABLE BALLAST (BALLAST CONSIDERED SEPARATE) |  | m |  |  | 0
4 | DIMMABLE BALLAST FOR THE ABOVE LED STRIP LIGHTS |  | nos |  |  | 0
5 | MANUAL REGULATORY LIGHT DIMMER 500W, 1 MODULE TO CONTROL THE ABOVE LED STRIP LIGHTS |  | nos |  |  | 0
6 | REMOVAL & REFIXING OF THE EXISTING LINEAR LIGHTS AND RECONNECTION WITH ALL THE CIRCUITS |  | nos |  |  | 0