## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
1 | Industrial Socket ( 3 Phase) for Coffee Machine with GI conduit & 3 Phase wiring inclusive as per Airport specification | NO | 1
2 | 5 AMP Plug Point with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 12
3 | 15 AMP Switch socket with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 15
4 | Light Points with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 12
5 | 12 Watt Ceiling round panel light | NO | 8
6 | LED profile light for front counter | RFT | 15
7 | Data point with GI conduit & cable pulling inclusive as per Airport specification | NO | 1
8 | Double Door 12 Way mcb box Distribution Board (3 phase ) | NO | 1
9 | 3 Phase Electrical Meter of Approved make (Brand List) | NO | 1