## Sheet1
Quotation
Inventech Solutions
B502,Sun Orion,Near Hotel Dawat
Mumbai Bangalore Highway, Vadgaon(BK), Dist.-Pune.
Pin Code - 411041. Contact: +91 9923294855 / 9923201054
Email: inventechsolutionspune@gmail.com
Quotation No.: |  | IS-2425-1027 | Enquiry Ref.: | Phone
Date: |  | 2024-10-18 | Date:
To ,
Travel and Food Services Pvt. Ltd.
Kind Attn.: Mr. Suraj Kumbhar
Dear Sir, We are pleased to receive your valuable enquiry & with reference to the same we are submitting herewith our best offer for Qmin Kiosk ( 3450 mm X 2400 mm ) to be built at Chennai airport as follows:-
Estimate for providing and fixing Qmin Kiosk (3400 mm X 2400 mm ) Kiosk including carpentry, electrical and fabrication (Qty:1)
No. | Item | Item Description | Qty | Unit | Rate | Amount
Electrical
11 | Electrical work | Industrial Socket ( 3 Phase) for Coffee Machine with GI conduit & 3 Phase wiring inclusive as per Airport specification | 1 | NO | 18000 | 18000
|  | 5 AMP Plug Point with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | 12 | NO | 1980 | 23760
|  | 15 AMP Switch socket with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | 15 | NO | 2500 | 37500
|  | Light Points with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | 12 | NO | 1980 | 23760
|  | 12 Watt Ceiling round panel light | 8 | NO | 950 | 7600
|  | LED profile light for front counter | 15 | RFT | 750 | 11250
|  | Data point with GI conduit & cable pulling inclusive as per Airport specification | 1 | NO | 1500 | 1500
|  | Double Door 12 Way mcb box Distribution Board (3 phase ) | 1 | NO | 25700 | 25700
|  | 3 Phase Electrical Meter of Approved make (Brand List) | 1 | NO | 6500 | 6500
Note: If there are any other changes in the scope mentioned in our offer then price will change with respect to same
Commercial terms & conditions:-
Taxes: |  | GST will be charged extra as applicable
Completion of work: |  | As per Contract/Agreed Schedule
Payment terms: |  | As per Contract
70% payment to be made in advance.
30% payment before dispatch of material
Balance payment to be made upon work completion as per agreed schedule.
Offer validity: |  | Offer will be valid for 15 days and rates are applicable only for the quoted bill of quantity (BOQ). We reserve the right to change the rates with the change in BOQ
Warrantee /Guarantee: |  | Defect Liability Period as per contract
We trust our offer will meet your requirement & we look forward to receive your valuable order soon.
Thanking you & assuring you to provide our best possible services
For any query, please feel free to contact us.
Yours truly,
for Inventech Solutions
Authorized Signatory