## Summary
PRICE SUMMARY FOR FIRE FIGHTING SYSTEM
Client | : TRAVEL FOOD SERVICES PVT. LTD. |  |  |  | ANNEXURE
Project | : AIRPORT LOUNGE, SOUTH GOA. |  |  |  | Revision -0
Vendor/Contractor : |  |  |  |  | Date : 20.10.2024
Sheet 1 of 6
Sr. No. | System Description | Document | Supply | Installation | Total Amount
1 | Addressable Fire Alarm System | Annexure-II | 0 | 0 | 0
2 | Fire Extinguishers | Annexure-III | 0 | 0 | 0
3 | Sprinkler System | Annexure-lV | 0 | 0 | 0
SUB TOTALS - A : |  |  | 0 | 0 | 0
Total Amount Before GST : |  |  | 0
18% GST against supply & installation : |  |  | 0
Total Amount : |  |  | 0

## Fire Alarm
PRICE SCHEDULE FOR ADDRESSABLE FIRE ALARM SYSTEM | [8 empty] | ANNEXURE-II
Client | : TRAVEL FOOD SERVICES PVT. LTD. | [7 empty] | Revision -0
Project | : AIRPORT LOUNGE, SOUTH GOA. | [7 empty] | Date : 20.10.2024
Vendor/Contractor : | [8 empty] | Sheet 3 of 6
Sr. No. | Item Description | Approved Makes | Qty. | Unit | Supply |  | Installation |  | Total Amount
[5 empty] | Unit Rate | Amount | Unit Rate | Amount
1 | Supply, Installation, Testing & Commissioning of Addressable Fire Alarm Panel 2 zone including Battery 24 hr backup | ASES | 1 | Nos. |  | 0 |  | 0 | 0
2 | Supply, Installation, Testing & Commissioning of Smoke/Heat Detector with detector Base |  | 13 | Nos. |  | 0 |  | 0 | 0
3 | Supply, Installation, Testing & Commissioning of Addressable Pull Type Manual Call Point. |  | 1 | Nos. |  | 0 |  | 0 | 0
4 | Supply, Installation, Testing & Commissioning of Electronic Hooter |  | 1 | Nos. |  | 0 |  | 0 | 0
5 | Supply, Installation, Testing & Commissioning of 2C X 1.5 sq.mm. PVC insulated copper conductor Armode control cable. | Polycab/RR/Finolex | 300 | Mtr. |  | 0 |  | 0 | 0
6 | Supply, Installation, Testing & Commissioning of Emergency Fire Exit Sinages Acralic Sheet with Auto glow. | ISI Mark | 3 | Nos. |  | 0 |  | 0 | 0
TOTALS : | [5 empty] | 0 |  | 0 | 0

## Extinguishers
PRICE SCHEDULE FOR PORTABLE FIRE EXTINGUISHERS | [8 empty] | ANNEXURE-III
Client | : TRAVEL FOOD SERVICES PVT. LTD. | [7 empty] | Revision -0
Project | : AIRPORT LOUNGE, SOUTH GOA. | [7 empty] | Date : 20.10.2024
Vendor/Contractor : | [8 empty] | Sheet 4 of 6
Sr. No. | Item Description | Approved Makes | Qty. | Unit | Supply |  | Installation |  | Total Amount
[5 empty] | Unit Rate | Amount | Unit Rate | Amount
A | Supply, Installation, Testing & Commissioning of ISI and CE marked hand held portable type fire Extinguishers with required Dicharge valves & nozzel having connecting hose pipes as well as wall mounting / floor mounting brackets as per specifications. | Arihant/Fire Quit
1 | 4 kg capacity ABC type dry chemical powder fire Extinguishers with wall mounting brackets. |  | 3 | Nos. |  | 0 |  | 0 | 0
2 | 4.5 kg CO2 type Extinguisher with wall mounting brackets. |  | 2 | Nos. |  | 0 |  | 0 | 0
TOTALS : | [5 empty] | 0 |  | 0 | 0

## SPRINKLER
PRICE SCHEDULE FOR FIRE SPRINKLER SYSTEM | [8 empty] | ANNEXURE-IV
Client | : TRAVEL FOOD SERVICES PVT. LTD. | [7 empty] | Revision -00
Project | : AIRPORT LOUNGE, SOUTH GOA. | [7 empty] | Date : 20.10.2024
Sheet 6 of 6
Sr. No. | Item Description | Approved Makes | Qty. | Unit | Supply |  | Installation |  | Total Amount | Basic | Fitting | Total | Margin | After Margine | TransportTION | Loading & unloading | Total Supply | Installation
[5 empty] | Unit Rate | Amount | Unit Rate | Amount
1 | Supply, Installation, Testing & Commissioning of G.I C class Pipes as per IS 1239 with fittings including Elbow,Tees Flanges & Required Thraded roads & anchor fastner | Jindal/Suryaprakash |  |  |  | 0 |  | 0 | 0 |  |  |  | 1.2
a | 80NB |  | 6 | Mtr. |  | 0 |  | 0 | 0 | 730 | 21.9 | 751.9 | 1.15 | 864.685 | 17.2937 | 8.6469 | 890.6255 | 300
b | 65NB |  | 12 | Mtr. |  | 0 |  | 0 | 0 | 588 | 17.64 | 605.64 | 1.15 | 696.486 | 13.9297 | 6.9649 | 717.3806 | 250
c | 50NB |  | 6 | Mtr. |  | 0 |  | 0 | 0 | 466 | 13.98 | 479.98 | 1.15 | 551.977 | 11.0395 | 5.5198 | 568.5363 | 200
d | 40 NB |  | 12 | Mtr. |  | 0 |  | 0 | 0 | 336 | 10.08 | 346.08 | 1.15 | 397.992 | 11.9398 | 7.9598 | 417.8916 | 150
e | 32NB |  | 12 | Mtr. |  | 0 |  | 0 | 0 | 289 | 8.67 | 297.67 | 1.15 | 342.3205 | 10.2696 | 6.8464 | 359.4365 | 125
f | 25NB |  | 66 | Mtr. |  | 0 |  | 0 | 0 | 226 | 6.78 | 232.78 | 1.15 | 267.697 | 5.3539 | 2.677 | 275.7279 | 100
2 | Supply, Installation, Testing & Commissioning of cast iron double flanged butterfly valve confirming to having cast iron body,FG220 Nitrite rubber replaceable seat with moulded 'O' RING .c.i. Poder coated disc flow control complete and tested to 1.5 times of working pressure in an approved manner. | Kartar |  |  |  | 0 |  | 0 | 0
a | 80mm |  | 1 | Nos. |  | 0 |  | 0 | 0 | 3100 | 93 | 3193 | 1.2 | 3831.6 | 76.632 | 38.316 | 3946.548 | 600
3 | Supply, Installation, Testing & Commissioning of Ball Valve including drain valve with fitting barrael Nipple, Teflon tap. | Kartar |  |  |  | 0 |  | 0 | 0 |  | 0 | 0 | 1.2 | 0 | 0 | 0 | 0
a | 25mm |  | 1 | Nos. |  | 0 |  | 0 | 0 | 550 | 16.5 | 566.5 | 1.2 | 679.8 | 13.596 | 6.798 | 700.194 | 100
4 | Supply, Installation, Testing & Commissioning of SS Flexible Pipes 1000mm long Length. | Kartar/Newage | 27 | Nos. |  | 0 |  | 0 | 0 | 700 | 21 | 721 | 1.2 | 865.2 | 17.304 | 8.652 | 891.156 | 125
5 | Supply, Installation, Testing & Commissioning of Pendent Sprinkler operating at 68* temperature. | Kartar | 27 | Nos. |  | 0 |  | 0 | 0 | 165 | 4.95 | 169.95 | 1.2 | 203.94 | 4.0788 | 2.0394 | 210.0582 | 100
TOTALS : | [5 empty] | 0 |  | 0 | 0 |  |  |  | 1.2
1.2
1.2