## Sheet1
Arrow Electricals
BOQ for IT WORK SUBWAY
PROJECT NAME-SUBWAY-DELHI-T1
SR.NO | PARTICULARS | UNIT | QTY | RATE | AMOUNT
1 | NT IT SYSTEM WORK
a | SITC Network Rack 9u Pdu - 6 (460h X 450d X 550w) | SET | 1 | 9850 | 9850
b | SITC D-Link Combo D-RJ45 CAT6E Lan I/O Socket with Single Port Face Plate Dlink | SET | 6 | 810 | 4860
c | SITC D-Link Combo CAT6E Lan 2nos I/O Socket with Double Port Face Plate Dlink | SET | 1 | 1150 | 1150
d | SITC D-Link Combo CAT6E Lan 2nos I/O Socket with Four Port Face Plate Dlink | SET | 2 | 1480 | 2960
e | SITC D-RJ45 -JACK | NOS | 20 | 45 | 900
2 | NT ELECTRICALS WORK
a | 3.5C X 50 Sqmm Aluminium Armoured FRLS Cable-Polycab | MTR | 18 | 608 | 10944
b | 3.5C X 50 Sqmm Double Compression Brass Cable Gland | NOS | 2 | 850 | 1700
c | SITC 15AMP TOP FOR EQUIPMENT | NOS | 10 | 190 | 1900
d | SITC 72W LED DRIVER | NOS | 1 | 2450 | 2450
e | SITC 20MM GI FLEXIBAL PIPE FOR EQUPMENT | MTR | 30 | 55 | 1650
f | Installation of DVR | NOS | 1 | 1500 | 1500
g | Installation of B-mtr for ahu | nos | 1 | 750 | 750
3 | NT FAS ITEM
a | SITC 2cx1.5 sq Arm FRLS Red cable for FIRE system | MTR | 50 | 120 | 6000
b | SITC 2cx2.5 sq Arm FRLS Red cable for FIRE system | MTR | 50 | 345 | 17250
c | Supply and installation of Control module FOR CSU Strter panel integration | NOS | 1 | 4850 | 4850
d | SITC Round Smoke Detector Junction Box | NOS | 7 | 750 | 5250
| TOTAL AMOUNT |  |  |  | 73964
| IGST |  | 18% |  | 13313.52
| TOTAL AMOUNT WITH GST |  |  |  | 87277.52