## INTERIOR WORK
BOQ of Carpentry & LiGHTING work for Copper Chimney Project, PMC, Chennai | [6 empty] | 29/06/2023
|  | GROUND FLOOR |  |  |  |  | FT
SR.NO. | ITEM | DESCRIPTION | LOCATION | DIMENSION | UNIT | QTY. | RATE | AMOUNT | REMARK | IMAGE
PLANTER
1 | Pot For Plants | Providing and fixing of Pots for Plants made of 300mm diameter and 900mm height. Cost to include soil and live plants. | Outdoor Area | 300mm (Dia) 900mm (H) | Nos. | 6 |  |  | pending
2 | Planter Box | Providing and fixing FRP planter box as per given size with all necessary required groove, wooden framing, approved make adhesive and cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | Outdoor Area & Glass Façade (Ledge Wall) | 1350mm (L) x 400mm (W) x 450mm (HT) | Nos. | 10 |  |  | pending
TOTAL PLANTER BOX / POT | [7 empty] | 0
CARPENTRY
3 | Cane Panel | P/F bamboo Cane paneling on existing wall from Single side, internal ply finished with laminate. structure to be made out of 40x20mm thk wooden frame with 12mm, intermidiate member size of 40 x 20mm wooden frame/ bidding to be finished with melamine polish. to be finished with duco paint finish with necessary fittings as per design and details. | Entrance | 4500 x 3600 HT | SFT | 200 |  |  | pending |  | ok
Plywood - branded Commercial Ply (MR Calibrated, IS 303) -- Greenply or Equivalent brand
5 | Cane Roller Blinds | P & F of Cane manual folding curtains as per approval | Glass Façade (Ledge Wall) | 1100mm (L) x 3700mm (HT) | SFT Nos. | 400 |  |  | pending |  | need to check for celling suspension
6 | Fabric Roller Blinds | P & F of Fabric manual folding curtains as per approval Basic rate- | Banquet Seating Area |  | Sqft | 150 |  |  | pending |  | need to check for approved
|  | Basic rate- 150/Sq Ft |  | 450mm (HT)
TOTAL CARPENTRY WORK | [7 empty] | 0
METAL FURNITURE & SCREENS |  | CARPENTRY WORK | [5 empty] | #REF!
7 | Framework For Sheer Curtain | Providing and fixing 20 x 20mm MS box section finished in black powder caot framework fixed on walls finishing/supporting/cutting/required fixture & fasteners etc. as per design, drawing & as directed by Project Manager etc. complete. | Banquet Seating Area |  | RFT | 45 |  |  | pending |  | cancelled
TOTAL METAL FURNITURE & SCREENS | [7 empty] | 0
LIGHTS
8 | Decorative Hanging Light | Copper welded metal pipe with backlit fabric | Near Buffet Counter | 800mm (Dia) 300mm (H) | Nos. | 8 |  |  | pending |  | 4 nos
MISCELLANEOUS - 1
6 | CHEF Photo Frame | P & F of Chef Photo frame in the cetre of frame on wallpaper wall between lights. | Banquet Seating Area |  | Nos | 4 |  |  | pending |  | ok
TOTAL MISCELLANEOUS - 1 | [7 empty] | 0
Total Amount | [7 empty] | 0

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49