## MEXICAN & BURGER
EQUIPMENT SCHEDULE
MEXICAN & BURGER
|  | LUCKNOW | [5 empty] | 2023-10-05
SR.No. | Eq.No. | DESCRIPTION | Scope | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY 3PH/1PH | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH | REMARKS
3 | CT-03 | COLD BAIN MARIE WITH 5Nos. 1/9 GN PAN WORKING SPACE | Kitchen Equipment | FABRICATED | 700 x 525 x 900 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
4 | CT-04 | SS TABLE TOP ELECATRICAL HOT PLATE FLUSHED WITH COUNTER | karma | STD | 550 x 430 x 240 | 2 | 1PH | 3 | 6 | 32 Amp | Metal Clad
5 | CT-05 | EXHAUST CHIMNEY CEILING MOUNTED | Kitchen Equipment | MAGLIO SLATE | 600 x 510 x 670 | 2 | 1HP | 1 | 2 | 5 / 15 Amp | Switch Socket
7 | CT-07 | PANASONIC OTG OVEN-32LTRS - |  | PANASONIC - NB-H3200S 32-LTR | 520 x 330 x 360 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
8 | CT-08 | SINGLE DOOR UNDER COUNTER FREEZER-172 Ltrs. | Kitchen Equipment | HOSHIZAKI-FTW-70 | 702 x 765 x 850 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
10 | CT-10 | SINGLE BASKET DEEP FAT FRYER TABLE MOUNTED-6 Ltrs. Cap | Kitchen Equipment | KARMA-GF-6SE/GF-6SC | 330 x 500 x 280+120 | 2 | 3PH | 2.5 | 5 | 32 | Metal Clad
11 | CT-11 | EXHAUST CHIMNEY CEILING MOUNTED | Kitchen Equipment | MAGLIO SLATE | 900 x 510 x 670 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
12 | CT-12 | SINGLE DOOR UNDER COUNTER FREEZER-172 Ltrs. | Kitchen Equipment | HOSHIZAKI-FTW-70 | 702 x 765 x 850 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
14 | CT-14 | TABLE MOUNTED SINK | Interior Vendor |  | 380 x 330 x 150Ht. | 1
16 | CT-16 | VISI COOLER TABLE TOP | Kitchen Equipment | SOE | 474 x 462 x 664Ht. | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
19