## PLUMBING
BILL OF QUANTITIES FOR PLUMBING WORKS
| #REF! |  |  |  |  | #REF!
SR. NO. | MATERIAL | DESCRIPTION | UNIT | PO QTY | RATE | AMOUNT | Remarks
MATERIAL DESCRIPTION
A |  | WATER SUPPLY PIPES | [5 empty] | MATERIAL DESCRIPTION WATER SUPPLY PIPES
1 | CPVC Pipes (RO WATER & RAW WATER) | Supply, laying, testing & commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia, jointing with CPVC solvent cement of medium body IPS brand or equivalent conform. | [5 empty] | MATERIAL CPVC Pipes (RO WATER & RAW WATER) DESCRIPTION Supply, laying, testing & commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia, jointing with CPVC solvent cement of medium body IPS brand or equivalent conform.
a |  | 15mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 15mm dia
b |  | 20mm dia | Rmt | 40 |  | 0 |  | MATERIAL DESCRIPTION 20mm dia
c |  | 25mm dia | Rmt | 10 |  | 0 |  | MATERIAL DESCRIPTION 25mm dia
d |  | 32mm dia | Rmt | 25 |  | 0 |  | MATERIAL DESCRIPTION 32mm dia
e |  | 40mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 40mm dia
MATERIAL DESCRIPTION
2 | CPVC Pipes (HOT WATER) WITH Thermal Insulation | Supply, laying, testing & commissioning of CPVC - Schedule 80 (ASTM F 441) Pipes and fittings suitable for Domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg/cm2 and conforming to latest Indian / International Standards. WITH Supply & Covering (Thermal Insulation) hot water pipes with 6 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg/cm2 and "K" valve not more than 0.034 w/m Deg. K @ 20 Deg C mean temperature. | [5 empty] | MATERIAL CPVC Pipes (HOT WATER) WITH Thermal Insulation DESCRIPTION Supply, laying, testing & commissioning of CPVC - Schedule 80 (ASTM F 441) Pipes and fittings suitable for Domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg/cm2 and conforming to latest Indian / International Standards. WITH Supply & Covering (Thermal Insulation) hot water pipes with 6 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg/cm2 and "K" valve not more than 0.034 w/m Deg. K @ 20 Deg C mean temperature.
a |  | 15mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 15mm dia
b |  | 20mm dia | Rmt | 30 |  | 0 |  | MATERIAL DESCRIPTION 20mm dia
c |  | 25mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 25mm dia
d |  | 32mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 32mm dia
e |  | 40mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 40mm dia
MATERIAL DESCRIPTION
4 | Booster Pump - Crompton & Greaves/ KIRLOSKER | Supply, Installation, Commissioning & Testing for Booster Pump WITH FLOW SWITCH GRAVITATIONAL FLOW (top to bottom flow) with both side Sensor operations- A) 3CUM PER HR. B) HEAD: 25M, C) PHASE: SINGLE PHASE, D) PROTECTION: IP55, E) MONOBLOCK TYPE | [5 empty] | MATERIAL Booster Pump - Crompton & Greaves/ KIRLOSKER DESCRIPTION Supply, Installation, Commissioning & Testing for Booster Pump WITH FLOW SWITCH GRAVITATIONAL FLOW (top to bottom flow) with both side Sensor operations- A) 3CUM PER HR. B) HEAD: 25M, C) PHASE: SINGLE PHASE, D) PROTECTION: IP55, E) MONOBLOCK TYPE
a |  | 0.5 HP | Nos. | 2 |  | 0 |  | MATERIAL DESCRIPTION 0.5 HP
b |  | 1.0 HP | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 1.0 HP
c |  | 1.5 HP | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 1.5 HP
MATERIAL DESCRIPTION
4 | Booster Pump - Crompton & Greaves/ KIRLOSKER/ GRUD FOS | Supply, Installation, Commissioning & Testing for HYDROPNEUMATIC Booster Pump WITH FLOW SWITCH with pressure vessel (AGINST GRAVITY/bottom to top flow) with both side Sensor operations (60ltr vessel) with both side Sensor operations- A) 3CUM PER HR. B) HEAD: 40M, C) PHASE: SINGLE PHASE, D) PROTECTION: IP55, E) MONOBLOCK TYPE F) WITH VALVE STATION | [5 empty] | MATERIAL Booster Pump - Crompton & Greaves/ KIRLOSKER/ GRUD FOS DESCRIPTION Supply, Installation, Commissioning & Testing for HYDROPNEUMATIC Booster Pump WITH FLOW SWITCH with pressure vessel (AGINST GRAVITY/bottom to top flow) with both side Sensor operations (60ltr vessel) with both side Sensor operations- A) 3CUM PER HR. B) HEAD: 40M, C) PHASE: SINGLE PHASE, D) PROTECTION: IP55, E) MONOBLOCK TYPE F) WITH VALVE STATION
|  | 1.5HP | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 1.5HP
MATERIAL DESCRIPTION
B |  | WATER DRAIN PIPES | [5 empty] | MATERIAL DESCRIPTION WATER DRAIN PIPES
1 | CI Class Pipes (WASTE PIPE) | Supply, Laying , Testing & Commissioning of CI (Cast Iron) CLASS Pipes Conforming to IS 3114 : 1994 and Fittings Conforming to IS 1538 (1993), Cutting the Pipes to required Lengths, Laying in position to required Grade & Level , Jointing , Making holes , Pockets , chases in. | [5 empty] | MATERIAL CI Class Pipes (WASTE PIPE) DESCRIPTION Supply, Laying , Testing & Commissioning of CI (Cast Iron) CLASS Pipes Conforming to IS 3114 : 1994 and Fittings Conforming to IS 1538 (1993), Cutting the Pipes to required Lengths, Laying in position to required Grade & Level , Jointing , Making holes , Pockets , chases in.
a |  | 150mm dia | Rmt |  |  | 0 |  | MATERIAL DESCRIPTION 150mm dia
b |  | 100mm dia | Rmt | 15 |  | 0 |  | MATERIAL DESCRIPTION 100mm dia
c |  | 75mm dia | Rmt | 10 |  | 0 |  | MATERIAL DESCRIPTION 75mm dia
d |  | 50mm dia | Rmt | 20 |  | 0 |  | MATERIAL DESCRIPTION 50mm dia
MATERIAL DESCRIPTION
2 | PVC WASTE PIPE FOR WASH ROOM | PVC Plastic Pipe , Schedule 40,80,120 ( ASTM D1785 ) | [5 empty] | MATERIAL PVC WASTE PIPE FOR WASH ROOM DESCRIPTION PVC Plastic Pipe , Schedule 40,80,120 ( ASTM D1785 )
a | 25mm | Drain for ac line | Rmt |  |  | 0 |  | MATERIAL 25mm DESCRIPTION Drain for ac line
b | 50mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 50mm DESCRIPTION Company Make - Prince , Finolex
c | 75mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 75mm DESCRIPTION Company Make - Prince , Finolex
d | 100mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 100mm DESCRIPTION Company Make - Prince , Finolex
e | 150mm | Company Make - Prince, Finolex (Basement Suspended Pipe) | Rmt |  |  | 0 |  | MATERIAL 150mm DESCRIPTION Company Make - Prince, Finolex (Basement Suspended Pipe)
MATERIAL DESCRIPTION
f | Drain | Drainage : Exacavation & SITC of 150mm (Underground) PVC Waste Pipe Make: Prince Finolex | Rmt |  |  | 0 |  | MATERIAL Drain DESCRIPTION Drainage : Exacavation & SITC of 150mm (Underground) PVC Waste Pipe Make: Prince Finolex
MATERIAL DESCRIPTION
3 | UPVC PIPE | UPVC Plastic Pipe , Schedule 40,80,120 (ASTM D1785 ) | [5 empty] | MATERIAL UPVC PIPE DESCRIPTION UPVC Plastic Pipe , Schedule 40,80,120 (ASTM D1785 )
a | 40mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 40mm DESCRIPTION Company Make - Prince , Finolex
b | 50mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 50mm DESCRIPTION Company Make - Prince , Finolex
c | 75mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 75mm DESCRIPTION Company Make - Prince , Finolex
d | 100mm | Company Make - Prince , Finolex | Rmt |  |  | 0 |  | MATERIAL 100mm DESCRIPTION Company Make - Prince , Finolex
MATERIAL DESCRIPTION
C |  | CHAMBER & GRATING | [5 empty] | MATERIAL DESCRIPTION CHAMBER & GRATING
1 | DRAINAGE CHAMBER & COVER | Constructing Inspection chamber in 100mm thick Brick Wall, WATER PROOFING with Plaster. TILE EXTRA TO BE PAID | [5 empty] | MATERIAL DRAINAGE CHAMBER & COVER DESCRIPTION Constructing Inspection chamber in 100mm thick Brick Wall, WATER PROOFING with Plaster. TILE EXTRA TO BE PAID
a | Internal | 300mm x 300mm | Nos. |  |  | 0 |  | MATERIAL Internal DESCRIPTION 300mm x 300mm
b | Internal | 450mm x 450mm | Nos. |  |  | 0 |  | MATERIAL Internal DESCRIPTION 450mm x 450mm
c | External | 450mm x 900mm (with Excavation, C.I. Cover & frame) | Nos. |  |  | 0 |  | MATERIAL External DESCRIPTION 450mm x 900mm (with Excavation, C.I. Cover & frame)
MATERIAL DESCRIPTION
2 | GULLY TRAP | Constructing Gully trap in 100mm thick Brick Wall with Plaster wih top cover. | [5 empty] | MATERIAL GULLY TRAP DESCRIPTION Constructing Gully trap in 100mm thick Brick Wall with Plaster wih top cover.
a | GULLY TRAP | 300mm x 300mm | Nos. |  |  | 0 |  | MATERIAL GULLY TRAP DESCRIPTION 300mm x 300mm
MATERIAL DESCRIPTION
3 | GRATING | Providing & Fixing 20mm heavy quality SS Grating along with Perforated Mesh & Angle Frame as per Size , Drawings. Weight not more than 60kg. Rate inclusive of chamber construction | [5 empty] | MATERIAL GRATING DESCRIPTION Providing & Fixing 20mm heavy quality SS Grating along with Perforated Mesh & Angle Frame as per Size , Drawings. Weight not more than 60kg. Rate inclusive of chamber construction
3.01 |  | 200mm width | [5 empty] | MATERIAL DESCRIPTION 200mm width
a |  | 900mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 900mm X 200mm with SS Perforated Jali. (Grating Set)
b |  | 600mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 600mm X 200mm with SS Perforated Jali. (Grating Set)
c |  | 300mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 300mm X 200mm with SS Perforated Jali. (Grating Set)
d |  | 200mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. | 6 |  | 0 |  | MATERIAL DESCRIPTION 200mm X 200mm with SS Perforated Jali. (Grating Set)
3.02 |  | 300mm width | [5 empty] | MATERIAL DESCRIPTION 300mm width
a |  | 900mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 900mm X 300mm with SS Perforated Jali. (Grating Set)
b |  | 600mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 600mm X 300mm with SS Perforated Jali. (Grating Set)
c |  | 300mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. | 4 |  | 0 |  | MATERIAL DESCRIPTION 300mm X 300mm with SS Perforated Jali. (Grating Set)
d |  | 200mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 200mm X 300mm with SS Perforated Jali. (Grating Set)
3.03 |  | 450mm width | [5 empty] | MATERIAL DESCRIPTION 450mm width
a |  | 600mm X 450mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 600mm X 450mm with SS Perforated Jali. (Grating Set)
b |  | 450mm X 450mm with SS Perforated Jali. (Grating Set) | Nos. | 1 |  | 0 |  | MATERIAL DESCRIPTION 450mm X 450mm with SS Perforated Jali. (Grating Set)
c |  | 300mm X 450mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 300mm X 450mm with SS Perforated Jali. (Grating Set)
d |  | 200mm X 450mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 200mm X 450mm with SS Perforated Jali. (Grating Set)
MATERIAL DESCRIPTION
3.04 |  | 600mm width | [5 empty] | MATERIAL DESCRIPTION 600mm width
a |  | 600mm X 600mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 600mm X 600mm with SS Perforated Jali. (Grating Set)
MATERIAL DESCRIPTION
3.05 |  | 1200mm X 200mm with SS Perforated Jali. (Grating Set) | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 1200mm X 200mm with SS Perforated Jali. (Grating Set)
3.06 |  | 1200mm X 300mm with SS Perforated Jali. (Grating Set) | Nos. | 1 |  | 0 |  | MATERIAL DESCRIPTION 1200mm X 300mm with SS Perforated Jali. (Grating Set)
MATERIAL DESCRIPTION
4 | GRATING | Providing & Fixing 25 x 25 x 3mm thick SS Angle Frame for open drains. As per Size , Drawings. Ready to receive kota. | [5 empty] | MATERIAL GRATING DESCRIPTION Providing & Fixing 25 x 25 x 3mm thick SS Angle Frame for open drains. As per Size , Drawings. Ready to receive kota.
4.01 |  | 560mm X upto 125mm | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 560mm X upto 125mm
4.02 |  | 560mm X from 130mm upto 200mm | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 560mm X from 130mm upto 200mm
4.03 |  | 560mm X from 205mm upto 300mm | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 560mm X from 205mm upto 300mm
4.04 |  | 200mm X 200mm | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 200mm X 200mm
MATERIAL DESCRIPTION
5 | PORTABLE GREASE TRAP | Fixing of Portable SS grease trap / 3 bowl sink as per drg. | Nos. | 1 |  | 0 |  | MATERIAL PORTABLE GREASE TRAP DESCRIPTION Fixing of Portable SS grease trap / 3 bowl sink as per drg.
MATERIAL DESCRIPTION
5.01 |  | Bush for portable grease trap | Nos. | 2 |  |  |  | MATERIAL DESCRIPTION Bush for portable grease trap
MATERIAL DESCRIPTION
6 | INTERNAL GREASE TRAP | Construction of grease trap with SS cover (2'-6'' x 3'-6" x upto 3'-0" deep) - inside the store as per drawing. Rate includes SS angles of 50 x 50 x 6mm as frame; SS cover on frame made by 50 x 50 SS Pipes @ maximum 15" c/c, covered with SS Sheet. Inclusive of fabricated SS 'T' sections made as per detailed drawings (3mm thick) for mounting grease trap partitions. Internal tiling & plaster to be paid seperately. | Nos. |  |  | 0 |  | MATERIAL INTERNAL GREASE TRAP DESCRIPTION Construction of grease trap with SS cover (2'-6'' x 3'-6" x upto 3'-0" deep) - inside the store as per drawing. Rate includes SS angles of 50 x 50 x 6mm as frame; SS cover on frame made by 50 x 50 SS Pipes @ maximum 15" c/c, covered with SS Sheet. Inclusive of fabricated SS 'T' sections made as per detailed drawings (3mm thick) for mounting grease trap partitions. Internal tiling & plaster to be paid seperately.
MATERIAL DESCRIPTION
7 | EXTERNAL GREASE TRAP | Construction of grease trap with SS cover (2'-6'' x 3'-6" x upto 3'-0" deep) - outside the store as per drawing. Rate includes MS angles of 50 x 50 x 6mm as frame; MS cover on frame made by 50 x 50 MS Pipes @ maximum 15" c/c, covered with MS chequered plate. Inclusive of fabricated MS 'T' sections made as per detailed drawings (3mm thick) for mounting grease trap partitions. Internal tiling & plaster to be paid seperately. | Nos. |  |  | 0 |  | MATERIAL EXTERNAL GREASE TRAP DESCRIPTION Construction of grease trap with SS cover (2'-6'' x 3'-6" x upto 3'-0" deep) - outside the store as per drawing. Rate includes MS angles of 50 x 50 x 6mm as frame; MS cover on frame made by 50 x 50 MS Pipes @ maximum 15" c/c, covered with MS chequered plate. Inclusive of fabricated MS 'T' sections made as per detailed drawings (3mm thick) for mounting grease trap partitions. Internal tiling & plaster to be paid seperately.
MATERIAL DESCRIPTION
D |  | NAHNI TRAP | [5 empty] | MATERIAL DESCRIPTION NAHNI TRAP
1 | Nahani Trap ( CI 75mm ) | Supply, Laying, Testing & Commissioning of Approved CI (Cast Iron) CLASS pipes Nahani - Floor Trap with Approved Make leavy Duty round or Square SS Grating etc. Complete. | Nos. |  |  | 0 |  | MATERIAL Nahani Trap ( CI 75mm ) DESCRIPTION Supply, Laying, Testing & Commissioning of Approved CI (Cast Iron) CLASS pipes Nahani - Floor Trap with Approved Make leavy Duty round or Square SS Grating etc. Complete.
MATERIAL DESCRIPTION
2 | Nahani Trap (PVC 75mm ) | Supply, Laying, Testing & Commissioning of Approved SS Nahani TRAP WITH Floor Trap & COCKROACH JAALI with Approved Make heavy duty round or Square Grating etc. Complete. | Nos. |  |  | 0 |  | MATERIAL Nahani Trap (PVC 75mm ) DESCRIPTION Supply, Laying, Testing & Commissioning of Approved SS Nahani TRAP WITH Floor Trap & COCKROACH JAALI with Approved Make heavy duty round or Square Grating etc. Complete.
MATERIAL DESCRIPTION
E |  | CP FIXTURES & BRASS VALVES -Jaquar (only continental series) | [5 empty] | MATERIAL DESCRIPTION CP FIXTURES & BRASS VALVES -Jaquar (only continental series)
MATERIAL DESCRIPTION
1 | Angle Cock | P/F Angle Cock. | Nos. | 20 |  | 0 |  | MATERIAL Angle Cock DESCRIPTION P/F Angle Cock.
MATERIAL DESCRIPTION
2 | Sink Mixer Wall Mounted | P/F Sink Mixer, Swinging Casted Spout. | Nos. | 4 |  | 0 |  | MATERIAL Sink Mixer Wall Mounted DESCRIPTION P/F Sink Mixer, Swinging Casted Spout.
MATERIAL DESCRIPTION
3 | Sink Mixer table Mounted | P/F Sink Mixer, Swinging Casted Spout. | Nos. | 3 |  | 0 |  | MATERIAL Sink Mixer table Mounted DESCRIPTION P/F Sink Mixer, Swinging Casted Spout.
MATERIAL DESCRIPTION
4 | Long Neck Bib Cock | P/F Long Neck Bib Cock with wall Flange. Make- Jaquar | Nos. | 5 |  | 0 |  | MATERIAL Long Neck Bib Cock DESCRIPTION P/F Long Neck Bib Cock with wall Flange. Make- Jaquar
MATERIAL DESCRIPTION
5 | Bib Cock | Providing & Fixing Bib Cock chrome finish with wall Flange. | Nos. | 4 |  | 0 |  | MATERIAL Bib Cock DESCRIPTION Providing & Fixing Bib Cock chrome finish with wall Flange.
MATERIAL DESCRIPTION
6 | Sink Pillar Cock | P/F Sink Pillar cock with swinging casted spout. | Nos. | 4 |  | 0 |  | MATERIAL Sink Pillar Cock DESCRIPTION P/F Sink Pillar cock with swinging casted spout.
MATERIAL DESCRIPTION
7 | Sink Cock | P/F Fixed Sink Cock. | Nos. | 3 |  | 0 |  | MATERIAL Sink Cock DESCRIPTION P/F Fixed Sink Cock.
MATERIAL DESCRIPTION
8 | Pillar Cock | P/F Tall Pillar Cock for counter flush basin. | Nos. | 3 |  | 0 |  | MATERIAL Pillar Cock DESCRIPTION P/F Tall Pillar Cock for counter flush basin.
MATERIAL DESCRIPTION
9 | Pneumatic Push Cock | P/F Pneumatic push cock. | Nos. | 1 |  | 0 |  | MATERIAL Pneumatic Push Cock DESCRIPTION P/F Pneumatic push cock.
MATERIAL DESCRIPTION
10 | Foot Paddle Operated Faucet | Foot Paddle Operated Faucet. (Below Hand Wash) | Nos. | 2 |  | 0 |  | MATERIAL Foot Paddle Operated Faucet DESCRIPTION Foot Paddle Operated Faucet. (Below Hand Wash)
MATERIAL DESCRIPTION
11 | Flush Valve | Dual press | [5 empty] | MATERIAL Flush Valve DESCRIPTION Dual press
|  | P/F open Flush valve. | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION P/F open Flush valve.
|  | P/F open Flush tank. | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION P/F open Flush tank.
MATERIAL DESCRIPTION
12 | Health Faucet | P/F CP Health Faucet with 1m long CP Flexible Tube with wall Hook. Make- Jaquar | Nos. |  |  | 0 |  | MATERIAL Health Faucet DESCRIPTION P/F CP Health Faucet with 1m long CP Flexible Tube with wall Hook. Make- Jaquar
MATERIAL DESCRIPTION
13 | 2 in 1 Bib Cock | P/F 2 in 1 bib cock in washrooms for mounting Health Faucet. Health faucet to be paid for separetly. | Nos. |  |  | 0 |  | MATERIAL 2 in 1 Bib Cock DESCRIPTION P/F 2 in 1 bib cock in washrooms for mounting Health Faucet. Health faucet to be paid for separetly.
MATERIAL DESCRIPTION
14 | Bottle Trap | Providing & fixing 32mm CP finished Bottle Trap with wall flanges. | Nos. | 10 |  | 0 |  | MATERIAL Bottle Trap DESCRIPTION Providing & fixing 32mm CP finished Bottle Trap with wall flanges.
MATERIAL DESCRIPTION
15 | Waste Coupling | Providing Waste Coupling 32mm size full thread waste coupling to be use. | Nos. | 10 |  | 0 |  | MATERIAL Waste Coupling DESCRIPTION Providing Waste Coupling 32mm size full thread waste coupling to be use.
MATERIAL DESCRIPTION
16 | Ball Valves (Brass) | Providing & Fixing Ball Valve ISI mark. (For Inlet) | [5 empty] | MATERIAL Ball Valves (Brass) DESCRIPTION Providing & Fixing Ball Valve ISI mark. (For Inlet)
a |  | 15mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 15mm dia
b |  | 20mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 20mm dia
c |  | 25mm dia | Nos. | 2 |  | 0 |  | MATERIAL DESCRIPTION 25mm dia
d |  | 32mm dia | Nos. | 1 |  | 0 |  | MATERIAL DESCRIPTION 32mm dia
e |  | 40mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 40mm dia
MATERIAL DESCRIPTION
16A | Ball Valves (CPVC) | Providing & Fixing Ball Valve ISI mark. (For Inlet) | [5 empty] | MATERIAL Ball Valves (CPVC) DESCRIPTION Providing & Fixing Ball Valve ISI mark. (For Inlet)
a |  | 15mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 15mm dia
b |  | 20mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 20mm dia
c |  | 25mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 25mm dia
d |  | 32mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 32mm dia
e |  | 40mm dia | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 40mm dia
MATERIAL DESCRIPTION
17 | Non Return Valves (NRV)- Brass | Providing & Fixing Brass Non Return Vavles of ISI mark. Rates are for BRASS valves | [5 empty] | MATERIAL Non Return Valves (NRV)- Brass DESCRIPTION Providing & Fixing Brass Non Return Vavles of ISI mark. Rates are for BRASS valves
a |  | 25mm | Nos |  |  | 0 |  | MATERIAL DESCRIPTION 25mm
b |  | 32mm | Nos |  |  | 0 |  | MATERIAL DESCRIPTION 32mm
c |  | 40mm | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 40mm
MATERIAL DESCRIPTION
18 | Drainage Valve | P & F ball valve below 3 bowl sink & veg pre & RO sink - 75mm dia | Nos. | 5 |  | 0 |  | MATERIAL Drainage Valve DESCRIPTION P & F ball valve below 3 bowl sink & veg pre & RO sink - 75mm dia
MATERIAL DESCRIPTION
E |  | ACCESSORIES / MISCELLANEOUS | [5 empty] | MATERIAL DESCRIPTION ACCESSORIES / MISCELLANEOUS
MATERIAL DESCRIPTION
1 | Flexible Water Pipe | Providing Flexible water pipe to connect Angle Valve to faucet | Nos. | 20 |  | 0 |  | MATERIAL Flexible Water Pipe DESCRIPTION Providing Flexible water pipe to connect Angle Valve to faucet
MATERIAL DESCRIPTION
2 | Flexible Pipe | Pre rinse spray valve & spray. | Nos. |  |  | 0 |  | MATERIAL Flexible Pipe DESCRIPTION Pre rinse spray valve & spray.
MATERIAL DESCRIPTION
3 | Water Indicator | Providing water level Indicator for In Raw tank & RO water tank with gauge Glass Cock. In BOH Area. | Nos. | 1 |  | 0 |  | MATERIAL Water Indicator DESCRIPTION Providing water level Indicator for In Raw tank & RO water tank with gauge Glass Cock. In BOH Area.
MATERIAL DESCRIPTION
4 | Water Indicator | P/F water level Indicator on terrace water tank by means of a transparent clear tube fixed along height of the water tank hence making water level visible | Nos. |  |  | 0 |  | MATERIAL Water Indicator DESCRIPTION P/F water level Indicator on terrace water tank by means of a transparent clear tube fixed along height of the water tank hence making water level visible
MATERIAL DESCRIPTION
5 | Flexible Waste Pipe | P/F flexible PVC waste pipe on wash basin / sink drains | Nos. | 10 |  | 0 |  | MATERIAL Flexible Waste Pipe DESCRIPTION P/F flexible PVC waste pipe on wash basin / sink drains
MATERIAL DESCRIPTION
6 | Installation of Equipment- Plumbing Scope | Installation of plumbing fixtures & kitchen equipment provided by client with new hardware as required- PLUMBING SCOPE | Job | 1 |  | 0 |  | MATERIAL Installation of Equipment- Plumbing Scope DESCRIPTION Installation of plumbing fixtures & kitchen equipment provided by client with new hardware as required- PLUMBING SCOPE
MATERIAL DESCRIPTION
MATERIAL DESCRIPTION
F |  | BOILERS & GEYSERS | [5 empty] | MATERIAL DESCRIPTION BOILERS & GEYSERS
MATERIAL DESCRIPTION
1 | Boiler Storage | Providing & Supplying boiler with Mounting Bolts etc. | [5 empty] | MATERIAL Boiler Storage DESCRIPTION Providing & Supplying boiler with Mounting Bolts etc.
a |  | 35 Liter | Nos. | 1 |  | 0 |  | MATERIAL DESCRIPTION 35 Liter
b |  | 25 Liter | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION 25 Liter
MATERIAL DESCRIPTION
2 | Geyser Storage | [6 empty] | MATERIAL Geyser Storage DESCRIPTION
b |  | Providing & Supplying 6 Liters Geyser with Mounting Bolts etc. | Nos. | 1 |  | 0 |  | MATERIAL DESCRIPTION Providing & Supplying 6 Liters Geyser with Mounting Bolts etc.
MATERIAL DESCRIPTION
G |  | SANITARYWARE | [5 empty] | MATERIAL DESCRIPTION SANITARYWARE
MATERIAL DESCRIPTION
1 | Wash Basin | P/F Wash Basin as per specs | [5 empty] | MATERIAL Wash Basin DESCRIPTION P/F Wash Basin as per specs
|  | P/F Counter top Basin, Make & Size- PARRYWARE as per drawing | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION P/F Counter top Basin, Make & Size- PARRYWARE as per drawing
|  | P/F Under Counter Basin, Make & size- PARRYWARE as per drawing | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION P/F Under Counter Basin, Make & size- PARRYWARE as per drawing
|  | Corner Wash Basin | Nos. |  |  | 0 |  | MATERIAL DESCRIPTION Corner Wash Basin
MATERIAL DESCRIPTION
2 | WC Customer Toilet | P/F Wall hung EWC with Seat & Cover Make & size- PARRYWARE as per drawing | Nos. |  |  | 0 |  | MATERIAL WC Customer Toilet DESCRIPTION P/F Wall hung EWC with Seat & Cover Make & size- PARRYWARE as per drawing
MATERIAL DESCRIPTION
3 | Urinal Customer Toilet | P/F Wall Urinal with brackets. Make & size- PARRYWARE as per drawing | Nos. |  |  | 0 |  | MATERIAL Urinal Customer Toilet DESCRIPTION P/F Wall Urinal with brackets. Make & size- PARRYWARE as per drawing
4 | Urinal Pressomatic Flush Valve | P & F pressomatic type flush valve for urinals | Nos. |  |  | 0 |  | MATERIAL Urinal Pressomatic Flush Valve DESCRIPTION P & F pressomatic type flush valve for urinals
|  | TOTAL |  |  |  | 0