## Summary
Standard BOQ Template - TFS
Location: PH - ISHA - FF 027, RGIA, HYDERABAD |  | Date: 19.03.2024
ANNEXTURE A
SUMMARY SHEET
Sr. No. | Particulars | Amount (in Rs)
1 | Civil & Interiors | #REF!
2 | Plumbing | #REF!
3 | RO | #REF!
4 | Sprinkler | 0
5 | Electrical | #REF!
6 | Panels | #REF!
| TOTAL | #REF!
| SGST @ 9% | #REF!
| CGST @ 9% | #REF!
| GRAND TOTAL | #REF!
| Area | 1400
| Cost/sf | #REF!

## SPRINKLER
BILL OF QUANTITIES FOR SPRINKLER WORK
| Location: PH - ISHA - FF 027, RGIA, HYDERABAD |  |  |  | Date: 19.03.2024
SR. NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT | Remarks
1 | Providing, Laying, Jointing & Testing of Pipes for Sprinkler POINTS with GI Pipe confirming IS Codes 1239 Class `C' Heavy Pipe & with necessary support & anchore fastening from slab. With 2 coats of primer and 2 coats of fire red enamel paint as per standards and local norms- Pipe sizes as follows 25mm/32mm/40mm/50mm/65mm/80mm as specified in drawings. Vendor shall include cost for form 4A required for fire NOC in same works.
a. | 68 Degree pendent sprinkler points | nos |  |  | 0
b. | 68 degree upright sprinkler points including 300mm x 25 mm extention pipe piece | nos | 20 |  | 0
c. | 100 degree pendent sprinkler points | nos |  |  | 0
d. | 68 Degree consealed sprinkler points | nos |  |  | 0
e. | 68 Degree consealed sprinkler points with 1500mm lenghts flexible pipe and all required supports | nos | 20 |  | 0
f | Providing and fixing CP brass 79 deg Quartzoid Bulbsprinkler - Pendent type | No | 2 |  | 0
2 | Extention / shifting of existing sprinkler points upto 1 mtrs | Nos |  |  | 0
3 | Providing & Fixing of Butterfly Valve.
a. | 65 mm dia | No. |  |  | 0
b. | 80 mm dia | No. |  |  | 0
4 | Providing & Fixing of Ball Valve with pressure gauge.
a. | 25 mm dia | No. | 1 |  | 0
5 | HEADER FITTING.
a. | Flow Switch | No. | 1 |  | 0
b | Pressure Gauge | No. | 1 |  | 0
c | Air Release Valve | No. | 1 |  | 0
d | 65 mm dia NRV | No. |  |  | 0
e | 80 mm dia NRV | No. | 1 |  | 0
9 | Drain Valve | No. | 1 |  | 0 | 25mm.
10 | Sprinkler (GI Pipes)
a | 25 mm dia | Rmt | 38 |  | -
b | 32 mm dia | Rmt | 5 |  | -
c | 40 mm dia | Rmt | 12 |  | -
d | 50 mm dia | Rmt | 12 |  | -
e | 65 mm dia | Rmt | 4 |  | -
f | 80 mm dia | Rmt | 13 |  | 0
11 | FIRE EXTINGUISHERS
a | ABC type Fire extingusher (4.0 KG) | Nos | 0 |  | 0
b | K type Fire extingusher (6.0 KG) | Nos | 0 |  | 0
c | CO2 type Fire extingusher (4.5 KG) | Nos | 0 |  | 0
d | CA type Fire extingusher (5.0 KG) | Nos | 0 |  | 0
e | Moduler CA type Fire extingusher (5.0 KG) | Nos | 0 |  | 0
f | Tube based fire extinguisher (CO2) | Nos |  |  | 0
12 | FIRE SUPPRESSION
a | CONTROL PANEL,Power-AC220V, 2.5Amp UPS Supply. Switch & Plug.Around 1.5 m | Nos | 0 |  | 0
b | Chemical cylinder. | Nos | 0 |  | 0
c | Fire alrm | Nos | 0 |  | 0
d | Mnual pill station. | Nos | 0 |  | 0
e | Nozzle | Nos | 0 |  | 0
f | Heat sensing cable | Rmt |  |  | 0
g | Power signal cable. | Rmt |  |  | 0
h | 12.7 Dia. , 1.5 t. S.S pipe | Rmt |  |  | 0
Total |  |  |  |  | 0