## PANELS
BILL OF QUANTITIES FOR ELECTRICAL WORKS
| #REF! |  |  | #REF!
SR. NO. | DESCRIPTION | PO QTY | UNIT | RATE | AMOUNT | Remarks
1 | Installation of Main Panel and DBs at location as per layout (As per attached GA & Specs) supplied by client
A | PIZZA HUT | 1 | Nos |  | 0
2.01 | Supply,Installation,Testing & Commissioing of single/Three phase UPS with 20minute battery back-up online systems with 2 nos DP MCB in weather proof enclosures. 3KVA -single phase input and single phase output ups with 25A DP MCB and 25A DP MCB on input and output of ups. 6KVA - single phase input and single phase output ups with 40A DP MCB and 40A DP MCB on input and output of ups.
| 6 KVA Floor Mounted | 1 | Nos
| GRAND TOTAL |  |  |  | 0