## NT Item
HYD_FF25b_Cream stone_NT Item
S,N | Item Description | UOM | Length | Width | Height | Nos | Qty
1 | Plaster Work | SQFT |  |  |  |  | 884.043
| BOH Main Wall |  | 11.03 | 3.22 |  | 2 | 764.6014
| less Door |  | 0.98 | 2.52 |  | -2 | -53.1655
| BOH Side Wall |  | 3.1 | 3.22 |  | 2 | 214.8925
| less Door |  | 1.15 | 2.45 |  | -2 | -60.6551
| BOH Small Wall |  | 0.53 | 3.22 |  | 1 | 18.3698
2 | Lintel Work | [5 empty] | 21.36
| BOH Main Wall | RM | 7.05 |  |  | 2 | 14.1
| BOH Side Wall |  | 3.1 |  |  | 2 | 6.2
| BOH Small Wall |  | 0.53 |  |  | 2 | 1.06
3 | Screed upto 110mm - Floor Raised | SQFT |  |  |  |  | 431.006
| BOH | [5 empty] | 95.416
| FOH | [5 empty] | 335.59
4 | Bulhead Structure With MS Frame ( 50x50mm) With HDHMR Cladding | SQFT |  |  |  |  | 322.5971
| Right Side |  | 1.2 | 2.2 |  | 1 | 28.417
| Front Side |  | 11.7 | 1.7 |  | 1 | 214.096
| Left Side |  | 6.2 | 1.2 |  | 1 | 80.0842
5 | Metal Ceiling (600x600) | SQFT |  |  |  |  | 184.416
| FOH | [5 empty] | 89
| BOH | [5 empty] | 95.416
6 | Providing and Cladding of approved shade and make of designer tile with the required adhasive for laying of tiles - Additional Cost as per approved By TFS - CNC Cut 3D Pattern with PU Paint - Cost Difference | SQFT |  |  |  |  | 84.7987
| RHS Wall Counter |  | 1240 | 600 |  | 1 | 8.0086
LHS Wall Counter
| Part -1 |  | 2220 | 600 |  | 1 | 14.338
| Part -2 |  | 950 | 220 |  | 1 | 2.2497
Front Counter
| Part -1 |  | 1690 | 220 |  | 1 | 4.0022
| part -2 |  | 6620 | 600 |  | 1 | 42.7557
| part -3 |  | 2050 | 220 |  | 1 | 4.8547
| part -4 |  | 1330 | 600 |  | 1 | 8.5899
7 | SS Skirting - 100 mm Height | RM |  |  |  |  | 16.44
| Left Side |  | 1.64 |  |  |  | 1.64
| Front Side |  | 11.67 |  |  |  | 11.67
| Right Side |  | 3.13 |  |  |  | 3.13
8 | OverHead Strorage with Shutter in ply over laminate | SQFT |  |  |  |  | 62.6372
| BOH Wall |  | 5060 | 1150 |  | 1 | 62.6372
9 | Black Laminate with HDHMR base | SQFT |  |  |  |  | 34.4316
| Front Face |  | 11030 | 150 |  | 1 | 17.8095
| Top Face |  | 11030 | 70 |  | 1 | 8.3111
| Bottom Face |  | 11030 | 70 |  | 1 | 8.3111
10 | Acrylic Rectangular Tube base cladding with PU Paint Finish | SQFT |  |  |  |  | 256.6071
| bulkhead area | [5 empty] | 322
| left Side |  | 25 | 2200 |  | -11 | -6.5124
| Front Side |  | 25 | 1700 |  | -92 | -42.0883
| Right Side |  | 25 | 1200 |  | -52 | -16.7922
12 | Wooden Rafter - 127x50 mm with profile light | RM |  |  |  |  | 17.98
| Rafter No -1 |  | 1.35 |  |  |  | 1.35
| Rafter No -2 |  | 1.63 |  |  |  | 1.63
| Rafter No -3 |  | 2.41 |  |  |  | 2.41
| Rafter No -4 |  | 3.17 |  |  |  | 3.17
| Rafter No -5 |  | 3.15 |  |  |  | 3.15
| Rafter No -6 |  | 3.15 |  |  |  | 3.15
| Rafter No -7 |  | 3.12 |  |  |  | 3.12
13 | Door with frame and hardware | No |  |  |  |  | 2
| BOH - 1000x2400 |  | 1 |  |  |  | 1
| FOH -900x2400 |  | 1 |  |  |  | 1
14 | Wall Tiles - FOH Wall 200X300 White Tile - Johnson | SQFT |  |  |  |  | 446.9322
| Wall -1 |  | 5390 | 3200 |  | 1 | 185.662
| less Door |  | 2400 | 900 |  | -1 | -23.2508
| Wall -2 |  | 2770 | 3200 |  | 1 | 95.4144
| less Door |  | 2400 | 1000 |  | -1 | -25.8342
| Wall -3 |  | 5730 | 3200 |  | 1 | 197.3735
| Wall -4 |  | 510 | 3200 |  | 1 | 17.5673
15 | Guard Rail - 38 mm SS Pipe | RM |  |  |  |  | 18.58
| Left Side |  | 1.76 |  |  |  | 1.76
| Front Side |  | 11.82 |  |  |  | 11.82
| Right Side |  | 5 |  |  |  | 5
16 | MS Pillar Cladding with 12mm Sheet with Laminate | SQFT |  |  |  |  | 29.9677
| Laminate Cladding |  | 800 | 1160 |  | 3 | 29.9677
17 | MS Pillar Cladding with 12mm Sheet with Laminate | SQFT |  |  |  |  | 47.535
| Only cladding |  | 800 | 1840 |  | 3 | 47.535
18 | Linear Profile Light - Supply & Installation | RM |  |  |  |  | 38.1
| Black Tile |  | 22 |  |  |  | 22
| Counter |  | 16.1 |  |  |  | 16.1
19 | Bottle Trap | Nos | 1 |  |  |  | 1
20 | Back Paneling - HDHMR - above MS Structure | SQM |  |  |  |  | 8.49
| Right Side |  | 1.2 | 2.2 |  | 1 | 2.64
| Front Side |  | 11.7 | 0.5 |  | 1 | 5.85
21 | Sprinkler Flexible Pipe - 1500mm | Nos | 5 |  |  |  | 5
22 | Sink Mixture | Nos | 2 |  |  |  | 2 | Parryware:T5003A1 Swan neck pillar Cock
23 | Supply, Installation, Testing, and Commissioning of Addressable Type Monitor Module
| Monitor Module | Nos | 1 |  |  |  | 1
24 | Supply, Installation, Testing, and Commissioning of Addressable Type Control Module for shutting down FCU’s, and magnetic fire door holders. Elevator recall, fire damper, pressurization fan, strobes etc
| Control Module | Nos | 1 |  |  |  | 1
25 | Supply, Installation, Testing, and Commissioning of Addressable Type Isolation Module
| Isolation Module | Nos | 1 |  |  |  | 1
FIRE ALARM SYSTEM - CABLING
26 | Supply and surface laying of armoured FRLS twisted pair, shielded cable.
| 2 core 1.5 Sqmm | Mtr | 220 |  |  |  | 220
27 | Paint Work | SFT | 412.64 |  |  |  | 412.6435
| Bulkhead -FOH back side |  | 577 | 16440 |  | 1 | 102.1085
| FOH - Gypsum Ceiling | [5 empty] | 263
| MS Pillar Cladding |  | 800 | 1840 |  | 3 | 47.535
28 | HANGING LIGHT - Installation Only | Nos. | 5 |  |  |  | 5
29 | DOWN LIGHT COB LIGHT - Installation Only | Nos. | 10 |  |  |  | 10