## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
A | Civil Works
2 | Area Dado Tiling Description Providing and fixing subway tiles 100x400mm – super glossy tiles dado with appropriate tile adhesive , filled with epoxy grey grouting. As per drawings and design Dimensions in inches and feet 1’6” 4” | Lm | 90
3 | Area Floor Tiles Description Providing and fixing of floor tiles (vitrified). Dimensions in inches and feet | sft | 73
B | Furniture Works
1 | Area Counter Description Providing and fixing of Corian material - 6mm on front and counter top. Dimensions in inches and feet 8 ft X 18"- inches | no | 1
2 | Area Counter Description Providing and fixing of Curved Fluted panel with lacquer finish under Corian, creating 2 inch space to highlight panels with cove light, Dimensions in inches and feet 3’0” 2’0” 8 ft X 18 Inches | no | 1
3 | Area Wicket Door Description Providing the same fluted panels and Corian material matching the Counter to create a flap door with or without Flap counter Dimensions in inches and feet 3’0” 2’0” | no | 1
4 | Area Shelves Description wood storage or Dimensions 2.5Feet X 5.5" | sft | 13.5
5 | Area Cabinet Description Providing and fixing of Plywood cabinet made of 19mm thick plywood. Inside white laminate and outer laminate as per clients request. Cabinets as per drawings Dimensions 3 ft X 8 ft feet | sft | 24
6 | Area Electrical Panel board Description Providing and fixing of Cupboard made out of comm. Plywood for electrical panel board, As per drawings Dimensions 2X3 feet | sft | 6
C | Electrical works
1 | Area Electrical points Description Providing and fixing of extra conduits with wiring , data networking , voice , cctv with water proof sleeves and open conduits Dimensions in inches and feet 10’9” 2’0” 3’0” | no | 1
7 | Area Description D.B to have 64 amps MCBs Dimensions in inches and feet | nos | 1
8 | Area Light fixtures Description Ambient Light Dimensions in inches and feet | nos | 20
9 | Area Description Focus light / track lighting for menu board Dimensions in inches and feet | nos | 6
F | Miscellaneous
1 | Area Paint Description Providing and applying Enamel matte finish paint on all metal surfaces. (Color to be finalised as work progresses. Brand to be Asian paints) Dimensions in inches and feet 500 | sft | 700
2 | Area MDF CNC Description Providing and fixing of MDF CNC cut design with red paint finish / lacquer finish as back drop for signage. As per design Dimensions in inches and feet | sft | 24
2 | Area Description MS Frame work for creating the walls and ceiling 2"by 2" MS Pipe Dimensions in inches and feet | sft | 360