## Sheet1
Pikture Perfect Design Studio Pvt. Ltd.
406-A , Dhanlaxmi Apt., Upper Govind Nagar, Malad East, Mumbai- 400097.
|  |  |  | Date: | 2024-10-09
|  |  |  | Ref. No.: | 012/24-25
Subject : BOQ for clearing snag list
Sr. No. | Item Description | Units | Qty. | Rate/Unit | Amount
1 | Packing of Gap between LED TV and panelling with fire retartdant ply boxing and finishing the same with black paint. - 8”x4”x115” -02 nos | Nos. | 2 | 5500 | 11000
2 | P&A of cement grout between wall tiles matching existing grout filled. | Sq.Ft. | 40 | 60 | 2400
3 | P&F of 75mm ht SS 304 grade brush finish skirting, fixed with silicon to the wall / furniture surface. | R.Ft. | 60 | 425 | 25500
4 | P&Repairing of wobbling chair with the help of nylon buffer or ht adjuster. | Nos. | 15 | 350 | 5250
5 | P&F of 210mm dia SS dustbin lid cover | Nos. | 1 | 3500 | 3500
6 | P&Repairing of storage unit shutter edges with matching polish finish. | Job | 6 | 750 | 4500
7 | P&A of damaged wall paint surface painted shall be prepared to the satisfaction of the Architect, and opening of crack and applying of wall putty, primer to achieve smooth finish. The surface shall be painted with two coats of premium paint | Sq.Ft. | 200 | 95 | 19000
8 | Repairing of storage shutter. | Nos. | 6 | 1550 | 9300
9 | P&F of storage shutter magnet. | Nos. | 6 | 350 | 2100
10 | Shifting of TV | Nos. | 3 | 1500 | 4500
11 | Providing and Cladding of approved black shade 100 X 100 mm and make of designer tile with the required adhasive for laying of tiles . | Nos. | 15 | 375 | 5625
12 | Wall - Supply and install 300x600mm White Ceramic Tile with matching Grout to walls, all in accordance with the drawings and specifications. | Nos. | 20 | 590 | 11800
13 | Kota flooring cleaning | Job | 1 | 10000 | 10000
14 | Cream Stone Bin Fixing | Job | 1 | 1500 | 1500
15 | P&F of ply for closing of Counter hole with necessary hardware and adhesive | Nos. | 3 | 550 | 1650
16 | P&F of ply boxing with laminate finish for placing equipment on platform. | Nos. | 1 | 15200 | 15200
17 | Freezer to be open -ply packing below fridge legs | Nos. | 1 | 4500 | 4500
18 | Crack in wall - touch up | Sq.Ft. | 180 | 95 | 17100
19 | Profile Patti -01 nos (Length) | R.Ft. | 15 | 450 | 6750
20 | Installation of 35ltr vertical boiler with Mounting Bolts etc. | Nos. | 1 | 4500 | 4500
21 | P&F of 12mm thick toughened glass partition on counter | Nos. | 1 | 15500 | 15500
22 | P & F SS guard rail 16SWG with matt finish of 30mm dia at 304 grade SS round pipe with all support. | Mtr | 5
| Total |  |  |  | 181175
Note
Any Additional work will charged extra.