## BOQ
2024-12-21
BOQ STANDARDISATION, IMPLEMENTATION AND COST CONSULTANCY FOR UNA FF BAR
GENERAL NOTES
Please refer to "Exhibit A - The basic rate of material" for the applicable base rates of materials
Items of works shall be read in conjunction with Drawings, Specifications, Contractual terms and conditions, and Trade Preambles to this BOQ as included in the RFP.
The quantities mentioned in the BOQ are tentative and may increase or decrease. Payment shall be restricted to the quantum of work executed and measured as per the defined mode of measurement.
The Mode of Measurement (in order of priority) is as follows:
(i) As defined in relevant item in the BOQ
(ii) As defined in the specification
(iii) As defined in IS-1200 or (latest version) for relevant trade .
(iv) if mode is not defined in (i), (ii) and (iii), the standard industry practice shall be adopted.
Items of work and trade preambles are essential parts of the bill of quantities and are to be taken as mutually explanatory of one another. Requirement occurring in one is binding as though occurring in both. In resolving conflicts, discrepancies, errors or omissions as regards trade preambles & bill of quantities the following order of precedence shall be used but subject to PRIORITY OF DOCUMENTS as included in General Conditions of Contract: a. General Notes as included in this bill of quantities. b. Trade Preambles as included in RFP. c. Item Description as included in this bill of quantities.
|  | 1 | Pest Management Services
Providing pest management services in Food Court Area. The scope of work includes 1) Management of Rodents like rats, mice, and bandicoots with commensal rodents (RMS), 2) Management of Cockroaches / Red Ants / Black Ants / Silverfish (CMS), 3) Management of Lizards / Geckoes (LMS), 4) Management of Flies/spiders (FMS), 5) Management of Mosquitoes (MMS), 6) Management of Termites (TMS), 7) Management of Snakes (SMS) including the cost of all materials, medicines, chemicals, labor, T&P, PPEs, etc. complete in all respect as per the direction of the Engineer-in-charge. Payment will be made per square meter of the plinth area of the building for completion once of all the above applications/ treatments.
|  | 2 | Anti Termite Treatment
Post Construction Anti Termite Treatment by injecting recommended chemicals after proper surface preparation, drilling of plinth floor/ wall, inside floor/ wall, door/windows, etc at the recommended level along the junction of walls and floors, capping and sealing the drill holes with white cement or grouts to create a chemical barrier along the internal perimeter and wood-based materials, structures of the building to eliminate an existing termite infestation and to make it resistant from a termite attack on the path of termites seeking entry to the building including all costs of materials, chemicals, medicines, labor T&P, PPEs, etc. complete and thorough cleaning & housekeeping of the area after application as per direction of Eng.-in charge.
NOS | ITEM | LOCATION | SPECIFICATION | UNIT | Total Qty | RATE | AMOUNT | TOTAL
GENERAL NOTES
All MS frame shall be 14 Gauge
All MS frame shall be Duco paint at site and consider on the cost
All Wooden Surface finish with malamine polish and consider on the cost
PCC work and filling work is as per site condition and requirement
Waterproofing to be done before doing the plumbing work
A | Demolishing
1 | Demolition work | Bar area | Dismantling and removing of existing items such as walls, partition doors, existing flooring etc. and stacking carefully at the store location as directed or removal from Site to the nearest Dump yard as directed by the client.& Wall dismatnling for Ducting and Copper piping cable tray for out door connection etc. | Sqft | 200 | 0 | 0 | 0
B | Waterproofing
1 | Water proofing | Bar and Kitchen (wet areas) | Providing and laying a proprietary chemical waterproofing system consisting of polymer-modified acrylic base coating in two coats in the form of a slurry (total consumption of 1.5 Kg/Sqm) as approved by the PM and as directed by the approved manufacturer of waterproofing coating, with sandwiched fiber mesh and protective screed. The work shall include cleaning the surface, grouting porous surfaces making ‘V’ grooves at junctions, cracks with nonshrink crystalline base cementitious grout, etc. Further including horizontal and vertical surfaces protected with 20mm screeding in 1:4 mortar (1 cement: 4 sand), finished in ready to receive Architectural finish, in the correct line, level, and plumb, curing, grouting, testing, etc. all complete to the entire satisfaction of the PM. | Sqft | 500 | 0 | 0 | 0
C | Flooring
1 | Tile Flooring | Common seating area | Providing & laying vitrified floor tiles 600 x 600 mm thickness of 9mm and of 1st quality laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints without spacers on the floor in cooridnation with Site engineer and Tile as per selection of the architect, Tile-Concrete Finishm base rate: Rs. 51/- | Sqft | 200 | 0 | 0 | 0
2 | Tile Flooring | Common seating area | Providing & laying vitrified floor tiles 910 x 200 mm thickness of 9mm and of 1st quality laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints without spacers on the floor in cooridnation with Site engineer and Tile as per selection of the architect, Tile-Wooden Finish Basic Rate-Rs. 60/- | Sqft | 100 | 0 | 0 | 0
3 | Stone Flooring | Common seating area | Providing & fixing Rajasthan Black Granite on the floor as per specifications with 17-20 mm thick mirror polished, machine cut jet black granite. The cost shall be inclusive of cutting, laying and polishing as specified. As per design Granite also be cutted in small size, fitted in between tiles. | Sqft | 20 | 0 | 0 | 0
4 | Kota Stone Flooring | Kitchen | Supply and installation 600 x 600 mm size of 20 mm thick Kota stone flooring with polishing using 1:3 cement mortar application with zeo joint as approved. Provision to be consider for wastages. NOTE : Contractor has to include polish cost. | Sqft | 437 | 0 | 0 | 0
4.A | Kota Stone Skirting | Kitchen | Providing & fixing Kota skirting maching with flooring, tile line should match with flooring. The cost shall be inclusive of cutting, laying and including pointing the joints without spacers in cooridnation with Site engineer . Skirting ht will be 100mm from FFL or as specified in drawings. NOTE : Contractor has to include polish cost. | Rft | 100 | 0 | 0 | 0
5 | Tile Skirting | Common seating area | Providing & fixing tile skirting maching with flooring, tile line should match with flooring. The cost shall be inclusive of cutting, laying and including pointing the joints without spacers in cooridnation with Site engineer . Skirting ht will be 100mm from FFL or as specified in drawings. | Rft | 100 | 0 | 0 | 0
6 | Floor paint | Common seating area | Providing and applying floor paint with the help of stencils as per the design and detail given. | LS | 1 | 0 | 0 | 0
D | DRY PARTITION
1 | Gypsum board partition | PDR Partition - 100mm thickness | Supply, installation, and finishing of double-sided gypsum board partition system, including the following components, Framework: Galvanized steel stud and track system (e.g., 0mm/75mm/100mm studs and tracks) fixed securely at floor, ceiling, and adjacent walls, with gapping of 600 x 600mm . Boarding: double layer of 12.5mm thick gypsum boards (or as specified) fixed to both sides of the framework using screws at recommended spacings. Insulation (if applicable): Acoustic/mineral wool insulation (e.g., 50mm or as specified) to be placed within the partition cavity for soundproofing and thermal insulation. Finishing: Jointing, taping, and application of two coats of joint compound to ensure a seamless finish, ready for painting or final surface treatment. Make: Gyproc Gypserra or equivalent | sqft | 250 | 0 | 0 | 0
2 | Dry Wall Partition | Bar Wall | Suppy, installatio and finishing of Gypsum board paneling with GI Channels with following components, Framework: Galvanized steel stud and track system fixed securely at floor, ceiling, and adjacent walls, with gapping of 600 x 600mm. Boarding: double layer of 12.5mm thick gypsum boards (or as specified) fixed to one side only of the framework using screws at recommended spacings. Finishing: Jointing, taping, and application of two coats of joint compound to ensure a seamless finish, ready for painting or final surface treatment. Make: Gyproc Gypserra or equivalent | sqft | 1010 | 0 | 0 | 0
E | CARPENTERY WORK
1 | Flush Door | Kitchen from outside | Supply and installation of the 35mm thick flush door for the designated area and chaukhat of 150 x 75mm in solid wood
The door will be custom-built to the exact design and dimensions provided in the project drawings, ensuring a precise fit for the intended opening. Door should have vision panel with toughened glass size: 12"x 18"
SS panel at door handle: 6" x 18" both side (with handle)
SS panel at door bottom: 12" x 3'6" both side
The door will be finished (standard thickness) with 1mm thick approved shade laminate by the architect or designer.
The door will be equipped with, hinges, handles, and locks, as per project requirements.
|  |  | size: 3'6" x 8' - Kitchen entry from outside | Nos. | 1 | 0 | 0 | 0
|  | Kitchen entry from inside | Supply and installation of the 35mm thick flush door for the designated area and chaukhat of 150 x 75mm in solid wood
The door will be custom-built to the exact design and dimensions provided in the project drawings, ensuring a precise fit for the intended opening. Door should have vision panel with toughened glass size: 12"x 18". Door should be open in bothways, inside out.
SS panel at door handle: 6" x 18" both side
SS panel at door bottom: 12" x 3'6" both side
The door will be finished (standard thickness) with 1mm thick approved shade laminate by the architect or designer.
The door will be equipped with, swing door hinges. as per project requirements.
|  |  | size: 3'6" x 8' - Kitchen entry from inside | Nos. | 1 | 0 | 0 | 0
|  | Toilet | Supply and installation of the 35mm thick flush door for the designated area and chaukhat of 150 x 75mm in solid wood
The door will be custom-built to the exact design and dimensions provided in the project drawings, ensuring a precise fit for the intended opening.
SS grill at door bottom for ventilation: 12" x 24" both side
The door will be finished (standard thickness) with 1mm thick approved shade laminate by the architect or designer.
The door will be equipped with, hinges, handles, and locks, as per project requirements.
|  |  | size: 2'6" x 8' - Kitchen entry from outside | Nos. | 1 | 0 | 0 | 0
2 | Bottle Display | Bar | Display to be done in 17mm HDHMR | sqft | 82 | 0 | 0 | 0
Shelfs to be made with double board finished with on site Duco paint as per schedule, with depth of 300mm and thickness 34-35mm
Fixing and installation to be done precisely and neatly, with necessary adhessive material.
Led cove light to be done vertically at the back of Shelves.
Back of the shelves finsihed with custom print wallpaper
Follow the design and drawing given by the architect
3 | Cassette AC covering | Ceiling | Cassette AC should be covered with 17mm HDHMR paneling. Fixing of the box should be from the RCC slab as per site condition and detail drawing given by the architect and under supervision of Site engineer. Surface should be smooth and joints has be properly filled for the paint procoss. | No. | 1 | 0 | 0 | 0
|  |  | Led Profile light to be fixed at the bottom of the box with Aluminum profile size: 20x14mm | rft | 16 | 0 | 0 | 0
F | BAR
1 | Bar counter | Counter Fascia Tiling | Providing & laying vitrified wall tiles 1200 x 200 mm thickness of 9mm and of 1st quality laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints with spacers of 3mm on the wall in cooridnation with Site engineer and Tile as per selection of the architect, Tile-Wooden Finish | sqft | 132 | 0 | 0 | 0
|  | Inside Commercial Tile | Providing & laying ceramic wall tiles 300 x 300 mm thickness of 9mm and of 1st quality laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints without spacers on the wall in cooridnation with Site engineer and Tile as per selection of the architect | sqft | 152 | 0 | 0 | 0
|  | Counter Top | Counter top to be finished with Solid Acrylic Surface (corean) as per selection and schedule, joiting and pointing to be done with matching filler. Rubbing, labour, and fixing should be covered in the whole work. Make: Staron | sqft | 192 | 0 | 0 | 0
|  | Counter Top cove | Led Profile light to be fixed at the counter top fascia with Aluminum profile size: 20x14mm | Rft | 32 | 0 | 0 | 0
2 | Bar counter woodwork | Under Counter | Under Counter Storage to be done in 17mm HDHMR and finished with 1mm Laminate as per schedule | sqft | 200 | 0 | 0 | 0
Cut and shape the 17mm the HDHMR board to match the design and dimensions specified in the drawings or as directed by the site engineer. Consider factors such as the shape, thickness, and size of the table top. For Details refer the woodwork drawings.
G | FALSE CEILING
1 | Gypsum board false ceiling | Above Fixed Seating | Supply, installation, and finishing of gypsum board false ceiling system, including: Framework: Galvanized steel grid system consisting of main T-sections, cross T-sections, and perimeter channels securely fixed to the structural ceiling using adjustable suspension systems (hanger rods, clips, and fasteners). Boarding: 12.5mm thick gypsum boards fixed to the steel framework using corrosion-resistant screws at recommended spacings. Jointing and Finishing: Application of joint tape and jointing compound, followed by a smooth finish, ready for painting or final surface treatment. Installation to be carried out as per approved shop drawings and manufacturer’s recommendations. Framework to be levelled and aligned to maintain an even and seamless surface. Cutouts for lighting fixtures, AC vents, and other services to be provided as required. Ceiling height: 10' or as per drawing. Ceiling soffit also should be covered with gypsum board, framing has to be done accordingly. Make: Gyproc Gypserra or equivalent | sqft | 500 | 0 | 0 | 0
2 | Metal Grid Ceiling | Kitchen | Providing and fitting of false ceiling consisting of 20g Aluminium planks made of pre- coated ( Top & Bottom ) & Size : 600mmx600mm tiles . False Ceiling with necessary supports , hangers etc. provided to install light fitting , fresh air grill etc. ( from Hunter Douglas or Armstrong ) | sqft | 400 | 0 | 0 | 0
H | Ceiling installation/fixture
1 | Suspended MS Frame ceiling Installation | Above loose seating in center | Supply and installation of an MS pipes measuring 1.5 x 1.5 inches, suspended from the ceiling and finished with black enemal spray paint finish.
|  |  | Primary MS frame will be suspended from the ceiling, allowing for a secure and stable installation with 1.5"x 1.5" ms pipes. | KG | 230 | 0 | 0 | 0
|  |  | Secondory fram will be of size - 1"x1" in between main members | KG | 85 | 0 | 0 | 0
|  |  | Supply and fixing of Murga Jaali (chicken mesh) in SS finish will be wrapped around the MS frame as per drawing and detail. | sqft | 300 | 0 | 0 | 0
MS frame will be enamal painted on site in black matte color
|  |  | LED profile light to be fixed at the bottom of Ceiling intallation, aluminum profile will be black color with acrylic diffuser, size: 30x14mm. Drivers and adapter will be fixed on the ceiling. | Rft | 80 | 0 | 0 | 0
2 | Convex Mirrors | Above loose seating in center | Supply and installation of traffic control convex mirrors suspended from the ceiling in two sizes.
|  |  | Size no.-1: 40 inches Dia | No.s | 11 | 0 | 0 | 0
|  |  | Size no.-1: 24 inches Dia | No.s | 28 | 0 | 0 | 0
Traffic control convex mirrors will be suspended from the true slab with the help of 25x25mm MS pipe with fasners and base plate or as required, joinery should be strudy and stable. For complete work follow the detail drawings.
3 | Suspended MS Frame ceiling Installation | Above bar counter | Supply and installation of an MS pipes measuring 1.5 x 1.5 inches, suspended from the ceiling and finished with black enemal spray paint finish.
|  |  | Primary MS frame will be suspended from the ceiling, allowing for a secure and stable installation with 1.5"x 1.5" ms pipes. | KG | 130 | 0 | 0 | 0
|  |  | Secondory frame will be of size - 1"x1" in between main members | KG | 110 | 0 | 0 | 0
|  |  | Supply and fixing of Murga Jaali (chicken mesh) in SS finish will be wrapped around the MS frame as per drawing and detail. | sqft | 250 | 0 | 0 | 0
MS frame will be enamal painted on site in black matte color
|  |  | LED profile light to be fixed at the bottom of Ceiling intallation, aluminum profile will be black color with acrylic diffuser, size: 25x14mm. Drivers and adapter will be fixed on the ceiling. | Rft | 80 | 0 | 0 | 0
J | Glass work
1 | Fixed glass with Door |  | Supply and installation of double swing Glass door with aluminum frame size: 25x50mm and door glass also fixed in aluminum profile with door handle in black color as detail drawing under the super vision of the site engineer. Glass thickness: 10mm
Suitable hardware like floor spring, handle, door stopper, lock and seals will be installed to ensure smooth operation, security, and weather resistance.
The aluminum profile may undergo a finishing process, such as anodizing or powder coating, to enhance its appearance and as per the design .
MS framing of 1.5" x 1.5" to be done inside the false ceiling wherever requried to support the aluminum profile and glass
|  | Main entry door and pre function | Door size: width- 5' and ht: 8' (double door) | No.s | 2 | 0 | 0 | 0
|  | PDR entrance | Fixed Glass and Door size: width- 5' and ht: 10', door ht: 8' (double door) | No.s | 1 | 0 | 0 | 0
|  | Smoking room | Fixed Glass and Door size: width- 6'9" and ht: 10', door width: 3' and door ht: 8' | No.s | 1 | 0 | 0 | 0
K | Wall finished
1 | Wallpaper | Fixed Seating | Providing and pasting of Non Woven Custom print wallpaper 160-180 GSM, base has to be smooth and should have a coating of oil based primer. Design -1 | sqft | 540 | 0 | 0 | 0
|  | PDR | Providing and pasting of Non Woven Custom print wallpaper 160-180 GSM, base has to be smooth and should have a coating of oil based primer. Design -2 | sqft | 500 | 0 | 0 | 0
|  |  | Providing and pasting of Non Woven Custom print wallpaper 160-180 GSM, base has to be smooth and should have a coating of oil based primer. Design -3 | sqft | 145 | 0 | 0 | 0
|  |  | Providing and pasting of Non Woven Custom print wallpaper 160-180 GSM, base has to be smooth and should have a coating of oil based primer. Design -4 | sqft | 125 | 0 | 0 | 0
L | Column Cladding
1 | MS Frame work | Center Column | Supply, fabrication of MS frame work around the column finished with enemal paint in black matte color.
|  |  | Vertical MS angle fixed from ceiling and floor, size: 25x25mm | KG | 81.5 | 0 | 0 | 0
|  |  | Horizontal MS sqaure pipe frame all around the MS angles, size: 25x25mm | KG | 40 | 0 | 0 | 0
Follow the detail design and drawing of column cladding, welding, screwing, fastners to be used in the whole work.
|  |  | Supply and fixing of Murga Jaali (chicken mesh) in SS finish will be wrapped around the MS frame as per drawing and detail. | sqft | 120 | 0 | 0 | 0
|  |  | LED profile light to be fixed at the bottom of Ceiling intallation, aluminum profile will be black color with acrylic diffuser, size: 25x14mm. Drivers and adapter will be fixed on the ceiling. | rft | 40 | 0 | 0 | 0
M | Civil work
1 | Half brick partition walls |  | Providing and laying 4 1/2" thick half brickwork in partition walls and architectural elements etc., with well burnt 1st class table moulded, good quality approved bricks in 1:4 Cement Mortar (1 Cement : 4 Coarse Sand by volume) including soaking the bricks in water adequately and drying, scaffolding, curing, rubbing the surface, raking out the joints etc., complete as directed and specified. Include 15-25mm plaster both side on wall. | Sqft | 655 | 0 | 0 | 0
1.a | Plaster Work | 12mm to 15mm Plastering | Plastering the Siporex / brick masonry walls with 12mm to 15mm thk. Single coat cement plaster in 1: 4 (cement : sand proportion) with chickenmesh jali wherever required, including scaffolding and curing complete as specified and as directed by Site Engineer. | Sqft | 900
2 | POP punning |  | Providing and applying plaster of paris ( super fine quality ) punning with minimum thickness of 6 mm and finish the surface smooth in line and level including scrapping and hacking the existing finished surfaces, scaffolding etc. complete. | sqft | 500 | 0 | 0 | 0
N | PAINT
1) | Wall Paint |  | Providing and applying acrylic emulsion (water based 100% acrylic ) or approved equivalent grade inferior paint to all type of smooth plasters, concrete, etc surface. The surface to be painted shall be made free from any loose paint, dust, grease and any fungus, algae or moss, on it shall got be removed thoroughly by vigorous wire brushing and cleaning with water. Then one coat of exterior grade wall primer be applied after which any surface imperfection such as holes, dents, fine cracks shall be corrected by filling with synthetic grade putty. Thereafter sand the surface with emery paper 180 and wipe clean and apply second coat of interior grade primer and again surface imperfection to be corrected and again surface imperfection to be corrected. Thereafter again sand the surface with emery paper 320 and wipe clean and then apply the premium emulsion in two coats. All materials shall be of Asian/ British/ Nerolac make. The color and pattern/ color combination of the paint shall be got approved from Engineer in charge. The stock of the quantity for all material as manufacturer’s theoretical consumption (per unit of surface area) shall be made available at site before commencement of the painting work. The rate includes cost of all materials, labour, scaffolding, ladders charges, storing & safeguarding the labour in all heights. Contractor has to take all risk insurance policy from reputed insurance agency before commencement of work, contractor has to provide all precautions’ and arrange safety belts, helmets to all working labours at site. NOTE: 10% wasteage to be included wherever texture paint required. | Sqft | 400 | 0 | 0 | 0
2) | Ceiling and Beams Paint |  | Providing and applying acryluc Premium emulsion(water based 100% acrylic ) or approved equivalent grade inferior paint to all type of smooth plasters, concrete, ceilings etc surface. The surface to be painted shall be made free from any loose paint, dust, grease and any fungus, algae or moss, on it shall got be removed thoroughly by vigorous wire brushing and cleaning with water. Then one coat of exterior grade wall primer be applied after which any surface imperfection such as holes, dents, fine cracks shall be corrected by filling with synthetic grade putty. Thereafter sand the surface with emery paper 180 and wipe clean and apply second coat of interior grade primer and again surface imperfection to be corrected and again surface imperfection to be corrected. Thereafter again sand the surface with emery paper 320 and wipe clean and then apply the premium emulsion in two coats. All materials shall be of Asian/ British/ Nerolac make. The color and pattern/ color combination of the paint shall be got approved from Engineer in charge. The stock of the quantity for all material as manufacturer’s theoretical consumption (per unit of surface area) shall be made available at site before commencement of the painting work. The rate includes cost of all materials, labour, scaffolding, ladders charges, storing&safeguarding the labour in all heights. Contractor has to take all risk insurance policy from reputed insurance agency before commencement of work, contractor has to provide all precautions’ and arrange safety belts, helmets to all working labours at site. NOTE: 25% Wasteage to be included, including the application of paint on all the ducts, diffuser, beams, wiring etc. within the common seating area. | Sqft | 200 | 0 | 0 | 0
P | PLANTS
1) | Artificial plants |  | Providing and fixing of artificial plants in 6" thk. green foam to be placed in the wooden base which is internally finished in commercial laminate pasted over 18mm thk plyboard (Merino/ Century or equivalent) as per the design & detailing. | LS | 1 | 0 | 0 | 0
Q | Toilet
1 | Washbasin Counter |  | Counter to be made in Water proof Plyboard and MS frame as per detail drawing | sqft | 6 | 0 | 0 | 0
Providing and fixing of 17-18mm granite stone as per schedule on plyboard counter as per detail drawing
2 | Floor tiling |  | Providing & laying vitrified floor tiles 600 x 600 mm thickness of 9mm and of 1st quality laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) including pointing the joints without spacers on the floor in cooridnation with Site engineer and Tile as per selection of the architect. | sqft | 60 | 0 | 0 | 0
3 | Wall tiling |  | Providing and Fixing of 9mm thick vitrified wall tile of size - 600 x600mm on walls without spacers in between tiles, cleaned properly at the ends and leaving no strains on the tile (make: simpolo, kajaria or equevalent) | sqft | 255 | 0 | 0 | 0
4 | Subway tile (wall) |  | Providing and Fixing of 6-8mm thick vitrified wall tile of size -100 x 300mm on walls with spacers in between tiles, cleaned properly at the ends and leaving no strains on the tile (make: simpolo, kajaria or equevalent), please note: eppoxy filling has to be done in the grooves as per the selection done by site engineer or project architec. Epoxy make: Myk Latecrate | sqft | 75 | 0 | 0 | 0
5 | Mirror work |  | 6-8mm Thick looking mirrow with 25mm beveled from the edges pasted on Plyboard box as per detail | LS | 1 | 0 | 0 | 0
| Note: |  | For fixtures refer separate Toilet fixture schedule
R | Fire Door
1 | Fire Door withour Vision panel | Bar Area to fire exit staircase | Fire Rated Metal door | No.s | 1 | 0 | 0 | 0
Providing and fixing of Double leaf metal fire rated doors as per IS 3614 part-1 & part-2 for stability and integrity. Pressed Galvanized steel confirming to IS 277 with the following specification. Recommended fire door shall have doors tested at CBRI or ARAI for maximum rating of 2hrs with vision panel. Test certificates should be available for vision lites /panels as part of the fire door assembly. Independent glass test certificates will not be accepted. Manufacturer test certificate shall cover doors both single and double leaf and all doors supplied should be within the tested specimen, deviation in specification and sheet thickness other than what is mentioned in the test certificates are not allowed. Proper label confirming the type of door and the hourly rating is mandatory. Make: Pacific fire control or approved equivalent. Size:2400 x 1140mm or as per site.
Door frame shall be double rebate profile of size 143 x 57 mm made out of 1.60mm (16gauge) minimum thick galvanized steel sheet. Frames shall be Mitered and field assembled with self tabs. All provision should be mortised, drilled and tapped for receiving appropriate hardware. Rubber door silencers should be provided on the striking jamb. Frames should be provided with back plate bracket and anchor fasteners for installation on a finished plastered masonry wall opening. Once frame installed should be grouted with cement & sand slurry necessary for fire doors on the clear masonry opening.
Door leaf shall be 46mm thick fully flush double skin door with or without vision lite. Door leaf shall be manufactured from 1.2mm (18guage) minimum thick galvanised steel sheet. The internal construction of the door should be rigid reinforcement pads for receiving appropriate hardware. The infill material shall be resin bonded honeycomb core. All doors shall be factory prepped for receiving appropriate hardware and provided with necessary reinforcement for hinges, locks, and door closers. The edges should be interlocked with a bending radius of 1.4mm. For pair of doors astragals has to be provided on the meeting stile for both active and inactive leaf. Vision lite wherever applicable should be provided as per manufacturers recommendation with a beeding and screws from inside. The glass should be 6mm clear borosilicate fire rated glass of relavant rating of the door.
All doors and frames shall be finished with polyurethane aliphatic grade paint of approved colour. The door leaf and frame shall have passed minimum 250 hours of salt spray test.
Rate should include supply and installation of door and hardware set as mentioned in the door and hardware schedule. 2Hrs Fire Rated Door single leaf of size : 2400 x 1140 mm Without vision panel with hardware set for each leaf as follows: Ball bearing butt hinge 4" x 3" x3 mm in SSS Mortice sash lock 50mm BS, 20mm sq for end strip, SSS 1" 6 pin EP cyl. L=70mm both side keys in SNP (1 each) Tubular lever handle with roses and esc. SSS (1 each) Door closer spring size 3 with standard arm, CE marked Concealed flush bolt body with rod, Length - 265mm , Vision panel of 6mm thick borosilicate Fire Rated clear glass of size 200mm (W) x 300mm (H), Self adhesive side roll (Ceramic Tape) as required
S | Miscellaneous Work | [5 empty] | \
1) | Debris Removal from site |  | Removal of debris from site post construction | LS |  | 0 | 0 | 0
2) | Cleaning of site post completion |  | Professional and Deap cleaning after completion | LS |  | 0 | 0 | 0
3) | Acrylic signage |  | Acrylic signage to be cut and fixed on wall as per the design and specifications. | Nos | As/Actual | 0
ALL COMPONENTS OF CARPENTRY (PLYWOOD/GYPSUM BOARD) TO BE OF 1 HR. FIRE RATING.
Please note that loose furniture is not been included in the BOQ, for loose furniture quantity refer furniture schedule
Please refer make list for material makes and specification
IMP NOTE: The description of works provided above along with the drawings are meant only to describe the intent for the design. The vendor/ contractor is expected to develop his/her details/shop drawings as required to fulfil the design intent whilst ensuring functional compliance and structural stability. These details are to be reviewed with the architect/ project manager prior to commencement of work at site. If there are any discrepancies between the drawing and the BOQ provided, please consult/ clarify with the designer.All componets of carpentry (Plywood / Gypsum boards) to be of 1Hr Fire rating.