## Cafeccino
Cafeccino Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty | Remarks
CF | POS | BY ID. | 1
CF-01 | HOT/COLD DISPLAY CABINET | 5'-0" x 2'-6" x 4'-6" | 1
CF-02 | COLD DISPLAY CABINET | 5'-0" x 2'-6" x 4'-6" | 0
CF-03 | WORK COUNTER WITH SINK | 4'-6" x2'-6" x 34"+4" HIGH | 1
CF-04 | ESPRESSO COFFEE MACHINE TWO GROUP |  | 1
CF-05 | COFFEE GRINDER/BLENDER | M-JUNIOR | 1
CF-06 | COFFEE BREWER | M-200W | 1
CF-07 | UNDER COUNTER ICE CUBER |  | 1
CF-08 | WORK COUNTER | 5'-0" x2'-6" x 34"+4" HIGH | 1
CF-09 | SANDWITCH GRILLER |  | 2
CF-10 | OVEN (MINI) | MERRY CHEF | 1
CF-11 | MICRO WAY OVEN |  | 1
CF-12 | UNDER COUNTER REFER | 6'-0" x 2'-6" x 34" HIGH | 1
CF-13 | GARBAGE BIN | 18" DIA | 1
CF-14 | DRAIN TRHROUGH GRATING | 1'-00"x1'-00" | 1
CF-15 | GREASE TRAP |  | 1
CF-16 | Chairs | Red - 8 & black 4 | 12
CF-17 | Sofa 2 seater |  | 2
CF-18 | Round table |  | 2
CF-19 | Rectangular table |  | 2
CF-20 | Graphics |  | 6
CF-21 | Menu Board |  | 6
CF-25 | Wooden Railing (Fence) |  | 2
CF-26 | Signage |  | 1

## Domino's
Dominos - Kitchen Equipment List
Sr. No. | Product Name | Specifications | Description | TFS Faridkot
1 | Dough Tray Table | Drawing No. | RPS/JFL/V-2/001 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | External body | SS202; 20SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Drawer Cabinet | SS304; 18SWG
|  | Drawer Slides | Compex
|  | Unspecified fabrication | SS202
|  | Legs with adjuster | SS202; 16SWG
2 | Slap Table - 5ft | Drawing No. | RPS/JFL/V-2/002 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Drawer Cabinet | SS304; 18SWG
|  | Drawer Slides | Compex
|  | Unspecified fabrication | SS202
|  | Legs with adjuster | SS202; 16SWG
3 | Slap Table - 6ft | Drawing No. | RPS/JFL/V-2/003 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Drawer Cabinet | SS304; 18SWG
|  | Drawer Slides | Compex
|  | Unspecified fabrication | SS202
|  | Legs with adjuster | SS202; 16SWG
4 | Sauce Table | Drawing No. | RPS/JFL/V-2/004 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | External body | SS202; 20SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Sauce bottle holder | SS304; 20SWG
|  | Unspecified fabrication | SS202
|  | Legs with adjuster | SS202; 16SWG
5 | Makeline 6ft | Drawing No. | Western 8ft | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 18SWG
|  | External body | SS304; 20SWG
|  | Day Cover | Glas Lid with Gas struts
|  | Refrigeration | Frost Free
|  | Storage | Frost Free
|  | Controls | Digital
6 | Makeline 8ft | Drawing No. | Western 8ft | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 18SWG
|  | External body | SS304; 20SWG
|  | Day Cover | Glas Lid with Gas struts
|  | Refrigeration | Frost Free
|  | Storage | Frost Free
|  | Controls | Digital
7 | Knee Operated Sink | Drawing No. | RPS/JFL/RS/005 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Sink Top | SS304; 16SWG
|  | Sink body | SS304; 16SWG
|  | External body | SS202; 20SWG
|  | Faucet & Tap | Jaguar / Hindware make
|  | Front flaper | SS202; 18SWG
8 | Three Sink Unit - 5.0ft | Drawing No. | RPS/JFL/V-2/006 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Sink Top | SS304; 16SWG
|  | Sink body | SS304; 16SWG
|  | External body | Open; No side covering
|  | Front Door | Not Provided
|  | Udershelve | Not Provided
|  | OGT | By others as per existing specs
|  | Faucet & Tap | Wall mount pre rinse unit; TnS make
|  | Legs with adjuster | SS202; 16SWG | 1
9 | Utensil drying rack- 5.0ft | Drawing No. | RPS/JFL/V-2/006A
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Fully construction | 8mm SS rod
10 | Overhead cabinet - 5.0 ft | Drawing No. | RPS/JFL/V-2/007 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
11 | SS Storage rack | Drawing No. | RPS/JFL/V-2/008 | 10
Item Code
Existing / Proposed price
|  | MOC | SS202 (Refer drawing)
12 | Router Table-1200mm | Drawing No. | RPS/JFL/V-2/009 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Overhead Shelves | SS304; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Heating | 1000W*Infrared ceramic heater protection grid
|  | Seasoning Bins | In GN pans
|  | KOT | 600mm *1 on each shelve
13 | Router Table- 990mm | Drawing No. | RPS/JFL/V-2/009A | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Overhead Shelves | SS304; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Heating | 1000W*Infrared ceramic heater protection grid
|  | Seasoning Bins | In GN pans
|  | KOT | 600mm *1 on each shelve
14 | Cut Table - 4ft | Drawing No. | RPS/JFL/V-2/010 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | External body | SS202; 20SWG
|  | Overhead Shelves | SS202; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Pizza Box stopper | Sliding panel; SS202
|  | Seasoning Tray | SS202; 20SWG
|  | KOT | 450mm *2
15 | Cut Table - 5ft | Drawing No. | RPS/JFL/V-2/011 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | External body | SS202; 20SWG
|  | Overhead Shelves | SS202; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Pizza Box stopper | Sliding panel; SS202
|  | Seasoning Tray | SS202; 20SWG
|  | KOT | 450mm *2
16 | Cut Table - 6ft | Drawing No. | RPS/JFL/V-2/012 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | External body | SS202; 20SWG
|  | Overhead Shelves | SS202; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Pizza Box stopper | Sliding panel; SS202
|  | Seasoning Tray | SS202; 20SWG
|  | KOT | 450mm *2
17 | Cut Table - 4ft | Drawing No. | RPS/JFL/V-2/013 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | External body | SS202; 20SWG
|  | Overhead Shelves | SS202; 18SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Pizza Box stopper | Sliding panel; SS202
|  | Seasoning Tray | SS202; 20SWG
|  | KOT | 450mm *1
18 | Walk In Chiller; 6*8ft | Drawing No. | RPS/JFL/V-2/014 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | External body | 0.4mm PPGI
|  | Internal Body | 0.4mm PPGI
|  | Cladding | 1.0 mm Aluminium Chequred plate
|  | Refrigeration | Remote with Cubical Evaporator
|  | Door | PPGI with 3 Hinges
|  | Controls | Digital
19 | Walk In Chiller; 10*8ft | Drawing No. | RPS/JFL/V-2/015 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | External body | 0.4mm PPGI
|  | Internal Body | 0.4mm PPGI
|  | Cladding | 1.0 mm Aluminium Chequred plate
|  | Refrigeration | Remote with Cubical Evaporator
|  | Door | PPGI with 3 Hinges
|  | Controls | Digital
20 | Walk In Chiller; 10*10ft | Drawing No. | RPS/JFL/V-2/016 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | External body | 0.4mm PPGI
|  | Internal Body | 0.4mm PPGI
|  | Cladding | 1.0 mm Aluminium Chequred plate
|  | Refrigeration | Remote with Cubical Evaporator
|  | Door | PPGI with 3 Hinges
|  | Controls | Digital
21 | Four Door Reach In Chiller | Drawing No. | RPS/JFL/V-2/017 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | External body | SS202
|  | Internal Body | SS304
|  | Refrigeration | Frost Free
|  | Door | 4 Doors
|  | Controls | Digital
22 | MOP Sink | Drawing No. | RPS/JFL/V-2/018 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Sink Top | SS304; 16SWG
|  | Sink body | SS304; 16SWG
|  | Legs with adjuster | SS202; 16SWG
|  | Faucet | Jaguar make; Wall mount
23 | Exhaust Hood - 3240 | Drawing No. | RPS/JFL/V-2/019 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
|  | Baffel filter | SS202
|  | Dampers | VCD provided to be install in connecting duct
24 | Exhaust Hood - 1832 | Drawing No. | RPS/JFL/V-2/020 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
|  | Baffel filter | SS202
|  | Dampers | VCD provided to be install in connecting duct
25 | Exhaust Hood - WOW2 | Drawing No. | RPS/JFL/V-2/021 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
|  | Baffel filter | SS202
|  | Dampers | VCD provided to be install in connecting duct
26 | Staff Locker | Drawing No. | RPS/JFL/V-2/022 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | 18SWG Sheet;Powder coated
27 | Staff Locker | Drawing No. | RPS/JFL/V-2/22A | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | 18SWG Sheet;Powder coated
28 | Helmet Rack | Drawing No. | RPS/JFL/V-2/023 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | 40*40 SS202 pipe; 16SWG
|  | Hooks | 12.5mm SS Rods
29 | Dough Tray Trolley | Drawing No. | RPS/JFL/V-2/024 | 15
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | MS Angle 30*30*3mm
|  | Castors | 100mm Nylon wheel
30 | Oven Trolley | Drawing No. | RPS/JFL/V-2/025 | -
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | SS202 Rectangular pipe; 20*90mm
|  | Castors | 194mm Nylon
31 | Deep Dish Tray | Drawing No. | RPS/JFL/V-2/026 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
32 | Oven Top | Drawing No. | RPS/JFL/V-2/027 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | MOC | SS202; 20SWG
33 | Coffee Station | Drawing No. | RPS/JFL/V-2/028 | 0
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | 40*40 SS202 pipe; 16SWG
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Drawer Slides | Compex
|  | Table top accessories | SS304
34 | PMX Table with Ice bin | Drawing No. | RPS/JFL/V-2/029 | 0
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | 40*40 SS202 pipe; 16SWG
|  | Work Top | SS304; 16SWG
|  | Under / Middle Shelves | SS202; 18SWG
|  | Glass Dispenser | Provided
|  | Table top accessories | SS304
35 | Oven Trolley/Soak Tank | Drawing No. | RPS/JFL/V-2/030 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | SS202 Rectangular pipe; 20*90mm
|  | Castors | 194mm Nylon
36 | Cheese Rack Stand | Drawing No. | RPS/JFL/RS/031 | 1
|  | Item Code | ----
|  | Existing / Proposed price | ----
|  | Frame work | 40*40 SS202 pipe; 16SWG
|  | Shelves | 20*20 SS202 pipe; 18SWG
|  | Shelves frame | 25*25 SS202 pipe; 18SWG
|  | Legs with adjuster | SS202; 16SWG
37 | Conveyor Oven | XLT / MBM | 3240 / PS540 | 1
38 | Money drop box | Drawing No. | MBM | MBM
39 | Prep table | Drawing No. |  | 1
40 | DRAIN TRHROUGH GRATING | 600x300 |  | 1 nos
41 | Grease Trap |  |  | 1
42 | Computer Rack stand |  |  | 3
43 | Visicooler - Bluestar |  |  | 1
44 | Ice Cuber |  |  | 1
45 | SS pole |  |  | 1
46 | Manager Table |  |  | 1
47 | UV900 |  |  | 1
48 | UV-2 |  |  | 1
49 | Pesto flash |  |  | 1
50 | POS |  |  | 1
51 | Signage |  |  | 1

## Bikanervala
Bikanervala - Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty
BW-01 | DISPLAY CABINET (HOT) | 1200x700x1260 | 1
BW-01 A | DISPLAY CABINET (COLD) | 1200x700x1260 | 1
BW-01 B | SS Woking Table | 1'-5"x2'-4"x34"+4" | 1
BW-01 C | SS Woking Table | 2'-3"x2'-4"x34"+4" | 1
BW-02 | CHAAT COUNTER REF. (12) PANS | 4'-9" x 2'-4" x 34" HIGH | 1
BW-03 | HOT & COLD BAIN MARIE (16) PANS | 4'-9" x 2'-4" x 34" HIGH | 1
BW-04 | WORK COUNTER | 4'-6" x 2'-6" x 34" + 4" HIGH | 1
BW-05 | WORK COUNTER | 4'-6" x 2'-6" x 34" + 4" HIGH | 1
BW-06 | UNDER COUNTER REFERIGERATOR | 6'-0" x 2'-6" x 34" + 4" HIGH | 3
BW-10 | WORK COUNTER | 6'-0" x 2'-6" x 34" + 6" HIGH | 1
BW-13 | COMBI OVEN (LAINOX) | NAE101B | 1
BW-13A | STAND FOR COMBI OVEN | 3'-3"X28"X24"HIGH | 1
BW-14 | DRAIN TRHROUGH GRATING | 2'-1" x 1'-1" x 3" HIGH | 1
BW-18 | SPREADER | 1'-4" x3'-0" x 34"+4" HIGH | 2
BW-19 | EXHAUST HOOD (WITHOUT HANGING DUCTING & SUCTION SYSTEM) | 25'-0" X 3'-6" X 18" HIGH | 1
BW-20 | DOSA PLATE | 3'-6" x3'-0" x 34"+4" HIGH | 1
BW-21 | TWO BURNER RANGE | 4'-0" x3'-0" x 34"+4" HIGH | 1
BW-22 | DRAIN TRHROUGH GRATING | 3'-1" x 1'-1" x 3" HIGH | 2
BW-23 | CHIENISE COOKING RANGE | 5'-0" x3'-0" x 34"+10" HIGH | 1
BW-24 | TANDOOR | 3'-0" x3'-0" x 34"+4" HIGH | 1
BW-25 | WORK TABLE WITH SINK | 2'-8" x 2'-0" x 34" + 4" HIGH | 1
BW-26 | WORK TABLE | 4'-6" x 2'-6" x 34" + 4" HIGH | 1
BW-27 | WORK TABLE WITH SINK | 2'-4" x 2'-6" x 34" + 4" HIGH | 1
BW-28 | UNDER COUNTER REFER WITH INSERT | 6'-0" x 2'-6" x 34" + 4" HIGH | 1
BW-30 | GARBAGE BIN | 18" DIA | 1
BW-31 | POT WASHING TABLE WITH THREE SINK | 9'-4" x 2'-6" x 34" + 10" HIGH | 1
BW-32 | WALL MOUNTED POT RACK SHELF | 9'-4" x 1'-10" WIDE | 1
BW-32A | GEYSER | CAP-50LTR. | 0
BW-33 | POT AND PAN RACK SHELF | 3'-0" X 2'-0" X 6'-0" HIGH | 3
BW-34 | CHEST CHILLER (500LTR.) |  | 0
BW-35 | VISI COOLER(two door vertical) | 2'-6" X 2'-6" X 6'-6" HIGH | 1
BW-36 | REACH IN REFER (FOUR DOOR) | 4'-6" X 2'-6" X 80" HIGH | 1
BW-37 | STORAGE RACK | 3'-0" X 1'-6" X 6'-0" HIGH | 8
BW-38 | POS COUNTER | BY ID. | 1
BW-39 | DRAIN TRHROUGH GRATING | 1'x1' | 1
BW-40 | GREASE TRAP |  | 1
BW-41 | Patato Bins |  | 2
BW-42 | SS Shelf | 4'x1' | 1
BW-43 | Packing machine (deluxe 1, Dokla & Dosa) |  | 3
BW-44 | 42" LED TV (Panasonic) |  | 3
BW-45 | Aircurtain |  | 1
BW-46 | Pesto Flash |  | 1
BW-47 | Signage |  | 1
BW-48 | Air Fryer |  | 1
BW-49 | Oil Fryer |  | 1
BW-50 | Sambhar Pot |  | 1
BW-51 | Tawa (Pav Bhaji) |  | 1
BW-52 | Mixer |  | 1
BW-53 | Hand Grinder |  | 1
BW-54 | Tocken Display |  | 1

## Karims
KARIM - Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty
KR-01 | GRANITE COUNTER |  | 1
KR-03 | WORK COUNTER | 4'-5" x 2'-6" x 34" + 4" HIGH | 1
KR-04 | PASS THROUGH COUNTER | Window | 1
KR-05 | REACH IN FREEZER (TWO DOOR) | 2'-3" X 2'-4" X 80" HIGH | 1
KR-06 | REACH IN FREEZER (FOUR DOOR) | 4'-7" X 2'-4" X 6'-6" HIGH | 1
KR-07 | WORK COUNTER | 5'-9" x 2'-6" x 34" + 4" HIGH | 1
KR-10 | DISPLAY CABINET REFRIGERATED | 900x700x1260 | 1
KR-09 A | COld Bain mariie | 2'x2'-6"x34"+4" | 1
KR-09 B | Hot and cold Bain marrie | 3'-11"x2'-6"x34"+4" | 1
KR-11 | SPARE NO.
KR-12 | SPARE NO.
KR-13 | WORK TABLE WITH SINK | 5'-4" x 2'-6" x 34" + 4" HIGH | 1
KR-14 | UNDER COUNTER REFER | 6'-0" x 2'-6" x 34" + 4" HIGH | 1
KR-15 | MICRO WAY OVEN |  | 1 | Added
KR-16 | MIXER GRINDER |  | 0
KR-17 | MEAT MINCER (OLD) |  | 1
KR-17 A | Pulveriser (OLD) |  | 1
KR-18 | POT AND PAN RACK SHELF | 5'-0" X 2'-0" X 6'-0" HIGH | 1
KR-20 | DRAIN TRHROUGH GRATING | 3'-1" x 1'-1" x 3" HIGH | 1
KR-20A | GEYSER | CAP-50LTR. | 1
KR-21 | POT WASHING TABLE WITH TWO SINK | 5'-9" x 2'-6" x 34" + 10" HIGH | 1
KR-22 | WALL MOUNTED POT RACK SHELF | 5'-9" x 1'-6" WIDE | 1
KR-23 | STORAGE RACK | 3'-0" X 1'-6" X 6'-0" HIGH | 2
KR-24 | TWO BURNER RANGE | 4'-0" x2'-6" x 34"+4" HIGH | 1
KR-25 | STOCK POT STOVE | 2'-0" x2'-6" x 34"+4" HIGH | 1
KR-26 | SPREADER PLATE | 1'-4" x2'-6" x 34"+4" HIGH | 2
KR-27 | TANDOOR | 2'-6" x2'-6" x 34"+4" HIGH | 2
KR-28 | CHAR COAL GRILL | 3'-0" x2'-8" x 34"HIGH | 0
KR-29 | EXHAUST HOOD (WITHOUT HANGING DUCTING & SUCTION SYSTEM) | 14'-5" X 3'-1" X 18" HIGH | 1
KR-30 | Grease Trap |  | 1
KR-31 | DRAIN TRHROUGH GRATING | 1'x1' | 2
KR-32 | LED TV 42" | Panasonic | 3
KR-33 | Signage |  | 1
KR-34 | Tocken Display |  | 1

## Noodle Wok
NOODLE WOK - Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty
ND-01 | GRANITE COUNTER POS | BY ID. | 1
ND-02 | CHIENISE COOKING RANGE | 3'-8" x2'-6" x 34"+10" HIGH | 1
ND-03 | EXHAUST HOOD (WITHOUT HANGING DUCTING & SUCTION SYSTEM) | 4'-4" X 3'-0" X 18" HIGH | 1
ND-04 | WORK COUNTER | 2' x 2'-4" x 34" + 10" HIGH | 1
ND-05 | Visi cooler (Blue star) | 2'-2"x1'-11"x6'-9" | 1
ND-06 | Bian marrie | 4'-5"x2'-6"x3'-2" | 1
ND-07 | WORK COUNTER With Undershelf | 1'-8" x 2'-4" x 34" + 4" HIGH | 1
ND-08 | DEEP FAT FRYER | 1'-6" x 1'-4" x 1' HIGH | 1
ND-09 | EXHAUST HOOD (WITHOUT HANGING DUCTING & SUCTION SYSTEM) | 4'-4" X 3'-0" X 18" HIGH | 1
ND-10 | TWO BURNER RANGE | 4'-0" x2'-6" x 34"+4" HIGH | 1
ND-11 | TABLE WITH INSSERT | 1'-5" x2'-6" x 34"+4" HIGH | 1
ND-12 | POT wash Sink | 3'x2'-6"x34+4" | 1
ND-13 | Pot waash Shelf | 3x1' | 1
ND-14 | Grease Trap | 1'-4"x1'-4"x1' | 1
ND-15 | POT rack with perforrated shelf | 3'x-1'-6"x6' | 1
ND-16 | TWO UNDER COUNTER REFER | 4'-6" x 2'-6" x 34" HIGH | 1
ND-17 | SS Shelf | 4'-6"x1' | 1
ND-18 | REACH IN REFER (TWO DOOR) | 2'-4" X 3' X 6'-8" HIGH | 1
ND-19 | Handwash Sink | 1'-4"x1'-6"x34"+4" | 1
ND-20 | DRAIN TRHROUGH GRATING | 2'x1' | 1
ND-21 | DRAIN TRHROUGH GRATING | 1'x1' | 2
ND-22 | 32" LED TV |  | 1
ND-23 | Masala Trolly/Box unit |  | 2
ND-24 | Signage |  | 1
ND-25 | Tocken Display |  | 1

## Gianis
Giani's - Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty
Gianis
GI-01 | ICE CREAM CABINET | MODEL-EKG650 | 1
GI-02 | WORK COUNTER | 1'-1" x 2'-6" x 34" HIGH | 0
GI-03 | WORK TABLE (POS) | 3'-0" x1'-8" x 34"+4" HIGH | 1
GI-04 | WORK TABLE | 4'-10" x1'-9" x 34"+4" HIGH | 1
GI-05 | BLENDOR WITH SOUND ENCLOSURE | JTC 800AQ | 1
GI-06 | MELTER (CHOCOLATE WARMER) |  | 1
GI-07 | CORN MACHINE |  | 1
GI-08 | WORK TABLE WITH SINK | 6'-7" x 2'-0" x 34" + 4" HIGH | 1
GI-09 | FLUDA COUNTER REF. | 2'-2" x 2'-2" x 34" HIGH | 1
GI-10 | Grease Trap |  | 1
GI-11 | DRAIN TRHROUGH GRATING | 1'x1' | 1
GI-12 | LED TV | 32" | 1
GI-13 | Signage |  | 1

## FF Wash Area
Dishwasher - Kitchen Equipment List
S. No. | Equipment | Dimensions | Qty
Wash Area
WA-01 | LOADING TABLE WITH PRE WASH SINK | 4'-3"x2'-6"x34" | 1
WA-03 | HOOD TYPE DISHWASHER MACHINE | IFB Protech 813 | 1
WA-04 | Geyser 35Ltrs |  | 1
WA-05 | UNLOADING TABLE | 3'-9"x2'-6"x34"+4" | 1
WA-06 | Exhaust Fan |  | 1
WA-07 | Light |  | 1
WA-08 | Grating (600x300) |  | 1
WA-09 | Grease Trap |  | 1
EX-1 | SS table | 1'-1x2'-5"x34"+4" | 1
EX-2 | SS table | 3'-4"x2'-6"x34"+4" | 1
EX-3 | SS table with LHS Sink | 4'-2"x2'-6"x34"+4" | 0 | Extra SINK has been picked up by vendor as on 01/07/23

## ADDITIONAL 3 sink
SERVICE AREA - EQUIPMENT LIST
S.NO | ITEM | Size | QTY
1 | 3 Sink | 5'x2'-6"x34"+4" | 1
2 | Grease Trap |  | 1
3 | DRAIN TRHROUGH GRATING | 3'-6"x1'-2" | 1
4 | SS Shelf | 5'x1' | 1
5 | SS Shelf | 4'x1' | 1
6 | Dirty dish Landing Table for service area with overhead shelves 1no (same as like Waknaghat) | 4'x2'x2'-10"+4" | 1
7 | Chemical Cabinet | 2'x1'-6"x6' | 1
8 | POT Rack | 3'x1'-6"x6' | 2

## Changing, dry, coldroom etc.
ADMIN, Server & coldroom, Changing room, Dry store, Gallery, Elec. Panel room - FIRST FLOOR
S.NO | ITEM | QTY | Area | Remarks
1 | IT Rack | 1 | Server
2 | RA table with Pedestal | 1 | Server
3 | CCTV rack with DVR set up | 3 | Server
4 | Amplifier with shelf | 1 | Server
5 | Key Box Unit | 1 | Server
6 | 2x2 Led Panel light | 1 | Server
7 | Workstation with pedestal and Overhead staorage unit | 4 | Admin
8 | Pin board | 1 | Admin
9 | 2x2 Led Panel light | 2 | Admin
10 | SS RACK for FF coldroom SS 304 SWG (3'x1'-6"x6') | 24 | Coldroom
11 | Dry storage rack Heavy duty with 6 shelves rack coulour grey (3'x1'-6"x98") | 23 | Dry stotre
12 | Wokstation with Pedestal and Overhead storage unit | 3 | Dry store
13 | Exhaust fan | 1 | Dry store
14 | Lights | 9 | Dry store
15 | Staff Dinning Table | 1 | Gallery
16 | Lights | 8 | Gallery
17 | Pin Board | 1 | Gallery
18 | Lights | 4 | Changing room
19 | Exhaust fan | 2 | Changing room
20 | mirror | 2 | Changing room
21 | UPS with 20 battery with UPS STAND | 1 | Elec. Panel room
22 | DB | 2 | Elec. Panel room
23 | Lights | 2 | Elec. Panel room
24 | Lights | 7 | Lift lobby to Toilet side door
25 | Doors | 15 | F.F.

## HVAC LIST
HVAC Asset List - GrubHub Faridkot
S.NO | ITEMS | NOS | Location
1 | Walk in chiller | 1 | First Floor
2 | Walk in Freezer | 1 | First Floor
3 | Walk in chiller | 1 | Dominos
4 | Fresh Air Unit - 2700Cfm | 1 | Dominos
5 | Exhaust Air Unit - 3000cfm | 1 | Dominos
6 | Fresh Air Unit - 3600cfm | 1 | Bikanervala
7 | Exhaust Air Unit - 4000 cfm | 1 | Bikanervala
8 | Fresh Air Unit - 3150cfm | 1 | Karim
9 | Exhaust Air Unit - 3500 cfm | 1 | Karim
10 | Fresh Air Unit -2800cfm | 1 | Noodle Wok
11 | Exhaust Air Unit - 3000 cfm | 1 | Noodle Wok
12 | AHU 22 ton | 2 | Common Area
13 | Cassette Ac - 3ton | 1 | Dominos
14 | Cassette Ac - 2ton | 1 | Dominos
15 | Highwall / Split ac 1.5 ton | 1 | Dominos
16 | Highwall Ac 1.5 ton | 1 | First Floor
17 | Highwall Ac 1.5 ton | 1 | First Floor
18 | Inline fan 450cfm | 1 | FF Female toilet
19 | Inline fan 550cfm | 1 | FF male & Handicapped

## COMMON AREA
COMMON AREA ASSET LIST
S.NO | ITEMS | NOS | Location
1 | Glass Door | 6 | LL | LL
2 | Designer Lights | 37 |  | LL
3 | Hnaging Lights (Red) | 4 |  | LL
4 | Wall Lights | 9 |  | LL
5 | Designer Old model lights | 6 |  | LL
6 | Speakers | 13 |  | TFS
7 | Aircurtain | 4 |  | LL
8 | Wieghing Machine | 2
9 | Safe (Godrej) | 2

## EXTERNAL SIGANGE
External Signage - GrubHub Faridkot
S.NO | ITEMS | NOS | Location
1 | GrubHub Sigange | 1
2 | Dominos | 1
3 | Bikanervala | 1
4 | Karim | 1
5 | Drive through signage | 1

## TOILET
Toilet Asset List - GrubHub Faridkot
S.NO | ITEMS | NOS | Location
1 | WC | 10
2 | Urinal | 8
3 | Health Faucet | 10
4 | Washbasin | 3
5 | Handwash taps | 7
6 | Lights | 39
7 | Handryer | 2
8 | Soap Dispenser | 3
9 | paper holder | 10
10 | Air Freshner | 2

## TERRACE
Terrace Asset List - GrubHub Faridkot
S.NO | ITEMS | NOS
1 | RO unit | 1
2 | 5KL Tank | 2
3 | 2KL Tank | 1
4 | RO Shed with tubelight & Lock | 1
5 | Pressure Pump | 2

## FURNITURE
COMMON AREA - FURNITURE
S.NO | ITEMS | NOS | Remarks
1 | Chairs | 42
2 | Yellow - Bar stool chair | 32
3 | Sofa | 17
4 | High Stool Table | 3
5 | Table 2x2' | 6
6 | Table 4'x2' | 15
7 | Table - 6'x2' | 4
8 | Dustbin Unit | 2
9 | Security Table | 1
10 | Security OH Unit | 1

## ASSET
ASSET LIST - GrubHub FARIDKOT
S.NO. | ASSET NAME | Caffeccino | Dominos | BIKANERVALA | KARIM | NOODLE WOK | GIANI'S | Service Area | TOTAL | REMARKS
1 | Aircurtain | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 5
2 | Lights - Ceiling lights | 28 | 0 | 10 | 10 | 3 | 9 |  | 60
3 | Hanging Designer Light | 7 | 13 | NA | 4 | NA | NA |  | 24
4 | Wall lights | 2 | 11 | NA | NA | NA | Na |  | 13
5 | LED Panel light 2'x2' | NA | NA | 7 | 3 | 2 | NA |  | 12
7 | Speaker | 1 | NA | 2 | 1 | 2 | 1 |  | 7
8 | Sigange | 1 | 1 | 1 | 1 | 1 | 1 |  | 6
9 | LED TV 32"/42" | 0 | 4 | 3 | 3 | 1 | 1 |  | 12
10 | IT rack | 0 | 1 | NA |  |  |  |  | 1
11 | Geyser | 1 | 2 | 1 | 1 | 1 | NA | 1 | 7
12 | Pesto flash | [7 empty] | 10
13 | UV900 |  | 1 | NA | NA | NA | NA | NA | 1
14 | UV-2 |  | 1 | NA | NA | NA | NA | NA | 1
15 | Gas Leak detector Panel | NA | 1 | 1 | 1 | 1 | 0 | 0 | 4
16 | 200ltr tank | NA | 1 | NA | NA | NA | NA | NA | NA
17 | Pressure pump | NA | 1 | NA | NA | NA | NA | NA | NA
18 | Fire Extinguisher | [7 empty] | 22 | 3 nos added
19 | SERVER ROOM (LED TV) | [7 empty] | 2 | added