## Sheet1
Area Code | ITEM NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | ELECTRICAL | [5 empty] | PLUMBING / DRAINAGE | [5 empty] | LPG / PNG |  |  |  | EXHAUST CFM | REMARK
|  |  | All Dimensions in MM L x W x H |  |  |  | HP | Watts | Electrical Load In KW | Phase | Amps | Type Of Socket | Hot ( mm Ø ) | Cold ( mm Ø ) | RO ( mm Ø ) | Optimum Pressure Psi / Bar | Waste ( mm Ø ) | Tape Model Number/Make | Type of Burner | No Of Burner | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
Exhaust Hood
| EX-01 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 2075 x 950 x 500 | 1 | CUSTOM FABRICATED | [17 empty] | 7100
| EX-02 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 1000 x 1000 x 500 | 1 | CUSTOM FABRICATED | [17 empty] | 4470
| EX-03 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 1500 x 900 x 500 | 1 | CUSTOM FABRICATED | [17 empty] | 500