## Kitchen BOQ
Area Code | ITEM NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | ELECTRICAL | [5 empty] | PLUMBING / DRAINAGE | [5 empty] | LPG / PNG |  |  |  | EXHAUST CFM | REMARK
|  |  | All Dimensions in MM L x W x H |  |  |  | HP | Watts | Electrical Load In KW | Phase | Amps | Type Of Socket | Hot ( mm Ø ) | Cold ( mm Ø ) | RO ( mm Ø ) | Optimum Pressure Psi / Bar | Waste ( mm Ø ) | Tape Model Number/Make | Type of Burner | No Of Burner | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
Exhaust Hood | EX -01 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 1800 x 1200 x 500 | 1 | Custom Fabricated | [17 empty] | 1770
Exhaust Hood | EX -02 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 4225 x 1200 x 500 | 1 | Custom Fabricated | [17 empty] | 5550
Exhaust Hood | EX -03 | Exhaust Hood With Continous Fresh Air Grill In Front and Provision of Heat Proof Led Lightrs | 900 x 1050 x 500 | 1 | Custom Fabricated | [17 empty] | 1200