## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
CCTV SYSTEM
| Supply, Installation, Testing & Commissiong of 2 MP IR Dome Camera 1/3″ Megapixel progressive scan Exmor CMOS, Dome camera with fixed lens, H.264, 720p @ 25fps, RJ-45 connection, Complete as per specification, IP66, IK10, with all required accessories to finish the work. | Nos | 2
| Supply & Installation of Cat-6 Cable in above conduits for DATA System. | Mtr. | 30
| Supply, Installation, testing & commissioing of cat-6 RJ45 Information outlet with dual face plate and back box. | Nos | 2
| Supply & Installation of cat-6 1mtr Patch cord | Nos | 2
| Supply, Installation, testing and commissioning of 4 channel Network Video Recorder - storage capacity recording all cameras at 4CIF resolution, H.264 compression and 12 fps/10fps for multi sensor cameras, lifetime Licensed software to support minimum of 4 cameras having base for fixing 4TB hard disk , H.264 profile, multicasting & Dual Streaming, Support 15 days Storage. | Nos | 1
| Suitbale size of Hard Disk for 15 days recording capacity. | Nos | 1